## Cover
2016 Transmission Annual Planning Report
Chapter 2 Energy and demand projections - Data
Powerlink Contact
Peter McCarthy
Manager Regional Grid Planning
pmccarthy@powerlink.com.au
Note: Chapter 2 Energy and demand projections - Data should be reviewed in conjunction with the description contained in the 2016 Transmission Annual Planning Report Chapter 2 Energy and demand projections.
Disclaimer: While care is taken in the preparation of the information in this document, and it is provided in good faith, Powerlink Queensland accepts no responsibility or liability for any loss or damage that may be incurred by persons acting in reliance on this information or assumptions drawn from it. information or assumptions drawn from it.

## Chapter 2 - Data Index
Index
Figures
Figure 2.1 | Brisbane weather over summer 2015/16
Figure 2.2 | Comparison of the medium economic outlook demand forecasts
Figure 2.3 | Comparison of the medium economic outlook energy forecasts
Figure 2.4 | Load forecast definitions
Figure 2.5 | Historical and forecast transmission delivered energy
Figure 2.6 | Historical and forecast transmission delivered summer demand
Figure 2.7 | Historical and forecast winter transmission delivered demand
Figure 2.8 | Winter 2015 and Summer 2015/16 maximum transmission delivered demands
Figure 2.9 | Normalised cumulative transmission delivered load duration - 01/04/2015 to 31/03/2016
Tables
Table 2.1 | Possible large loads excluded from the medium economic outlook forecast
Table 2.2 | Average annual growth rate over next 10 years
Table 2.3 | Average annual growth rate over next 10 years - without LNG
Table 2.4 | Historical native energy (GWh)
Table 2.5 | Forecast annual transmission delivered energy (GWh)
Table 2.6 | Forecast annual native energy (GWh)
Table 2.7 | Historical summer maximum demand (MW)
Table 2.8 | Forecast summer transmission delivered demand (MW)
Table 2.9 | Forecast summer native demand (MW)
Table 2.10 | Historical winter maximum demand (MW)
Table 2.11 | Forecast winter transmission delivered demand (MW)
Table 2.12 | Forecast winter native demand (MW)
Table 2.13 | Zone definitions
Table 2.14 | Average ratios of zone maximum delivered demand to zone delivered demand at time of Queensland region maximum demand
Table 2.15 | Annual transmission delivered energy (GWh) by zone
Table 2.16 | Annual native energy (GWh) by zone
Table 2.17 | State winter maximum transmission delivered demand (MW) by zone
Table 2.18 | State winter maximum native demand (MW) by zone
Table 2.19 | State summer maximum transmission delivered demand (MW) by zone
Table 2.20 | State summer maximum native demand (MW) by zone

## Figure 2.1
Figure 2.1 | Brisbane weather over summer 2015/16
| November | December | January | February | March
mean daily minimum (2015/16) | 19.8 | 20 | 20.9 | 22 | 20.7
mean daily maximum (2015/16) | 29.2 | 29.2 | 30.4 | 32 | 29.9
mean daily minimum (long term average) | 18.1 | 19.8 | 20.7 | 20.6 | 19.4
mean dailly maximum (long term average) | 27.8 | 29.1 | 29.4 | 29 | 28

## Figure 2.2
Figure 2.2 | Comparison of the medium economic outlook demand forecasts
Year | Actual delivered | Corrected less LNG | Weather corrected | 2016 Medium 50% PoE | 2016 Medium 50% PoE less LNG | 2015 Medium 50% PoE
2000/01 | 5829.304 |  | 5842.958
2001/02 | 6182.951 |  | 6128.107
2002/03 | 6335.59 |  | 6333.62
2003/04 | 7020.387 |  | 6802.582
2004/05 | 7205.773 |  | 7112.327
2005/06 | 7300.7358 |  | 7407.7848
2006/07 | 7757.0421 |  | 7671.3041
2007/08 | 7281.0678 |  | 7605.2018
2008/09 | 7848.633 |  | 8088.882
2009/10 | 7950.6273 |  | 7992.8593
2010/11 | 7797.4907 |  | 7823.5277
2011/12 | 7722.7888 |  | 7763.9778
2012/13 | 7587.8597 |  | 7622.1687
2013/14 | 7497.7967 | 7397.6457 | 7397.6457
2014/15 | 8018.7841 | 7578.9451 | 7776.9451
2015/16 | 8270.5443 | 7661.4868 | 8100.8443 |  |  | 8191.5353
2016/17 |  |  |  | 8205.502 | 7550.8659 | 8383.0113
2017/18 |  |  |  | 8249.2458 | 7581.5746 | 8532.5074
2018/19 |  |  |  | 8283.4056 | 7581.9584 | 8567.9126
2019/20 |  |  |  | 8350.8429 | 7625.834 | 8579.8843
2020/21 |  |  |  | 8370.8539 | 7671.1848 | 8567.839
2021/22 |  |  |  | 8350.8089 | 7643.9398 | 8590.3489
2022/23 |  |  |  | 8330.4579 | 7631.6888 | 8513.3663
2023/24 |  |  |  | 8316.5448 | 7617.7757 | 8515.2395
2024/25 |  |  |  | 8289.0222 | 7614.5531 | 8490.8983
2025/26 |  |  |  | 8268.5084 | 7606.6393

## Figure 2.3
Figure 2.3 | Comparison of the medium economic outlook energy forecasts
Year | Actual delivered | Actual less LNG | 2016 Medium 50% PoE | 2016 Medium 50% PoE less LNG | 2015 Medium 50% PoE
2000/01 | 38178.0046
2001/02 | 39894.7264
2002/03 | 40849.4237
2003/04 | 42661.6638
2004/05 | 43679.0453
2005/06 | 45013.2124
2006/07 | 45381.7744
2007/08 | 45652.608
2008/09 | 46906.6504
2009/10 | 46925.4636
2010/11 | 45239.6119
2011/12 | 45394.3787
2012/13 | 45650.7368
2013/14 | 45145.0038 | 45090.0038
2014/15 | 46780.0144 | 45579.6144
2015/16 | 48859.393 | 45224.6277 |  |  | 50471.2713
2016/17 |  |  | 50292.5686 | 45166.6136 | 52502.3518
2017/18 |  |  | 51214.0042 | 45704.6692 | 54114.1555
2018/19 |  |  | 51414.3944 | 45797.3594 | 54231.8744
2019/20 |  |  | 52033.8482 | 46187.3182 | 54261.7031
2020/21 |  |  | 52305.5643 | 46515.3593 | 53990.5287
2021/22 |  |  | 52289.011 | 46445.066 | 54129.9685
2022/23 |  |  | 52154.8506 | 46338.9906 | 53574.7812
2023/24 |  |  | 52065.8472 | 46252.5722 | 53750.919
2024/25 |  |  | 51842.4956 | 46223.0656 | 53700.0475
2025/26 |  |  | 51756.0104 | 46234.0454

## Table 2.1
Table 2.1 | Possible large loads excluded from the medium economic outlook forecast
|  | Zone | Type of plant | Possible load
|  | North | Further port expansion at Abbot Point | Up to 100MW
|  | North | LNG upstream processing load (Bowen Basin area) | Up to 80MW
|  | Central West and North | New coal mining load (Galilee Basin area) | Up to 750MW
|  | Surat | LNG upstream processing load and coal mining projects(Surat Basin area) | Up to 350MW

## Table 2.2
Table 2.2 | Average annual growth rate over next 10 years
Economic growth outlooks
|  | Low | Medium | High
| Delivered energy | 0.2% | 0.6% | 1.4%
| Delivered summer peak demand (50% PoE) | -0.2% | 0.2% | 1%
| Delivered winter peak demand (50% PoE) | 0.5% | 0.9% | 1.7%

## Table 2.3
Table 2.3 | Average annual growth rate over next 10 years - without LNG
Economic growth outlooks
|  | Low | Medium | High
| Delivered energy | -0.1% | 0.2% | 1%
| Delivered summer peak demand (50% PoE) | -0.4% | -0.1% | 0.5%
| Delivered winter peak demand (50% PoE) | 0% | 0.3% | 1%

## Figure 2.4
Figure 2.4 | Load forecast definitions
Notes:
(1) Includes Invicta and Koombooloomba
(2) Depends on Wivenhoe generation
(3) Includes Yarwun which is not scheduled
(4) Barcaldine, Roma and Townsville Power Station 66kV component
(5) Pioneer Mill, Racecourse Mill, Moranbah North, Moranbah, German Creek, Oaky Creek, Isis Central Sugar Mill, Daandine, Bromelton and Rocky Point

## Table 2.4
Table 2.4 | Historical native energy (GWh)
|  | scheduled as generated | scheduled sent out | native as generated | native sent out | transmission sent out | transmission delivered | native | native plus solar PV
| 2006/07 | 51193 | 47526 | 51445 | 47905 | 46966 | 45382.1736 | 46320.3992 | 46320.3992
| 2007/08 | 51337 | 47660 | 52268 | 48711 | 47177 | 45653.4378 | 47187.8298 | 47187.8298
| 2008/09 | 52591 | 48831 | 53638 | 50008 | 48351 | 46906.8475 | 48563.1971 | 48579.9541
| 2009/10 | 53150 | 49360 | 54419 | 50753 | 48490 | 46924.6296 | 49187.166 | 49262.9906
| 2010/11 | 51381 | 47804 | 52429 | 48976 | 46866 | 45239.7158 | 47350.1039 | 47639.8338
| 2011/12 | 51147 | 47724 | 52206 | 48920 | 46980 | 45394.0388 | 47333.6601 | 48018.2234
| 2012/13 | 50711 | 47368 | 52045 | 48702 | 47259 | 45650.6598 | 47089.923 | 48196.7244
| 2013/14 | 49686 | 46575 | 51029 | 47918 | 46560 | 45145.4692 | 46503.4654 | 47722.1431
| 2014/15 | 51855.0456 | 48402.4484 | 53349.1302 | 50047.4194 | 48332.3044 | 46779.9925 | 48495.1075 | 49951.8873
| 2015/16 (1) | 53589.3732 | 49990.4465 | 55157.8811 | 51707.8725 | 50033.7576 | 48965 | 50639.1149 | 52460.1718
(1) These projected end of financial year values are based on revenue metering data until 31 March 2015

## Table 2.5
Table 2.5 | Forecast delivered energy (GWh)
| Year | Low growth outlook | Medium growth outlook | High growth outlook
| 2016/17 | 49743.5659 | 50292.5686 | 51690.6453
| 2017/18 | 50545.1608 | 51214.0042 | 53035.7346
| 2018/19 | 50572.7084 | 51414.3944 | 53710.5142
| 2019/20 | 50864.0064 | 52033.8482 | 54520.9005
| 2020/21 | 50806.709 | 52305.5643 | 55065.1547
| 2021/22 | 50517.5598 | 52289.011 | 55239.6871
| 2022/23 | 50439.9308 | 52154.8506 | 56065.0098
| 2023/24 | 50227.8772 | 52065.8472 | 56082.778
| 2024/25 | 49841.5084 | 51842.4956 | 56306.9201
| 2025/26 | 49757.899 | 51756.0104 | 56395.6771

## Figure 2.5
Figure 2.5 | Historical and forecast transmission delivered energy
| Year | Historical and projected 2015/16 | 2016 forecast - low outlook | 2016 forecast - medium outlook | 2016 forecast - high outlook | 2015 forecast - medium outlook
| 2006/07 | 45381.7744
| 2007/08 | 45652.608
| 2008/09 | 46906.6504
| 2009/10 | 46925.4636
| 2010/11 | 45239.6119
| 2011/12 | 45394.3787
| 2012/13 | 45650.7368
| 2013/14 | 45145.0038
| 2014/15 | 46780.0144
| 2015/16 | 48859.393 |  |  |  | 50471.2713
| 2016/17 |  | 49743.5659 | 50292.5686 | 51690.6453 | 52502.3518
| 2017/18 |  | 50545.1608 | 51214.0042 | 53035.7346 | 54114.1555
| 2018/19 |  | 50572.7084 | 51414.3944 | 53710.5142 | 54231.8744
| 2019/20 |  | 50864.0064 | 52033.8482 | 54520.9005 | 54261.7031
| 2020/21 |  | 50806.709 | 52305.5643 | 55065.1547 | 53990.5287
| 2021/22 |  | 50517.5598 | 52289.011 | 55239.6871 | 54129.9685
| 2022/23 |  | 50439.9308 | 52154.8506 | 56065.0098 | 53574.7812
| 2023/24 |  | 50227.8772 | 52065.8472 | 56082.778 | 53750.919
| 2024/25 |  | 49841.5084 | 51842.4956 | 56306.9201 | 53700.0475
| 2025/26 |  | 49757.899 | 51756.0104 | 56395.6771

## Table 2.6
Table 2.6 | Forecast annual native energy (GWh)
| Year | Low growth outlook | Medium growth outlook | High growth outlook
| 2016/17 | 51014.5659 | 51563.5686 | 52961.6453
| 2017/18 | 51814.1608 | 52483.0042 | 54304.7346
| 2018/19 | 51840.7084 | 52682.3944 | 54978.5142
| 2019/20 | 52132.0064 | 53301.8482 | 55788.9005
| 2020/21 | 52073.709 | 53572.5643 | 56332.1547
| 2021/22 | 51783.5598 | 53555.011 | 56505.6871
| 2022/23 | 51704.9308 | 53419.8506 | 57330.0098
| 2023/24 | 51492.8772 | 53330.8472 | 57347.778
| 2024/25 | 51105.5084 | 53106.4956 | 57570.9201
| 2025/26 | 51020.899 | 53019.0104 | 57658.6771

## Table 2.7
Table 2.7 | Historical summer maximum demand (MW)
| Summer | scheduled as generated | scheduled sent out | native as generated | native sent out | transmission sent out | transmission delivered | native | native plus solar PV | native corrected to 50% PoE
| 2006/07 | 8589 | 8099 | 8632 | 8161 | 7925 | 7756.7677 | 7992.7256 | 7992.7256 | 7906.993
| 2007/08 | 8082 | 7603 | 8178 | 7713 | 7425 | 7281.0685 | 7569.0006 | 7569.0006 | 7893.132
| 2008/09 | 8677 | 8135 | 8767 | 8239 | 8017 | 7848.6147 | 8070.3816 | 8077.9057 | 8317.817
| 2009/10 | 8891 | 8427 | 9053 | 8603 | 8292 | 7950.968 | 8321.3407 | 8355.3867 | 8363.574
| 2010/11 | 8836 | 8299 | 8895 | 8374 | 8020 | 7797.4505 | 8151.9598 | 8282.0516 | 8186.992
| 2011/12 | 8707 | 8236 | 8769 | 8319 | 7983 | 7723.2853 | 8059.4965 | 8366.8727 | 8100.684
| 2012/13 | 8453 | 8008 | 8691 | 8245 | 7920 | 7587.62 | 7912.7603 | 8409.7259 | 7951.5
| 2013/14 | 8365 | 7947 | 8531 | 8114 | 7780 | 7497.5349 | 7831.0381 | 8378.2374 | 7730.882
| 2014/15 | 8809 | 8398 | 9000 | 8589 | 8311 | 8018.5934 | 8326.1093 | 8511.6093 | 8084.21
| 2015/16 | 9093.66 | 8668.4891 | 9271.8412 | 8848.411 | 8579.7624 | 8270.5443 | 8539.193 | 8783.193 | 8369.493

## Table 2.8
Table 2.8 | Forecast summer delivered demand (MW)
| Summer | Low growth outlook |  |  | Medium growth outlook |  |  | High growth outlook
|  | 90% | 50% | 10% | 90% | 50% | 10% | 90% | 50% | 10%
|  | PoE | PoE | PoE | PoE | PoE | PoE | PoE | PoE | PoE
| 2016/17 | 7747.3099 | 8134.2687 | 8659.4731 | 7817.418 | 8205.502 | 8732.2337 | 8029.5223 | 8428.3043 | 8969.556
| 2017/18 | 7767.7697 | 8162.3464 | 8697.8903 | 7853.0267 | 8249.2458 | 8787.019 | 8140.1644 | 8547.3842 | 9100.0883
| 2018/19 | 7773.3679 | 8172.3614 | 8713.9001 | 7881.9081 | 8283.4056 | 8828.3429 | 8209.3994 | 8623.2098 | 9184.859
| 2019/20 | 7781.6245 | 8185.2631 | 8733.1065 | 7941.7982 | 8350.8429 | 8906.0238 | 8287.492 | 8710.3403 | 9284.2563
| 2020/21 | 7743.2121 | 8150.7167 | 8703.8071 | 7954.7286 | 8370.8539 | 8935.645 | 8335.8637 | 8767.0797 | 9352.3529
| 2021/22 | 7677.7795 | 8085.9641 | 8639.9777 | 7931.5267 | 8350.8089 | 8919.8847 | 8335.9626 | 8771.3025 | 9362.1729
| 2022/23 | 7663.015 | 8075.8068 | 8636.0735 | 7907.1238 | 8330.4579 | 8905.0333 | 8437.7808 | 8879.7718 | 9479.6694
| 2023/24 | 7624.543 | 8039.7577 | 8603.3128 | 7889.2583 | 8316.5448 | 8896.4847 | 8432.5327 | 8879.2036 | 9485.453
| 2024/25 | 7566.0424 | 7984.0762 | 8551.4577 | 7857.0949 | 8289.0222 | 8875.2607 | 8457.3506 | 8909.7249 | 9523.7154
| 2025/26 | 7528.9867 | 7950.6277 | 8522.905 | 7832.0914 | 8268.5084 | 8860.8407 | 8468.8598 | 8926.4199 | 9547.4488

## Figure 2.6
Figure 2.6 | Historical and forecast summer delivered demand
Year | Historical | Corrected | 2016 forecast - low outlook | 2016 forecast - medium outlook | 2016 forecast - high outlook | 2015 forecast - medium outlook
2006/07 | 7757.0421 | 7671.3041
2007/08 | 7281.0678 | 7605.2018
2008/09 | 7848.633 | 8088.882
2009/10 | 7950.6273 | 7992.8593
2010/11 | 7797.4907 | 7823.5277
2011/12 | 7722.7888 | 7763.9778
2012/13 | 7587.8597 | 7622.1687
2013/14 | 7497.7967 | 7397.6457
2014/15 | 8018.7841 | 7776.9451
2015/16 | 8270.5447 | 8100.8447 |  |  |  | 8191.5353
2016/17 |  |  | 8134.2687 | 8205.502 | 8428.3043 | 8383.0113
2017/18 |  |  | 8162.3464 | 8249.2458 | 8547.3842 | 8532.5074
2018/19 |  |  | 8172.3614 | 8283.4056 | 8623.2098 | 8567.9126
2019/20 |  |  | 8185.2631 | 8350.8429 | 8710.3403 | 8579.8843
2020/21 |  |  | 8150.7167 | 8370.8539 | 8767.0797 | 8567.839
2021/22 |  |  | 8085.9641 | 8350.8089 | 8771.3025 | 8590.3489
2022/23 |  |  | 8075.8068 | 8330.4579 | 8879.7718 | 8513.3663
2023/24 |  |  | 8039.7577 | 8316.5448 | 8879.2036 | 8515.2395
2024/25 |  |  | 7984.0762 | 8289.0222 | 8909.7249 | 8490.8983
2025/26 |  |  | 7950.6277 | 8268.5084 | 8926.4199

## Table 2.9
Table 2.9 | Forecast summer native demand (MW)
| Summer | Low growth outlook |  |  | Medium growth outlook |  |  | High growth outlook
|  | 90% | 50% | 10% | 90% | 50% | 10% | 90% | 50% | 10%
|  | PoE | PoE | PoE | PoE | PoE | PoE | PoE | PoE | PoE
| 2016/17 | 8015.9582 | 8402.9169 | 8928.1214 | 8086.0662 | 8474.1502 | 9000.8819 | 8298.1705 | 8696.9525 | 9238.2043
| 2017/18 | 8036.418 | 8430.9946 | 8966.5386 | 8121.6749 | 8517.894 | 9055.6672 | 8408.8127 | 8816.0325 | 9368.7365
| 2018/19 | 8042.0162 | 8441.0097 | 8982.5484 | 8150.5563 | 8552.0538 | 9096.9912 | 8478.0477 | 8891.8581 | 9453.5072
| 2019/20 | 8050.2728 | 8453.9114 | 9001.7548 | 8210.4465 | 8619.4912 | 9174.672 | 8556.1403 | 8978.9886 | 9552.9045
| 2020/21 | 8011.8604 | 8419.3649 | 8972.4553 | 8223.3768 | 8639.5021 | 9204.2932 | 8604.5119 | 9035.728 | 9621.0012
| 2021/22 | 7946.4277 | 8354.6124 | 8908.626 | 8200.175 | 8619.4572 | 9188.533 | 8604.6108 | 9039.9507 | 9630.8212
| 2022/23 | 7931.6632 | 8344.4551 | 8904.7218 | 8175.772 | 8599.1062 | 9173.6816 | 8706.4291 | 9148.42 | 9748.3176
| 2023/24 | 7893.1913 | 8308.4059 | 8871.961 | 8157.9065 | 8585.1931 | 9165.1329 | 8701.181 | 9147.8518 | 9754.1013
| 2024/25 | 7834.6906 | 8252.7245 | 8820.106 | 8125.7432 | 8557.6704 | 9143.9089 | 8725.9989 | 9178.3732 | 9792.3636
| 2025/26 | 7797.6349 | 8219.2759 | 8791.5533 | 8100.7396 | 8537.1566 | 9129.4889 | 8737.508 | 9195.0681 | 9816.097

## Table 2.10
Table 2.10 | Historical winter maximum demand (MW)
| Winter | scheduled as generated | scheduled sent out | native as generated | native sent out | transmission sent out | transmission delivered | native | native plus solar PV | native corrected to 50% PoE
| 2006 | 7674 | 7160 | 7747 | 7249 | 7119 | 6803.2518 | 6932.969 | 6932.969 | 6977.666
| 2007 | 7837 | 7416 | 7893 | 7481 | 7298 | 7166.486 | 7350.126 | 7350.126 | 7026.149
| 2008 | 8197 | 7758 | 8283 | 7858 | 7612 | 7419.5344 | 7664.6447 | 7664.6447 | 7236.764
| 2009 | 7655 | 7158 | 7756 | 7275 | 7032 | 6961.1588 | 7204.7883 | 7204.7883 | 7295.065
| 2010 | 7313 | 6885 | 7608 | 7194 | 6795 | 6533.8625 | 6932.832 | 6932.832 | 6942.293
| 2011 | 7640 | 7207 | 7816 | 7400 | 7093 | 6878.1261 | 7184.7465 | 7184.7465 | 6998.304
| 2012 | 7490 | 7081 | 7520 | 7128 | 6955 | 6760.9941 | 6933.7488 | 6933.7488 | 6908.334
| 2013 | 7150 | 6753 | 7345 | 6947 | 6699 | 6520.6913 | 6768.7956 | 6768.7956 | 6982.941
| 2014 | 7288 | 6895 | 7470 | 7077 | 6854 | 6647.3874 | 6881.0128 | 6881.0128 | 6999.402
| 2015 | 7815.98 | 7369.189 | 8027.4747 | 7619.8263 | 7334.3615 | 7125.5008 | 7410.9655 | 7411.8855 | 7300.8655

## Table 2.11
Table 2.11 | Forecast winter transmission delivered demand (MW)
| Winter | Low growth outlook |  |  | Medium growth outlook |  |  | High growth outlook
|  | 90% | 50% | 10% | 90% | 50% | 10% | 90% | 50% | 10%
|  | PoE | PoE | PoE | PoE | PoE | PoE | PoE | PoE | PoE
| 2016 | 7298.5807 | 7310.6053 | 7387.2771 | 7360.5122 | 7372.568 | 7449.439 | 7579.3151 | 7591.7365 | 7670.9382
| 2017 | 7493.4626 | 7505.7293 | 7583.9451 | 7573.1146 | 7585.426 | 7663.9263 | 7811.962 | 7824.6448 | 7905.5132
| 2018 | 7476.6529 | 7489.043 | 7568.0451 | 7579.0823 | 7591.542 | 7670.9879 | 7912.4398 | 7925.3115 | 8007.3843
| 2019 | 7529.6596 | 7542.1945 | 7622.1198 | 7683.9142 | 7696.6145 | 7777.5947 | 8040.3974 | 8053.5562 | 8137.4598
| 2020 | 7543.5116 | 7556.1637 | 7636.8363 | 7749.169 | 7762.0929 | 7844.4985 | 8120.2063 | 8133.6276 | 8219.2052
| 2021 | 7454.8665 | 7467.524 | 7548.2317 | 7701.666 | 7714.6757 | 7797.629 | 8107.2777 | 8120.8124 | 8207.113
| 2022 | 7454.2047 | 7467.0045 | 7548.6189 | 7687.8565 | 7700.9828 | 7784.6793 | 8189.476 | 8203.2114 | 8290.792
| 2023 | 7418.1329 | 7430.9984 | 7513.032 | 7670.5291 | 7683.7681 | 7768.1831 | 8225.8079 | 8239.6746 | 8328.0921
| 2024 | 7388.8813 | 7401.8262 | 7484.3661 | 7666.2798 | 7679.6551 | 7764.9394 | 8253.8656 | 8267.8986 | 8357.3765
| 2025 | 7346.9135 | 7359.9652 | 7443.1856 | 7633.85 | 7647.356 | 7733.4736 | 8269.1914 | 8283.3719 | 8373.7908

## Figure 2.7
Figure 2.7 | Historical and forecast winter delivered demand
Winter | Historical | Corrected | 2016 forecast - low outlook | 2016 forecast - medium outlook | 2016 forecast - high outlook | 2015 forecast - medium outlook
2006 | 6803.2938 | 6809.7748
2007 | 7165.7809 | 6855.7859
2008 | 7419.5807 | 7205.0687
2009 | 6961.2505 | 6896.5255
2010 | 6534.4446 | 6585.8036
2011 | 6878.0516 | 6735.1026
2012 | 6761.0723 | 6753.9813
2013 | 6520.6878 | 6614.7478
2014 | 6646.6956 | 6829.7906
2015 | 7175.3401 | 7065.2401 |  |  |  | 7369.7813
2016 |  |  | 7310.6053 | 7372.568 | 7591.7365 | 7670.7795
2017 |  |  | 7505.7293 | 7585.426 | 7824.6448 | 7869.8166
2018 |  |  | 7489.043 | 7591.542 | 7925.3115 | 8012.1692
2019 |  |  | 7542.1945 | 7696.6145 | 8053.5562 | 7925.5412
2020 |  |  | 7556.1637 | 7762.0929 | 8133.6276 | 7891.0771
2021 |  |  | 7467.524 | 7714.6757 | 8120.8124 | 7892.079
2022 |  |  | 7467.0045 | 7700.9828 | 8203.2114 | 7792.6318
2023 |  |  | 7430.9984 | 7683.7681 | 8239.6746 | 7799.7195
2024 |  |  | 7401.8262 | 7679.6551 | 8267.8986 | 7745.292
2025 |  |  | 7359.9652 | 7647.356 | 8283.3719

## Table 2.12
Table 2.12 | Forecast winter native demand (MW)
| Winter | Low growth outlook |  |  | Medium growth outlook |  |  | High growth outlook
|  | 90% | 50% | 10% | 90% | 50% | 10% | 90% | 50% | 10%
|  | PoE | PoE | PoE | PoE | PoE | PoE | PoE | PoE | PoE
| 2016 | 7553.7407 | 7565.7653 | 7642.4371 | 7615.6722 | 7627.728 | 7704.599 | 7834.4751 | 7846.8965 | 7926.0982
| 2017 | 7748.6226 | 7760.8893 | 7839.1051 | 7828.2746 | 7840.586 | 7919.0863 | 8067.122 | 8079.8048 | 8160.6732
| 2018 | 7731.8129 | 7744.203 | 7823.2051 | 7834.2423 | 7846.702 | 7926.1479 | 8167.5998 | 8180.4715 | 8262.5443
| 2019 | 7784.8196 | 7797.3545 | 7877.2798 | 7939.0742 | 7951.7745 | 8032.7547 | 8295.5574 | 8308.7162 | 8392.6198
| 2020 | 7798.6716 | 7811.3237 | 7891.9963 | 8004.329 | 8017.2529 | 8099.6585 | 8375.3663 | 8388.7876 | 8474.3652
| 2021 | 7710.0265 | 7722.684 | 7803.3917 | 7956.826 | 7969.8357 | 8052.789 | 8362.4377 | 8375.9724 | 8462.273
| 2022 | 7709.3647 | 7722.1645 | 7803.7789 | 7943.0165 | 7956.1428 | 8039.8393 | 8444.636 | 8458.3714 | 8545.952
| 2023 | 7673.2929 | 7686.1584 | 7768.192 | 7925.6891 | 7938.9281 | 8023.3431 | 8480.9679 | 8494.8346 | 8583.2521
| 2024 | 7644.0413 | 7656.9862 | 7739.5261 | 7921.4398 | 7934.8151 | 8020.0994 | 8509.0256 | 8523.0586 | 8612.5365
| 2025 | 7602.0735 | 7615.1252 | 7698.3456 | 7889.01 | 7902.516 | 7988.6336 | 8524.3514 | 8538.5319 | 8628.9508

## Table 2.13
Table 2.13 | Zone definitions
| Zone | Area covered
| Far North | North of Tully, including Chalumbin
| Ross | North of Proserpine and Collinsville, excluding the Far North zone
| North | North of Broadsound and Dysart, excluding the Far North and Ross zones
| Central West | South of Nebo, Peak Downs and Mt McLaren, and north of Gin Gin, but excluding the Gladstone zone
| Gladstone | South of Raglan, north of Gin Gin and east of Calvale
| Wide Bay | Gin Gin, Teebar Creek and Woolooga 275kV substation loads, excluding Gympie
| Surat | West of Western Downs and south of Moura, excluding the Bulli zone
| Bulli | Goondiwindi (Waggamba) load and the 275/330kV network south of Kogan Creek and west of Millmerran
| South West | Tarong and Middle Ridge load areas west of Postmans Ridge, excluding the Bulli zone
| Moreton | South of Woolooga and east of Middle Ridge, but excluding the Gold Coast zone
| Gold Coast | East of Greenbank, south of Coomera to the Queensland/New South Wales border

## Table 2.14
Table 2.14 | Average ratios of zone maximum delivered demand to zone delivered demand at time of Queensland region maximum demand
| Zone | Winter | Summer
| Far North | 1.1502 | 1.1634
| Ross | 1.5288 | 1.3619
| North | 1.1421 | 1.1538
| Central West | 1.1035 | 1.1478
| Gladstone | 1.0291 | 1.0468
| Wide Bay | 1.0229 | 1.1332
Surat
| Bulli | 1.1567 | 1.2827
| South West | 1.032 | 1.2263
| Moreton | 1.0051 | 1.0063
| Gold Coast | 1.0095 | 1.0142

## Table 2.15
Table 2.15 | Annual transmission delivered energy (GWh) by zone
|  | Year | Far North | Ross | North | Central West | Gladstone | Wide Bay | Surat | Bulli | South West | Moreton | Gold Coast | Total
Actuals
|  | 2006/07 | 1770.4405 | 2562.5788 | 2732.9477 | 3168.6752 | 9944.8836 | 1460.6607 |  |  | 2047.05 | 18468.5 | 3225.4372 | 45382.1736
|  | 2007/08 | 1818.4536 | 2719.4887 | 2727.6125 | 3164.9644 | 10057.8966 | 1399.3021 |  | 87.1782 | 1712.2004 | 18684.4501 | 3282.8914 | 45653.4378
|  | 2008/09 | 1851.3482 | 2771.7962 | 2778.7057 | 3191.0127 | 10076.0479 | 1429.9514 |  | 93.571 | 1773.7601 | 19531.5933 | 3408.0609 | 46906.8475
|  | 2009/10 | 1836.2852 | 2849.4796 | 2718.6759 | 3299.8685 | 10173.3283 | 1427.0268 |  | 83.8957 | 1441.8291 | 19618.6323 | 3475.6081 | 46924.6296
|  | 2010/11 | 1810.328 | 2790.6229 | 2590.2142 | 3151.8685 | 10117.8239 | 1307.6131 |  | 94.8911 | 1081.8763 | 18885.9492 | 3407.5286 | 45239.7158
|  | 2011/12 | 1791.7918 | 2762.1556 | 2627.2227 | 3407.3125 | 10285.6208 | 1323.0262 |  | 104.535 | 1195.726 | 18629.7917 | 3266.1564 | 45394.0388
|  | 2012/13 | 1722.4663 | 2782.3338 | 2729.7367 | 3326.4281 | 10507.219 | 1266.6133 |  | 103.4812 | 1746.4502 | 18232.6891 | 3235.2421 | 45650.6598
|  | 2013/14 | 1658.216 | 2906.7691 | 2829.1405 | 3481.7795 | 10293.0886 | 1320.7941 | 337.6655 | 145.8159 | 1303.6033 | 17782.1207 | 3085.4759 | 45145.4692
|  | 2014/15 | 1697.3137 | 3062.6766 | 2884.9445 | 3327.3356 | 10659.942 | 1265.9278 | 821.0762 | 647.1987 | 1223.6057 | 18048.8045 | 3140.8672 | 46779.9925
|  | 2015/16* | 1703.055 | 2976.2117 | 2875.6216 | 3255.5371 | 10705.7591 | 1238.8688 | 2779.4449 | 1211.1805 | 1193.8415 | 17887.7878 | 3137.3921 | 48965
Forecasts
|  | 2016/17 | 1631 | 2946 | 2887 | 3469 | 10719 | 1248 | 4116 | 1214 | 1185 | 17536 | 3342 | 50292.5686
|  | 2017/18 | 1634 | 2951 | 3033 | 3528 | 10657 | 1268 | 4508 | 1232 | 1196 | 17804 | 3403 | 51214.0042
|  | 2018/19 | 1603 | 2927 | 3022 | 3541 | 10774 | 1260 | 4641 | 1228 | 1168 | 17838 | 3412 | 51414.3944
|  | 2019/20 | 1567 | 2891 | 3105 | 3608 | 10944 | 1241 | 4954 | 1167 | 1134 | 17987 | 3436 | 52033.8482
|  | 2020/21 | 1569 | 2905 | 3178 | 3650 | 10947 | 1253 | 4928 | 1167 | 1125 | 18122 | 3462 | 52305.5643
|  | 2021/22 | 1550 | 2899 | 3178 | 3659 | 10945 | 1251 | 5011 | 1166 | 1102 | 18075 | 3453 | 52289.011
|  | 2022/23 | 1526 | 2889 | 3158 | 3674 | 10943 | 1246 | 5015 | 1166 | 1078 | 18016 | 3444 | 52154.8506
|  | 2023/24 | 1499 | 2879 | 3143 | 3699 | 10941 | 1241 | 5046 | 1165 | 1053 | 17969 | 3431 | 52065.8472
|  | 2024/25 | 1481 | 2868 | 3102 | 3740 | 10941 | 1236 | 4890 | 1164 | 1028 | 17962 | 3430 | 51842.4956
|  | 2025/26 | 1462 | 2857 | 3062 | 3800 | 10941 | 1229 | 4832 | 1164 | 1003 | 17974 | 3432 | 51756.0104
*April - June 2016 Estimated

## Table 2.16
Table 2.16 | Annual native energy (GWh) by zone
| Year | Far North | Ross | North | Central West | Gladstone | Wide Bay | Surat | Bulli | South West | Moreton | Gold Coast | Total
Actuals
| 2006/07 | 1770.4405 | 3141.0712 | 2761.076 | 3375.352 | 9944.8836 | 1459.1223 |  |  | 2110.1491 | 18533.8673 | 3225.4372 | 46320.3992
| 2007/08 | 1818.4536 | 3370.8408 | 2770.6135 | 3527.5189 | 10057.8966 | 1412.7307 |  | 87.1782 | 2038.7325 | 18819.9737 | 3282.8914 | 47187.8298
| 2008/09 | 1851.3482 | 3335.5493 | 2950.3489 | 3480.7958 | 10076.0479 | 1437.4285 |  | 93.571 | 2264.9715 | 19665.0749 | 3408.0609 | 48563.1971
| 2009/10 | 1836.2852 | 3507.0869 | 3069.6473 | 3635.1021 | 10173.3283 | 1446.9747 |  | 83.8957 | 2193.4531 | 19765.7846 | 3475.6081 | 49187.166
| 2010/11 | 1810.328 | 3219.666 | 2878.7229 | 3499.5845 | 10117.8239 | 1328.2464 |  | 94.8911 | 2013.0868 | 18979.2256 | 3407.5286 | 47350.1039
| 2011/12 | 1791.7918 | 3256.8597 | 2916.6469 | 3654.2163 | 10285.6208 | 1347.6753 |  | 104.535 | 2013.5146 | 18694.6431 | 3266.1564 | 47333.6601
| 2012/13 | 1722.4663 | 3169.0112 | 3061.7359 | 3680.107 | 10507.219 | 1291.6836 |  | 103.4812 | 1988.0821 | 18332.8945 | 3235.2421 | 47089.923
| 2013/14 | 1658.216 | 3147.6834 | 3155.8243 | 3862.4715 | 10293.0886 | 1338.5121 | 401.7281 | 145.8159 | 1536.0017 | 17877.6478 | 3085.4759 | 46503.4654
| 2014/15 | 1697.3137 | 3249.0389 | 3434.9231 | 3754.9778 | 10659.942 | 1284.5356 | 1022.149 | 647.1987 | 1467.6845 | 18136.4768 | 3140.8672 | 48495.1075
| 2015/16* | 1703.055 | 3206.8428 | 3415.139 | 3683.7207 | 10705.7591 | 1269.3518 | 2878.8067 | 1211.1805 | 1446.0264 | 17981.8408 | 3137.3921 | 50639.1149
Forecasts
| 2016/17 | 1631 | 3136 | 3284 | 3603 | 10719 | 1266 | 4323 | 1215 | 1429 | 17616 | 3342 | 51563.5686
| 2017/18 | 1634 | 3142 | 3429 | 3662 | 10657 | 1287 | 4714 | 1232 | 1440 | 17883 | 3403 | 52483.0042
| 2018/19 | 1603 | 3118 | 3419 | 3675 | 10774 | 1278 | 4847 | 1228 | 1412 | 17916 | 3412 | 52682.3944
| 2019/20 | 1567 | 3082 | 3501 | 3743 | 10944 | 1260 | 5160 | 1167 | 1378 | 18064 | 3436 | 53301.8482
| 2020/21 | 1569 | 3096 | 3574 | 3785 | 10947 | 1272 | 5134 | 1167 | 1369 | 18198 | 3462 | 53572.5643
| 2021/22 | 1550 | 3089 | 3575 | 3794 | 10945 | 1269 | 5217 | 1166 | 1347 | 18150 | 3453 | 53555.011
| 2022/23 | 1526 | 3080 | 3555 | 3808 | 10943 | 1265 | 5221 | 1166 | 1322 | 18090 | 3444 | 53419.8506
| 2023/24 | 1499 | 3069 | 3540 | 3833 | 10941 | 1260 | 5253 | 1165 | 1297 | 18043 | 3431 | 53330.8472
| 2024/25 | 1481 | 3059 | 3499 | 3875 | 10941 | 1254 | 5096 | 1164 | 1272 | 18035 | 3430 | 53106.4956
| 2025/26 | 1462 | 3047 | 3458 | 3935 | 10941 | 1248 | 5038 | 1164 | 1247 | 18047 | 3432 | 53019.0104
*April - June 2016 Estimated

## Table 2.17
Table 2.17 | State winter maximum delivered demand (MW) by zone
| Year | Far North | Ross | North | Central West | Gladstone | Wide Bay | Surat | Bulli | South West | Moreton | Gold Coast | Total
Actuals
| 2006 | 206.7718 | 243.2647 | 324.6822 | 408.8035 | 1156.976 | 228.4116 | 0 | 0 | 361.4065 | 3278.8694 | 594.0661 | 6803.2518
| 2007 | 218.5455 | 309.3626 | 286.1616 | 442.1969 | 1165.161 | 296.9493 | 0 | 0 | 409.5579 | 3450.8803 | 586.6709 | 7166.486
| 2008 | 216.3797 | 285.0824 | 361.2266 | 431.5471 | 1161.264 | 252.7394 | 0 | 17.114 | 374.4762 | 3655.0711 | 665.6339 | 7419.5344
| 2009 | 210.3256 | 341.7779 | 328.4068 | 416.1921 | 1124.869 | 217.6278 | 0 | 19.2445 | 340.8436 | 3360.9682 | 600.9033 | 6961.1588
| 2010 | 226.5508 | 191.8239 | 325.3505 | 393.4728 | 1173.602 | 179.4057 | 0 | 18.0432 | 269.1229 | 3173.4201 | 584.0706 | 6533.8625
| 2011 | 229.9178 | 216.0347 | 316.5291 | 431.7305 | 1154.777 | 221.9244 | 0 | 22.1328 | 375.7073 | 3302.7127 | 604.6598 | 6878.1261
| 2012 | 214.0825 | 225.866 | 325.6739 | 412.3332 | 1201.326 | 214.9705 | 0 | 20.0268 | 345.5581 | 3206.817 | 594.04 | 6760.9941
| 2013 | 195.4621 | 261.1192 | 347.5693 | 405.0407 | 1199.62 | 190.2717 | 22.9868 | 16.6909 | 262.9068 | 3039.6514 | 579.3724 | 6520.6913
| 2014 | 225.8759 | 360.1992 | 358.7604 | 448.4068 | 1199.863 | 204.4701 | 16.0327 | 50.7704 | 257.3643 | 2974.6529 | 550.6917 | 6647.3874
| 2015 | 191.5782 | 306.8408 | 332.2824 | 411.7983 | 1248.5771 | 203.1384 | 171.6904 | 137.1061 | 258.4057 | 3267.0581 | 597.0253 | 7125.5008
Forecasts
| 2016 | 218 | 248 | 378 | 437 | 1193 | 191 | 487 | 158 | 223 | 3247 | 593 | 7372.568
| 2017 | 220 | 240 | 378 | 465 | 1191 | 191 | 620 | 161 | 224 | 3298 | 597 | 7585.426
| 2018 | 223 | 230 | 398 | 464 | 1202 | 191 | 582 | 164 | 224 | 3316 | 598 | 7591.542
| 2019 | 225 | 232 | 417 | 469 | 1208 | 192 | 605 | 158 | 226 | 3364 | 601 | 7696.6145
| 2020 | 224 | 231 | 424 | 482 | 1206 | 190 | 637 | 151 | 225 | 3391 | 601 | 7762.0929
| 2021 | 225 | 228 | 429 | 484 | 1204 | 187 | 612 | 151 | 220 | 3379 | 596 | 7714.6757
| 2022 | 226 | 226 | 433 | 481 | 1203 | 185 | 608 | 151 | 219 | 3375 | 594 | 7700.9828
| 2023 | 227 | 226 | 431 | 480 | 1203 | 185 | 602 | 151 | 218 | 3371 | 590 | 7683.7681
| 2024 | 227 | 227 | 431 | 479 | 1203 | 184 | 599 | 151 | 218 | 3373 | 588 | 7679.6551
| 2025 | 227 | 227 | 428 | 479 | 1203 | 184 | 572 | 151 | 218 | 3370 | 588 | 7647.356
*Delivered Zonal Demand During State Native Winter Peak
*Historical values differ to 2014 TAPR because of Roma being previously subtracted in error

## Table 2.18
Table 2.18 | State winter maximum native demand (MW) by zone
| Year | Far North | Ross | North | Central West | Gladstone | Wide Bay | Surat | Bulli | South West | Moreton | Gold Coast | Total
Actuals
| 2006 | 206.7718 | 322.2148 | 324.6822 | 459.7095 | 1156.976 | 228.4116 | 0 | 0 | 361.2676 | 3278.8694 | 594.0661 | 6932.969
| 2007 | 218.5455 | 308.6248 | 291.6462 | 519.6089 | 1165.161 | 296.5724 | 0 | 0 | 485.2145 | 3476.0818 | 586.6709 | 7350.126
| 2008 | 216.3797 | 362.3112 | 365.2768 | 469.5794 | 1161.264 | 252.7394 | 0 | 17.114 | 478.6102 | 3675.7361 | 665.6339 | 7664.6447
| 2009 | 210.3256 | 425.0169 | 372.4121 | 465.8842 | 1124.869 | 217.6278 | 0 | 19.2445 | 407.0376 | 3362.4672 | 600.9033 | 7204.7883
| 2010 | 226.5508 | 318.8798 | 363.3834 | 483.8868 | 1173.602 | 186.4528 | 0 | 18.0432 | 379.9904 | 3197.9722 | 584.0706 | 6932.832
| 2011 | 229.9178 | 339.4276 | 359.5631 | 520.0657 | 1154.777 | 221.912 | 0 | 22.1328 | 427.8368 | 3304.454 | 604.6598 | 7184.7465
| 2012 | 214.0825 | 302.012 | 359.8865 | 446.293 | 1201.326 | 214.9494 | 0 | 20.0268 | 374.7005 | 3207.432 | 594.04 | 6933.7488
| 2013 | 195.4621 | 303.7939 | 374.3458 | 486.8166 | 1199.62 | 195.1357 | 88.7294 | 16.6909 | 289.5325 | 3039.2963 | 579.3724 | 6768.7956
| 2014 | 225.8759 | 383.9616 | 420.2721 | 494.6016 | 1199.863 | 204.4312 | 90.331 | 50.7704 | 285.9093 | 2974.305 | 550.6917 | 6881.0128
| 2015 | 191.5782 | 351.846 | 403.8121 | 500.2634 | 1248.5771 | 203.4264 | 208.2228 | 137.1061 | 287.9702 | 3280.838 | 597.0253 | 7410.9655
Forecasts
| 2016 | 218 | 310 | 435 | 505 | 1193 | 192 | 522 | 158 | 252 | 3250 | 593 | 7627.728
| 2017 | 220 | 302 | 436 | 533 | 1191 | 192 | 656 | 161 | 253 | 3300 | 597 | 7840.586
| 2018 | 223 | 292 | 455 | 532 | 1202 | 192 | 617 | 164 | 253 | 3319 | 598 | 7846.702
| 2019 | 225 | 294 | 475 | 537 | 1208 | 193 | 640 | 158 | 255 | 3366 | 601 | 7951.7745
| 2020 | 224 | 293 | 482 | 550 | 1206 | 191 | 672 | 151 | 254 | 3393 | 601 | 8017.2529
| 2021 | 225 | 290 | 486 | 552 | 1204 | 188 | 647 | 151 | 249 | 3382 | 596 | 7969.8357
| 2022 | 226 | 289 | 491 | 548 | 1204 | 186 | 643 | 151 | 247 | 3377 | 594 | 7956.1428
| 2023 | 226 | 289 | 489 | 547 | 1203 | 186 | 637 | 151 | 247 | 3374 | 590 | 7938.9281
| 2024 | 227 | 289 | 488 | 547 | 1204 | 185 | 634 | 151 | 247 | 3375 | 588 | 7934.8151
| 2025 | 227 | 289 | 486 | 546 | 1204 | 185 | 607 | 151 | 247 | 3373 | 588 | 7902.516
*Native Zonal Demand During State Native Winter Peak

## Table 2.19
Table 2.19 | State summer maximum transmission delivered demand (MW) by zone
| Year | Far North | Ross | North | Central West | Gladstone | Wide Bay | Surat | Bulli | South West | Moreton | Gold Coast | Total
Actuals
Actuals
| 2006/07 | 329.2376 | 385.2322 | 452.3446 | 508.7389 | 1164.44 | 295.694 | 0 | 0 | 374.9167 | 3635.5207 | 610.643 | 7756.7677
| 2007/08 | 292.4606 | 296.1668 | 386.083 | 475.6267 | 1192.954 | 242.6852 | 0 | 15.2723 | 314.3715 | 3465.9719 | 600.4765 | 7281.0685
| 2008/09 | 279.8457 | 349.9125 | 316.7579 | 459.4658 | 1177.52 | 278.2057 | 0 | 19.1091 | 367.3133 | 3934.4925 | 666.9922 | 7848.6147
| 2009/10 | 317.3669 | 394.2853 | 415.0659 | 505.4906 | 1175.622 | 268.4365 | 0 | 10.8551 | 210.5558 | 3919.0015 | 735.2884 | 7950.968
| 2010/11 | 306.4379 | 338.9974 | 370.8357 | 468.8166 | 1171.756 | 273.9113 | 0 | 17.5462 | 174.7144 | 3989.6405 | 682.7944 | 7797.4505
| 2011/12 | 296.0108 | 390.6784 | 404.9471 | 510.1781 | 1191.364 | 249.3982 | 0 | 17.9943 | 217.4006 | 3788.046 | 658.2678 | 7723.2853
| 2012/13 | 277.1559 | 320.3808 | 383.9447 | 518.1101 | 1213.325 | 231.7857 | 0 | 14.1505 | 241.2901 | 3754.8356 | 633.6416 | 7587.62
| 2013/14 | 270.8026 | 330.1409 | 353.1174 | 481.2922 | 1147.483 | 259.7032 | 30.1022 | 20.8593 | 291.4586 | 3710.7359 | 602.8395 | 7497.5349
| 2014/15 | 278.1269 | 398.3516 | 399.1127 | 449.0338 | 1253.628 | 262.6241 | 130.4575 | 80.6026 | 226.5156 | 3847.6066 | 691.534 | 8018.5934
| 2015/16 | 308.0738 | 411.057 | 411.8193 | 424.6369 | 1188.9288 | 214.4753 | 313.2989 | 154.5135 | 230.7048 | 3951.6542 | 661.3818 | 8270.5443
Forecasts
| 2016/17 | 261 | 326 | 388 | 505 | 1185 | 203 | 522 | 151 | 203 | 3799 | 663 | 8205.502
| 2017/18 | 266 | 315 | 399 | 508 | 1182 | 203 | 533 | 153 | 204 | 3821 | 665 | 8249.2458
| 2018/19 | 265 | 313 | 403 | 504 | 1195 | 201 | 569 | 153 | 203 | 3817 | 660 | 8283.4056
| 2019/20 | 265 | 313 | 419 | 509 | 1201 | 201 | 601 | 145 | 203 | 3836 | 658 | 8350.8429
| 2020/21 | 267 | 312 | 432 | 517 | 1201 | 200 | 583 | 138 | 202 | 3861 | 658 | 8370.8539
| 2021/22 | 266 | 307 | 432 | 522 | 1200 | 196 | 591 | 138 | 199 | 3846 | 654 | 8350.8089
| 2022/23 | 267 | 305 | 433 | 521 | 1200 | 195 | 582 | 138 | 198 | 3841 | 650 | 8330.4579
| 2023/24 | 267 | 305 | 432 | 519 | 1200 | 195 | 582 | 138 | 197 | 3835 | 647 | 8316.5448
| 2024/25 | 267 | 305 | 431 | 519 | 1201 | 195 | 558 | 138 | 197 | 3832 | 646 | 8289.0222
| 2025/26 | 269 | 307 | 417 | 521 | 1201 | 196 | 546 | 138 | 199 | 3832 | 643 | 8268.5084
*Delivered Zonal Demand During State Native Summer Peak

## Table 2.20
Table 2.20 | State summer maximum native demand (MW) by zone
| Year | Far North | Ross | North | Central West | Gladstone | Wide Bay | Surat | Bulli | South West | Moreton | Gold Coast | Total
Actuals
| 2006/07 | 329.2376 | 491.2497 | 457.6875 | 573.4027 | 1164.44 | 295.1784 | 0 | 0 | 435.7392 | 3636.1473 | 610.643 | 7992.7256
| 2007/08 | 292.4606 | 404.0295 | 390.0668 | 533.3066 | 1192.954 | 242.6852 | 0 | 15.2723 | 386.6858 | 3512.0634 | 600.4765 | 7569.0006
| 2008/09 | 279.8457 | 422.7137 | 330.7945 | 509.5369 | 1177.52 | 278.2057 | 0 | 19.1091 | 421.2 | 3963.4639 | 666.9922 | 8070.3816
| 2009/10 | 317.3669 | 499.9731 | 453 | 539.2158 | 1175.622 | 268.4214 | 0 | 10.8551 | 361.3208 | 3961.2772 | 735.2884 | 8321.3407
| 2010/11 | 306.4379 | 411.9097 | 408.1961 | 550.5226 | 1171.756 | 273.8919 | 0 | 17.5462 | 337.3304 | 3990.5746 | 682.7944 | 8151.9598
| 2011/12 | 296.0108 | 464.1304 | 433.8435 | 583.3621 | 1191.364 | 249.3809 | 0 | 17.9943 | 378.419 | 3787.7237 | 658.2678 | 8059.4965
| 2012/13 | 277.1559 | 434.4906 | 422.2443 | 550.6141 | 1213.325 | 240.9423 | 0 | 14.1505 | 328.1056 | 3799.0905 | 633.6416 | 7912.7603
| 2013/14 | 270.8026 | 435.3096 | 385.8817 | 549.4475 | 1147.483 | 259.6843 | 87.9961 | 20.8593 | 315.8816 | 3754.8529 | 602.8395 | 7831.0381
| 2014/15 | 278.1269 | 415.8235 | 478.904 | 530.9315 | 1253.628 | 262.6041 | 189.4279 | 80.6026 | 253.9545 | 3888.5723 | 691.534 | 8326.1093
| 2015/16 | 308.0738 | 441.9502 | 491.0167 | 500.5662 | 1188.9288 | 214.4532 | 370.2986 | 154.5135 | 256.8445 | 3951.1657 | 661.3818 | 8539.193
Forecasts
| 2016/17 | 261 | 391 | 447 | 551 | 1185 | 204 | 578 | 151 | 228 | 3815 | 663 | 8474.1502
| 2017/18 | 266 | 380 | 458 | 554 | 1182 | 205 | 590 | 153 | 228 | 3837 | 665 | 8517.894
| 2018/19 | 265 | 378 | 462 | 550 | 1195 | 203 | 625 | 153 | 228 | 3833 | 660 | 8552.0538
| 2019/20 | 265 | 378 | 477 | 555 | 1201 | 203 | 657 | 145 | 228 | 3852 | 658 | 8619.4912
| 2020/21 | 267 | 376 | 491 | 564 | 1201 | 201 | 640 | 138 | 227 | 3877 | 658 | 8639.5021
| 2021/22 | 266 | 371 | 491 | 569 | 1200 | 198 | 647 | 138 | 224 | 3861 | 654 | 8619.4572
| 2022/23 | 267 | 370 | 492 | 567 | 1200 | 197 | 639 | 138 | 222 | 3857 | 650 | 8599.1062
| 2023/24 | 267 | 369 | 491 | 566 | 1200 | 197 | 639 | 138 | 222 | 3850 | 646 | 8585.1931
| 2024/25 | 267 | 370 | 490 | 565 | 1200 | 197 | 615 | 138 | 222 | 3848 | 646 | 8557.6704
| 2025/26 | 269 | 371 | 476 | 567 | 1201 | 198 | 603 | 138 | 224 | 3847 | 643 | 8537.1566
*Native Zonal Demand During State Native Summer Peak

## Figure 2.8
Figure 2.8 | Winter 2015 and Summer 2015/16 maximum transmission delivered demands
Time | 0:00 | 0:30 | 1:00 | 1:30 | 2:00 | 2:30 | 3:00 | 3:30 | 4:00 | 4:30 | 5:00 | 5:30 | 6:00 | 6:30 | 7:00 | 7:30 | 8:00 | 8:30 | 9:00 | 9:30 | 10:00 | 10:30 | 11:00 | 11:30 | 12:00 | 12:30 | 13:00 | 13:30 | 14:00 | 14:30 | 15:00 | 15:30 | 16:00 | 16:30 | 17:00 | 17:30 | 18:00 | 18:30 | 19:00 | 19:30 | 20:00 | 20:30 | 21:00 | 21:30 | 22:00 | 22:30 | 23:00 | 23:30 | 24:00
Summer Trace | 5491.723 | 5328.5501 | 5209.1934 | 5103.0525 | 5077.7053 | 5061.6929 | 5056.2765 | 5086.4853 | 5140.6032 | 5240.237 | 5373.9215 | 5523.264 | 5878.6199 | 6232.8896 | 6499.0356 | 6642.2656 | 6727.9494 | 6845.5967 | 6909.7816 | 6964.9054 | 7101.612 | 7250.1791 | 7305.5467 | 7432.243 | 7511.8278 | 7691.8749 | 7954.2564 | 8035.609 | 8010.3124 | 7973.6057 | 8012.8542 | 8122.891 | 8189.9934 | 8270.5443 | 8241.8664 | 8156.2224 | 8038.6215 | 7979.4997 | 8047.7223 | 8011.6329 | 7811.4918 | 7571.2179 | 7286.3166 | 6985.241 | 6686.5489 | 6471.3617 | 6221.8169 | 5953.0729
Winter Trace | 5252.6961 | 5101.4043 | 4912.1599 | 4766.6206 | 4661.7325 | 4584.1609 | 4570.3328 | 4584.2739 | 4643.8287 | 4781.6492 | 5011.2779 | 5328.9066 | 5815.3758 | 6168.7994 | 6587.6109 | 6723.6719 | 6567.8965 | 6315.5751 | 6152.9576 | 5964.4072 | 5784.6862 | 5649.3563 | 5538.0447 | 5480.8736 | 5458.2813 | 5415.4837 | 5365.3326 | 5363.8793 | 5418.9031 | 5483.6577 | 5603.0214 | 5795.4649 | 6055.0625 | 6374.0616 | 6659.9354 | 6948.8962 | 7045.0492 | 7125.5008 | 7018.2029 | 6983.531 | 6992.0273 | 6848.8271 | 6704.636 | 6512.4088 | 6285.2461 | 6094.2784 | 5865.0307 | 5665.1158

## Figure 2.9
Figure 2.9 | Normalised cumulative transmission delivered load duration - 01/04/2015 to 31/03/2016
|  | % Time of the Year | % of Maximum Demand
|  | 100 | 46.9614
|  | 99.9715 | 49.1749
|  | 99.9543 | 49.3084
|  | 99.863 | 50.4
|  | 99.5605 | 51.1332
|  | 98.1792 | 52.0731
|  | 95.234 | 53.2124
|  | 91.661 | 54.2218
|  | 88.5616 | 55.1508
|  | 85.5993 | 56.0922
|  | 83.1279 | 56.8805
|  | 80.7877 | 57.6295
|  | 78.613 | 58.3335
|  | 76.1986 | 59.0739
|  | 73.8813 | 59.7102
|  | 71.1701 | 60.4456
|  | 68.516 | 61.2331
|  | 65.7877 | 62.011
|  | 63.0308 | 62.7964
|  | 60.3539 | 63.4707
|  | 57.2945 | 64.2267
|  | 53.8527 | 65.0944
|  | 50.0057 | 66.0909
|  | 45.6849 | 67.1993
|  | 41.347 | 68.3105
|  | 37.0662 | 69.4057
|  | 32.7283 | 70.6401
|  | 28.5046 | 71.8124
|  | 24.8059 | 72.9143
|  | 20.8676 | 74.049
|  | 17.363 | 75.0953
|  | 13.9897 | 76.2828
|  | 11.1701 | 77.7144
|  | 8.7557 | 79.1583
|  | 6.8322 | 80.6588
|  | 5.5651 | 81.8839
|  | 4.5091 | 82.9601
|  | 3.6187 | 83.9929
|  | 2.9737 | 85.0689
|  | 2.4658 | 85.9458
|  | 1.9635 | 87.1164
|  | 1.6096 | 87.914
|  | 1.2671 | 88.7782
|  | 0.9989 | 89.6657
|  | 0.7648 | 90.6095
|  | 0.5365 | 92.0237
|  | 0.4281 | 92.9763
|  | 0.3425 | 93.6769
|  | 0.234 | 94.6363
|  | 0.1598 | 96.1387
|  | 0.1142 | 96.8834
|  | 0.0571 | 97.7455
|  | 0.0171 | 99.0249
|  | 0 | 100