## Cover
2016 Transmission Annual Planning Report
Powerlink Forecasting Model
Version 2016.1
Powerlink Contact
Peter McCarthy
Manager Regional Grid Planning
pmccarthy@powerlink.com.au
Note: Powerlink's forecasting model should be reviewed in conjunction with the description contained in the 2016 Transmission Annual Planning Report Appendix B - Powerlink's Forecasting Methodology.
Disclaimer: While care is taken in the preparation of the information in this document, and it is provided in good faith, Powerlink Queensland accepts no responsibility or liability for any loss or damage that may be incurred by persons acting in reliance on this information or assumptions drawn from it. information or assumptions drawn from it.

## Summer
Summer Maximum Demand Model
| Queensland Historical ----> | [5 empty] | Queensland Forecast ----> | [18 empty] | Transmission Connected (non DNSP) Historical ---> |  | Transmission Connected (non DNSP) Forecast ---> | [5 empty] | DNSP Forecast ----> | [8 empty] | Drivers for Change ----> | [5 empty] | DNSP Non Weather Dependent (NWD) Model -----> | [11 empty] | DNSP Weather Dependent (WD) Model -----> | [11 empty] | DNSP Actual and Temperature Correction Summary ------>
| Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | TC | LNG | TC | TC | TC | LNG | LNG | LNG | DNSP | DNSP | DNSP | DNSP | DNSP | DNSP | DNSP | DNSP | DNSP | Solar PV | Battery Storage | EE | Electric Vehicles | Tariff/DSM | Customer |  | Coefficient | History* | Forecast | Forecast | Forecast | [7 empty] | Coefficient | History | History* | History | Forecast | Forecast | Forecast |  |  |  | Air Conditioning Penetration | (PoE values from temperature correction methodology) | [7 empty] | Ratio | Regression | Ratio | Regression
| Delivered | Delivered | Native | Native | Native | Native | Delivered | Delivered | Delivered | Delivered | Delivered | Delivered | Delivered | Delivered | Delivered | Delivered | Native | Native | Native | Native | Native | Native | Native | Native | Native | [8 empty] | Native | Native | Native | Native | Native | Native | Native | Native | Native | [5 empty] | Momentum | Constant | 1.6658 | NWD | NWD | NWD | NWD | Total Price | Total Price | Total Price | Retail Turnover | Retail Turnover | Retail Turnover | Constant | 0.92868 | DNSP | NWD | WD | Summer WD | Summer WD | Summer WD | Population | Population | Population | from Queensland Household | DNSP | DNSP | DNSP | DNSP | DNSP | DNSP | DNSP | DNSP | 90% | 90% | 10% | 10%
| Actual | Adjustment | Actual | 90% PoE | 50% PoE | 10% PoE | Low | Low | Low | Medium | Medium | Medium | High | High | High | Adjustment | Low | Low | Low | Medium | Medium | Medium | High | High | High |  |  | Low | Medium | High | Low | Medium | High | Low | Low | Low | Medium | Medium | Medium | High | High | High | [6 empty] | Total Electricity Price - 1 year delay | -0.22838 |  | low | medium | high | low | medium | high | low | medium | high | Population x Air Conditioning Penetration | 0.64547 | Corrected** |  |  | low | medium | high | low | medium | high | Survey | Actual | 90% PoE | 50% PoE | 10% PoE | Actual | 90% PoE | 50% PoE | 10% PoE |  | -0.002 |  | 0.0027
| At State Peak | At State Peak | At State Peak | At State Peak | At State Peak | At State Peak | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE |  | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | At State Peak (1) | At State Peak (1) | [6 empty] | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | [6 empty] | Retail Turnover - 1 year delay | 0.53561 | [22 empty] | Peak after 6pm | Peak after 6pm | Peak after 6pm | Peak after 6pm | At state peak | At state peak | At state peak | At state peak |  | 0.9701 |  | 1.0408
Inputs |  | (Source 1) | [23 empty] | (Source 1) | (Source 1) | (Source 2) | (Source 2) | (Source 2) | (Source 2) | (Source 2) | (Source 2) | [9 empty] | (Source 3) | (Source 3) | (Source 3) | (Source 3) | (Source 3) | (Source 3) |  |  | (Source 1) |  |  |  | (Source 4) | (Source 4) | (Source 4) | (Source 4) | (Source 4) | (Source 4) | [8 empty] | (Source 4) | (Source 4) | (Source 4) | (Source 5) | (Source 1) | (Source 6) | (Source 6) | (Source 6) | (Source 1) | (Source 6) | (Source 6) | (Source 6)
1999/00 | [54 empty] | 112.2347 | 112.2347 | 112.2347 | 30808.6 | 30808.6 | 30808.6 | * median weekday maximum demand in September | [7 empty] | 3488.5095 | 3488.5095 | 3488.5095
2000/01 | 5829.304 | 79 | 5908.304 | 5807.408 | 5921.958 | 6050.444 | [19 empty] | 1064 | [22 empty] | * median weekday maximum demand in September |  | 3977.5213 | 3997.5843 | 3997.5843 | 3997.5843 | 119.979 | 119.979 | 119.979 | 32078.3 | 32078.3 | 32078.3 | **Based on temperature corrected evening corrected peaks |  | 4731.399 | 3977.5213 | 753.8777 | 849.5286 | 849.5286 | 849.5286 | 3547.2613 | 3547.2613 | 3547.2613 | 0.35434 | 4723.486 | 4610.96 | 4731.399 | 4879.601 | 4844.304 | 4743.408 | 4857.958 | 4986.444 | 0.97454 | 0.9681 | 1.0313 | 1.0435 | 1
2001/02 | 6182.951 | 64 | 6246.951 | 6046.222 | 6192.107 | 6401.577 | [19 empty] | 1091 | [24 empty] | 3999.5327 | 4023.2199 | 4023.2199 | 4023.2199 | 120.1 | 120.1 | 120.1 | 33891.6 | 33891.6 | 33891.6 |  |  | 4909.922 | 3999.5327 | 910.3893 | 918.8619 | 918.8619 | 918.8619 | 3621.6865 | 3621.6865 | 3621.6865 | 0.39192 | 4936.777 | 4766.254 | 4909.922 | 5096.639 | 5155.951 | 4955.222 | 5101.107 | 5310.577 | 0.97074 | 0.9661 | 1.038 | 1.0462 | 2
2002/03 | 6335.59 | 100 | 6435.59 | 6245.132 | 6433.62 | 6683.55 | [19 empty] | 1078 | [24 empty] | 4131.2426 | 4142.5184 | 4142.5184 | 4142.5184 | 120.3412 | 120.3412 | 120.3412 | 36389.3 | 36389.3 | 36389.3 |  |  | 5084.576 | 4131.2426 | 953.3334 | 991.2268 | 991.2268 | 991.2268 | 3711.0045 | 3711.0045 | 3711.0045 | 0.43015 | 5081.29 | 4928.639 | 5084.576 | 5290.425 | 5357.59 | 5167.132 | 5355.62 | 5605.55 | 0.96933 | 0.9641 | 1.0405 | 1.0489 | 3
2003/04 | 7020.387 | 86 | 7106.387 | 6665.311 | 6888.582 | 7234.007 | [19 empty] | 1132 | [22 empty] | Regression Statistics |  | 4355.9149 | 4301.3617 | 4301.3617 | 4301.3617 | 121.784 | 121.784 | 121.784 | 41170.1 | 41170.1 | 41170.1 | Regression Statistics |  | 5548.482 | 4355.9149 | 1192.5671 | 1055.7221 | 1055.7221 | 1055.7221 | 3798.6384 | 3798.6384 | 3798.6384 | 0.46334 | 5767.398 | 5306.881 | 5548.482 | 5880.271 | 5974.387 | 5533.311 | 5756.582 | 6102.007 | 0.95646 | 0.9621 | 1.0598 | 1.0516 | 4
2004/05 | 7205.773 | 151 | 7356.773 | 6955.601 | 7263.327 | 7636.043 | [19 empty] | 1090 | [22 empty] | Durbin Watson | 2.1692 | 4602.8511 | 4582.8622 | 4582.8622 | 4582.8622 | 121.784 | 121.784 | 121.784 | 43081.4 | 43081.4 | 43081.4 | Durbin Watson | N/A | 5795.556 | 4602.8511 | 1192.7049 | 1134.2835 | 1134.2835 | 1134.2835 | 3884.4101 | 3884.4101 | 3884.4101 | 0.5064 | 5973.902 | 5532.851 | 5795.556 | 6117.282 | 6266.773 | 5865.601 | 6173.327 | 6546.043 | 0.95467 | 0.9601 | 1.0555 | 1.0543 | 5
2005/06 | 7300.7358 | 180.2642 | 7481 | 7223.708 | 7588.049 | 8086.921 | [19 empty] | 1092.376 | [22 empty] | Mean Absolute Percentage Error (MAPE) | 0.6364% | 4693.6441 | 4695.6151 | 4695.6151 | 4695.6151 | 122.8788 | 122.8788 | 122.8788 | 44554.4 | 44554.4 | 44554.4 | Mean Absolute Percentage Error (MAPE) | 9.976% | 6057.951 | 4693.6441 | 1364.3069 | 1242.3844 | 1242.3844 | 1242.3844 | 3975.0785 | 3975.0785 | 3975.0785 | 0.5698 | 5988.712 | 5782.836 | 6057.951 | 6534.139 | 6388.624 | 6131.332 | 6495.673 | 6994.545 | 0.95459 | 0.9581 | 1.0786 | 1.057 | 6
2006/07 | 7757.0421 | 235.9579 | 7993 | 7494.912 | 7907.262 | 8433.285 | [19 empty] | 1121.479 | [22 empty] | Mean Percentage Bias (MPB) | 0.003079% | 4859.1673 | 4771.1726 | 4771.1726 | 4771.1726 | 123.6135 | 123.6135 | 123.6135 | 46911.8 | 46911.8 | 46911.8 | Mean Percentage Bias (MPB) | -0.6422% | 6363.619 | 4859.1673 | 1504.4517 | 1331.9889 | 1331.9889 | 1331.9889 | 4070.743 | 4070.743 | 4070.743 | 0.6198 | 6381.72 | 6018.283 | 6363.619 | 6875.063 | 6871.521 | 6373.433 | 6785.783 | 7311.806 | 0.94573 | 0.9561 | 1.0804 | 1.0597 | 7
2007/08 | 7281.0678 | 287.9322 | 7569 | 7581.244 | 7893.134 | 8291.999 | [19 empty] | 1132.822 | [22 empty] | R Squared | 0.98808 | 4840.1964 | 4898.0921 | 4898.0921 | 4898.0921 | 133.0108 | 133.0108 | 133.0108 | 49955.1 | 49955.1 | 49955.1 | R Squared | 0.79854 | 5902.186 | 4840.1964 | 1061.9896 | 1419.2293 | 1419.2293 | 1419.2293 | 4176.4816 | 4176.4816 | 4176.4816 | 0.6665 | 5802.184 | 5732.575 | 5902.186 | 6136.535 | 6436.178 | 6448.422 | 6760.312 | 7159.177 | 0.97126 | 0.9541 | 1.0397 | 1.0624 | 8
2008/09 | 7848.633 | 221.367 | 8070 | 7909.736 | 8310.249 | 8737.56 | [19 empty] | 1145.802 | [24 empty] | 4931.1174 | 4981.7333 | 4981.7333 | 4981.7333 | 138.4629 | 138.4629 | 138.4629 | 51073.1 | 51073.1 | 51073.1 |  |  | 6475.518 | 4931.1174 | 1544.4006 | 1485.5184 | 1485.5184 | 1485.5184 | 4289.4795 | 4289.4795 | 4289.4795 | 0.6965 | 6480.546 | 6178.524 | 6475.518 | 6858.689 | 6924.198 | 6763.934 | 7164.447 | 7591.758 | 0.95414 | 0.9521 | 1.0592 | 1.0651 | 9
2009/10 | 7950.6273 | 370.3727 | 8321 | 7961.102 | 8363.232 | 8828.904 | [19 empty] | 1163.398 | [24 empty] | 4986.3535 | 4995.1035 | 4995.1035 | 4995.1035 | 156.4646 | 156.4646 | 156.4646 | 51082.2 | 51082.2 | 51082.2 |  |  | 6643.444 | 4986.3535 | 1657.0905 | 1537.4406 | 1537.4406 | 1537.4406 | 4377.5335 | 4377.5335 | 4377.5335 | 0.7198 | 6607.742 | 6275.928 | 6643.444 | 7154.042 | 7157.602 | 6797.704 | 7199.834 | 7665.506 | 0.94468 | 0.9501 | 1.0769 | 1.0678 | 10
2010/11 | 7797.4907 | 354.5093 | 8152 | 7810.506 | 8178.037 | 8691.449 | [19 empty] | 1114.955 | [24 empty] | 4879.7831 | 4858.0601 | 4858.0601 | 4858.0601 | 171.9576 | 171.9576 | 171.9576 | 51532.8 | 51532.8 | 51532.8 |  |  | 6767.467 | 4879.7831 | 1887.6839 | 1581.1563 | 1581.1563 | 1581.1563 | 4448.2749 | 4448.2749 | 4448.2749 | 0.7398 | 6213.405 | 6282.777 | 6767.467 | 7382.662 | 7037.045 | 6695.551 | 7063.082 | 7576.494 | 0.92838 | 0.9481 | 1.0909 | 1.0705 | 11
2011/12 | 7722.7888 | 336.2112 | 8059 | 7732.049 | 8100.189 | 8603.797 | [19 empty] | 1172.195 | [24 empty] | 4783.28 | 4776.8429 | 4776.8429 | 4776.8429 | 177.8028 | 177.8028 | 177.8028 | 53314.5 | 53314.5 | 53314.5 |  |  | 6504.769 | 4783.28 | 1721.489 | 1618.9537 | 1618.9537 | 1618.9537 | 4532.6085 | 4532.6085 | 4532.6085 | 0.7531 | 6437.023 | 6127.011 | 6504.769 | 7009.752 | 6886.805 | 6559.854 | 6927.994 | 7431.602 | 0.94193 | 0.9461 | 1.0776 | 1.0732 | 12
2012/13 | 7587.8597 | 325.1403 | 7913 | 7533.237 | 7947.309 | 8447.805 | [19 empty] | 1240.679 | [24 empty] | 4790.5404 | 4827.6072 | 4827.6072 | 4827.6072 | 197.716 | 197.716 | 197.716 | 55393.3 | 55393.3 | 55393.3 |  |  | 6270.421 | 4790.5404 | 1479.8806 | 1653.2064 | 1653.2064 | 1653.2064 | 4620.6853 | 4620.6853 | 4620.6853 | 0.7631 | 6225.296 | 5914.173 | 6270.421 | 6697.723 | 6672.321 | 6292.558 | 6706.63 | 7207.126 | 0.94319 | 0.9441 | 1.0681 | 1.0759 | 13
2013/14 | 7497.7967 | 333.2033 | 7831 | 7348.635 | 7730.849 | 8226.928 | [19 empty] | 1190.597 | [24 empty] | 4834.0203 | 4809.504 | 4809.504 | 4809.504 | 231.4875 | 229.9465 | 228.9134 | 56978.2 | 56978.2 | 56978.2 |  |  | 6321.773 | 4834.0203 | 1487.7527 | 1684.4122 | 1684.4122 | 1684.4122 | 4694.9855 | 4694.9855 | 4694.9855 | 0.7731 | 6346.123 | 5993.435 | 6321.773 | 6804.774 | 6640.403 | 6158.038 | 6540.252 | 7036.331 | 0.94806 | 0.9421 | 1.0764 | 1.0786 | 14
2014/15 | 8018.7841 | 307.2159 | 8326 | 7702.74 | 8084.161 | 8628.598 | [19 empty] | 1499.001 | 198 | [23 empty] | 4740.0318 | 4710.0061 | 4717.1962 | 4722.0495 | 237.1458 | 233.1639 | 229.4335 | 57539.8 | 57539.8 | 57539.8 |  |  | 6381.951 | 4740.0318 | 1641.9192 | 1698.9126 | 1698.9126 | 1698.9126 | 4757.7505 | 4757.7505 | 4757.7505 | 0.7731 | 6809.349 | 6011.459 | 6381.951 | 6888.098 | 6826.999 | 6203.739 | 6585.16 | 7129.597 | 0.94195 | 0.9401 | 1.0793 | 1.0813 | 15
2015/16 | 8270.5447 | 268.6482 | 8539.193 | 8014.993 | 8369.493 | 8848.893 | [19 empty] | 1670.8398 | 439.3579 | [23 empty] | 4702 | 4708.7726 | 4727.0178 | 4744.4617 | 235.1518 | 232.4613 | 199.0212 | 57921.4529 | 57937.3884 | 57972.2883 |  |  | 6395.932 | 4702 | 1693.932 | 1716.4467 | 1716.4467 | 1716.4467 | 4813.4942 | 4813.4942 | 4813.4942 | 0.7764 | 6618.432 | 6067.732 | 6395.932 | 6859.032 | 6868.3532 | 6344.1532 | 6698.6532 | 7178.0532 | 0.94869 | 0.9381 | 1.0724 | 1.084 | 16
2016/17 | [6 empty] | 7747.3099 | 8134.2687 | 8659.4731 | 7817.418 | 8205.502 | 8732.2337 | 8029.5223 | 8428.3043 | 8969.556 | 268.6482 | 8015.9582 | 8402.9169 | 8928.1214 | 8086.0662 | 8474.1502 | 9000.8819 | 8298.1705 | 8696.9525 | 9238.2043 |  |  | 1823.534 | 1875.9825 | 1920.1861 | 602.2387 | 654.6361 | 695.4397 | 6192.4241 | 6579.3829 | 7104.5874 | 6210.0838 | 6598.1678 | 7124.8994 | 6377.9844 | 6776.7665 | 7318.0182 | -150 | 0 | 0 | 0 | 0 | 30.6966 |  |  |  | 4734.5966 | 4747.7558 | 4920.7692 | 219.4152 | 217.3521 | 187.0962 | 58711.5829 | 58894.3084 | 59012.9483 | [5 empty] | 1725.4829 | 1731.1086 | 1736.6939 | 4852.8104 | 4877.3445 | 4901.7462 | 0.7764
2017/18 | [6 empty] | 7767.7697 | 8162.3464 | 8697.8903 | 7853.0267 | 8249.2458 | 8787.019 | 8140.1644 | 8547.3842 | 9100.0883 | 268.6482 | 8036.418 | 8430.9946 | 8966.5386 | 8121.6749 | 8517.894 | 9055.6672 | 8408.8127 | 8816.0325 | 9368.7365 |  |  | 1825.1317 | 1884.6112 | 1999.0983 | 608.242 | 667.6712 | 768.9984 | 6211.2863 | 6605.8629 | 7141.4068 | 6237.0637 | 6633.2828 | 7171.056 | 6409.7144 | 6816.9342 | 7369.6382 | -100 | 20 | 0 | 0 | 0 | 61.3933 |  |  |  | 4845.1224 | 4863.6755 | 5038.4854 | 223.0481 | 220.3454 | 187.7778 | 60319.1949 | 60680.9768 | 60899.0537 | [5 empty] | 1742.1337 | 1751.0006 | 1759.842 | 4904.7069 | 4943.4358 | 4982.1609 | 0.7797 | [9 empty] | 0.9401 |  | 1.0813
2018/19 | [6 empty] | 7773.3679 | 8172.3614 | 8713.9001 | 7881.9081 | 8283.4056 | 8828.3429 | 8209.3994 | 8623.2098 | 9184.859 | 268.6482 | 8042.0162 | 8441.0097 | 8982.5484 | 8150.5563 | 8552.0538 | 9096.9912 | 8478.0477 | 8891.8581 | 9453.5072 |  |  | 1862.1067 | 1931.3471 | 2065.5943 | 632.8994 | 701.4472 | 818.7519 | 6179.9095 | 6578.903 | 7120.4417 | 6219.2092 | 6620.7067 | 7165.644 | 6412.4534 | 6826.2638 | 7387.9129 | -50 | 40 | 0 | 0 | 0 | 92.0899 |  |  |  | 4897.3327 | 4926.741 | 5119.8531 | 224.6572 | 215.0906 | 181.6364 | 62022.9134 | 62589.7993 | 62945.7484 | [5 empty] | 1763.6602 | 1776.0556 | 1788.5006 | 4956.3274 | 5010.3993 | 5064.8962 | 0.7864 | [9 empty] | trend average |  | trend average
2019/20 | [6 empty] | 7781.6245 | 8185.2631 | 8733.1065 | 7941.7982 | 8350.8429 | 8906.0238 | 8287.492 | 8710.3403 | 9284.2563 | 268.6482 | 8050.2728 | 8453.9114 | 9001.7548 | 8210.4465 | 8619.4912 | 9174.672 | 8556.1403 | 8978.9886 | 9552.9045 |  |  | 1898.1569 | 1973.4848 | 2102.5381 | 653.5551 | 725.0089 | 824.2398 | 6152.1159 | 6555.7545 | 7103.5979 | 6236.9616 | 6646.0063 | 7201.1872 | 6453.6021 | 6876.4504 | 7450.3664 | 0 | 60 | 0 | 0 | 0 | 122.7866 |  |  |  | 4962.7874 | 5036.841 | 5251.0323 | 227.9438 | 210.9367 | 177.2637 | 63639.132 | 64434.5467 | 64961.1481 | [5 empty] | 1775.7536 | 1791.9519 | 1808.2047 | 5009.0795 | 5080.0465 | 5151.6074 | 0.7864 | [9 empty] | of last 3 years |  | of last 3 years
2020/21 | [6 empty] | 7743.2121 | 8150.7167 | 8703.8071 | 7954.7286 | 8370.8539 | 8935.645 | 8335.8637 | 8767.0797 | 9352.3529 | 268.6482 | 8011.8604 | 8419.3649 | 8972.4553 | 8223.3768 | 8639.5021 | 9204.2932 | 8604.5119 | 9035.728 | 9621.0012 |  |  | 1879.7678 | 1955.9851 | 2100.2786 | 629.2859 | 699.6691 | 815.878 | 6132.0926 | 6539.5971 | 7092.6876 | 6267.3917 | 6683.517 | 7248.3082 | 6504.2333 | 6935.4494 | 7520.7226 | 0 | 90 | 0 | 0 | 20 | 153.4832 |  |  |  | 5014.9779 | 5138.6527 | 5370.2275 | 242.7146 | 219.3468 | 184.1058 | 65334.0657 | 66374.2371 | 67118.5197 | [5 empty] | 1788.1024 | 1808.3476 | 1828.7051 | 5063.1494 | 5152.238 | 5242.3751 | 0.7864
2021/22 | [6 empty] | 7677.7795 | 8085.9641 | 8639.9777 | 7931.5267 | 8350.8089 | 8919.8847 | 8335.9626 | 8771.3025 | 9362.1729 | 268.6482 | 7946.4277 | 8354.6124 | 8908.626 | 8200.175 | 8619.4572 | 9188.533 | 8604.6108 | 9039.9507 | 9630.8212 |  |  | 1884.357 | 1963.9345 | 2116.3519 | 632.8859 | 706.8691 | 824.1553 | 6062.0707 | 6470.2553 | 7024.2689 | 6236.2405 | 6655.5227 | 7224.5985 | 6488.2589 | 6923.5989 | 7514.4693 | 0 | 120 | 0 | 0 | 40 | 184.1799 |  |  |  | 5013.6697 | 5174.5259 | 5417.9615 | 244.9899 | 226.0269 | 185.6419 | 67166.5328 | 68457.5391 | 69446.0205 | [5 empty] | 1800.7655 | 1825.1767 | 1849.8172 | 5118.8084 | 5226.7128 | 5336.4375 | 0.7864
2022/23 | [6 empty] | 7663.015 | 8075.8068 | 8636.0735 | 7907.1238 | 8330.4579 | 8905.0333 | 8437.7808 | 8879.7718 | 9479.6694 | 268.6482 | 7931.6632 | 8344.4551 | 8904.7218 | 8175.772 | 8599.1062 | 9173.6816 | 8706.4291 | 9148.42 | 9748.3176 |  |  | 1877.982 | 1956.6345 | 2194.4825 | 625.9109 | 698.7691 | 833.3839 | 6053.6812 | 6466.473 | 7026.7397 | 6219.1375 | 6642.4717 | 7217.0471 | 6511.9466 | 6953.9375 | 7553.8351 | 0 | 150 | 0 | 0 | 60 | 214.8765 |  |  |  | 5077.6719 | 5224.9699 | 5507.3345 | 253.1018 | 231.3933 | 190.709 | 68794.2285 | 70350.1662 | 71588.7875 | [5 empty] | 1813.6776 | 1842.3783 | 1871.4796 | 5175.7844 | 5303.2268 | 5433.5663 | 0.7864
2023/24 | [6 empty] | 7624.543 | 8039.7577 | 8603.3128 | 7889.2583 | 8316.5448 | 8896.4847 | 8432.5327 | 8879.2036 | 9485.453 | 268.6482 | 7893.1913 | 8308.4059 | 8871.961 | 8157.9065 | 8585.1931 | 9165.1329 | 8701.181 | 9147.8518 | 9754.1013 |  |  | 1882.182 | 1957.4345 | 2196.4823 | 629.5109 | 698.7691 | 826.4938 | 6011.0093 | 6426.2239 | 6989.779 | 6200.472 | 6627.7586 | 7207.6985 | 6504.6987 | 6951.3695 | 7557.619 | 0 | 180 | 0 | 0 | 80 | 245.5731 |  |  |  | 5105.0914 | 5273.5144 | 5563.3868 | 259.1504 | 233.9825 | 192.8072 | 70355.0983 | 72188.5477 | 73688.9391 | [5 empty] | 1826.7056 | 1859.8173 | 1893.5559 | 5233.4977 | 5381.1985 | 5533.1885 | 0.7864
2024/25 | [6 empty] | 7566.0424 | 7984.0762 | 8551.4577 | 7857.0949 | 8289.0222 | 8875.2607 | 8457.3506 | 8909.7249 | 9523.7154 | 268.6482 | 7834.6906 | 8252.7245 | 8820.106 | 8125.7432 | 8557.6704 | 9143.9089 | 8725.9989 | 9178.3732 | 9792.3636 |  |  | 1860.132 | 1933.1345 | 2212.4848 | 607.4609 | 674.4691 | 836.1762 | 5974.5586 | 6392.5924 | 6959.9739 | 6192.6087 | 6624.536 | 7210.7745 | 6513.5141 | 6965.8884 | 7579.8788 | 0 | 210 | 0 | 0 | 100 | 276.2698 |  |  |  | 5139.0144 | 5333.3115 | 5636.1139 | 262.2136 | 237.0276 | 196.2438 | 71920.0203 | 74044.1386 | 75820.165 | [5 empty] | 1839.8478 | 1877.4943 | 1916.0442 | 5291.9464 | 5460.6448 | 5635.328 | 0.7864
2025/26 | [6 empty] | 7528.9867 | 7950.6277 | 8522.905 | 7832.0914 | 8268.5084 | 8860.8407 | 8468.8598 | 8926.4199 | 9547.4488 | 268.6482 | 7797.6349 | 8219.2759 | 8791.5533 | 8100.7396 | 8537.1566 | 9129.4889 | 8737.508 | 9195.0681 | 9816.097 |  |  | 1847.1608 | 1918.3631 | 2223.3022 | 596.6609 | 661.8691 | 841.655 | 5950.4741 | 6372.1151 | 6944.3925 | 6182.3765 | 6618.7936 | 7211.1259 | 6514.2059 | 6971.7659 | 7592.7949 | 0 | 240 | 0 | 0 | 120 | 306.9664 |  |  |  | 5185.9898 | 5390.3648 | 5699.7995 | 268.3116 | 241.4716 | 201.0403 | 73900.9407 | 76083.5643 | 77908.5085 | [5 empty] | 1853.0917 | 1895.3952 | 1938.9328 | 5351.0799 | 5541.5177 | 5739.9637 | 0.7864
[37 empty] | 0.9401 |  | 1.0813 |  |  |  | based on trend from
[37 empty] | 90%poE to 50%PoE |  | 10%poE to 50%PoE |  |  |  | DNSP at state peak corrected forecast (col CA) and
Abbreviations | [36 empty] | Ratio |  | Ratio |  |  |  | DNSP evening state peak corrected forecast (col BW)
TC - Transmission connectioned customers (non DNSP)
DNSP - Distribution Network Service Provider (Energex and Ergon)
LNG - Liquified Natural Gas
PoE - Probability of Exceedence
EE - Energy Efficiency
DSM - Demand Side Management
WD - weather dependent
NWD - non weather dependent
Input Source
Source 1 - from Powerlink Meter Data
Source 2 - Forecasts supplied by transmission connected customers and modified for coincidence
Source 3 - new technology assumptions - refer to Appendix B of the 2016 TAPR
Source 4- Economic supplied data from Deloitte Access Economics in April 2016
Source 5 - The Queensland Household Energy Survey 2015
Source 6 - Powerlink meter data corrected for temperature using Bureau of Meteorology Data - refer to Appendix B of the 2016 TAPR

## Winter
Winter Maximum Demand Model
| Queensland Historical ----> | [5 empty] | Queensland Forecast ----> | [18 empty] | Transmission Connected (non DNSP) Historical ---> |  | Transmission Connected (non DNSP) Forecast ---> | [5 empty] | DNSP Forecast ----> | [8 empty] | Drivers for Change ----> | [5 empty] | DNSP Non Weather Dependent (NWD) Model -----> | [11 empty] | DNSP Weather Dependent (WD) Model -----> | [11 empty] | DNSP Actual and Temperature Correction Summary ------>
| Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | TC | LNG | TC | TC | TC | LNG | LNG | LNG | DNSP | DNSP | DNSP | DNSP | DNSP | DNSP | DNSP | DNSP | DNSP | Solar PV | Battery Storage | EE | Electric Vehicles | Tariff/DSM | Customer |  | Coefficient | History* | Forecast | Forecast | Forecast | [7 empty] | Coefficient | History | History* | History | Forecast | Forecast | Forecast |  |  |  | Air Conditioning Penetration | (PoE values from temperature correction methodology) | [7 empty] | Ratio | Ratio
| Delivered | Delivered | Native | Native | Native | Native | Delivered | Delivered | Delivered | Delivered | Delivered | Delivered | Delivered | Delivered | Delivered | Delivered | Native | Native | Native | Native | Native | Native | Native | Native | Native | [8 empty] | Native | Native | Native | Native | Native | Native | Native | Native | Native | [5 empty] | Momentum | Constant | 1.6658 | NWD | NWD | NWD | NWD | Total Electricity Price | Total Electricity Price | Total Electricity Price | Retail Turnover | Retail Turnover | Retail Turnover | Constant | 1.7656 | DNSP | NWD | WD | Winter MD | Winter MD | Winter MD | Population | Population | Population | from Queensland Household | DNSP | DNSP | DNSP | DNSP | DNSP | DNSP | DNSP | DNSP | 0.9 | 10%
| Actual | Adjustment | Actual | 90% PoE | 50% PoE | 10% PoE | Low | Low | Low | Medium | Medium | Medium | High | High | High | Adjustment | Low | Low | Low | Medium | Medium | Medium | High | High | High |  |  | Low | Medium | High | Low | Medium | High | Low | Low | Low | Medium | Medium | Medium | High | High | High | [6 empty] | Business Electricity Price - 1 year delay | -0.22838 |  | low | medium | high | low | medium | high | low | medium | high | Population x Air Conditioning Penetration | 0.34697 | Corrected** |  |  | low | medium | high | low | medium | high | Survey | Actual | 90% PoE | 50% PoE | 10% PoE | Actual | 90% PoE | 50% PoE | 10% PoE
| At State Peak | At State Peak | At State Peak | At State Peak | At State Peak | At State Peak | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE |  | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | At State Peak | At State Peak | [6 empty] | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | [6 empty] | Retail Turnover - 1 year delay | 0.53561 | [22 empty] | Peak after 6pm | Peak after 6pm | Peak after 6pm | Peak after 6pm | At state peak | At state peak | At state peak | At state peak
Inputs |  | (Source 1) | [23 empty] | (Source 1) | (Source 1) | (Source 2) | (Source 2) | (Source 2) | (Source 2) | (Source 2) | (Source 2) | [9 empty] | (Source 3) | (Source 3) | (Source 3) | (Source 3) | (Source 3) |  |  |  | (Source 1) |  |  |  | (Source 4) | (Source 4) | (Source 4) | (Source 4) | (Source 4) | (Source 4) | [8 empty] | (Source 4) | (Source 4) | (Source 4) | (Source 5) | (Source 1) | (Source 6) | (Source 6) | (Source 6) | (Source 1) | (Source 6) | (Source 6) | (Source 6)
[55 empty] | 112.2347 | 112.2347 | 112.2347 | 30808.6 | 30808.6 | 30808.6 | * median weekday maximum demand in September | [7 empty] | 3488.5095 | 3488.5095 | 3488.5095
2000 | 5610.3158 | 123.2242 | 5733.54 | 5580.346 | 5719.98 | 5911.107 | [19 empty] | 1070 | [22 empty] | * median weekday maximum demand in September |  | 3977.5213 | 3997.5843 | 3997.5843 | 3997.5843 | 119.979 | 119.979 | 119.979 | 32078.3 | 32078.3 | 32078.3 | **Based on temperature corrected evening corrected peaks |  | 4656.869 | 3977.5213 | 679.3477 | 693.4218 | 693.4218 | 693.4218 | 3547.2613 | 3547.2613 | 3547.2613 | 0.35434 | 4658.476 | 4502.993 | 4656.869 | 4857.187 | 4663.54 | 4510.346 | 4649.98 | 4841.107 | 0.96696 | 1.043
2001 | 5730.6386 | 47.4694 | 5778.108 | 5677.146 | 5820.079 | 5968.957 | [19 empty] | 1097 | [24 empty] | 3999.5327 | 4023.2199 | 4023.2199 | 4023.2199 | 120.1 | 120.1 | 120.1 | 33891.6 | 33891.6 | 33891.6 |  |  | 4723.896 | 3999.5327 | 724.3633 | 723.2905 | 723.2905 | 723.2905 | 3621.6865 | 3621.6865 | 3621.6865 | 0.39192 | 4681.108 | 4583.307 | 4723.896 | 4902.686 | 4681.108 | 4580.146 | 4723.079 | 4871.957 | 0.97024 | 1.0378
2002 | 5671.6656 | 121.5864 | 5793.252 | 5849.304 | 5946.385 | 6089.325 | [19 empty] | 1125 | [24 empty] | 4131.2426 | 4142.5184 | 4142.5184 | 4142.5184 | 120.3412 | 120.3412 | 120.3412 | 36389.3 | 36389.3 | 36389.3 |  |  | 4834.315 | 4131.2426 | 703.0724 | 753.3732 | 753.3732 | 753.3732 | 3711.0045 | 3711.0045 | 3711.0045 | 0.43015 | 4668.252 | 4742.687 | 4834.315 | 4947.873 | 4668.252 | 4724.304 | 4821.385 | 4964.325 | 0.98105 | 1.0235
2003 | 6066.0386 | 69.6034 | 6135.642 | 6052.352 | 6260.419 | 6521.652 | [19 empty] | 1092 | [22 empty] | Regression Statistics |  | 4355.9149 | 4301.3617 | 4301.3617 | 4301.3617 | 121.784 | 121.784 | 121.784 | 41170.1 | 41170.1 | 41170.1 | Regression Statistics |  | 5103.377 | 4355.9149 | 747.4621 | 779.3388 | 779.3388 | 779.3388 | 3798.6384 | 3798.6384 | 3798.6384 | 0.46334 | 5043.642 | 4947.376 | 5103.377 | 5325.063 | 5043.642 | 4960.352 | 5168.419 | 5429.652 | 0.96943 | 1.0434
2004 | 6366.213 | 121.823 | 6488.036 | 6363.489 | 6498.946 | 6671.778 | [19 empty] | 1126 | [22 empty] | Durbin Watson | 2.1692 | 4602.8511 | 4582.8622 | 4582.8622 | 4582.8622 | 121.784 | 121.784 | 121.784 | 43081.4 | 43081.4 | 43081.4 | Durbin Watson | N/A | 5418.658 | 4602.8511 | 815.8069 | 809.9955 | 809.9955 | 809.9955 | 3884.4101 | 3884.4101 | 3884.4101 | 0.5064 | 5362.036 | 5266.384 | 5418.658 | 5609.921 | 5362.036 | 5237.489 | 5372.946 | 5545.778 | 0.9719 | 1.0353
2005 | 6471.1768 | 151.7342 | 6622.911 | 6453.521 | 6580.517 | 6747.678 | [19 empty] | 1088 | [22 empty] | Mean Absolute Percentage Error (MAPE) | 0.6364% | 4693.6441 | 4695.6151 | 4695.6151 | 4695.6151 | 122.8788 | 122.8788 | 122.8788 | 44554.4 | 44554.4 | 44554.4 | Mean Absolute Percentage Error (MAPE) | 9.567% | 5481.389 | 4693.6441 | 787.7449 | 850.6169 | 850.6169 | 850.6169 | 3975.0785 | 3975.0785 | 3975.0785 | 0.5698 | 5506.239 | 5368.726 | 5481.389 | 5653.47 | 5534.911 | 5365.521 | 5492.517 | 5659.678 | 0.97945 | 1.0314
2006 | 6803.2938 | 129.7172 | 6933.011 | 6800.64 | 6939.492 | 7139.743 | [19 empty] | 1158 | [22 empty] | Mean Percentage Bias (MPB) | 0.003079% | 4859.1673 | 4771.1726 | 4771.1726 | 4771.1726 | 123.6135 | 123.6135 | 123.6135 | 46911.8 | 46911.8 | 46911.8 | Mean Percentage Bias (MPB) | -0.6974% | 5780.077 | 4859.1673 | 920.9097 | 883.0632 | 883.0632 | 883.0632 | 4070.743 | 4070.743 | 4070.743 | 0.6198 | 5726.064 | 5634.518 | 5780.077 | 5957.017 | 5775.011 | 5642.64 | 5781.492 | 5981.743 | 0.97482 | 1.0306
2007 | 7165.7809 | 184.6401 | 7350.421 | 6832.301 | 7040.426 | 7282.872 | [19 empty] | 1120 | [22 empty] | R Squared | 0.98808 | 4840.1964 | 4898.0921 | 4898.0921 | 4898.0921 | 133.0108 | 133.0108 | 133.0108 | 49955.1 | 49955.1 | 49955.1 | R Squared | 0.46765 | 5876.131 | 4840.1964 | 1035.9346 | 913.6969 | 913.6969 | 913.6969 | 4176.4816 | 4176.4816 | 4176.4816 | 0.6665 | 6156.147 | 5678.969 | 5876.131 | 6133.857 | 6230.421 | 5712.301 | 5920.426 | 6162.872 | 0.96645 | 1.0439
2008 | 7419.5807 | 245.1103 | 7664.691 | 7254.267 | 7450.179 | 7732.189 | [19 empty] | 1179 | [24 empty] | 4931.1174 | 4981.7333 | 4981.7333 | 4981.7333 | 138.4629 | 138.4629 | 138.4629 | 51073.1 | 51073.1 | 51073.1 |  |  | 6084.751 | 4931.1174 | 1153.6336 | 936.3952 | 936.3952 | 936.3952 | 4289.4795 | 4289.4795 | 4289.4795 | 0.6965 | 6485.691 | 5823.952 | 6084.751 | 6371.015 | 6485.691 | 6075.267 | 6271.179 | 6553.189 | 0.95714 | 1.047
2009 | 6961.2505 | 243.6295 | 7204.88 | 6954.107 | 7140.155 | 7406.564 | [19 empty] | 1164 | [24 empty] | 4986.3535 | 4995.1035 | 4995.1035 | 4995.1035 | 156.4646 | 156.4646 | 156.4646 | 51082.2 | 51082.2 | 51082.2 |  |  | 5955.169 | 4986.3535 | 968.8155 | 953.8487 | 953.8487 | 953.8487 | 4377.5335 | 4377.5335 | 4377.5335 | 0.7198 | 6040.88 | 5765.03 | 5955.169 | 6220.497 | 6040.88 | 5790.107 | 5976.155 | 6242.564 | 0.96807 | 1.0446
2010 | 6534.4446 | 398.9694 | 6933.414 | 6835.594 | 6984.773 | 7185.401 | [19 empty] | 1205 | [24 empty] | 4879.7831 | 4858.0601 | 4858.0601 | 4858.0601 | 171.9576 | 171.9576 | 171.9576 | 51532.8 | 51532.8 | 51532.8 |  |  | 5743.059 | 4879.7831 | 863.2759 | 968.3333 | 968.3333 | 968.3333 | 4448.2749 | 4448.2749 | 4448.2749 | 0.7398 | 5728.414 | 5601.659 | 5743.059 | 5939.902 | 5728.414 | 5630.594 | 5779.773 | 5980.401 | 0.97538 | 1.0343
2011 | 6878.0516 | 306.6204 | 7184.672 | 6813.365 | 7041.723 | 7306.707 | [19 empty] | 1181 | [24 empty] | 4783.28 | 4776.8429 | 4776.8429 | 4776.8429 | 177.8028 | 177.8028 | 177.8028 | 53314.5 | 53314.5 | 53314.5 |  |  | 5811.363 | 4783.28 | 1028.083 | 980.7083 | 980.7083 | 980.7083 | 4532.6085 | 4532.6085 | 4532.6085 | 0.7531 | 6003.672 | 5599.291 | 5811.363 | 6111.976 | 6003.672 | 5632.365 | 5860.723 | 6125.707 | 0.96351 | 1.0517
2012 | 6761.0723 | 172.7547 | 6933.827 | 6751.065 | 6926.736 | 7185.945 | [19 empty] | 1188 | [24 empty] | 4790.5404 | 4827.6072 | 4827.6072 | 4827.6072 | 197.716 | 197.716 | 197.716 | 55393.3 | 55393.3 | 55393.3 |  |  | 5734.87 | 4790.5404 | 944.3296 | 991.8079 | 991.8079 | 991.8079 | 4620.6853 | 4620.6853 | 4620.6853 | 0.7631 | 5692.95 | 5545.671 | 5734.87 | 5967.851 | 5745.827 | 5563.065 | 5738.736 | 5997.945 | 0.96701 | 1.0406
2013 | 6520.6878 | 248.1042 | 6768.792 | 6727.111 | 6862.852 | 7053.23 | [19 empty] | 1267 | [24 empty] | 4834.0203 | 4809.504 | 4809.504 | 4809.504 | 231.4875 | 229.9465 | 228.9134 | 56978.2 | 56978.2 | 56978.2 |  |  | 5622.846 | 4834.0203 | 788.8257 | 1001.8278 | 1001.8278 | 1001.8278 | 4694.9855 | 4694.9855 | 4694.9855 | 0.7731 | 5435.897 | 5473.633 | 5622.846 | 5841.753 | 5501.792 | 5460.111 | 5595.852 | 5786.23 | 0.97346 | 1.0389
2014 | 6646.6956 | 234.6254 | 6881.321 | 6905.655 | 7064.416 | 7255.265 | [19 empty] | 1404 | 49 | [23 empty] | 4740.0318 | 4710.0061 | 4717.1962 | 4722.0495 | 237.1458 | 233.1639 | 229.4335 | 57539.8 | 57539.8 | 57539.8 |  |  | 5682.839 | 4740.0318 | 942.8072 | 1006.4546 | 1006.4546 | 1006.4546 | 4757.7505 | 4757.7505 | 4757.7505 | 0.7731 | 5477.321 | 5523.278 | 5682.839 | 5899.277 | 5477.321 | 5501.655 | 5660.416 | 5851.265 | 0.97192 | 1.0381
2015 | 7125.4655 | 285.5 | 7410.9655 | 7575.6655 | 7300.8655 | 7090.4655 | [19 empty] | 1616.1725 | 257.2098 | [23 empty] | 4702 | 4708.7726 | 4727.0178 | 4744.4617 | 235.1518 | 232.4613 | 199.0212 | 57921.4529 | 57937.3884 | 57972.2883 |  |  | 5684.6931 | 4702 | 982.6931 | 1012.025 | 1012.025 | 1012.025 | 4813.4942 | 4813.4942 | 4813.4942 | 0.7764 | 5794.7931 | 5959.4931 | 5684.6931 | 5474.2931 | 5794.7931 | 5959.4931 | 5684.6931 | 5474.2931 | 1.0483 | 0.96299
2016 | [6 empty] | 7298.5807 | 7310.6053 | 7387.2771 | 7360.5122 | 7372.568 | 7449.439 | 7579.3151 | 7591.7365 | 7670.9382 | 255.16 | 7553.7407 | 7565.7653 | 7642.4371 | 7615.6722 | 7627.728 | 7704.599 | 7834.4751 | 7846.8965 | 7926.0982 |  |  | 1846.9798 | 1894.006 | 1938.3992 | 549.1003 | 596.1814 | 635.3695 | 5706.7609 | 5718.7855 | 5795.4573 | 5721.6661 | 5733.722 | 5810.593 | 5896.0759 | 5908.4973 | 5987.699 | 0 | 0 | 0 | 0 | 0 | 30.6966 |  |  |  | 4734.5966 | 4747.7558 | 4920.7692 | 219.4152 | 217.3521 | 187.0962 | 58711.5829 | 58894.3084 | 59012.9483 | [5 empty] | 1014.8855 | 1016.6628 | 1018.4247 | 4852.8104 | 4877.3445 | 4901.7462 | 0.7764
2017 | [6 empty] | 7493.4626 | 7505.7293 | 7583.9451 | 7573.1146 | 7585.426 | 7663.9263 | 7811.962 | 7824.6448 | 7905.5132 | 255.16 | 7748.6226 | 7760.8893 | 7839.1051 | 7828.2746 | 7840.586 | 7919.0863 | 8067.122 | 8079.8048 | 8160.6732 |  |  | 1967.0219 | 2025.3778 | 2087.0134 | 673.8675 | 732.346 | 781.4606 | 5781.6007 | 5793.8674 | 5872.0832 | 5802.8968 | 5815.2082 | 5893.7085 | 5980.1086 | 5992.7914 | 6073.6599 | 0 | 10 | 0 | 0 | 0 | 61.3933 |  |  |  | 4845.1224 | 4863.6755 | 5038.4854 | 223.0481 | 220.3454 | 187.7778 | 60319.1949 | 60680.9768 | 60899.0537 | [5 empty] | 1020.1382 | 1022.926 | 1025.6992 | 4904.7069 | 4943.4358 | 4982.1609 | 0.7797 | [8 empty] | 0.99791 | 1.0133
2018 | [6 empty] | 7476.6529 | 7489.043 | 7568.0451 | 7579.0823 | 7591.542 | 7670.9879 | 7912.4398 | 7925.3115 | 8007.3843 | 255.16 | 7731.8129 | 7744.203 | 7823.2051 | 7834.2423 | 7846.702 | 7926.1479 | 8167.5998 | 8180.4715 | 8262.5443 |  |  | 1932.0653 | 2001.2828 | 2138.0639 | 628.698 | 697.253 | 814.2283 | 5799.7476 | 5812.1377 | 5891.1398 | 5832.9595 | 5845.4192 | 5924.8651 | 6029.5359 | 6042.4076 | 6124.4804 | 0 | 20 | 0 | 0 | 0 | 92.0899 |  |  |  | 4897.3327 | 4926.741 | 5119.8531 | 224.6572 | 215.0906 | 181.6364 | 62022.9134 | 62589.7993 | 62945.7484 | [5 empty] | 1026.8948 | 1030.7682 | 1034.6444 | 4956.3274 | 5010.3993 | 5064.8962 | 0.7864 | [8 empty] | average | average
2019 | [6 empty] | 7529.6596 | 7542.1945 | 7622.1198 | 7683.9142 | 7696.6145 | 7777.5947 | 8040.3974 | 8053.5562 | 8137.4598 | 255.16 | 7784.8196 | 7797.3545 | 7877.2798 | 7939.0742 | 7951.7745 | 8032.7547 | 8295.5574 | 8308.7162 | 8392.6198 |  |  | 1956.6797 | 2032.0029 | 2169.7143 | 638.2388 | 709.4751 | 824.2526 | 5828.1399 | 5840.6748 | 5920.6001 | 5907.0713 | 5919.7716 | 6000.7517 | 6125.8431 | 6139.0019 | 6222.9056 | 0 | 30 | 0 | 0 | 0 | 122.7866 |  |  |  | 4962.7874 | 5036.841 | 5251.0323 | 227.9438 | 210.9367 | 177.2637 | 63639.132 | 64434.5467 | 64961.1481 | [5 empty] | 1030.6739 | 1035.7172 | 1040.7562 | 5009.0795 | 5080.0465 | 5151.6074 | 0.7864 | [8 empty] | of last 3 years | of last 3 years
2020 | [6 empty] | 7543.5116 | 7556.1637 | 7636.8363 | 7749.169 | 7762.0929 | 7844.4985 | 8120.2063 | 8133.6276 | 8219.2052 | 255.16 | 7798.6716 | 7811.3237 | 7891.9963 | 8004.329 | 8017.2529 | 8099.6585 | 8375.3663 | 8388.7876 | 8474.3652 |  |  | 1980.3084 | 2056.283 | 2189.9609 | 663.4942 | 735.1512 | 839.9323 | 5818.3632 | 5831.0153 | 5911.6879 | 5948.046 | 5960.9699 | 6043.3755 | 6185.4054 | 6198.8267 | 6284.4043 | 0 | 45 | 0 | 0 | 20 | 153.4832 |  |  |  | 5014.9779 | 5138.6527 | 5370.2275 | 242.7146 | 219.3468 | 184.1058 | 65334.0657 | 66374.2371 | 67118.5197 | [5 empty] | 1034.5206 | 1040.8004 | 1047.0824 | 5063.1494 | 5152.238 | 5242.3751 | 0.7864
2021 | [6 empty] | 7454.8665 | 7467.524 | 7548.2317 | 7701.666 | 7714.6757 | 7797.629 | 8107.2777 | 8120.8124 | 8207.113 | 255.16 | 7710.0265 | 7722.684 | 7803.3917 | 7956.826 | 7969.8357 | 8052.789 | 8362.4377 | 8375.9724 | 8462.273 |  |  | 1954.7418 | 2033.4938 | 2188.6276 | 635.692 | 709.9512 | 832.4069 | 5755.2847 | 5767.9422 | 5848.6499 | 5923.3322 | 5936.3419 | 6019.2952 | 6173.8102 | 6187.3449 | 6273.6454 | 0 | 60 | 0 | 0 | 40 | 184.1799 |  |  |  | 5013.6697 | 5174.5259 | 5417.9615 | 244.9899 | 226.0269 | 185.6419 | 67166.5328 | 68457.5391 | 69446.0205 | [5 empty] | 1038.4523 | 1045.9959 | 1053.5632 | 5118.8084 | 5226.7128 | 5336.4375 | 0.7864
2022 | [6 empty] | 7454.2047 | 7467.0045 | 7548.6189 | 7687.8565 | 7700.9828 | 7784.6793 | 8189.476 | 8203.2114 | 8290.792 | 255.16 | 7709.3647 | 7722.1645 | 7803.7789 | 7943.0165 | 7956.1428 | 8039.8393 | 8444.636 | 8458.3714 | 8545.952 |  |  | 1951.9208 | 2029.7658 | 2240.736 | 632.9756 | 706.3512 | 838.0099 | 5757.4439 | 5770.2437 | 5851.8581 | 5913.2507 | 5926.377 | 6010.0735 | 6203.9 | 6217.6354 | 6305.216 | 0 | 75 | 0 | 0 | 60 | 214.8765 |  |  |  | 5077.6719 | 5224.9699 | 5507.3345 | 253.1018 | 231.3933 | 190.709 | 68794.2285 | 70350.1662 | 71588.7875 | [5 empty] | 1042.4483 | 1051.2836 | 1060.1774 | 5175.7844 | 5303.2268 | 5433.5663 | 0.7864
2023 | [6 empty] | 7418.1329 | 7430.9984 | 7513.032 | 7670.5291 | 7683.7681 | 7768.1831 | 8225.8079 | 8239.6746 | 8328.0921 | 255.16 | 7673.2929 | 7686.1584 | 7768.192 | 7925.6891 | 7938.9281 | 8023.3431 | 8480.9679 | 8494.8346 | 8583.2521 |  |  | 1950.1733 | 2024.3658 | 2280.1392 | 631.2348 | 700.9512 | 830.6291 | 5723.1196 | 5735.9851 | 5818.0188 | 5901.3233 | 5914.5622 | 5998.9773 | 6200.8287 | 6214.6954 | 6303.1128 | 0 | 90 | 0 | 0 | 80 | 245.5731 |  |  |  | 5105.0914 | 5273.5144 | 5563.3868 | 259.1504 | 233.9825 | 192.8072 | 70355.0983 | 72188.5477 | 73688.9391 | [5 empty] | 1046.4668 | 1056.621 | 1066.8817 | 5233.4977 | 5381.1985 | 5533.1885 | 0.7864
2024 | [6 empty] | 7388.8813 | 7401.8262 | 7484.3661 | 7666.2798 | 7679.6551 | 7764.9394 | 8253.8656 | 8267.8986 | 8357.3765 | 255.16 | 7644.0413 | 7656.9862 | 7739.5261 | 7921.4398 | 7934.8151 | 8020.0994 | 8509.0256 | 8523.0586 | 8612.5365 |  |  | 1948.7344 | 2020.7658 | 2294.5404 | 629.7959 | 697.3512 | 837.4252 | 5695.3069 | 5708.2518 | 5790.7917 | 5900.674 | 5914.0493 | 5999.3336 | 6214.4852 | 6228.5182 | 6317.9961 | 0 | 105 | 0 | 0 | 100 | 276.2698 |  |  |  | 5139.0144 | 5333.3115 | 5636.1139 | 262.2136 | 237.0276 | 196.2438 | 71920.0203 | 74044.1386 | 75820.165 | [5 empty] | 1050.5072 | 1062.0076 | 1073.6741 | 5291.9464 | 5460.6448 | 5635.328 | 0.7864
2025 | [6 empty] | 7346.9135 | 7359.9652 | 7443.1856 | 7633.85 | 7647.356 | 7733.4736 | 8269.1914 | 8283.3719 | 8373.7908 | 255.16 | 7602.0735 | 7615.1252 | 7698.3456 | 7889.01 | 7902.516 | 7988.6336 | 8524.3514 | 8538.5319 | 8628.9508 |  |  | 1921.5365 | 1991.679 | 2305.1492 | 604.6848 | 670.3512 | 843.2059 | 5680.5371 | 5693.5887 | 5776.8092 | 5897.331 | 5910.837 | 5996.9546 | 6219.2021 | 6233.3827 | 6323.8016 | 0 | 120 | 0 | 0 | 120 | 306.9664 |  |  |  | 5185.9898 | 5390.3648 | 5699.7995 | 268.3116 | 241.4716 | 201.0403 | 73900.9407 | 76083.5643 | 77908.5085 | [5 empty] | 1054.5653 | 1067.4387 | 1080.5496 | 5351.0799 | 5541.5177 | 5739.9637 | 0.7864
[37 empty] | 0.99791 |  | 1.0133
[37 empty] | 90%poE to 50%PoE |  | 10%poE to 50%PoE
Abbreviations | [36 empty] | Ratio |  | Ratio
TC - Transmission connectioned customers (non DNSP)
DNSP - Distribution Network Service Provider (Energex and Ergon)
LNG - Liquified Natural Gas
PoE - Probability of Exceedence
EE - Energy Efficiency
DSM - Demand Side Management
WD - weather dependent
NWD - non weather dependent
Input Source
Source 1 - from Powerlink Meter Data
Source 2 - Forecasts supplied by transmission connected customers and modified for coincidence
Source 3 - new technology assumptions - refer to Appendix B of the 2016 TAPR
Source 4- Economic supplied data from Deloitte Access Economics in April 2016
Source 5 - The Queensland Household Energy Survey 2015
Source 6 - Powerlink meter data corrected for temperature using Bureau of Meteorology Data - refer to Appendix B of the 2016 TAPR

## Energy
Energy Model
| Queensland Historical ----> |  |  | Queensland Forecast ----> | [6 empty] | Transmission Connected (non DNSP) Historical ---> |  | Transmission Connected (non DNSP) Forecast ---> | [5 empty] | DNSP Forecast ----> |  |  | Drivers for Change ----> | [5 empty] | DNSP Energy Model ----->
| Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | TC | LNG | TC | TC | TC | LNG | LNG | LNG | DNSP | DNSP | DNSP | Solar PV | Battery Storage | EE | Electric Vehicles | Tariff/DSM | Customer |  | Coefficient | History | History
| Delivered | Delivered | Native | Delivered | Delivered | Delivered | Delivered | Native | Native | Native | [8 empty] | Native | Native | Native | [5 empty] | Momentum | Constant | 2.1893 |  | +PV | Forecast | Forecast | Forecast | Total Electricity Price | Total Electricity Price | Total Electricity Price | Retail Turnover | Retail Turnover | Retail Turnover
|  | Adjustment |  | Low | Medium | High | Adjustment | Low | Medium | High |  |  | Low | Medium | High | Low | Medium | High | Low | Medium | High | [6 empty] | Total Electricity Price - 1 year delay | -0.16804 |  |  | low | medium | high | low | medium | high | low | medium | high
[28 empty] | Retail Turnover - no delay | 0.58191
Inputs |  | (Source 1) | [8 empty] | (Source 1) | (Source 1) | (Source 2) | (Source 2) | (Source 2) | (Source 2) | (Source 2) | (Source 2) |  |  |  | (Source 3) | (Source 3) | (Source 3) | (Source 3) | (Source 3) |  |  |  | (Source 1) |  |  |  |  | (Source 4) | (Source 4) | (Source 4) | (Source 4) | (Source 4) | (Source 4)
1999/00 | [34 empty] | 112.2347 | 112.2347 | 112.2347 | 30808.6 | 30808.6 | 30808.6
2000/01 | 38178.0046 | 241.9954 | 38420 | [7 empty] | 9423 | [18 empty] | 28997 | 28997 | 29307.3563 | 29307.3563 | 29307.3563 | 119.979 | 119.979 | 119.979 | 32078.3 | 32078.3 | 32078.3
2001/02 | 39894.7264 | 202.2736 | 40097 | [7 empty] | 9644 | [18 empty] | 30453 | 30453 | 29922.8889 | 29922.8889 | 29922.8889 | 120.1 | 120.1 | 120.1 | 33891.6 | 33891.6 | 33891.6
2002/03 | 40849.4237 | 193.5763 | 41043 | [7 empty] | 9804 | [18 empty] | 31239 | 31239 | 31181.733 | 31181.733 | 31181.733 | 120.3412 | 120.3412 | 120.3412 | 36389.3 | 36389.3 | 36389.3
2003/04 | 42661.6638 | 122.3362 | 42784 | [7 empty] | 9988 | [16 empty] | Regression Statistics |  | 32796 | 32796 | 33492.6137 | 33492.6137 | 33492.6137 | 121.784 | 121.784 | 121.784 | 41170.1 | 41170.1 | 41170.1
2004/05 | 43679.0453 | 338.9547 | 44018 | [7 empty] | 10007 | [16 empty] | Durbin Watson | 1.7979 | 34011 | 34011 | 34320.014 | 34320.014 | 34320.014 | 121.784 | 121.784 | 121.784 | 43081.4 | 43081.4 | 43081.4
2005/06 | 45013.2124 | 700.7876 | 45714 | [7 empty] | 10129 | [16 empty] | Mean Absolute Percentage Error (MAPE) | 1.532% | 35585 | 35585 | 34998.0462 | 34998.0462 | 34998.0462 | 122.8788 | 122.8788 | 122.8788 | 44554.4 | 44554.4 | 44554.4
2006/07 | 45381.7744 | 938.2256 | 46320 | [7 empty] | 10517 | [16 empty] | Mean Percentage Bias (MPB) | 0.01441% | 35803 | 35803 | 36009.7828 | 36009.7828 | 36009.7828 | 123.6135 | 123.6135 | 123.6135 | 46911.8 | 46911.8 | 46911.8
2007/08 | 45652.608 | 1535.392 | 47188 | [7 empty] | 10628 | [16 empty] | R Squared | 0.96103 | 36560 | 36560 | 37313.8706 | 37313.8706 | 37313.8706 | 133.0108 | 133.0108 | 133.0108 | 49955.1 | 49955.1 | 49955.1
2008/09 | 46906.6504 | 1656.3496 | 48563 | [7 empty] | 10534 | [10 empty] | 17.082 | [7 empty] | 38029 | 38046.082 | 37335.0351 | 37335.0351 | 37335.0351 | 138.4629 | 138.4629 | 138.4629 | 51073.1 | 51073.1 | 51073.1
2009/10 | 46925.4636 | 2261.5364 | 49187 | [7 empty] | 10960 | [10 empty] | 76.212 | [7 empty] | 38227 | 38303.212 | 37087.6955 | 37087.6955 | 37087.6955 | 156.4646 | 156.4646 | 156.4646 | 51082.2 | 51082.2 | 51082.2
2010/11 | 45239.6119 | 2110.3881 | 47350 | [7 empty] | 10962 | [10 empty] | 181.332 | [7 empty] | 36388 | 36569.332 | 36519.8718 | 36519.8718 | 36519.8718 | 171.9576 | 171.9576 | 171.9576 | 51532.8 | 51532.8 | 51532.8
2011/12 | 45394.3787 | 1939.6213 | 47334 | [7 empty] | 11033 | [10 empty] | 479.61 | [7 empty] | 36301 | 36780.61 | 36663.0486 | 36663.0486 | 36663.0486 | 177.8028 | 177.8028 | 177.8028 | 53314.5 | 53314.5 | 53314.5
2012/13 | 45650.7368 | 1439.2632 | 47090 | [7 empty] | 11493 | [10 empty] | 1035.432 | [7 empty] | 35597 | 36632.432 | 37278.2662 | 37278.2662 | 37278.2662 | 197.716 | 197.716 | 197.716 | 55393.3 | 55393.3 | 55393.3
2013/14 | 45145.0038 | 1357.9962 | 46503 | [7 empty] | 11508 | 55 | [9 empty] | 1386.27 | [7 empty] | 34995 | 36381.27 | 37225.2574 | 37225.2574 | 37225.2574 | 231.4875 | 229.9465 | 228.9134 | 56978.2 | 56978.2 | 56978.2
2014/15 | 46780.0144 | 1715.1 | 48495.1144 | [7 empty] | 13128.3 | 1200.4 | [9 empty] | 1456.8 | [7 empty] | 35366.8144 | 36823.5943 | 36459.271 | 36500.2151 | 36527.8432 | 237.1458 | 233.1639 | 229.4335 | 57539.8 | 57539.8 | 57539.8
2015/16 | 48859.393 | 1674.1149 | 50533.5079 | [7 empty] | 15544.8931 | 3634.7653 | [9 empty] | 1680.9231 | [7 empty] | 34988.6148 | 36809.6718 | 36451.575 | 36561.2976 | 36673.3718 | 235.1518 | 232.4613 | 199.0212 | 57921.4529 | 57937.3884 | 57972.2883
2016/17 |  |  |  | 49743.5659 | 50292.5686 | 51690.6453 | 1271 | 51014.5659 | 51563.5686 | 52961.6453 |  |  | 16683.3443 | 17094.4108 | 17471.5458 | 4714.8885 | 5125.955 | 5456.89 | 34331.2216 | 34469.1578 | 35490.0996 | 2286.36 | 0 | 0 | 0 | 0 | 174.6958 |  |  |  |  | 36792.2775 | 36930.2137 | 37951.1554 | 219.4152 | 217.3521 | 187.0962 | 58711.5829 | 58894.3084 | 59012.9483
2017/18 |  |  |  | 50545.1608 | 51214.0042 | 53035.7346 | 1269 | 51814.1608 | 52483.0042 | 54304.7346 |  |  | 16996.3051 | 17473.0548 | 18243.8898 | 5032.5852 | 5509.335 | 6220.97 | 34817.8557 | 35009.9493 | 36060.8447 | 2645.52 | 0 | 0 | 0 | 0 | 349.3917 |  |  |  |  | 37812.7674 | 38004.861 | 39055.7564 | 223.0481 | 220.3454 | 187.7778 | 60319.1949 | 60680.9768 | 60899.0537
2018/19 |  |  |  | 50572.7084 | 51414.3944 | 53710.5142 | 1268 | 51840.7084 | 52682.3944 | 54978.5142 |  |  | 17044.7394 | 17603.9707 | 18717.3207 | 5060.6126 | 5617.035 | 6581.085 | 34795.969 | 35078.4237 | 36261.1935 | 3004.68 | 0 | 0 | 0 | 0 | 524.0875 |  |  |  |  | 38324.7366 | 38607.1913 | 39789.9611 | 224.6572 | 215.0906 | 181.6364 | 62022.9134 | 62589.7993 | 62945.7484
2019/20 |  |  |  | 50864.0064 | 52033.8482 | 54520.9005 | 1268 | 52132.0064 | 53301.8482 | 55788.9005 |  |  | 17338.8424 | 17939.5657 | 19098.0157 | 5257.042 | 5846.53 | 6765.32 | 34793.164 | 35362.2825 | 36690.8848 | 3363.84 | 0 | 0 | 0 | 0 | 698.7834 |  |  |  |  | 38855.7874 | 39424.9059 | 40753.5082 | 227.9438 | 210.9367 | 177.2637 | 63639.132 | 64434.5467 | 64961.1481
2020/21 |  |  |  | 50806.709 | 52305.5643 | 55065.1547 | 1267 | 52073.709 | 53572.5643 | 56332.1547 |  |  | 17333.5866 | 17948.0407 | 19244.3994 | 5204.1485 | 5790.205 | 6778.5787 | 34740.1225 | 35624.5237 | 37087.7553 | 3744.9 | 0 | 0 | 0 | 0 | 873.4792 |  |  |  |  | 39358.5017 | 40242.9029 | 41706.1346 | 242.7146 | 219.3468 | 184.1058 | 65334.0657 | 66374.2371 | 67118.5197
2021/22 |  |  |  | 50517.5598 | 52289.011 | 55239.6871 | 1266 | 51783.5598 | 53555.011 | 56505.6871 |  |  | 17380.3169 | 18024.2807 | 19407.9756 | 5231.0721 | 5843.945 | 6852.1855 | 34403.2429 | 35530.7303 | 37097.7115 | 4125.96 | 0 | 0 | 0 | 0 | 1048.1751 |  |  |  |  | 39577.378 | 40704.8654 | 42271.8466 | 244.9899 | 226.0269 | 185.6419 | 67166.5328 | 68457.5391 | 69446.0205
2022/23 |  |  |  | 50439.9308 | 52154.8506 | 56065.0098 | 1265 | 51704.9308 | 53419.8506 | 57330.0098 |  |  | 17365.0024 | 18001.7187 | 20093.9259 | 5210.2888 | 5815.86 | 6934.6997 | 34339.9283 | 35418.1319 | 37236.0839 | 4507.02 | 0 | 0 | 0 | 0 | 1222.8709 |  |  |  |  | 40069.8193 | 41148.0228 | 42965.9748 | 253.1018 | 231.3933 | 190.709 | 68794.2285 | 70350.1662 | 71588.7875
2023/24 |  |  |  | 50227.8772 | 52065.8472 | 56082.778 | 1265 | 51492.8772 | 53330.8472 | 57347.778 |  |  | 17403.7637 | 18010.5107 | 20135.6935 | 5237.713 | 5813.275 | 6896.1519 | 34089.1135 | 35320.3365 | 37212.0845 | 4888.08 | 0 | 0 | 0 | 0 | 1397.5668 |  |  |  |  | 40374.7603 | 41605.9833 | 43497.7313 | 259.1504 | 233.9825 | 192.8072 | 70355.0983 | 72188.5477 | 73688.9391
2024/25 |  |  |  | 49841.5084 | 51842.4956 | 56306.9201 | 1264 | 51105.5084 | 53106.4956 | 57570.9201 |  |  | 17213.9376 | 17801.7657 | 20268.1359 | 5062.7869 | 5619.43 | 6979.1311 | 33891.5709 | 35304.7299 | 37302.7842 | 5269.14 | 0 | 0 | 0 | 0 | 1572.2626 |  |  |  |  | 40732.9735 | 42146.1326 | 44144.1868 | 262.2136 | 237.0276 | 196.2438 | 71920.0203 | 74044.1386 | 75820.165
2025/26 |  |  |  | 49757.899 | 51756.0104 | 56395.6771 | 1263 | 51020.899 | 53019.0104 | 57658.6771 |  |  | 17117.5692 | 17691.3007 | 20341.0844 | 4979.4185 | 5521.965 | 7008.2919 | 33903.3299 | 35327.7097 | 37317.5928 | 5650.2 | 0 | 0 | 0 | 0 | 1746.9585 |  |  |  |  | 41300.4884 | 42724.8682 | 44714.7513 | 268.3116 | 241.4716 | 201.0403 | 73900.9407 | 76083.5643 | 77908.5085
based on trend from
DNSP at state peak corrected forecast (col CG) and
Abbreviations | [21 empty] | DNSP evening state peak corrected forecast (col CC)
TC - Transmission connectioned customers (non DNSP)
DNSP - Distribution Network Service Provider (Energex and Ergon)
LNG - Liquified Natural Gas
PoE - Probability of Exceedence
EE - Energy Efficiency
DSM - Demand Side Management
WD - weather dependent
NWD - non weather dependent
Input Source
Source 1 - from Powerlink Meter Data
Source 2 - Forecasts supplied by transmission connected customers and modified for coincidence
Source 3 - new technology assumptions - refer to Appendix B of the 2016 TAPR
Source 4- Economic supplied data from Deloitte Access Economics in April 2016