## Cover
2018 Transmission Annual Planning Report
Powerlink Forecasting Model
Version 2018.1
Powerlink Contact
Steven Rawlins
Team Leader Operational and Data Modelling
srawlin1@powerlink.com.au
Note: Powerlink's forecasting model should be reviewed in conjunction with the description contained in the 2018 Transmission Annual Planning Report Appendix B - Powerlink's Forecasting Methodology.
Disclaimer: While care is taken in the preparation of the information in this document, and it is provided in good faith, Powerlink Queensland accepts no responsibility or liability for any loss or damage that may be incurred by persons acting in reliance on this information or assumptions drawn from it.

## Summer
Summer Maximum Demand Model
[73 empty] | Deloitte | Deloitte | Deloitte
| Queensland Historical ----> | [5 empty] | Queensland Forecast ----> | [18 empty] | Transmission Connected (non DNSP) ---> |  |  |  | DNSP Forecast ----> | [8 empty] | Drivers for Change ----> |  |  |  |  | DNSP Non Weather Dependent (NWD) Model -----> | [9 empty] | DNSP Weather Dependent (WD) Model -----> | [11 empty] | DNSP Actual and Temperature Correction Summary ------>
| Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | TC | TC | TC | TC | DNSP | DNSP | DNSP | DNSP | DNSP | DNSP | DNSP | DNSP | DNSP | Solar PV | Battery Storage | Electric Vehicles | Tariff/DSM | Customer |  | Coefficient | History* | Forecast | Forecast | Forecast | Total Electricity Price |  |  |  |  | Coefficient | History | History* | History | Forecast | Forecast | Forecast |  |  |  | Air Conditioning Penetration | (PoE values from temperature correction methodology) | [7 empty] | Ratio | Regression | Ratio | Regression
| Delivered | Delivered | Native | Native | Native | Native | Delivered | Delivered | Delivered | Delivered | Delivered | Delivered | Delivered | Delivered | Delivered | Delivered | Native | Native | Native | Native | Native | Native | Native | Native | Native |  |  |  |  | Native | Native | Native | Native | Native | Native | Native | Native | Native |  |  |  |  | Impact | Constant | 2.1801 | NWD | NWD | NWD | NWD |  | Employment (’000s) | Employment (’000s) | Employment (’000s) | Constant | 0.26148 | DNSP | NWD | WD | Summer WD | Summer WD | Summer WD | Population | Population | Population |  | DNSP | DNSP | DNSP | DNSP | DNSP | DNSP | DNSP | DNSP | 90% | 90% | 10% | 10%
| Actual | Adjustment | Actual | 90% PoE | 50% PoE | 10% PoE | Low | Low | Low | Medium | Medium | Medium | High | High | High | Adjustment | Low | Low | Low | Medium | Medium | Medium | High | High | High | At State Peak | Low | Medium | High | Low | Low | Low | Medium | Medium | Medium | High | High | High | [5 empty] | Total Electricity Price - 1 year delay | -0.13422 |  | low | medium | high |  | low | medium | high | Population x Air Conditioning Penetration | 0.84557 | Corrected** |  |  | low | medium | high | low | medium | high |  | Actual | 90% PoE | 50% PoE | 10% PoE | Actual | 90% PoE | 50% PoE | 10% PoE |  | -0.0024 |  | 0.0025
| At State Peak | At State Peak | At State Peak | At State Peak | At State Peak | At State Peak | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE |  | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE |  |  |  |  | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | [5 empty] | Employment | 0.53855 | [20 empty] | Peak after 6pm | Peak after 6pm | Peak after 6pm | Peak after 6pm | At state peak | At state peak | At state peak | At state peak |  | 0.9723 |  | 1.0421
Inputs |  | (Source 1) | [23 empty] | (Source 1) | (Source 2) | (Source 2) | (Source 2) | [9 empty] | (Source 3) | (Source 3) | (Source 3) | (Source 3) | (Source 3) |  |  | (Source 1) |  |  |  | (Source 6) | (Source 5) | (Source 4) | (Source 5) | [8 empty] | (Source 5) | (Source 4) | (Source 5) | (Source 7) | (Source 1) | (Source 8) | (Source 8) | (Source 8) | (Source 1) | (Source 8) | (Source 8) | (Source 8)
1999/00 | [49 empty] | 118.9333 | 1626.0275 | 1626.0275 | 1626.0275 | * median weekday maximum demand in September
2000/01 | 5829.304 | 79 | 5908.304 | 5807.408 | 5921.958 | 6050.444 | [19 empty] | 1064 | [17 empty] | * median weekday maximum demand in September |  | 3977.5213 | 4303.8789 | 4303.8789 | 4303.8789 | 127.1397 | 1646.4036 | 1646.4036 | 1646.4036 | **Based on temperature corrected evening corrected peaks |  | 4731.399 | 3977.5213 | 753.8777 | 792.0212 | 792.0212 | 792.0212 | 3547.2627 | 3547.2627 | 3547.2627 | 0.37071 | 4723.486 | 4610.96 | 4731.399 | 4879.601 | 4844.304 | 4743.408 | 4857.958 | 4986.444 | 0.97454 | 0.9699 | 1.0313 | 1.0446 | 1
2001/02 | 6182.951 | 64 | 6246.951 | 6046.222 | 6192.107 | 6401.577 | [19 empty] | 1091 | [19 empty] | 3999.5327 | 4325.9968 | 4325.9968 | 4325.9968 | 127.2669 | 1690.0188 | 1690.0188 | 1690.0188 |  |  | 4909.922 | 3999.5327 | 910.3893 | 877.7516 | 877.7516 | 877.7516 | 3621.6865 | 3621.6865 | 3621.6865 | 0.41001 | 4936.777 | 4766.254 | 4909.922 | 5096.639 | 5155.951 | 4955.222 | 5101.107 | 5310.577 | 0.97074 | 0.9675 | 1.038 | 1.0471 | 2
2002/03 | 6335.59 | 100 | 6435.59 | 6245.132 | 6433.62 | 6683.55 | [19 empty] | 1078 | [19 empty] | 4131.2426 | 4421.2081 | 4421.2081 | 4421.2081 | 127.5214 | 1760.174 | 1760.174 | 1760.174 |  |  | 5084.576 | 4131.2426 | 953.3334 | 969.3953 | 969.3953 | 969.3953 | 3711.0053 | 3711.0053 | 3711.0053 | 0.45001 | 5081.29 | 4928.639 | 5084.576 | 5290.425 | 5357.59 | 5167.132 | 5355.62 | 5605.55 | 0.96933 | 0.9651 | 1.0405 | 1.0496 | 3
2003/04 | 7020.387 | 86 | 7106.387 | 6665.311 | 6888.582 | 7234.007 | [19 empty] | 1132 | [17 empty] | Regression Statistics |  | 4355.9149 | 4494.4289 | 4494.4289 | 4494.4289 | 129.0517 | 1815.5894 | 1815.5894 | 1815.5894 | Regression Statistics |  | 5548.482 | 4355.9149 | 1192.5671 | 1052.8455 | 1052.8455 | 1052.8455 | 3798.64 | 3798.64 | 3798.64 | 0.48473 | 5767.398 | 5306.881 | 5548.482 | 5880.271 | 5974.387 | 5533.311 | 5756.582 | 6102.007 | 0.95646 | 0.9627 | 1.0598 | 1.0521 | 4
2004/05 | 7205.773 | 151 | 7356.773 | 6955.601 | 7263.327 | 7636.043 | [19 empty] | 1090 | [17 empty] | Durbin Watson | 2.1945 | 4602.8511 | 4605.4175 | 4605.4175 | 4605.4175 | 129.0517 | 1905.3768 | 1905.3768 | 1905.3768 | Durbin Watson | N/A | 5795.556 | 4602.8511 | 1192.7049 | 1156.6457 | 1156.6457 | 1156.6457 | 3884.412 | 3884.412 | 3884.412 | 0.52978 | 5973.902 | 5532.851 | 5795.556 | 6117.282 | 6266.773 | 5865.601 | 6173.327 | 6546.043 | 0.95467 | 0.9603 | 1.0555 | 1.0546 | 5
2005/06 | 7300.7358 | 180.2642 | 7481 | 7223.708 | 7588.049 | 8086.921 | [19 empty] | 1092.376 | [17 empty] | Mean Absolute Percentage Error (MAPE) | 0.6521% | 4693.6441 | 4706.1445 | 4706.1445 | 4706.1445 | 130.2131 | 1983.4813 | 1983.4813 | 1983.4813 | Mean Absolute Percentage Error (MAPE) | 9.976% | 6057.951 | 4693.6441 | 1364.3069 | 1320.0511 | 1320.0511 | 1320.0511 | 3975.0785 | 3975.0785 | 3975.0785 | 0.60527 | 5988.712 | 5782.836 | 6057.951 | 6534.139 | 6388.624 | 6131.332 | 6495.673 | 6994.545 | 0.95459 | 0.9579 | 1.0786 | 1.0571 | 6
2006/07 | 7757.0421 | 235.9579 | 7993 | 7494.912 | 7907.262 | 8433.285 | [19 empty] | 1121.479 | [17 empty] | Mean Percentage Bias (MPB) | 0.003287% | 4859.1673 | 4819.8339 | 4819.8339 | 4819.8339 | 130.9944 | 2078.0082 | 2078.0082 | 2078.0082 | Mean Percentage Bias (MPB) | -0.6422% | 6363.619 | 4859.1673 | 1504.4517 | 1434.53 | 1434.53 | 1434.53 | 4070.7435 | 4070.7435 | 4070.7435 | 0.65214 | 6381.72 | 6018.283 | 6363.619 | 6875.063 | 6871.521 | 6373.433 | 6785.783 | 7311.806 | 0.94573 | 0.9555 | 1.0804 | 1.0596 | 7
2007/08 | 7281.0678 | 287.9322 | 7569 | 7581.244 | 7893.134 | 8291.999 | [19 empty] | 1132.822 | [17 empty] | R Squared | 0.83907 | 4840.1964 | 4897.2602 | 4897.2602 | 4897.2602 | 140.95 | 2143.6112 | 2143.6112 | 2143.6112 | R Squared | 0.79854 | 5902.186 | 4840.1964 | 1061.9896 | 1515.4126 | 1515.4126 | 1515.4126 | 4176.483 | 4176.483 | 4176.483 | 0.67822 | 5802.184 | 5732.575 | 5902.186 | 6136.535 | 6436.178 | 6448.422 | 6760.312 | 7159.177 | 0.97126 | 0.9531 | 1.0397 | 1.0621 | 8
2008/09 | 7848.633 | 221.367 | 8070 | 7909.736 | 8310.249 | 8737.56 | [19 empty] | 1145.802 | [19 empty] | 4931.1174 | 4931.3484 | 4931.3484 | 4931.3484 | 146.7289 | 2211.4027 | 2211.4027 | 2211.4027 |  |  | 6475.518 | 4931.1174 | 1544.4006 | 1610.7975 | 1610.7975 | 1610.7975 | 4289.4795 | 4289.4795 | 4289.4795 | 0.70979 | 6480.546 | 6178.524 | 6475.518 | 6858.689 | 6924.198 | 6763.934 | 7164.447 | 7591.758 | 0.95414 | 0.9507 | 1.0592 | 1.0646 | 9
2009/10 | 7950.6273 | 370.3727 | 8321 | 7961.102 | 8363.232 | 8828.904 | [19 empty] | 1163.398 | [19 empty] | 4986.3535 | 4906.5239 | 4906.5239 | 4906.5239 | 165.8037 | 2212.825 | 2212.825 | 2212.825 |  |  | 6643.444 | 4986.3535 | 1657.0905 | 1718.7284 | 1718.7284 | 1718.7284 | 4377.5335 | 4377.5335 | 4377.5335 | 0.75096 | 6607.742 | 6275.928 | 6643.444 | 7154.042 | 7157.602 | 6797.704 | 7199.834 | 7665.506 | 0.94468 | 0.9483 | 1.0769 | 1.0671 | 10
2010/11 | 7797.4907 | 354.5093 | 8152 | 7810.506 | 8178.037 | 8691.449 | [19 empty] | 1114.955 | [19 empty] | 4879.7831 | 4867.6122 | 4867.6122 | 4867.6122 | 182.2182 | 2247.7819 | 2247.7819 | 2247.7819 |  |  | 6767.467 | 4879.7831 | 1887.6839 | 1758.7113 | 1758.7113 | 1758.7113 | 4448.2752 | 4448.2752 | 4448.2752 | 0.75939 | 6213.405 | 6282.777 | 6767.467 | 7382.662 | 7037.045 | 6695.551 | 7063.082 | 7576.494 | 0.92838 | 0.9459 | 1.0909 | 1.0696 | 11
2011/12 | 7722.7888 | 336.2112 | 8059 | 7732.049 | 8100.189 | 8603.797 | [19 empty] | 1172.195 | [19 empty] | 4783.28 | 4843.2592 | 4843.2592 | 4843.2592 | 188.4137 | 2279.9575 | 2279.9575 | 2279.9575 |  |  | 6504.769 | 4783.28 | 1721.489 | 1807.8677 | 1807.8677 | 1807.8677 | 4533.6443 | 4533.6443 | 4533.6443 | 0.76978 | 6437.023 | 6127.011 | 6504.769 | 7009.752 | 6886.805 | 6559.854 | 6927.994 | 7431.602 | 0.94193 | 0.9435 | 1.0776 | 1.0721 | 12
2012/13 | 7587.8597 | 325.1403 | 7913 | 7533.237 | 7947.309 | 8447.805 | [19 empty] | 1240.679 | [19 empty] | 4790.5404 | 4837.3143 | 4837.3143 | 4837.3143 | 209.516 | 2293.7973 | 2293.7973 | 2293.7973 |  |  | 6270.421 | 4790.5404 | 1479.8806 | 1850.3155 | 1850.3155 | 1850.3155 | 4623.2855 | 4623.2855 | 4623.2855 | 0.77586 | 6225.296 | 5914.173 | 6270.421 | 6697.723 | 6672.321 | 6292.558 | 6706.63 | 7207.126 | 0.94319 | 0.9411 | 1.0681 | 1.0746 | 13
2013/14 | 7497.7967 | 333.2033 | 7831 | 7348.635 | 7730.849 | 8226.928 | [19 empty] | 1190.597 | [19 empty] | 4834.0203 | 4796.9994 | 4796.9994 | 4796.9994 | 243.6671 | 2318.9754 | 2318.9754 | 2318.9754 |  |  | 6321.773 | 4834.0203 | 1487.7527 | 1896.3231 | 1896.3231 | 1896.3231 | 4698.98 | 4698.98 | 4698.98 | 0.78586 | 6346.123 | 5993.435 | 6321.773 | 6804.774 | 6640.403 | 6158.038 | 6540.252 | 7036.331 | 0.94806 | 0.9387 | 1.0764 | 1.0771 | 14
2014/15 | 8018.7841 | 307.2159 | 8326 | 7702.74 | 8084.161 | 8628.598 | [19 empty] | 1499.001 | [19 empty] | 4740.0318 | 4708.9512 | 4708.9512 | 4708.9512 | 247.0784 | 2326.4862 | 2326.4862 | 2326.4862 |  |  | 6381.951 | 4740.0318 | 1641.9192 | 1935.2233 | 1935.2233 | 1935.2233 | 4762.0948 | 4762.0948 | 4762.0948 | 0.7943 | 6809.349 | 6011.459 | 6381.951 | 6888.098 | 6826.999 | 6203.739 | 6585.16 | 7129.597 | 0.94195 | 0.9363 | 1.0793 | 1.0796 | 15
2015/16 | 8270.5447 | 268.6482 | 8539.193 | 7622.893 | 8274.193 | 8927.193 | [19 empty] | 1670.8398 | [19 empty] | 4702 | 4742.0363 | 4742.0363 | 4742.0363 | 246.3372 | 2365.1096 | 2365.1096 | 2365.1096 |  |  | 6361.732 | 4702 | 1659.732 | 1977.8737 | 1977.8737 | 1977.8737 | 4823.3578 | 4823.3578 | 4823.3578 | 0.80469 | 6618.432 | 5815.4546 | 6361.732 | 6965.462 | 6868.3532 | 5952.0532 | 6603.3532 | 7256.3532 | 0.91413 | 0.9339 | 1.0949 | 1.0821 | 16
2016/17 | 8392.3 | 364 | 8756.3 | 8190.6 | 8666.6 | 9210.6 | [19 empty] | 1670.6 | [19 empty] | 4766 | 4745.3687 | 4745.3687 | 4745.3687 | 250.2557 | 2366.4241 | 2366.4241 | 2366.4241 |  |  | 6877 | 4766 | 2111 | 2020.2233 | 2020.2233 | 2020.2233 | 4896.8075 | 4896.8075 | 4896.8075 | 0.81273 | 7031 | 6374 | 6877 | 7407 | 7085.7 | 6520 | 6996 | 7540 | 0.92686 | 0.9315 | 1.0771 | 1.0846 | 17
2017/18 | 8841.55 | 347.65 | 9189.2 | 8272.9 | 8924.2 | 9577.2 | [19 empty] | 1836 | [19 empty] | 4847.0677 | 4845.7484 | 4845.7484 | 4845.7484 | 254.1387 | 2469.9091 | 2469.9091 | 2469.9091 |  |  | 6857 | 4847.0677 | 2009.9323 | 2070.8758 | 2070.8758 | 2070.8758 | 4978.6776 | 4978.6776 | 4978.6776 | 0.82312 | 7113.7 | 6310.7226 | 6857 | 7460.73 | 7353.2 | 6436.9 | 7088.2 | 7741.2 | 0.92033 | 0.9291 | 1.088 | 1.0871 | 18
2018/19 | [6 empty] | 8014.5719 | 8491.3179 | 9080.1166 | 8059.0636 | 8538.3504 | 9130.2871 | 8143.6293 | 8625.5886 | 9220.826 | 333.34 | 8347.9119 | 8824.6579 | 9413.4566 | 8392.4036 | 8871.6904 | 9463.6271 | 8476.9693 | 8958.9286 | 9554.166 |  | 1751.433 | 1761.3736 | 1809.5969 | 6596.4788 | 7073.2248 | 7662.0235 | 6631.03 | 7110.3168 | 7702.2535 | 6667.3724 | 7149.3317 | 7744.569 | -121.37 | 0.040298 | 0 | 0 | 7.9004 |  |  |  | 4855.2438 | 4876.8272 | 4900.4817 | 223.1664 | 2488.4334 | 2509.0128 | 2531.6568 | [5 empty] | 2104.5518 | 2120.0604 | 2135.4207 | 5016.0177 | 5059.7612 | 5103.1445 | 0.83273
2019/20 | [6 empty] | 8065.2306 | 8551.4059 | 9151.8501 | 8151.3572 | 8642.1867 | 9248.3791 | 8271.3011 | 8768.1634 | 9381.8065 | 333.34 | 8398.5706 | 8884.7459 | 9485.1901 | 8484.6972 | 8975.5267 | 9581.7191 | 8604.6411 | 9101.5034 | 9715.1465 |  | 1757.2659 | 1780.1019 | 1818.0087 | 6641.3046 | 7127.4799 | 7727.9242 | 6704.5953 | 7195.4248 | 7801.6172 | 6786.6324 | 7283.4947 | 7897.1378 | -83.54 | 0.040298 | 0 | 0 | 53.4693 |  |  |  | 4960.598 | 4997.7362 | 5053.4677 | 200.4272 | 2507.0966 | 2542.0605 | 2594.9482 | [5 empty] | 2136.8516 | 2167.6583 | 2199.9966 | 5053.6378 | 5139.915 | 5230.7231 | 0.84155 | [9 empty] | 0.9315 |  | 1.0846
2020/21 | [6 empty] | 8093.0572 | 8587.5022 | 9198.1599 | 8234.9457 | 8736.7138 | 9356.4158 | 8405.9422 | 8916.7752 | 9547.6727 | 333.34 | 8426.3972 | 8920.8422 | 9531.4999 | 8568.2857 | 9070.0538 | 9689.7558 | 8739.2822 | 9250.1152 | 9881.0127 |  | 1770.6001 | 1812.9046 | 1860.6322 | 6655.7972 | 7150.2422 | 7760.8998 | 6755.3811 | 7257.1493 | 7876.8513 | 6878.65 | 7389.483 | 8020.3805 | -45.71 | 0.082687 | 0 | 20 | 93.5607 |  |  |  | 5052.959 | 5113.9408 | 5195.5194 | 183.9236 | 2525.8999 | 2582.7958 | 2659.8219 | [5 empty] | 2165.2165 | 2211.1418 | 2261.897 | 5091.5401 | 5219.504 | 5361.4912 | 0.84842 | [9 empty] | trend average |  | trend average
2021/22 | [6 empty] | 8092.2595 | 8594.0919 | 9213.8733 | 8285.3762 | 8797.4675 | 9429.919 | 8500.7129 | 9024.8446 | 9672.1663 | 333.34 | 8425.5995 | 8927.4319 | 9547.2133 | 8618.7162 | 9130.8075 | 9763.259 | 8834.0529 | 9358.1846 | 10005.5063 |  | 1762.0316 | 1815.6425 | 1867.2476 | 6663.5679 | 7165.4003 | 7785.1816 | 6803.0737 | 7315.165 | 7947.6165 | 6966.8053 | 7490.937 | 8138.2587 | -7.88 | 0.2088 | 0 | 40 | 128.2916 |  |  |  | 5132.1841 | 5220.5361 | 5326.1471 | 172.5611 | 2544.8441 | 2626.7917 | 2726.3175 | [5 empty] | 2193.8366 | 2255.2492 | 2325.4103 | 5129.7266 | 5299.982 | 5495.5285 | 0.85528 | [9 empty] | of last 3 years |  | of last 3 years
2022/23 | [6 empty] | 8091.5468 | 8599.8088 | 9227.531 | 8330.3033 | 8851.7659 | 9495.7912 | 8604.0749 | 9140.7326 | 9803.5245 | 333.34 | 8424.8868 | 8933.1488 | 9560.871 | 8663.6433 | 9185.1059 | 9829.1312 | 8937.4149 | 9474.0726 | 10136.8645 |  | 1731.224 | 1790.4726 | 1857.612 | 6693.6628 | 7201.9248 | 7829.647 | 6873.1708 | 7394.6333 | 8038.6586 | 7079.8029 | 7616.4606 | 8279.2525 | 0 | 0.57443 | 0 | 60 | 157.3843 |  |  |  | 5197.1697 | 5312.5694 | 5443.8426 | 168.7903 | 2563.9304 | 2670.645 | 2794.4754 | [5 empty] | 2222.7139 | 2300.0227 | 2390.5768 | 5168.1996 | 5381.4556 | 5632.9167 | 0.86214
2023/24 | [6 empty] | 8088.243 | 8600.9979 | 9234.2689 | 8373.4683 | 8902.2093 | 9555.2238 | 8716.895 | 9264.2471 | 9940.2468 | 333.34 | 8421.583 | 8934.3379 | 9567.6089 | 8706.8083 | 9235.5493 | 9888.5638 | 9050.235 | 9597.5871 | 10273.5868 |  | 1705.837 | 1773.6743 | 1864.018 | 6715.746 | 7228.5009 | 7861.7719 | 6933.1341 | 7461.8751 | 8114.8895 | 7186.217 | 7733.5691 | 8409.5689 | 0 | 1.4418 | 0 | 80 | 175.5301 |  |  |  | 5233.6222 | 5373.5581 | 5533.1031 | 171.1288 | 2583.1599 | 2712.8749 | 2864.3373 | [5 empty] | 2251.8506 | 2345.2889 | 2457.4379 | 5206.9611 | 5463.437 | 5773.7396 | 0.86901
2024/25 | [6 empty] | 8059.0658 | 8574.6159 | 9211.3391 | 8387.1831 | 8921.4061 | 9581.191 | 8833.1824 | 9389.5987 | 10076.7931 | 333.34 | 8392.4058 | 8907.9559 | 9544.6791 | 8720.5231 | 9254.7461 | 9914.531 | 9166.5224 | 9722.9387 | 10410.1331 |  | 1668.0799 | 1742.2734 | 1886.4761 | 6724.3259 | 7239.876 | 7876.5992 | 6978.2497 | 7512.4727 | 8172.2576 | 7280.0463 | 7836.4625 | 8523.657 | 0 | 2.517 | 0 | 100 | 183.8861 |  |  |  | 5245.0302 | 5407.8855 | 5596.83 | 172.6604 | 2602.5336 | 2754.5719 | 2935.9457 | [5 empty] | 2281.2489 | 2390.9903 | 2526.0356 | 5246.0133 | 5545.7631 | 5918.0831 | 0.87587
2025/26 | [6 empty] | 8037.2461 | 8555.8457 | 9196.335 | 8406.8832 | 8946.7618 | 9613.5316 | 8922.9236 | 9488.8288 | 10187.7423 | 333.34 | 8370.5861 | 8889.1857 | 9529.675 | 8740.2232 | 9280.1018 | 9946.8716 | 9256.2636 | 9822.1688 | 10521.0823 |  | 1637.1736 | 1717.4461 | 1879.5628 | 6733.4126 | 7252.0121 | 7892.5014 | 7022.7771 | 7562.6557 | 8229.4255 | 7376.7008 | 7942.606 | 8641.5196 | 0 | 5.1971 | 0 | 120 | 193.5867 |  |  |  | 5259.885 | 5444.3395 | 5664.9764 | 172.9755 | 2622.0526 | 2795.3499 | 3009.3444 | [5 empty] | 2310.9109 | 2437.1001 | 2596.4134 | 5285.3584 | 5628.3587 | 6066.0352 | 0.88274
2026/27 | [6 empty] | 7990.7921 | 8511.7592 | 9155.1726 | 8400.5173 | 8945.2149 | 9617.9364 | 9009.7413 | 9584.4976 | 10294.3427 | 333.34 | 8324.1321 | 8845.0992 | 9488.5126 | 8733.8573 | 9278.5549 | 9951.2764 | 9343.0813 | 9917.8376 | 10627.6827 |  | 1603.1959 | 1690.2206 | 1890.6899 | 6720.9362 | 7241.9033 | 7885.3167 | 7043.6367 | 7588.3343 | 8261.0558 | 7452.3914 | 8027.1477 | 8736.9928 | 0 | 8.2152 | 0 | 150 | 205.2409 |  |  |  | 5279.8017 | 5484.1638 | 5739.4093 | 174.323 | 2641.718 | 2834.724 | 3084.578 | [5 empty] | 2325.5577 | 2467.6266 | 2651.1945 | 5324.9986 | 5711.8292 | 6217.6861 | 0.88274
2027/28 | [6 empty] | 7929.7486 | 8452.8056 | 9098.8002 | 8375.6446 | 8924.7275 | 9602.8649 | 9075.3681 | 9658.8045 | 10379.3698 | 333.34 | 8263.0886 | 8786.1456 | 9432.1402 | 8708.9846 | 9258.0675 | 9936.2049 | 9408.7081 | 9992.1445 | 10712.7098 |  | 1561.9049 | 1653.8875 | 1886.4536 | 6701.1836 | 7224.2407 | 7870.2353 | 7055.0971 | 7604.18 | 8282.3175 | 7522.2545 | 8105.6909 | 8826.2562 | 0 | 16.3694 | 0 | 180 | 215.2595 |  |  |  | 5295.5724 | 5517.1113 | 5810.1885 | 177.2371 | 2661.5309 | 2871.9768 | 3161.6924 | [5 empty] | 2340.2973 | 2498.6976 | 2707.1313 | 5364.9361 | 5796.9824 | 6373.1282 | 0.88274
[82 empty] | 162.0138 | 171.1288 | 174.8467
[79 empty] | 170.1441 | 172.6604 | 184.3532
Abbreviations | [78 empty] | 174.0669 | 172.9755 | 188.6088
TC - Transmission connectioned customers (non DNSP) | [78 empty] | 174.5545 | 174.323 | 191.6365
DNSP - Distribution Network Service Provider (Energex and Ergon) | [81 empty] | 175.8692 | 177.2371 | 199.6916
PoE - Probability of Exceedence
DSM - Demand Side Management
WD - weather dependent
NWD - non weather dependent
Input Source
Source 1 - from Powerlink Meter Data
Source 2 - Forecasts supplied by transmission connected customers and modified for coincidence
Source 3 - new technology assumptions - refer to Appendix B of the 2018 TAPR
Source 4 - Economic supplied data from Deloitte Access in April 2018
Source 5 - Combination of economic supplied data from Deloitte Access in April 2018 and economic data derived by Powerlink
Source 6 - Total electricity price data from Jacobs in May 2018
Source 7 - The Queensland Household Energy Survey 2017
Source 8 - Powerlink meter data corrected for temperature using Bureau of Meteorology Data - refer to Appendix B of the 2018 TAPR

## Winter
Winter Maximum Demand Model
| Queensland Historical ----> | [5 empty] | Queensland Forecast ----> | [18 empty] | Transmission Connected (non DNSP) ---> |  |  |  | DNSP Forecast ----> | [8 empty] | Drivers for Change ----> |  |  |  |  | DNSP Non Weather Dependent (NWD) Model -----> | [9 empty] | DNSP Weather Dependent (WD) Model -----> | [11 empty] | DNSP Actual and Temperature Correction Summary ------>
| Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | TC | TC | TC | TC | DNSP | DNSP | DNSP | DNSP | DNSP | DNSP | DNSP | DNSP | DNSP | Solar PV | Battery Storage | Electric Vehicles | Tariff/DSM | Customer |  | Coefficient | History* | Forecast | Forecast | Forecast | Total Electricity Price |  |  |  |  | Coefficient | History | History* | History | Forecast | Forecast | Forecast |  |  |  | Air Conditioning Penetration | (PoE values from temperature correction methodology) | [7 empty] | Ratio | Ratio
| Delivered | Delivered | Native | Native | Native | Native | Delivered | Delivered | Delivered | Delivered | Delivered | Delivered | Delivered | Delivered | Delivered | Delivered | Native | Native | Native | Native | Native | Native | Native | Native | Native |  |  |  |  | Native | Native | Native | Native | Native | Native | Native | Native | Native |  |  |  |  | Impact | Constant | 2.1801 | NWD | NWD | NWD | NWD |  | Employment (’000s) | Employment (’000s) | Employment (’000s) | Constant | 2.0794 | DNSP | NWD | WD | Summer WD | Summer WD | Summer WD | Population | Population | Population |  | DNSP | DNSP | DNSP | DNSP | DNSP | DNSP | DNSP | DNSP | 90% | 10%
| Actual | Adjustment | Actual | 90% PoE | 50% PoE | 10% PoE | Low | Low | Low | Medium | Medium | Medium | High | High | High | Adjustment | Low | Low | Low | Medium | Medium | Medium | High | High | High | At State Peak | Low | Medium | High | Low | Low | Low | Medium | Medium | Medium | High | High | High | [5 empty] | Business Electricity Price - 1 year delay | -0.13422 |  | low | medium | high |  | low | medium | high | Population x Air Conditioning Penetration | 0.25004 | Corrected** |  |  | low | medium | high | low | medium | high |  | Actual | 90% PoE | 50% PoE | 10% PoE | Actual | 90% PoE | 50% PoE | 10% PoE
| At State Peak | At State Peak | At State Peak | At State Peak | At State Peak | At State Peak | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE |  | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE |  |  |  |  | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | [5 empty] | Employment | 0.53855 | [20 empty] | Peak after 6pm | Peak after 6pm | Peak after 6pm | Peak after 6pm | At state peak | At state peak | At state peak | At state peak
Inputs |  | (Source 1) | [23 empty] | (Source 1) | (Source 2) | (Source 2) | (Source 2) | [9 empty] | (Source 3) | (Source 3) | (Source 3) | (Source 3) | (Source 3) |  |  | (Source 1) |  |  |  | (Source 6) | (Source 5) | (Source 4) | (Source 5) | [8 empty] | (Source 5) | (Source 4) | (Source 5) | (Source 7) | (Source 1) | (Source 8) | (Source 8) | (Source 8) | (Source 1) | (Source 8) | (Source 8) | (Source 8)
[50 empty] | 118.9333 | 1626.0275 | 1626.0275 | 1626.0275 | * median weekday maximum demand in September
2000 | 5610.3158 | 123.2242 | 5733.54 | 5580.346 | 5719.98 | 5911.107 | [19 empty] | 1070 | [17 empty] | * median weekday maximum demand in September |  | 3977.5213 | 4303.8789 | 4303.8789 | 4303.8789 | 127.1397 | 1646.4036 | 1646.4036 | 1646.4036 | **Based on temperature corrected evening corrected peaks |  | 4656.869 | 3977.5213 | 679.3477 | 723.1423 | 723.1423 | 723.1423 | 3547.2627 | 3547.2627 | 3547.2627 | 0.37071 | 4658.476 | 4502.993 | 4656.869 | 4857.187 | 4663.54 | 4510.346 | 4649.98 | 4841.107 | 0.96696 | 1.043
2001 | 5730.6386 | 47.4694 | 5778.108 | 5677.146 | 5820.079 | 5968.957 | [19 empty] | 1097 | [19 empty] | 3999.5327 | 4325.9968 | 4325.9968 | 4325.9968 | 127.2669 | 1690.0188 | 1690.0188 | 1690.0188 |  |  | 4723.896 | 3999.5327 | 724.3633 | 745.4566 | 745.4566 | 745.4566 | 3621.6865 | 3621.6865 | 3621.6865 | 0.41001 | 4681.108 | 4583.307 | 4723.896 | 4902.686 | 4681.108 | 4580.146 | 4723.079 | 4871.957 | 0.97024 | 1.0378
2002 | 5671.6656 | 121.5864 | 5793.252 | 5849.304 | 5946.385 | 6089.325 | [19 empty] | 1125 | [19 empty] | 4131.2426 | 4421.2081 | 4421.2081 | 4421.2081 | 127.5214 | 1760.174 | 1760.174 | 1760.174 |  |  | 4834.315 | 4131.2426 | 703.0724 | 767.6721 | 767.6721 | 767.6721 | 3711.0053 | 3711.0053 | 3711.0053 | 0.45001 | 4668.252 | 4742.687 | 4834.315 | 4947.873 | 4668.252 | 4724.304 | 4821.385 | 4964.325 | 0.98105 | 1.0235
2003 | 6066.0386 | 69.6034 | 6135.642 | 6052.352 | 6260.419 | 6521.652 | [19 empty] | 1092 | [17 empty] | Regression Statistics |  | 4355.9149 | 4494.4289 | 4494.4289 | 4494.4289 | 129.0517 | 1815.5894 | 1815.5894 | 1815.5894 | Regression Statistics |  | 5103.377 | 4355.9149 | 747.4621 | 786.6485 | 786.6485 | 786.6485 | 3798.64 | 3798.64 | 3798.64 | 0.48473 | 5043.642 | 4947.376 | 5103.377 | 5325.063 | 5043.642 | 4960.352 | 5168.419 | 5429.652 | 0.96943 | 1.0434
2004 | 6366.213 | 121.823 | 6488.036 | 6363.489 | 6498.946 | 6671.778 | [19 empty] | 1126 | [17 empty] | Durbin Watson | 2.1945 | 4602.8511 | 4605.4175 | 4605.4175 | 4605.4175 | 129.0517 | 1905.3768 | 1905.3768 | 1905.3768 | Durbin Watson | N/A | 5418.658 | 4602.8511 | 815.8069 | 808.8275 | 808.8275 | 808.8275 | 3884.412 | 3884.412 | 3884.412 | 0.52978 | 5362.036 | 5266.384 | 5418.658 | 5609.921 | 5362.036 | 5237.489 | 5372.946 | 5545.778 | 0.9719 | 1.0353
2005 | 6471.1768 | 151.7342 | 6622.911 | 6453.521 | 6580.517 | 6747.678 | [19 empty] | 1088 | [17 empty] | Mean Absolute Percentage Error (MAPE) | 0.6521% | 4693.6441 | 4706.1445 | 4706.1445 | 4706.1445 | 130.2131 | 1983.4813 | 1983.4813 | 1983.4813 | Mean Absolute Percentage Error (MAPE) | 11.11% | 5481.389 | 4693.6441 | 787.7449 | 841.0587 | 841.0587 | 841.0587 | 3975.0785 | 3975.0785 | 3975.0785 | 0.60527 | 5506.239 | 5368.726 | 5481.389 | 5653.47 | 5534.911 | 5365.521 | 5492.517 | 5659.678 | 0.97945 | 1.0314
2006 | 6803.2938 | 129.7172 | 6933.011 | 6800.64 | 6939.492 | 7139.743 | [19 empty] | 1158 | [17 empty] | Mean Percentage Bias (MPB) | 0.003287% | 4859.1673 | 4819.8339 | 4819.8339 | 4819.8339 | 130.9944 | 2078.0082 | 2078.0082 | 2078.0082 | Mean Percentage Bias (MPB) | -1.134% | 5780.077 | 4859.1673 | 920.9097 | 861.9989 | 861.9989 | 861.9989 | 4070.7435 | 4070.7435 | 4070.7435 | 0.65214 | 5726.064 | 5634.518 | 5780.077 | 5957.017 | 5775.011 | 5642.64 | 5781.492 | 5981.743 | 0.97482 | 1.0306
2007 | 7165.7809 | 184.6401 | 7350.421 | 6832.301 | 7040.426 | 7282.872 | [19 empty] | 1120 | [17 empty] | R Squared | 0.83907 | 4840.1964 | 4897.2602 | 4897.2602 | 4897.2602 | 140.95 | 2143.6112 | 2143.6112 | 2143.6112 | R Squared | 0.25038 | 5876.131 | 4840.1964 | 1035.9346 | 876.094 | 876.094 | 876.094 | 4176.483 | 4176.483 | 4176.483 | 0.67822 | 6156.147 | 5678.969 | 5876.131 | 6133.857 | 6230.421 | 5712.301 | 5920.426 | 6162.872 | 0.96645 | 1.0439
2008 | 7419.5807 | 245.1103 | 7664.691 | 7254.267 | 7450.179 | 7732.189 | [19 empty] | 1179 | [19 empty] | 4931.1174 | 4931.3484 | 4931.3484 | 4931.3484 | 146.7289 | 2211.4027 | 2211.4027 | 2211.4027 |  |  | 6084.751 | 4931.1174 | 1153.6336 | 892.0512 | 892.0512 | 892.0512 | 4289.4795 | 4289.4795 | 4289.4795 | 0.70979 | 6485.691 | 5823.952 | 6084.751 | 6371.015 | 6485.691 | 6075.267 | 6271.179 | 6553.189 | 0.95714 | 1.047
2009 | 6961.2505 | 243.6295 | 7204.88 | 6954.107 | 7140.155 | 7406.564 | [19 empty] | 1164 | [19 empty] | 4986.3535 | 4906.5239 | 4906.5239 | 4906.5239 | 165.8037 | 2212.825 | 2212.825 | 2212.825 |  |  | 5955.169 | 4986.3535 | 968.8155 | 909.3238 | 909.3238 | 909.3238 | 4377.5335 | 4377.5335 | 4377.5335 | 0.75096 | 6040.88 | 5765.03 | 5955.169 | 6220.497 | 6040.88 | 5790.107 | 5976.155 | 6242.564 | 0.96807 | 1.0446
2010 | 6534.4446 | 398.9694 | 6933.414 | 6835.594 | 6984.773 | 7185.401 | [19 empty] | 1205 | [19 empty] | 4879.7831 | 4867.6122 | 4867.6122 | 4867.6122 | 182.2182 | 2247.7819 | 2247.7819 | 2247.7819 |  |  | 5743.059 | 4879.7831 | 863.2759 | 915.5284 | 915.5284 | 915.5284 | 4448.2752 | 4448.2752 | 4448.2752 | 0.75939 | 5728.414 | 5601.659 | 5743.059 | 5939.902 | 5728.414 | 5630.594 | 5779.773 | 5980.401 | 0.97538 | 1.0343
2011 | 6878.0516 | 306.6204 | 7184.672 | 6813.365 | 7041.723 | 7306.707 | [19 empty] | 1181 | [19 empty] | 4783.28 | 4843.2592 | 4843.2592 | 4843.2592 | 188.4137 | 2279.9575 | 2279.9575 | 2279.9575 |  |  | 5811.363 | 4783.28 | 1028.083 | 923.0219 | 923.0219 | 923.0219 | 4533.6443 | 4533.6443 | 4533.6443 | 0.76978 | 6003.672 | 5599.291 | 5811.363 | 6111.976 | 6003.672 | 5632.365 | 5860.723 | 6125.707 | 0.96351 | 1.0517
2012 | 6761.0723 | 172.7547 | 6933.827 | 6751.065 | 6926.736 | 7185.945 | [19 empty] | 1188 | [19 empty] | 4790.5404 | 4837.3143 | 4837.3143 | 4837.3143 | 209.516 | 2293.7973 | 2293.7973 | 2293.7973 |  |  | 5734.87 | 4790.5404 | 944.3296 | 929.3781 | 929.3781 | 929.3781 | 4623.2855 | 4623.2855 | 4623.2855 | 0.77586 | 5692.95 | 5545.671 | 5734.87 | 5967.851 | 5745.827 | 5563.065 | 5738.736 | 5997.945 | 0.96701 | 1.0406
2013 | 6520.6878 | 248.1042 | 6768.792 | 6727.111 | 6862.852 | 7053.23 | [19 empty] | 1267 | [19 empty] | 4834.0203 | 4796.9994 | 4796.9994 | 4796.9994 | 243.6671 | 2318.9754 | 2318.9754 | 2318.9754 |  |  | 5622.846 | 4834.0203 | 788.8257 | 936.1524 | 936.1524 | 936.1524 | 4698.98 | 4698.98 | 4698.98 | 0.78586 | 5435.897 | 5473.633 | 5622.846 | 5841.753 | 5501.792 | 5460.111 | 5595.852 | 5786.23 | 0.97346 | 1.0389
2014 | 6646.6956 | 234.6254 | 6881.321 | 6905.655 | 7064.416 | 7255.265 | [19 empty] | 1404 | [19 empty] | 4740.0318 | 4708.9512 | 4708.9512 | 4708.9512 | 247.0784 | 2326.4862 | 2326.4862 | 2326.4862 |  |  | 5682.839 | 4740.0318 | 942.8072 | 941.7904 | 941.7904 | 941.7904 | 4762.0948 | 4762.0948 | 4762.0948 | 0.7943 | 5477.321 | 5523.278 | 5682.839 | 5899.277 | 5477.321 | 5501.655 | 5660.416 | 5851.265 | 0.97192 | 1.0381
2015 | 7125.4655 | 285.5 | 7410.9655 | 7090.4655 | 7300.8655 | 7575.6655 | [19 empty] | 1616.1725 | [19 empty] | 4702 | 4742.0363 | 4742.0363 | 4742.0363 | 246.3372 | 2365.1096 | 2365.1096 | 2365.1096 |  |  | 5684.6931 | 4702 | 982.6931 | 947.8809 | 947.8809 | 947.8809 | 4823.3578 | 4823.3578 | 4823.3578 | 0.80469 | 5794.7931 | 5474.2931 | 5684.6931 | 5959.4931 | 5794.7931 | 5474.2931 | 5684.6931 | 5959.4931 | 0.96299 | 1.0483
2016 | 7207 | 247 | 7454 | 7303.63 | 7479.88 | 7782.76 | [19 empty] | 1921.13 | [19 empty] | 4766 | 4745.3687 | 4745.3687 | 4745.3687 | 250.2557 | 2366.4241 | 2366.4241 | 2366.4241 |  |  | 5558.75 | 4766 | 792.75 | 953.8377 | 953.8377 | 953.8377 | 4896.8075 | 4896.8075 | 4896.8075 | 0.81273 | 5532.87 | 5382.5 | 5558.75 | 5861.63 | 5532.87 | 5382.5 | 5558.75 | 5861.63 | 0.96829 | 1.0545
2017 | 6893.7852 | 263.3 | 7157.0852 | 7275.4852 | 7432.9852 | 7673.5852 | [19 empty] | 1853.4852 | [19 empty] | 4847.0677 | 4845.7484 | 4845.7484 | 4845.7484 | 254.1387 | 2469.9091 | 2469.9091 | 2469.9091 |  |  | 5579.5 | 4847.0677 | 732.4323 | 960.8479 | 960.8479 | 960.8479 | 4978.6776 | 4978.6776 | 4978.6776 | 0.82312 | 5287 | 5422 | 5579.5 | 5820.1 | 5303.6 | 5422 | 5579.5 | 5820.1 | 0.97177 | 1.0431
2018 | [6 empty] | 7238.684 | 7426.7829 | 7709.9584 | 7272.2225 | 7461.0867 | 7745.4144 | 7339.3368 | 7529.0323 | 7814.6113 | 258.9 | 7497.584 | 7685.6829 | 7968.8584 | 7531.1225 | 7719.9867 | 8004.3144 | 7598.2368 | 7787.9323 | 8073.5113 |  | 1872.9176 | 1883.5398 | 1925.7632 | 5624.6663 | 5812.7652 | 6095.9407 | 5647.5828 | 5836.447 | 6120.7746 | 5672.4737 | 5862.1691 | 6147.7481 | 0 | 0.020149 | 0 | 0 | 7.9004 |  |  |  | 4855.2438 | 4876.8272 | 4900.4817 | 223.1664 | 2488.4334 | 2509.0128 | 2531.6568 | [5 empty] | 965.4421 | 967.5404 | 969.608 | 5016.0177 | 5059.7612 | 5103.1445 | 0.83273
2019 | [6 empty] | 7314.9031 | 7506.5474 | 7795.0604 | 7379.2695 | 7572.2469 | 7862.7667 | 7466.4346 | 7661.3511 | 7954.7902 | 258.9 | 7573.8031 | 7765.4474 | 8053.9604 | 7638.1695 | 7831.1469 | 8121.6667 | 7725.3346 | 7920.2511 | 8213.6902 |  | 1888.5388 | 1912.9866 | 1942.0853 | 5685.2643 | 5876.9086 | 6165.4216 | 5725.1829 | 5918.1603 | 6208.6802 | 5783.2493 | 5978.1658 | 6271.605 | 0 | 0.020149 | 0 | 0 | 53.4693 |  |  |  | 4960.598 | 4997.7362 | 5053.4677 | 200.4272 | 2507.0966 | 2542.0605 | 2594.9482 | [5 empty] | 969.8001 | 973.9136 | 978.1876 | 5053.6378 | 5139.915 | 5230.7231 | 0.84155 | [8 empty] | 0.96768 | 1.0486
2020 | [6 empty] | 7331.9454 | 7526.6968 | 7819.8875 | 7439.9966 | 7636.9146 | 7933.3669 | 7558.5807 | 7758.3481 | 8059.0902 | 258.9 | 7590.8454 | 7785.5968 | 8078.7875 | 7698.8966 | 7895.8146 | 8192.2669 | 7817.4807 | 8017.2481 | 8317.9902 |  | 1872.6508 | 1915.8255 | 1949.084 | 5718.1946 | 5912.9461 | 6206.1367 | 5783.0711 | 5979.9891 | 6276.4414 | 5868.3967 | 6068.1641 | 6368.9061 | 0 | 0.041344 | 0 | 20 | 93.5607 |  |  |  | 5052.959 | 5113.9408 | 5195.5194 | 183.9236 | 2525.8999 | 2582.7958 | 2659.8219 | [5 empty] | 973.5891 | 979.6503 | 986.2467 | 5091.5401 | 5219.504 | 5361.4912 | 0.84842 | [8 empty] | average | average
2021 | [6 empty] | 7362.3655 | 7559.7996 | 7857.0288 | 7511.6862 | 7712.2344 | 8014.1517 | 7680.4904 | 7884.7412 | 8192.2327 | 258.9 | 7621.2655 | 7818.6996 | 8115.9288 | 7770.5862 | 7971.1344 | 8273.0517 | 7939.3904 | 8143.6412 | 8451.1327 |  | 1877.5346 | 1933.6055 | 1991.5341 | 5743.7309 | 5941.165 | 6238.3942 | 5836.9808 | 6037.5289 | 6339.4462 | 5947.8563 | 6152.1071 | 6459.5987 | 0 | 0.1044 | 0 | 40 | 128.2916 |  |  |  | 5132.1841 | 5220.5361 | 5326.1471 | 172.5611 | 2544.8441 | 2626.7917 | 2726.3175 | [5 empty] | 977.3769 | 985.3887 | 994.356 | 5129.7266 | 5299.982 | 5495.5285 | 0.85528 | [8 empty] | of last 3 years | of last 3 years
2022 | [6 empty] | 7360.4524 | 7560.1089 | 7860.6839 | 7544.1997 | 7747.9076 | 8054.5818 | 7746.0058 | 7954.3237 | 8267.938 | 258.9 | 7619.3524 | 7819.0089 | 8119.5839 | 7803.0997 | 8006.8076 | 8313.4818 | 8004.9058 | 8213.2237 | 8526.838 |  | 1858.3471 | 1920.7762 | 1984.5368 | 5761.0052 | 5960.6617 | 6261.2367 | 5882.3235 | 6086.0314 | 6392.7056 | 6020.369 | 6228.6869 | 6542.3013 | 0 | 0.28722 | 0 | 60 | 157.3843 |  |  |  | 5197.1697 | 5312.5694 | 5443.8426 | 168.7903 | 2563.9304 | 2670.645 | 2794.4754 | [5 empty] | 981.1636 | 991.1335 | 1002.5159 | 5168.1996 | 5381.4556 | 5632.9167 | 0.86214
2023 | [6 empty] | 7332.8045 | 7533.7613 | 7836.2939 | 7551.3519 | 7757.2158 | 8067.1358 | 7804.0577 | 8015.5254 | 8333.8818 | 258.9 | 7591.7045 | 7792.6613 | 8095.1939 | 7810.2519 | 8016.1158 | 8326.0358 | 8062.9577 | 8274.4254 | 8592.7818 |  | 1830.3407 | 1901.9467 | 1986.8467 | 5761.3638 | 5962.3206 | 6264.8532 | 5908.3052 | 6114.1691 | 6424.0891 | 6076.111 | 6287.5787 | 6605.9351 | 0 | 0.72088 | 0 | 80 | 175.5301 |  |  |  | 5233.6222 | 5373.5581 | 5533.1031 | 171.1288 | 2583.1599 | 2712.8749 | 2864.3373 | [5 empty] | 984.9494 | 996.862 | 1010.7266 | 5206.9611 | 5463.437 | 5773.7396 | 0.86901
2024 | [6 empty] | 7287.702 | 7489.1498 | 7792.4215 | 7537.7336 | 7744.8912 | 8056.7587 | 7858.375 | 8072.1691 | 8394.0277 | 258.9 | 7546.602 | 7748.0498 | 8051.3215 | 7796.6336 | 8003.7912 | 8315.6587 | 8117.275 | 8331.0691 | 8652.9277 |  | 1799.4299 | 1878.4831 | 2000.3949 | 5747.1722 | 5948.62 | 6251.8917 | 5918.1505 | 6125.308 | 6437.1756 | 6116.88 | 6330.6741 | 6652.5327 | 0 | 1.2585 | 0 | 100 | 183.8861 |  |  |  | 5245.0302 | 5407.8855 | 5596.83 | 172.6604 | 2602.5336 | 2754.5719 | 2935.9457 | [5 empty] | 988.7344 | 1002.5671 | 1018.9887 | 5246.0133 | 5545.7631 | 5918.0831 | 0.87587
2025 | [6 empty] | 7235.6809 | 7437.7311 | 7741.9096 | 7515.0301 | 7723.5492 | 8037.4665 | 7907.0728 | 8123.3377 | 8448.9161 | 258.9 | 7494.5809 | 7696.6311 | 8000.8096 | 7773.9301 | 7982.4492 | 8296.3665 | 8165.9728 | 8382.2377 | 8707.8161 |  | 1760.4127 | 1846.0491 | 2006.144 | 5734.1683 | 5936.2184 | 6240.3969 | 5927.881 | 6136.4001 | 6450.3174 | 6159.8288 | 6376.0937 | 6701.6721 | 0 | 2.5986 | 0 | 120 | 193.5867 |  |  |  | 5259.885 | 5444.3395 | 5664.9764 | 172.9755 | 2622.0526 | 2795.3499 | 3009.3444 | [5 empty] | 992.5186 | 1008.2459 | 1027.3026 | 5285.3584 | 5628.3587 | 6066.0352 | 0.88274
2026 | [6 empty] | 7169.6622 | 7372.4159 | 7677.6537 | 7476.8279 | 7686.7541 | 8002.7898 | 7938.2916 | 8157.1675 | 8486.6765 | 258.9 | 7428.5622 | 7631.3159 | 7936.5537 | 7735.7279 | 7945.6541 | 8261.6898 | 8197.1916 | 8416.0675 | 8745.5765 |  | 1716.488 | 1808.8748 | 2002.3418 | 5712.0742 | 5914.8279 | 6220.0656 | 5926.8531 | 6136.7793 | 6452.8149 | 6194.8498 | 6413.7257 | 6743.2347 | 0 | 4.1076 | 0 | 150 | 205.2409 |  |  |  | 5279.8017 | 5484.1638 | 5739.4093 | 174.323 | 2641.718 | 2834.724 | 3084.578 | [5 empty] | 994.3747 | 1011.964 | 1033.6648 | 5324.9986 | 5711.8292 | 6217.6861 | 0.88274
2027 | [6 empty] | 7109.7498 | 7313.0732 | 7619.1687 | 7441.5193 | 7652.6315 | 7970.4525 | 7970.4628 | 8191.8328 | 8525.0967 | 258.9 | 7368.6498 | 7571.9732 | 7878.0687 | 7700.4193 | 7911.5315 | 8229.3525 | 8229.3628 | 8450.7328 | 8783.9967 |  | 1683.6109 | 1782.1491 | 2003.922 | 5685.0389 | 5888.3623 | 6194.4578 | 5918.2702 | 6129.3824 | 6447.2034 | 6225.4407 | 6446.8108 | 6780.0747 | 0 | 8.1847 | 0 | 180 | 215.2595 |  |  |  | 5295.5724 | 5517.1113 | 5810.1885 | 177.2371 | 2661.5309 | 2871.9768 | 3161.6924 | [5 empty] | 996.2342 | 1015.7152 | 1040.0664 | 5364.9361 | 5796.9824 | 6373.1282 | 0.88274
Abbreviations
TC - Transmission connectioned customers (non DNSP)
DNSP - Distribution Network Service Provider (Energex and Ergon)
PoE - Probability of Exceedence
DSM - Demand Side Management
WD - weather dependent
NWD - non weather dependent
Input Source
Source 1 - from Powerlink Meter Data
Source 2 - Forecasts supplied by transmission connected customers and modified for coincidence
Source 3 - new technology assumptions - refer to Appendix B of the 2018 TAPR
Source 4 - Economic supplied data from Deloitte Access in April 2018
Source 5 - Combination of economic supplied data from Deloitte Access in April 2018 and economic data derived by Powerlink
Source 6 - Total electricity price data from Jacobs in May 2018
Source 7 - The Queensland Household Energy Survey 2017
Source 8 - Powerlink meter data corrected for temperature using Bureau of Meteorology Data - refer to Appendix B of the 2018 TAPR

## Energy
Energy Model
| Queensland Historical ----> |  |  | Queensland Forecast ----> | [6 empty] | Transmission Connected (non DNSP) ---> |  |  |  | DNSP Forecast ----> |  |  | Drivers for Change ----> | [5 empty] | DNSP Energy Model ----->
| Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | Queensland | TC | TC | TC | TC | DNSP | DNSP | DNSP | Rooftop PV | Solar Farms | Battery Storage | Electric Vehicles | Tariff/DSM | Customer |  | Coefficient | History | History |  |  |  | Total Electricity Price
| Delivered | Delivered | Native | Delivered | Delivered | Delivered | Delivered | Native | Native | Native |  |  |  |  | Native | Native | Native | [5 empty] | Impact | Constant | 2.6203 |  | +PV | Forecast | Forecast | Forecast |  | Employment ('000s) | Employment ('000s) | Employment ('000s)
|  | Adjustment |  | Low | Medium | High | Adjustment | Low | Medium | High |  | Low | Medium | High | Low | Medium | High | [6 empty] | Total Electricity Price - 1 year delay | -0.11341 |  |  | low | medium | high |  | low | medium | high
[24 empty] | Employment | 0.65665
Inputs |  | (Source 1) | [8 empty] | (Source 1) | (Source 2) | (Source 2) | (Source 2) |  |  |  | (Source 3) | (Source 3) | (Source 3) | (Source 3) | (Source 3) | (Source 3) |  |  | (Source 1) | (Source 7) |  |  |  | (Source 6) | (Source 5) | (Source 4) | (Source 5)
1999/00 | [30 empty] | 118.9333 | 1626.0275 | 1626.0275 | 1626.0275
2000/01 | 38178.0046 | 241.9954 | 38420 | [7 empty] | 9423 | [14 empty] | 28997 | 28997 | 31409.2215 | 31409.2215 | 31409.2215 | 127.1397 | 1646.4036 | 1646.4036 | 1646.4036
2001/02 | 39894.7264 | 202.2736 | 40097 | [7 empty] | 9644 | [14 empty] | 30453 | 30453 | 31712.2677 | 31712.2677 | 31712.2677 | 127.2669 | 1690.0188 | 1690.0188 | 1690.0188
2002/03 | 40849.4237 | 193.5763 | 41043 | [7 empty] | 9804 | [14 empty] | 31239 | 31239 | 32566.953 | 32566.953 | 32566.953 | 127.5214 | 1760.174 | 1760.174 | 1760.174
2003/04 | 42661.6638 | 122.3362 | 42784 | [7 empty] | 9988 | [12 empty] | Regression Statistics |  | 32796 | 32796 | 33229.0973 | 33229.0973 | 33229.0973 | 129.0517 | 1815.5894 | 1815.5894 | 1815.5894
2004/05 | 43679.0453 | 338.9547 | 44018 | [7 empty] | 10007 | [12 empty] | Durbin Watson | 2.2531 | 34011 | 34011 | 34252.8325 | 34252.8325 | 34252.8325 | 129.0517 | 1905.3768 | 1905.3768 | 1905.3768
2005/06 | 45013.2124 | 700.7876 | 45714 | [7 empty] | 10129 | [12 empty] | Mean Absolute Percentage Error (MAPE) | 1.049% | 35585 | 35585 | 35168.4457 | 35168.4457 | 35168.4457 | 130.2131 | 1983.4813 | 1983.4813 | 1983.4813
2006/07 | 45381.7744 | 938.2256 | 46320 | [7 empty] | 10517 | [12 empty] | Mean Percentage Bias (MPB) | -0.003338% | 35803 | 35803 | 36223.3607 | 36223.3607 | 36223.3607 | 130.9944 | 2078.0082 | 2078.0082 | 2078.0082
2007/08 | 45652.608 | 1535.392 | 47188 | [7 empty] | 10628 | [12 empty] | R Squared | 0.97958 | 36560 | 36560 | 36945.2019 | 36945.2019 | 36945.2019 | 140.95 | 2143.6112 | 2143.6112 | 2143.6112
2008/09 | 46906.6504 | 1656.3496 | 48563 | [7 empty] | 10534 | [6 empty] | 17.082 | [7 empty] | 38029 | 38046.082 | 37396.3639 | 37396.3639 | 37396.3639 | 146.7289 | 2211.4027 | 2211.4027 | 2211.4027
2009/10 | 46925.4636 | 2261.5364 | 49187 | [7 empty] | 10960 | [6 empty] | 76.212 | [7 empty] | 38227 | 38303.212 | 37242.0612 | 37242.0612 | 37242.0612 | 165.8037 | 2212.825 | 2212.825 | 2212.825
2010/11 | 45239.6119 | 2110.3881 | 47350 | [7 empty] | 10962 | [6 empty] | 180.9378 | [7 empty] | 36388 | 36568.9378 | 37109.4158 | 37109.4158 | 37109.4158 | 182.2182 | 2247.7819 | 2247.7819 | 2247.7819
2011/12 | 45394.3787 | 1939.6213 | 47334 | [7 empty] | 11033 | [6 empty] | 479.0844 | [7 empty] | 36301 | 36780.0844 | 37058.506 | 37058.506 | 37058.506 | 188.4137 | 2279.9575 | 2279.9575 | 2279.9575
2012/13 | 45650.7368 | 1439.2632 | 47090 | [7 empty] | 11493 | [6 empty] | 1039.1112 | [7 empty] | 35597 | 36636.1112 | 37065.2588 | 37065.2588 | 37065.2588 | 209.516 | 2293.7973 | 2293.7973 | 2293.7973
2013/14 | 45145.0038 | 1357.9962 | 46503 | [7 empty] | 11508 | [6 empty] | 1391.2632 | [7 empty] | 34995 | 36386.2632 | 36885.1596 | 36885.1596 | 36885.1596 | 243.6671 | 2318.9754 | 2318.9754 | 2318.9754
2014/15 | 46780.0144 | 1715.1 | 48495.1144 | [7 empty] | 13128.3 | [6 empty] | 1456.8 | [7 empty] | 35366.8144 | 36823.6144 | 36335.96 | 36335.96 | 36335.96 | 247.0784 | 2326.4862 | 2326.4862 | 2326.4862
2015/16 | 49094.3307 | 1649.2293 | 50743.56 | [7 empty] | 15529.77 | [6 empty] | 1802 | [7 empty] | 35213.79 | 37015.79 | 36673.0848 | 36673.0848 | 36673.0848 | 246.3372 | 2365.1096 | 2365.1096 | 2365.1096
2016/17 | 49880.1 | 1754.9 | 51635 | [7 empty] | 16573.9 | [6 empty] | 1871 | [7 empty] | 35061.1 | 36932.1 | 36698.9695 | 36698.9695 | 36698.9695 | 250.2557 | 2366.4241 | 2366.4241 | 2366.4241
2017/18 | 49373.861 | 1742.8 | 51116.661 | [7 empty] | 16372.1 | [6 empty] | 2546 | [7 empty] | 34744.561 | 37290.561 | 37677.5447 | 37677.5447 | 37677.5447 | 254.1387 | 2469.9091 | 2469.9091 | 2469.9091
2018/19 |  |  |  | 48765.1672 | 49061.324 | 49663.827 | 1645.4898 | 50787.578 | 51083.7347 | 51686.2377 |  | 16099.3567 | 16190.5483 | 16568.1897 | 34688.2213 | 34893.1864 | 35118.0481 | 3046.0893 | 376.921 | 0 | -8.6 | 0 | 71.0982 |  |  |  |  | 37796.8088 | 38001.774 | 38226.6356 | 223.1664 | 2488.4334 | 2509.0128 | 2531.6568
2019/20 |  |  |  | 48179.0664 | 48736.0903 | 49770.5705 | 1645.4898 | 50774.1275 | 51331.1515 | 52365.6317 |  | 15991.9427 | 16196.8119 | 16701.7534 | 34782.1848 | 35134.3396 | 35663.8784 | 3341.2261 | 949.5714 | 0 | -21 | 0 | 444.2611 |  |  |  |  | 38546.672 | 38898.8268 | 39428.3655 | 200.4272 | 2507.0966 | 2542.0605 | 2594.9482
2020/21 |  |  |  | 47542.4529 | 48494.4466 | 49718.4708 | 1645.4898 | 51082.0665 | 52034.0602 | 53258.0844 |  | 16176.1536 | 16550.3945 | 16999.1654 | 34905.9129 | 35483.6658 | 36258.919 | 3562.6373 | 1894.1239 | 0 | -30.8 | 0 | 773.4996 |  |  |  |  | 39211.2499 | 39789.0028 | 40564.256 | 183.9236 | 2525.8999 | 2582.7958 | 2659.8219
2021/22 |  |  |  | 47017.6858 | 48331.1683 | 49896.3869 | 1645.4898 | 51065.9062 | 52379.3886 | 53944.6072 |  | 16077.135 | 16553.8441 | 17114.7535 | 34988.7712 | 35825.5446 | 36829.8538 | 3784.1644 | 2402.7306 | 0 | -42.7 | 0 | 1059.7524 |  |  |  |  | 39789.9879 | 40626.7614 | 41631.0706 | 172.5611 | 2544.8441 | 2626.7917 | 2726.3175
2022/23 |  |  |  | 46503.8454 | 48126.1975 | 50035.7074 | 1645.4898 | 50893.3102 | 52515.6624 | 54425.1723 |  | 15859.61 | 16388.9183 | 17048.6937 | 35033.7003 | 36126.7441 | 37376.4786 | 4006.0229 | 2743.9751 | 0 | -64.6 | 0 | 1300.7927 |  |  |  |  | 40275.9159 | 41368.9598 | 42618.6943 | 168.7903 | 2563.9304 | 2670.645 | 2794.4754
2023/24 |  |  |  | 45923.8534 | 47861.6693 | 50196.4865 | 1645.4898 | 50651.4599 | 52589.2758 | 54924.093 |  | 15668.4301 | 16279.5913 | 17092.5882 | 34983.0298 | 36309.6845 | 37831.5048 | 4228.5757 | 3082.1167 | 0 | -90.1 | 0 | 1454.0488 |  |  |  |  | 40575.5542 | 41902.2089 | 43424.0292 | 171.1288 | 2583.1599 | 2712.8749 | 2864.3373
2024/25 |  |  |  | 45137.2595 | 47355.5099 | 50417.1804 | 1645.4898 | 50192.0008 | 52410.2512 | 55471.9217 |  | 15341.1658 | 16012.951 | 17267.5896 | 34850.835 | 36397.3002 | 38204.332 | 4451.416 | 3409.2515 | 0 | -119.5 | 0 | 1528.7999 |  |  |  |  | 40711.5509 | 42258.0162 | 44065.048 | 172.6604 | 2602.5336 | 2754.5719 | 2935.9457
2025/26 |  |  |  | 44313.5954 | 46792.1017 | 50374.9574 | 1645.4898 | 49684.1496 | 52162.6559 | 55745.5116 |  | 14938.6884 | 15662.9968 | 17130.3971 | 34745.4612 | 36499.6591 | 38615.1145 | 4676.4772 | 3725.0645 | 0 | -165.8 | 0 | 1614.3337 |  |  |  |  | 40870.4721 | 42624.67 | 44740.1254 | 172.9755 | 2622.0526 | 2795.3499 | 3009.3444
2026/27 |  |  |  | 43675.4107 | 46410.4654 | 50612.4497 | 1645.4898 | 49361.3516 | 52096.4063 | 56298.3906 |  | 14686.2869 | 15475.2702 | 17224.2602 | 34675.0647 | 36621.1361 | 39074.1304 | 4902.0059 | 4040.4511 | 0 | -229.6 | 0 | 1715.5334 |  |  |  |  | 41063.0041 | 43009.0754 | 45462.0697 | 174.323 | 2641.718 | 2834.724 | 3084.578
2027/28 |  |  |  | 42962.2134 | 45912.6186 | 50720.3895 | 1645.4898 | 48948.8358 | 51899.2411 | 56707.0119 |  | 14347.3205 | 15185.1748 | 17169.6005 | 34601.5153 | 36714.0663 | 39537.4114 | 5134.6417 | 4341.1327 | 0 | -311.1 | 0 | 1803.6168 |  |  |  |  | 41228.6738 | 43341.2248 | 46164.5699 | 177.2371 | 2661.5309 | 2871.9768 | 3161.6924
Abbreviations
TC - Transmission connectioned customers (non DNSP)
DNSP - Distribution Network Service Provider (Energex and Ergon)
PoE - Probability of Exceedence
DSM - Demand Side Management
WD - weather dependent
NWD - non weather dependent
Input Source
Source 1 - from Powerlink Meter Data
Source 2 - Forecasts supplied by transmission connected customers and modified for coincidence
Source 3 - new technology assumptions - refer to Appendix B of the 2018 TAPR
Source 4 - Economic supplied data from Deloitte Access in April 2018
Source 5 - Combination of economic supplied data from Deloitte Access in April 2018 and economic data derived by Powerlink
Source 6 - Total electricity price data from Jacobs in May 2018
Source 7 - Combination of Powerlink meter data and roof-top solar PV data supplied by the Australian PV Institute