## 2020
Template name - potential project (refer to 2020 TAPR Chapter 5) | Zone | Outlook | Template type
275_132kV substation establishment to maintain supply to Turkinje substation | Far North | 10 years | Line Segment
Line refit works on sections of the 275kV transmission lines between Greenbank and Mudgeeraba substations | Gold Coast | 10 years | Line Segment
Line refit works on the 275kV transmission line between Bergins Hill, Goodna and Belmont substations | Moreton | 10 years | Line Segment
Line refit works on the 110kV transmission line between Blackstone and Abermain substations | Moreton | 10 years | Line Segment
Line refit works on the 110kV transmission line between Mudgeeraba substation and Terranora | Gold Coast | 10 years | Line Segment
Line refit works on the 110kV transmission line between Richlands and Algester substations | Moreton | 10 years | Line Segment
Line refit works on the 110kV transmission lines between Belmont and Murarrie substations | Moreton | 10 years | Line Segment
Line refit works on the 110kV transmission lines between Swanbank, Redbank Plains and West Darra substations | Moreton | 10 years | Line Segment
Line refit works on the 132kV transmission line between Callemondah and Gladstone South substations | Gladstone | 5 years | Line Segment
Line refit works on the 132kV transmission line between Nebo Substation and Eton Tee | North | 10 years | Line Segment
Line refit works on the 132kV transmission line between Ross and Dan Gleeson substations | Ross | 10 years | Line Segment
Line refit works on the 132kV transmission lines between Collinsville, Strathmore and Clare South substations | Ross | 10 years | Line Segment
Line refit works on the 275kV transmission line between Bergins Hill and Karana Downs | Moreton | 10 years | Line Segment
Line refit works on the 275kV transmission line between Bouldercombe and Nebo Substations | Central West | 10 years | Line Segment
Line refit works on the 275kV transmission line between Karana Downs and South Pine | Moreton | 10 years | Line Segment
Line refit works on the 275kV transmission line between Larcom Creek substation and Mt Miller | Gladstone | 5 years | Line Segment
Line refit works on the 275kV transmission line between Mt Miller and Bouldercombe substation | Gladstone | 10 years | Line Segment
Line refit works on the 275kV transmission line between Raglan and Larcom Creek substations | Gladstone | 10 years | Line Segment
Line refit works on the northern end of the 275kV transmission lines between Strathmore and Ross substations | Ross | 10 years | Line Segment
Line refit works on the 275kV transmission line between Woolooga and South Pine substations | Wide Bay | 5 years | Line Segment
Line refit works on the 275kV transmission lines between Chalumbin and Woree substations | Far North | 5 years | Line Segment
Line refit works on the 275kV transmission lines between Gin Gin and Woolooga substations | Wide Bay | 10 years | Line Segment
Line refit works on the 275kV transmission line between Raglan and Bouldercombe substations | Gladstone | 10 years | Line Segment
Line refit works on the 275kV transmission lines between Ross and Chalumbin substations | Far North | 10 years | Line Segment
Line refit works on the 275kV transmission line between Wurdong and Boyne Island | Gladstone | 5 years | Line Segment
Rebuild the 132kV transmission line between Woree and Kamerunga substations | Far North | 10 years | Line Segment
Line refit works on the 132kV transmission line between Callide A, Biloela and Moura substations | Central West | 10 years | Line Segment
Replacement of the 110kV underground cable between Upper Kedron and Ashgrove West substations | Moreton | 5 years | Line Segment
Targeted reinvestment in the 275kV transmission line between Calliope River (Wurdong Tee) and Gin Gin substations | Wide Bay | 10 years | Line Segment
Targeted reinvestment in the 275kV transmission line between Calliope River and (Wurdong Tee) Wurdong substations | Wide Bay | 5 years | Line Segment
Line refit works on the 275kV transmission line between South Pine and Palmwoods substations | Wide Bay | 10 years | Line Segment
Line refit works on the 132kV transmisson lines between Townsville South and Ross substations | Ross | 10 years | Line Segment
Abermain 110kV secondary systems and primary plant replacement | Moreton | 10 years | Connection Point
Alan Sherriff 132kV secondary systems replacement | Ross | 5 years | Connection Point
Algester 110kV secondary systems replacement | Moreton | 10 years | Connection Point
Alligator Creek 132kV primary plant replacement | North | 5 years | Connection Point
Alligator Creek SVC and 132kV secondary systems replacement | North | 10 years | Connection Point
Ashgrove West 110kV secondary systems replacement | Moreton | 5 years | Connection Point
Barron Gorge 132kV secondary systems replacement | Far North | 10 years | Connection Point
Biloela 132kV secondary systems replacement | Central West | 5 years | Connection Point
Blackwater 132kV primary plant replacement | Central West | 5 years | Connection Point
Blackwater 132kV secondary systems replacement | Central West | 10 years | Connection Point
Bowen North 132kV secondary systems replacement | Ross | 10 years | Connection Point
Broadsound 275kV primary plant replacement | Central West | 10 years | Connection Point
Broadsound 275kV secondary systems replacement | Central West | 10 years | Connection Point
150MVAr 300kV bus reactor at Broadsound substation | Central West | 5 years | Connection Point
Bulli Creek 330_132kV transformer replacement | Bulli | 10 years | Connection Point
Bundamba 110kV secondary systems replacement | Moreton | 10 years | Connection Point
Callemondah 132kV primary plant and secondary systems replacement | Gladstone | 5 years | Connection Point
Calvale 275kV primary plant replacement | Central West | 10 years | Connection Point
Chalumbin 275kV and 132kV primary plant replacement | Far North | 10 years | Connection Point
Chalumbin 275kV and 132kV secondary systems replacement | Far North | 5 years | Connection Point
Chinchilla 132kV substation replacement | South West | 5 years | Connection Point
Clare South 132kV secondary systems replacement | Ross | 10 years | Connection Point
Columboola 132kV secondary systems replacement | Surat | 10 years | Connection Point
Edmonton 132kV secondary systems replacement | Far North | 5 years | Connection Point
El Arish 132kV secondary systems replacement | Far North | 10 years | Connection Point
Garbutt 132kV secondary systems replacement | Ross | 5 years | Connection Point
Gin Gin 275kV secondary systems replacement | Wide Bay | 10 years | Connection Point
Goodna 110_33kV transformer augmentation | Moreton | 10 years | Connection Point
Goodna 275kV and 110kV secondary systems replacement | Moreton | 10 years | Connection Point
Greenbank SVC and 275kV secondary systems replacement | Moreton | 10 years | Connection Point
Ingham South 132kV secondary systems replacement | Ross | 5 years | Connection Point
Innisfail 132kV secondary systems replacement | Far North | 5 years | Connection Point
Kamerunga 132_22kV transformer replacement | Far North | 10 years | Connection Point
Kemmis 132_66kV kV transformer replacement | North | 10 years | Connection Point
Larcom Creek 275kV secondary systems replacement | Gladstone | 10 years | Connection Point
Lilyvale 132kV secondary systems replacement | Central West | 5 years | Connection Point
Loganlea 275kV primary plant replacement | Moreton | 10 years | Connection Point
Mackay 132_33kV transformer replacement | North | 10 years | Connection Point
Middle Ridge 275kV and 110kV secondary systems replacement | South West | 10 years | Connection Point
Millmerran 330kV AIS secondary systems replacement | Bulli | 5 years | Connection Point
Molendinar 275kV secondary systems replacement | Gold Coast | 10 years | Connection Point
Mudgeeraba 110kV secondary systems replacement | Gold Coast | 5 years | Connection Point
Mudgeeraba 275_110kV Transformer replacement | Gold Coast | 10 years | Connection Point
Mudgeeraba 275kV and 110kV primary plant replacement | Gold Coast | 5 years | Connection Point
Murarrie 110kV secondary systems replacement | Moreton | 5 years | Connection Point
Nebo 132_11kV transformer replacements | North | 5 years | Connection Point
Newlands 132kV primary plant replacement | North | 5 years | Connection Point
North Goonyella 132kV secondary systems replacement | North | 5 years | Connection Point
Oakey 110kV secondary systems replacement | South West | 10 years | Connection Point
Palmwoods 275kV and 132kV primary plant replacement | Wide Bay | 10 years | Connection Point
Pioneer Valley 132kV primary plant replacement | North | 10 years | Connection Point
Redbank Plains 110kV primary plant and 110_11kV transformer reinvestments | Moreton | 5 years | Connection Point
Rockhampton 132kV secondary systems replacement | Gladstone | 5 years | Connection Point
Rocklea 110kV primary plant replacement | Moreton | 10 years | Connection Point
Rocklea 275_110kV transformer replacement | Moreton | 10 years | Connection Point
Ross 275kV and 132kV secondary systems replacement | Ross | 10 years | Connection Point
South East Queensland bus reactors | Moreton | 5 years | Connection Point
South Pine 275_110kV transformer life extension | Moreton | 5 years | Connection Point
South Pine 275kV primary plant replacement | Moreton | 10 years | Connection Point
South Pine SVC secondary systems replacement | Moreton | 10 years | Connection Point
Strathmore 275kV and 132kV partial secondary systems replacement - Stage 2 | North | 10 years | Connection Point
Strathmore SVC secondary systems replacement | North | 5 years | Connection Point
Sumner 110kV secondary systems replacement | Moreton | 10 years | Connection Point
Tarong 275_66kV transformer replacements | South West | 5 years | Connection Point
Tarong 275kV primary plant replacement | South West | 5 years | Connection Point
Tarong 275kV secondary systems replacement | South West | 10 years | Connection Point
Teebar Creek secondary systems replacement | Wide Bay | 10 years | Connection Point
Townsville East 132kV secondary systems replacement | Ross | 10 years | Connection Point
Townsville South 132kV secondary systems replacement | Ross | 10 years | Connection Point
Tully 132_22kV transformer replacement | Far North | 5 years | Connection Point
Turkinje 132kV primary plant replacement | Far North | 10 years | Connection Point
West Darra 110kV secondary systems replacement | Moreton | 10 years | Connection Point
Woolooga 275kV and 132kV primary plant and secondary systems replacement | Wide Bay | 10 years | Connection Point
Woree 275kV and 132kV secondary systems replacement | Far North | 10 years | Connection Point
Yabulu South 132kV secondary systems replacement | Far North | 10 years | Connection Point
Yarwun 132kV secondary systems replacement | Gladstone | 10 years | Connection Point
2020 New Generator Connections Data | Statewide | N/A | New Generator Connections