## Cover
Powerlink Contact
Ben McGregor
Team Leader Regional Grid Planning and Data Support
ben.mcgregor@powerlink.com.au
Note: Powerlink's 2021 Transmission Annual Planning Report Chapter 3 Energy and demand projections data should be reviewed in conjunction with the discussion contained in Chapter 3 of the 2021 Transmission Annual Planning Report.
Disclaimer: While care is taken in the preparation of the information in this document, and it is provided in good faith, Powerlink Queensland accepts no responsibility or liability for any loss or damage that may be incurred by persons acting in reliance on this information or assumptions drawn from it.
2021 Transmission Annual Planning Report
Chapter 3 Energy and demand projections data

## Index
Figure | Description
Figure 3.1 | Brisbane temperature ranges over summer 2020/21
Figure 3.2 | Comparison of AEMO's 2020 ESOO Central scenario delivered demand forecast with the 2021 ESOO Steady Progress scenario
Figure 3.3 | Comparison of AEMO's 2020 ESOO Central scenario delivered energy forecast with the 2021 ESOO Steady Progress scenario
Figure 3.4 | Transmission delivered annual minimum demand for the Queensland region
Figure 3.5 | Load measurement definitions
Figure 3.6 | Historical and forecast transmission delivered energy
Figure 3.7 | Historical and forecast transmission delivered summer maximum demand
Figure 3.8 | Historical and forecast winter transmission delivered maximum demand
Figure 3.9 | Historical and forecast transmission delivered annual minimum demand
Figure 3.10 | Daily load profile of summer 2020/21 and winter 2021 maximum transmission delivered demand days
Figure 3.11 | Daily load profile of 2021 minimum transmission delivered demand day
Figure 3.12 | Historical annual transmission delivered load duration curves
Table | Description
Table 3.1 | Possible large loads excluded from the Slow Growth, Steady Progress and Hydrogen Superpower scenario forecasts
Table 3.2 | Average annual growth rate over next 10 years
Table 3.3 | Historical energy (GWh)
Table 3.4 | Forecast annual transmission delivered energy (GWh)
Table 3.5 | Forecast annual native energy (GWh)
Table 3.6 | Historical summer maximum demand at time of transmission delivered peak (MW)
Table 3.7 | Forecast summer transmission delivered maximum demand (MW)
Table 3.8 | Historical summer maximum demand at time of native peak (MW)
Table 3.9 | Forecast summer native maximum demand (MW)
Table 3.10 | Historical winter maximum demand at time of transmission delivered peak (MW)
Table 3.11 | Forecast winter transmission delivered maximum demand (MW)
Table 3.12 | Historical winter maximum demand at time of native peak (MW)
Table 3.13 | Forecast winter native maximum demand (MW)
Table 3.14 | Historical annual minimum demand (MW)
Table 3.15 | Forecast annual transmission delivered minimum demand (MW)
Table 3.16 | Forecast annual native minimum demand (MW)
Table 3.17 | Average ratios of zone maximum delivered demand to zone delivered demand at time of Queensland region maximum delivered demand
Table 3.18 | Annual transmission delivered energy by zone (GWh)
Table 3.19 | Annual native energy by zone (GWh)
Table 3.20 | State summer maximum transmission delivered demand by zone (MW)
Table 3.21 | State summer maximum native demand by zone (MW)
Table 3.22 | State winter maximum transmission delivered demand by zone (MW)
Table 3.23 | State winter maximum native demand by zone (MW)
Index
2021 TAPR Chapter 3 Energy and demand projections data

## Figure 3.1
Figure 3.1 | Brisbane temperature ranges over summer 2020/21 (1) |  |  |  |  | Index
Note:
(1) Long-term average based on years 2000 to 2020/21.
| Month | mean daily maximum (2020/21) | mean daily minimum (2020/21) | mean daily maximum (long term average) | mean daily minimum (long term average)
| November | 28.9 | 19 | 28.37 | 18.82
| December | 29.9 | 22.2 | 29.7 | 20.62
| January | 29.9 | 21.3 | 30.45 | 21.64
| February | 30 | 21.5 | 30.18 | 21.45
| March | 28.5 | 20.6 | 29.12 | 20.23

## Figure 3.2
Figure 3.2 | Comparison of AEMO's 2020 ESOO Central scenario delivered demand forecast with the 2021 ESOO Steady Progress scenario (1) |  |  |  |  | Index
Notes:
(1) AEMO’s 2021 ESOO forecast has been converted from ‘operational sent-out’ to ‘transmission delivered’ for the purposes of comparison. Refer to Figure 3.5 for further details.
| Summer | Historical | Weather corrected | AEMO 2021 ESOO Steady Progress 50% PoE | AEMO 2020 ESOO Central 50% PoE
| 2011/12 | 7723 | 7764
| 2012/13 | 7588 | 7622
| 2013/14 | 7498 | 7398
| 2014/15 | 8019 | 7777
| 2015/16 | 8271 | 8101
| 2016/17 | 8392 | 8302
| 2017/18 | 8842 | 8577
| 2018/19 | 8951 | 8467
| 2019/20 | 8710 | 8605
| 2020/21 | 8479 | 8660 |  | 8357
| 2021/22 |  |  | 8463 | 8669
| 2022/23 |  |  | 8658 | 8756
| 2023/24 |  |  | 8626 | 8871
| 2024/25 |  |  | 8737 | 8940
| 2025/26 |  |  | 8906 | 8995
| 2026/27 |  |  | 9013 | 9036
| 2027/28 |  |  | 9086 | 9105
| 2028/29 |  |  | 9180 | 9186
| 2029/30 |  |  | 9293 | 9236
| 2030/31 |  |  | 9417

## Figure 3.3
Figure 3.3 | Comparison of AEMO's 2020 ESOO Central scenario delivered energy forecast with the 2021 ESOO Steady Progress scenario (1) |  |  |  | Index
Notes:
(1) AEMO’s 2021 ESOO forecast has been converted from ‘operational sent-out’ to ‘transmission delivered’ for the purposes of comparison. Refer to Figure 3.5 for further details.
| Financial year | Historical | AEMO 2021 ESOO Steady Progress | AEMO 2020 ESOO Central
| 2011/12 | 45394
| 2012/13 | 45651
| 2013/14 | 45145
| 2014/15 | 46780
| 2015/16 | 49094
| 2016/17 | 49880
| 2017/18 | 48739
| 2018/19 | 48764
| 2019/20 | 47860
| 2020/21 | 47421 |  | 45303
| 2021/22 |  | 44221 | 46078
| 2022/23 |  | 42665 | 46382
| 2023/24 |  | 41726 | 46611
| 2024/25 |  | 41704 | 46258
| 2025/26 |  | 41960 | 45811
| 2026/27 |  | 42120 | 45335
| 2027/28 |  | 42159 | 44971
| 2028/29 |  | 42105 | 44707
| 2029/30 |  | 42035 | 44413
| 2030/31 |  | 42377

## Table 3.1
Table 3.1 | Possible large loads excluded from the Slow Growth, Steady Progress and Hydrogen Superpower scenario forecasts |  |  | Index
| Zone | Description | Possible load
| Ross | Connection to North West Minerals Province (Mt Isa) | Up to 350MW
| North | Further port expansion at Abbot Point | Up to 100MW
| North | CSG load (Bowen Basin area) | Up to 80MW
| North and Central West | New coal mining load (Galilee Basin area) | Up to 400MW
| Surat | CSG load and coal mining projects (Surat Basin area) | Up to 300MW

## Table 3.2
Table 3.2 | Average annual growth rate over next 10 years |  |  |  | Index
AEMO future scenario growth outlooks
|  | Slow Growth | Steady Progress | Hydrogen Superpower
| Delivered energy | -3.892% | -1.118% | 0.7944%
| Delivered summer maximum demand (50% PoE) | -0.6116% | 0.8409% | 2.188%
| Delivered winter maximum demand (50% PoE) | -0.6784% | 0.7061% | 2.27%

## Figure 3.4
Figure 3.4 | Transmission delivered annual minimum demand for the Queensland region (1)(2) | [10 empty] | Index
Notes:
(1) Minimum demand can be caused by abnormal conditions, as depicted in the 2019 trace when lowest demand coincided with a large industrial load being out of service.
(2) 3rd October 2021 trace based on preliminary metering data.
| Date | 0:00 | 0:30 | 1:00 | 1:30 | 2:00 | 2:30 | 3:00 | 3:30 | 4:00 | 4:30 | 5:00 | 5:30 | 6:00 | 6:30 | 7:00 | 7:30 | 8:00 | 8:30 | 9:00 | 9:30 | 10:00 | 10:30 | 11:00 | 11:30 | 12:00 | 12:30 | 13:00 | 13:30 | 14:00 | 14:30 | 15:00 | 15:30 | 16:00 | 16:30 | 17:00 | 17:30 | 18:00 | 18:30 | 19:00 | 19:30 | 20:00 | 20:30 | 21:00 | 21:30 | 22:00 | 22:30 | 23:00 | 23:30
| 2017-04-16 | 4515 | 4412 | 4321 | 4269 | 4233 | 4190 | 4199 | 4181 | 4201 | 4190 | 4229 | 4263 | 4310 | 4385 | 4440 | 4466 | 4537 | 4522 | 4567 | 4531 | 4562 | 4489 | 4445 | 4419 | 4437 | 4451 | 4482 | 4536 | 4546 | 4661 | 4765 | 4922 | 5108 | 5283 | 5386 | 5537 | 5650 | 5651 | 5537 | 5468 | 5415 | 5280 | 5184 | 5103 | 5058 | 5024 | 4847 | 4673
| 2018-09-02 | 4831 | 4707 | 4627 | 4526 | 4480 | 4432 | 4427 | 4405 | 4413 | 4444 | 4497 | 4560 | 4657 | 4677 | 4710 | 4654 | 4598 | 4497 | 4399 | 4327 | 4214 | 4107 | 4063 | 4020 | 4008 | 4018 | 4043 | 4147 | 4262 | 4388 | 4567 | 4821 | 5089 | 5372 | 5607 | 5808 | 5991 | 6034 | 5984 | 5893 | 5825 | 5700 | 5543 | 5428 | 5362 | 5309 | 5160 | 4969
| 2019-08-18 | 4763 | 4649 | 4531 | 4445 | 4381 | 4353 | 4393 | 4422 | 4432 | 4428 | 4481 | 4522 | 4614 | 4663 | 4630 | 4550 | 4463 | 4322 | 4192 | 4080 | 4037 | 3899 | 3810 | 3370 | 3459 | 3662 | 3682 | 3745 | 3857 | 4012 | 4219 | 4505 | 4837 | 5224 | 5529 | 5863 | 6071 | 6105 | 5961 | 5842 | 5817 | 5673 | 5546 | 5432 | 5319 | 5216 | 5042 | 4832
| 2020-09-27 | 4873 | 4765 | 4659 | 4578 | 4547 | 4510 | 4492 | 4485 | 4498 | 4527 | 4586 | 4575 | 4475 | 4193 | 3949 | 3707 | 3563 | 3432 | 3280 | 3179 | 3114 | 3064 | 3026 | 3047 | 3006 | 3058 | 3065 | 3132 | 3315 | 3522 | 3839 | 4212 | 4642 | 5135 | 5544 | 5831 | 6068 | 6104 | 6010 | 5964 | 5866 | 5719 | 5583 | 5475 | 5371 | 5311 | 5146 | 4976
| 2021-10-03 | 4970 | 4876 | 4793 | 4706 | 4657 | 4621 | 4602 | 4591 | 4605 | 4619 | 4638 | 4606 | 4423 | 4086 | 3784 | 3605 | 3465 | 3348 | 3187 | 3118 | 3119 | 3155 | 3053 | 3062 | 3126 | 3166 | 3247 | 3395 | 3603 | 3807 | 4146 | 4557 | 5006 | 5509 | 5923 | 6134 | 6283 | 6300 | 6133 | 6101 | 6105 | 6002 | 5843 | 5670 | 5542 | 5440 | 5276 | 5092

## Figure 3.5
Figure 3.5 | Load measurement definitions | Index
Notes:
(1) Includes Invicta and Koombooloomba.
(2) Depends on Wivenhoe generation.
(3) Includes Yarwun which is non-scheduled.
(4) For a full list of scheduled and semi-scheduled distribution connected generators refer to Table 8.2.
(5) Sun Metals Solar Farm and Condamine.
(6) Lakeland Solar and Storage, Hughenden Solar Farm, Pioneer Mill, Moranbah North, Moranbah, Racecourse Mill, Barcaldine Solar Farm, Longreach Solar Farm, German Creek, Oaky Creek, Isis Steady Progress Sugar Mill, Baking Board Solar Farm, Daandine, Sunshine Coast Solar Farm, Bromelton and Rocky Point.
(7) For a full list of transmission network connected generators and scheduled and semi-scheduled direct connected embedded generators refer to Table 8.1.

## Table 3.3
Table 3.3 | Historical energy (GWh) | [8 empty] | Index
| Financial year | Operational as generated | Operational sent out | Native as generated | Native sent out | Transmission sent out | Transmission delivered | Native | Native plus embedded PV
| 2011/12 | 51147 | 47724 | 52206 | 48920 | 46980 | 45394 | 47334 | 47334
| 2012/13 | 50711 | 47368 | 52045 | 48702 | 47259 | 45651 | 47090 | 47090
| 2013/14 | 49686 | 46575 | 51029 | 47918 | 46560 | 45145 | 46503 | 46503
| 2014/15 | 51855 | 48402 | 53349 | 50047 | 48332 | 46780 | 48495 | 49952
| 2015/16 | 54238 | 50599 | 55752 | 52223 | 50573 | 49094 | 50744 | 52509
| 2016/17 | 55101 | 51323 | 56674 | 53017 | 51262 | 49880 | 51635 | 53506
| 2017/18 | 54538 | 50198 | 56139 | 51918 | 50172 | 48739 | 50925 | 53406
| 2018/19 | 54861 | 50473 | 56381 | 52118 | 50163 | 48764 | 51240 | 54529
| 2019/20 | 54179 | 50039 | 55776 | 51740 | 49248 | 47860 | 50804 | 54449
| 2020/21 | 53415 | 49727 | 54710 | 51140 | 48608 | 47421 | 50107 | 55232

## Table 3.4
Table 3.4 | Forecast annual transmission delivered energy (GWh) |  |  |  | Index
| Financial year | Slow Growth | Steady Progress | Hydrogen Superpower
| 2021/22 | 41554 | 44221 | 49163
| 2022/23 | 39818 | 42665 | 48377
| 2023/24 | 38672 | 41726 | 48437
| 2024/25 | 38639 | 41704 | 48121
| 2025/26 | 38669 | 41960 | 47948
| 2026/27 | 38673 | 42120 | 50798
| 2027/28 | 38684 | 42159 | 50940
| 2028/29 | 38769 | 42105 | 50833
| 2029/30 | 31,760 (1) | 42035 | 50910
| 2030/31 | 31882 | 42377 | 51326
Note:
(1) AEMO assumes the shutdown of a large industrial load in the Slow Growth scenario in the latter half of winter 2029.

## Figure 3.6
Figure 3.6 | Historical and forecast transmission delivered energy |  |  |  |  | Index
| Financial year | Historical | AEMO 2021 ESOO Slow Growth | AEMO 2021 ESOO Steady Progress | AEMO 2021 ESOO Hydrogen Superpower
| 2011/12 | 45394
| 2012/13 | 45651
| 2013/14 | 45145
| 2014/15 | 46780
| 2015/16 | 49094
| 2016/17 | 49880
| 2017/18 | 48739
| 2018/19 | 48764
| 2019/20 | 47860
| 2020/21 | 47421
| 2021/22 |  | 41554 | 44221 | 49163
| 2022/23 |  | 39818 | 42665 | 48377
| 2023/24 |  | 38672 | 41726 | 48437
| 2024/25 |  | 38639 | 41704 | 48121
| 2025/26 |  | 38669 | 41960 | 47948
| 2026/27 |  | 38673 | 42120 | 50798
| 2027/28 |  | 38684 | 42159 | 50940
| 2028/29 |  | 38769 | 42105 | 50833
| 2029/30 |  | 31760 | 42035 | 50910
| 2029/31 |  | 31882 | 42377 | 51326

## Table 3.5
Table 3.5 | Forecast annual native energy (GWh) |  |  |  | Index
| Financial year | Slow Growth | Steady Progress | Hydrogen Superpower
| 2021/22 | 45281 | 47949 | 52890
| 2022/23 | 44209 | 47056 | 52769
| 2023/24 | 43438 | 46492 | 53203
| 2024/25 | 43400 | 46465 | 52882
| 2025/26 | 43319 | 46609 | 53298
| 2026/27 | 43325 | 46954 | 57019
| 2027/28 | 43341 | 47362 | 56997
| 2028/29 | 43421 | 47745 | 57103
| 2029/30 | 36,411 (1) | 48120 | 57384
| 2030/31 | 36534 | 48461 | 58398
Note:
(1) AEMO assume the shutdown of a large industrial load in the Slow Growth scenario in the latter half of winter 2029.

## Table 3.6
Table 3.6 | Historical summer maximum demand at time of transmission delivered peak (MW) | [9 empty] | Index
| Summer | Operational as generated | Operational sent out | Native as generated | Native sent out | Transmission sent out | Transmission delivered | Transmission delivered corrected to 50% PoE | Native | Native plus solar PV
| 2011/12 | 8707 | 8143 | 8790 | 8226 | 7890 | 7722 | 7765 | 8058 | 8058
| 2012/13 | 8278 | 8208 | 8448 | 8427 | 8113 | 7597 | 7638 | 7911 | 7911
| 2013/14 | 8445 | 7596 | 8587 | 7749 | 7514 | 7559 | 7436 | 7794 | 8086
| 2014/15 | 8809 | 8360 | 9024 | 8623 | 8276 | 7983 | 7737 | 8330 | 8524
| 2015/16 | 9154 | 8620 | 9332 | 8850 | 8532 | 8222 | 8050 | 8541 | 9021
| 2016/17 | 9412 | 8856 | 9572 | 9078 | 8694 | 8347 | 8257 | 8731 | 8817
| 2017/18 | 9798 | 9211 | 10015 | 9489 | 9080 | 8789 | 8515 | 9198 | 9602
| 2018/19 | 10010 | 9433 | 10173 | 9666 | 9248 | 8969 | 8488 | 9387 | 9523
| 2019/20 | 9836 | 9283 | 10052 | 9544 | 9056 | 8766 | 8662 | 9255 | 9453
| 2020/21 | 9473 | 8954 | 9627 | 9161 | 8711 | 8479 | 8660 | 8929 | 9256

## Table 3.7
Table 3.7 | Forecast summer transmission delivered maximum demand (MW) | [9 empty] | Index
| Summer | Slow Growth |  |  | Steady Progress |  |  | Hydrogen Superpower
|  | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE
| 2021/22 | 8050 | 8389 | 8843 | 8138 | 8463 | 8912 | 8774 | 9127 | 9554
| 2022/23 | 8225 | 8579 | 9031 | 8310 | 8658 | 9088 | 8775 | 9137 | 9507
| 2023/24 | 7981 | 8291 | 8793 | 8316 | 8626 | 9120 | 8852 | 9191 | 9633
| 2024/25 | 8283 | 8625 | 9093 | 8400 | 8737 | 9199 | 9065 | 9398 | 9861
| 2025/26 | 8257 | 8608 | 9070 | 8601 | 8906 | 9389 | 9133 | 9470 | 9875
| 2026/27 | 8427 | 8771 | 9252 | 8703 | 9013 | 9513 | 9645 | 9957 | 10360
| 2027/28 | 8517 | 8873 | 9356 | 8760 | 9086 | 9569 | 9853 | 10166 | 10576
| 2028/29 | 8601 | 8957 | 9411 | 8856 | 9180 | 9685 | 9993 | 10310 | 10701
| 2029/30 (1) | 7857 | 8199 | 8678 | 8999 | 9293 | 9804 | 10156 | 10440 | 10840
| 2030/31 | 7799 | 8145 | 8610 | 9118 | 9417 | 9895 | 10462 | 10752 | 11137
Note:
(1) Shutdown of a large industrial load is assumed in the Slow Growth scenario in the latter half of winter 2029.

## Figure 3.7
Figure 3.7 | Historical and forecast transmission delivered summer maximum demand | [5 empty] | Index
| Summer | Historical | Weather corrected | AEMO 2021 ESOO Slow Growth 50% PoE | AEMO 2021 ESOO Steady Progress 50% PoE | AEMO 2021 ESOO Hydrogen Superpower 50% PoE
| 2011/12 | 7722 | 7765
| 2012/13 | 7597 | 7638
| 2013/14 | 7559 | 7436
| 2014/15 | 7983 | 7737
| 2015/16 | 8222 | 8050
| 2016/17 | 8347 | 8257
| 2017/18 | 8789 | 8515
| 2018/19 | 8969 | 8488
| 2019/20 | 8766 | 8662
| 2020/21 | 8479 | 8660
| 2021/22 |  |  | 8389 | 8463 | 9127
| 2022/23 |  |  | 8579 | 8658 | 9137
| 2023/24 |  |  | 8291 | 8626 | 9191
| 2024/25 |  |  | 8625 | 8737 | 9398
| 2025/26 |  |  | 8608 | 8906 | 9470
| 2026/27 |  |  | 8771 | 9013 | 9957
| 2027/28 |  |  | 8873 | 9086 | 10166
| 2028/29 |  |  | 8957 | 9180 | 10310
| 2029/30 |  |  | 8199 | 9293 | 10440
| 2030/31 |  |  | 8145 | 9417 | 10752

## Table 3.8
Table 3.8 | Historical summer maximum demand at time of native peak (MW) | [9 empty] | Index
| Summer | Operational as generated | Operational sent out | Native as generated | Native sent out | Transmission sent out | Transmission delivered | Native | Native plus solar PV | Native corrected to 50% PoE
| 2011/12 | 8714 | 8236 | 8769 | 8319 | 7983 | 7723 | 8059 | 8059 | 8101
| 2012/13 | 8479 | 8008 | 8691 | 8245 | 7920 | 7588 | 7913 | 7913 | 7952
| 2013/14 | 8374 | 7947 | 8531 | 8114 | 7780 | 7498 | 7831 | 7831 | 7731
| 2014/15 | 8831 | 8398 | 9000 | 8589 | 8311 | 8019 | 8326 | 8512 | 8084
| 2015/16 | 9154 | 8668 | 9272 | 8848 | 8580 | 8271 | 8539 | 8783 | 8369
| 2016/17 | 9412 | 8886 | 9584 | 9062 | 8698 | 8392 | 8756 | 8899 | 8666
| 2017/18 | 9796 | 9262 | 10010 | 9480 | 9133 | 8842 | 9189 | 9594 | 8924
| 2018/19 | 10044 | 9450 | 10216 | 9626 | 9240 | 8951 | 9415 | 9685 | 8930
| 2019/20 | 9853 | 9294 | 10074 | 9515 | 9011 | 8710 | 9268 | 9652 | 9163
| 2020/21 | 9473 | 8954 | 9627 | 9161 | 8711 | 8479 | 8929 | 9254 | 9110

## Table 3.9
Table 3.9 | Forecast summer native maximum demand (MW) | [9 empty] | Index
| Summer | Slow Growth |  |  | Steady Progress |  |  | Hydrogen Superpower
|  | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE
| 2021/22 | 8643 | 8983 | 9436 | 8790 | 9116 | 9564 | 9192 | 9545 | 9972
| 2022/23 | 8640 | 8994 | 9446 | 8809 | 9157 | 9587 | 9301 | 9662 | 10032
| 2023/24 | 8651 | 8961 | 9463 | 8838 | 9148 | 9642 | 9450 | 9789 | 10231
| 2024/25 | 8706 | 9047 | 9515 | 8916 | 9253 | 9714 | 9546 | 9879 | 10342
| 2025/26 | 8779 | 9130 | 9591 | 9027 | 9333 | 9815 | 9718 | 10055 | 10460
| 2026/27 | 8847 | 9191 | 9672 | 9129 | 9439 | 9939 | 10313 | 10624 | 11027
| 2027/28 | 8940 | 9295 | 9778 | 9269 | 9596 | 10078 | 10462 | 10775 | 11185
| 2028/29 | 9016 | 9372 | 9826 | 9381 | 9705 | 10209 | 10619 | 10936 | 11327
| 2029/30 (1) | 8274 | 8617 | 9095 | 9533 | 9827 | 10338 | 10841 | 11125 | 11525
| 2030/31 | 8352 | 8697 | 9163 | 9659 | 9957 | 10435 | 11127 | 11418 | 11803
Note:
(1) Shutdown of a large industrial load is assumed in the Slow Growth scenario in the latter half of winter 2029.

## Table 3.10
Table 3.10 | Historical winter maximum demand at time of transmission delivered peak (MW) | [9 empty] | Index
| Winter | Operational as generated | Operational sent out | Native as generated | Native sent out | Transmission sent out | Transmission delivered | Transmission Delivered corrected to 50% PoE | Native | Native plus solar PV
| 2012 | 7244 | 7466 | 7356 | 7576 | 7337 | 6525 | 6502 | 6764 | 6764
| 2013 | 7131 | 6488 | 7273 | 6649 | 6507 | 6551 | 6753 | 6693 | 6693
| 2014 | 7288 | 6895 | 7448 | 7091 | 6853 | 6642 | 6761 | 6879 | 6879
| 2015 | 7816 | 7334 | 8027 | 7624 | 7299 | 7090 | 6976 | 7415 | 7415
| 2016 | 8017 | 7469 | 8176 | 7678 | 7398 | 7176 | 7198 | 7456 | 7456
| 2017 | 7595 | 7063 | 7756 | 7282 | 7067 | 6870 | 7138 | 7085 | 7085
| 2018 | 8172 | 7623 | 8295 | 7803 | 7554 | 7331 | 7654 | 7580 | 7580
| 2019 | 7898 | 7446 | 8096 | 7735 | 7486 | 7296 | 7289 | 7544 | 7544
| 2020 | 8143 | 7671 | 8320 | 7941 | 7673 | 7483 | 7276 | 7751 | 7751
| 2021 | 8143 | 7677 | 8279 | 7901 | 7659 | 7472 | (1) | 7714 | 7725
Note:
(1) The winter 2021 weather corrected demand was not available at time of publication.

## Table 3.11
Table 3.11 | Forecast winter transmission delivered maximum demand (MW) | [9 empty] | Index
| Winter | Slow Growth |  |  | Steady Progress |  |  | Hydrogen Superpower
|  | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE
| 2022 | 6974 | 7231 | 7526 | 7101 | 7359 | 7661 | 7546 | 7782 | 8102
| 2023 | 7023 | 7287 | 7593 | 7166 | 7412 | 7717 | 7678 | 7921 | 8239
| 2024 | 7058 | 7318 | 7638 | 7202 | 7449 | 7757 | 7785 | 8032 | 8345
| 2025 | 7140 | 7392 | 7707 | 7274 | 7530 | 7838 | 7811 | 8050 | 8359
| 2026 | 7216 | 7475 | 7794 | 7375 | 7625 | 7936 | 7982 | 8220 | 8527
| 2027 | 7283 | 7545 | 7853 | 7420 | 7678 | 7992 | 8566 | 8804 | 9107
| 2028 | 7370 | 7629 | 7937 | 7532 | 7792 | 8109 | 8699 | 8934 | 9250
| 2029 | 7251 | 7550 | 7883 | 7624 | 7877 | 8185 | 8796 | 9044 | 9353
| 2030 (1) | 6708 | 6964 | 7283 | 7732 | 7975 | 8283 | 8996 | 9238 | 9548
| 2031 | 6784 | 7048 | 7366 | 7844 | 8094 | 8396 | 9197 | 9443 | 9765
Note:
(1) Shutdown of a large industrial load is assumed in the Slow Growth scernario in the latter half of winter 2029.

## Figure 3.8
Figure 3.8 | Historical and forecast winter transmission delivered maximum demand | [5 empty] | Index
| Winter | Historical | Weather corrected | AEMO 2021 ESOO Slow Growth 50% PoE | AEMO 2021 ESOO Steady Progress 50% PoE | AEMO 2021 ESOO Hydrogen Superpower 50% PoE
| 2012 | 6525 | 6502
| 2013 | 6551 | 6753
| 2014 | 6642 | 6761
| 2015 | 7090 | 6976
| 2016 | 7176 | 7198
| 2017 | 6870 | 7138
| 2018 | 7331 | 7654
| 2019 | 7296 | 7289
| 2020 | 7483 | 7276
| 2021 | 7472
| 2022 |  |  | 7231 | 7359 | 7782
| 2023 |  |  | 7287 | 7412 | 7921
| 2024 |  |  | 7318 | 7449 | 8032
| 2025 |  |  | 7392 | 7530 | 8050
| 2026 |  |  | 7475 | 7625 | 8220
| 2027 |  |  | 7545 | 7678 | 8804
| 2028 |  |  | 7629 | 7792 | 8934
| 2029 |  |  | 7550 | 7877 | 9044
| 2030 |  |  | 6964 | 7975 | 9238
| 2031 |  |  | 7048 | 8094 | 9443

## Table 3.12
Table 3.12 | Historical winter maximum demand at time of native peak (MW) | [9 empty] | Index
| Winter | Operational as generated | Operational sent out | Native as generated | Native sent out | Transmission sent out | Transmission delivered | Native | Native plus solar PV | Native corrected to 50% PoE
| 2012 | 7469 | 7081 | 7520 | 7128 | 6955 | 6761 | 6934 | 6934 | 6908
| 2013 | 7173 | 6753 | 7345 | 6947 | 6699 | 6521 | 6769 | 6769 | 6983
| 2014 | 7307 | 6895 | 7470 | 7077 | 6854 | 6647 | 6881 | 6881 | 6999
| 2015 | 7822 | 7369 | 8027 | 7620 | 7334 | 7126 | 7411 | 7412 | 7301
| 2016 | 8017 | 7513 | 8188 | 7686 | 7439 | 7207 | 7454 | 7454 | 7479
| 2017 | 7723 | 7221 | 7874 | 7374 | 7111 | 6894 | 7157 | 7157 | 7433
| 2018 | 8172 | 7623 | 8295 | 7750 | 7554 | 7383 | 7633 | 7633 | 7904
| 2019 | 8073 | 7559 | 8286 | 7778 | 7416 | 7208 | 7624 | 7624 | 7617
| 2020 | 8143 | 7671 | 8320 | 7885 | 7673 | 7441 | 7708 | 7708 | 7544
| 2021 | 8162 | 8065 | 8328 | 8319 | 8029 | 7468 | 7758 | 7758 | (1)
Note:
(1) The winter 2021 weather corrected demand was not available at time of publication.

## Table 3.13
Table 3.13 | Forecast winter native maximum demand (MW) | [9 empty] | Index
| Winter | Slow Growth |  |  | Steady Progress |  |  | Hydrogen Superpower
|  | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE
| 2022 | 7386 | 7644 | 7939 | 7515 | 7773 | 8075 | 7955 | 8191 | 8511
| 2023 | 7429 | 7693 | 7999 | 7571 | 7818 | 8123 | 8084 | 8327 | 8644
| 2024 | 7464 | 7723 | 8043 | 7607 | 7855 | 8163 | 8248 | 8495 | 8808
| 2025 | 7541 | 7793 | 8109 | 7680 | 7936 | 8244 | 8328 | 8567 | 8876
| 2026 | 7622 | 7881 | 8200 | 7791 | 8041 | 8352 | 8531 | 8769 | 9076
| 2027 | 7697 | 7959 | 8267 | 7909 | 8167 | 8481 | 9136 | 9374 | 9676
| 2028 | 7780 | 8040 | 8347 | 8025 | 8285 | 8602 | 9291 | 9527 | 9842
| 2029 | 7672 | 7971 | 8304 | 8139 | 8392 | 8700 | 9458 | 9706 | 10015
| 2030 (1) | 7122 | 7378 | 7697 | 8251 | 8494 | 8802 | 9688 | 9930 | 10240
| 2031 | 7194 | 7458 | 7777 | 8381 | 8632 | 8933 | 9966 | 10212 | 10535
Note:
(1) Shutdown of a large industrial load is assumed in the Slow Growth scenario in the latter half of winter 2029.

## Table 3.14
Table 3.14 | Historical annual minimum demand (MW) | [8 empty] | Index
| Summer | Operational as generated | Operational sent out | Native as generated | Native Sent Out | Transmission sent out | Transmission delivered | Native | Native plus solar PV
| 2012 | 4095 | 4075 | 4220 | 4188 | 4064 | 3610 | 3734 | 3734
| 2013 | 4176 | 4097 | 4305 | 4237 | 4108 | 3702 | 3831 | 3831
| 2014 | 4073 | 3780 | 4274 | 4027 | 3768 | 3664 | 3923 | 3923
| 2015 | 4281 | 3946 | 4476 | 4178 | 3983 | 3884 | 4079 | 4079
| 2016 | 4944 | 4470 | 5101 | 4686 | 4471 | 4336 | 4552 | 4552
| 2017 | 4791 | 4313 | 4942 | 4526 | 4318 | 4181 | 4389 | 4389
| 2018 | 4647 | 4165 | 4868 | 4501 | 4143 | 4008 | 4366 | 5572
| 2019 | 4211 | 3712 | 4441 | 4112 | 3528 | 3370 | 3953 | 5323
| 2020 | 3897 | 3493 | 4094 | 3767 | 3097 | 3006 | 3675 | 5882
| 2021 (1) | 3784 | 3386 | 3895 | 3565 | 3120 | 3053 | 3498 | 6490
Note:
(1) 2021 minimum based on preliminary data up to 3 October 2021.

## Table 3.15
Table 3.15 | Forecast annual transmission delivered minimum demand (MW) (1) | [9 empty] | Index
| Annual | Slow Growth |  |  | Steady Progress |  |  | Hydrogen Superpower
|  | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE
| 2022 | 1355 | 1573 | 1774 | 1547 | 1788 | 1974 | 1953 | 2175 | 2371
| 2023 | 925 | 1164 | 1372 | 1185 | 1427 | 1616 | 1589 | 1823 | 2018
| 2024 | 666 | 909 | 1124 | 872 | 1132 | 1344 | 1252 | 1511 | 1745
| 2025 | 467 | 718 | 957 | 653 | 911 | 1134 | 748 | 1035 | 1287
| 2026 | 296 | 553 | 798 | 366 | 638 | 877 | 438 | 707 | 972
| 2027 | 84 | 368 | 619 | 141 | 434 | 680 | 484 | 790 | 1085
| 2028 | -56 | 204 | 451 | 1 | 268 | 502 | 101 | 385 | 679
| 2029 | -979 | -698 | -422 | -128 | 166 | 439 | -329 | 5 | 323
| 2030 (2) | -1108 | -832 | -573 | -280 | 31 | 291 | -672 | -314 | 21
| 2031 | -1206 | -916 | -644 | -374 | -58 | 205 | -1185 | -826 | -474
Notes:
(1) Forecasts provided without predicting market outcomes, directions or constraints which may be imposed to ensure system security but will impact output of embedded VRE generators and, as a consequence, transmission delivered demand.
(2) Shutdown of a large industrial load is assumed in the Slow Growth scenario in the latter half of winter 2029.

## Figure 3.9
Figure 3.9 | Historical and forecast transmission delivered annual minimum demand |  |  |  |  | Index
| Year | Historical | AEMO 2021 ESOO Slow Growth 50% PoE | AEMO 2021 ESOO Steady Progress 50% PoE | AEMO 2021 ESOO Hydrogen Superpower 50% PoE
| 2012 | 3610
| 2013 | 3702
| 2014 | 3664
| 2015 | 3884
| 2016 | 4336
| 2017 | 4181
| 2018 | 4008
| 2019 | 3370
| 2020 | 3006
| 2021 | 3053
| 2022 |  | 1573 | 1788 | 2175
| 2023 |  | 1164 | 1427 | 1823
| 2024 |  | 909 | 1132 | 1511
| 2025 |  | 718 | 911 | 1035
| 2026 |  | 553 | 638 | 707
| 2027 |  | 368 | 434 | 790
| 2028 |  | 204 | 268 | 385
| 2029 |  | -698 | 166 | 5
| 2030 |  | -832 | 31 | -314
| 2031 |  | -916 | -58 | -826

## Table 3.16
Table 3.16 | Forecast annual native minimum demand (MW) (1) | [9 empty] | Index
| Annual | Slow Growth |  |  | Steady Progress |  |  | Hydrogen Superpower
|  | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE
| 2022 | 2538 | 2756 | 2957 | 2730 | 2971 | 3156 | 3125 | 3347 | 3543
| 2023 | 2105 | 2343 | 2551 | 2368 | 2610 | 2799 | 2773 | 3008 | 3202
| 2024 | 1850 | 2094 | 2308 | 2057 | 2317 | 2529 | 2472 | 2731 | 2965
| 2025 | 1654 | 1906 | 2145 | 1839 | 2097 | 2320 | 2011 | 2298 | 2550
| 2026 | 1480 | 1737 | 1982 | 1666 | 1938 | 2177 | 1718 | 1987 | 2253
| 2027 | 1270 | 1553 | 1805 | 1493 | 1785 | 2032 | 1776 | 2082 | 2377
| 2028 | 1127 | 1386 | 1634 | 1387 | 1655 | 1889 | 1447 | 1731 | 2025
| 2029 | 205 | 486 | 762 | 1252 | 1546 | 1819 | 1092 | 1426 | 1744
| 2030 (2) | 77 | 353 | 611 | 1107 | 1417 | 1678 | 753 | 1111 | 1446
| 2031 | -18 | 272 | 544 | 1017 | 1333 | 1597 | 590 | 948 | 1300
Notes:
(1) Forecasts provided without predicting market outcomes, directions or constraints which may be imposed to ensure system security but impact on the output of these embedded VRE generators.
(2) Shutdown of a large industrial load is assumed in the Slow Growth scenario in the latter half of winter 2029.

## Table 3.17
Table 3.17 | Average ratios of zone maximum delivered demand to zone delivered demand at time of Queensland region maximum delivered demand |  |  | Index
| Zone | Winter | Summer
| Far North | 1.0871 | 1.2325
| Ross | 1.2462 | 1.6738
| North | 1.1055 | 1.144
| Central West | 1.1253 | 1.2332
| Gladstone | 1.0276 | 1.0351
| Wide Bay | 1.0334 | 1.0828
| Surat | 1.1419 | 1.1605
| Bulli | 1.0337 | 1.0793
| South West | 1.0419 | 1.1001
| Moreton | 1.0277 | 1.0056
| Gold Coast | 1.0338 | 1.0307

## Table 3.18
Table 3.18 | Annual transmission delivered energy by zone (GWh) | [10 empty] | Index
| Financial Year | Far North | Ross | North | Central West | Gladstone | Wide Bay | Surat | Bulli | South West | Moreton | Gold Coast | Total
Actuals
| 2011/12 | 1792 | 2723 | 2611 | 3463 | 10286 | 1323 |  | 105 | 1196 | 18629 | 3266 | 45394
| 2012/13 | 1722 | 2693 | 2732 | 3414 | 10507 | 1267 |  | 103 | 1746 | 18232 | 3235 | 45651
| 2013/14 | 1658 | 2826 | 2828 | 3564 | 10293 | 1321 | 338 | 146 | 1304 | 17782 | 3085 | 45145
| 2014/15 | 1697 | 2977 | 2884 | 3414 | 10660 | 1266 | 821 | 647 | 1224 | 18049 | 3141 | 46780
| 2015/16 | 1724 | 2944 | 2876 | 3327 | 10721 | 1272 | 2633 | 1290 | 1224 | 17944 | 3139 | 49094
| 2016/17 | 1704 | 2682 | 2661 | 3098 | 10196 | 1305 | 4154 | 1524 | 1308 | 18103 | 3145 | 49880
| 2017/18 | 1657 | 2645 | 2650 | 3027 | 9362 | 1238 | 4383 | 1497 | 1315 | 17873 | 3092 | 48739
| 2018/19 | 1648 | 2338 | 2621 | 2996 | 9349 | 1198 | 4805 | 1519 | 1376 | 17849 | 3065 | 48764
| 2019/20 | 1594 | 2466 | 2495 | 2859 | 9303 | 1031 | 5025 | 1580 | 1141 | 17395 | 2971 | 47860
| 2020/21 | 1519 | 2569 | 2413 | 2813 | 9383 | 970 | 5241 | 1491 | 993 | 16807 | 3222 | 47421
Forecasts
| 2021/22 | 1380 | 2317 | 2371 | 2298 | 9279 | 862 | 5103 | 1671 | 652 | 15665 | 2623 | 44221
| 2022/23 | 1330 | 2300 | 2297 | 2209 | 9262 | 566 | 4617 | 1662 | 726 | 15141 | 2555 | 42665
| 2023/24 | 1309 | 2271 | 2269 | 2182 | 9256 | 405 | 4401 | 1661 | 673 | 14814 | 2485 | 41726
| 2024/25 | 1295 | 2254 | 2258 | 2165 | 9258 | 385 | 4434 | 1673 | 650 | 14840 | 2492 | 41704
| 2025/26 | 1299 | 2257 | 2265 | 2282 | 9259 | 381 | 4434 | 1673 | 651 | 14945 | 2514 | 41960
| 2026/27 | 1296 | 2246 | 2259 | 2283 | 9265 | 382 | 4382 | 1654 | 654 | 15145 | 2554 | 42120
| 2027/28 | 1277 | 2206 | 2221 | 2252 | 9270 | 378 | 4278 | 1614 | 644 | 15412 | 2607 | 42159
| 2028/29 | 1246 | 2150 | 2173 | 2217 | 9274 | 364 | 4151 | 1567 | 628 | 15673 | 2662 | 42105
| 2029/30 | 1218 | 2095 | 2126 | 2182 | 9279 | 351 | 4021 | 1519 | 613 | 15918 | 2713 | 42035
| 2030/31 | 1231 | 2108 | 2147 | 2208 | 9283 | 347 | 4022 | 1520 | 617 | 16135 | 2759 | 42377

## Table 3.19
Table 3.19 | Annual native energy by zone (GWh) | [10 empty] | Index
| Financial Year | Far North | Ross | North | Central West | Gladstone | Wide Bay | Surat | Bulli | South West | Moreton | Gold Coast | Total
Actuals
| 2011/12 | 1792 | 3217 | 2901 | 3710 | 10286 | 1348 |  | 105 | 2014 | 18695 | 3266 | 47334
| 2012/13 | 1722 | 3080 | 3064 | 3767 | 10507 | 1292 |  | 103 | 1988 | 18332 | 3235 | 47090
| 2013/14 | 1658 | 3067 | 3154 | 3944 | 10293 | 1339 | 402 | 146 | 1536 | 17879 | 3085 | 46503
| 2014/15 | 1697 | 3163 | 3434 | 3841 | 10660 | 1285 | 1022 | 647 | 1468 | 18137 | 3141 | 48495
| 2015/16 | 1724 | 3141 | 3444 | 3767 | 10721 | 1293 | 2739 | 1290 | 1475 | 18011 | 3139 | 50744
| 2016/17 | 1704 | 2999 | 3320 | 3541 | 10196 | 1329 | 4194 | 1524 | 1549 | 18134 | 3145 | 51635
| 2017/18 | 1667 | 2935 | 3296 | 3493 | 9362 | 1259 | 4853 | 1497 | 1527 | 17944 | 3092 | 50925
| 2018/19 | 1670 | 2894 | 3211 | 3608 | 9349 | 1266 | 5163 | 1519 | 1550 | 17945 | 3065 | 51240
| 2019/20 | 1614 | 2899 | 3159 | 3656 | 9303 | 1282 | 5395 | 1580 | 1479 | 17466 | 2971 | 50804
| 2020/21 | 1539 | 2904 | 2982 | 3552 | 9383 | 1234 | 5451 | 1491 | 1476 | 17152 | 2943 | 50107
Forecasts
| 2021/22 | 1409 | 3057 | 2981 | 3206 | 9279 | 1161 | 5368 | 1671 | 1466 | 15729 | 2622 | 47949
| 2022/23 | 1358 | 3097 | 2907 | 3116 | 9262 | 1113 | 5374 | 1662 | 1412 | 15202 | 2553 | 47056
| 2023/24 | 1337 | 3070 | 2879 | 3091 | 9255 | 1090 | 5368 | 1661 | 1385 | 14873 | 2483 | 46492
| 2024/25 | 1323 | 3051 | 2868 | 3073 | 9257 | 1068 | 5399 | 1673 | 1362 | 14901 | 2490 | 46465
| 2025/26 | 1327 | 3054 | 2875 | 3080 | 9259 | 1063 | 5399 | 1673 | 1362 | 15005 | 2512 | 46609
| 2026/27 | 1340 | 3072 | 2897 | 3108 | 9264 | 1068 | 5400 | 1674 | 1372 | 15207 | 2552 | 46954
| 2027/28 | 1354 | 3086 | 2916 | 3130 | 9269 | 1074 | 5402 | 1674 | 1381 | 15472 | 2604 | 47362
| 2028/29 | 1363 | 3096 | 2938 | 3159 | 9273 | 1067 | 5402 | 1675 | 1382 | 15732 | 2658 | 47745
| 2029/30 | 1376 | 3107 | 2960 | 3188 | 9278 | 1063 | 5402 | 1676 | 1386 | 15975 | 2709 | 48120
| 2030/31 | 1388 | 3121 | 2981 | 3215 | 9282 | 1059 | 5403 | 1676 | 1389 | 16192 | 2755 | 48461

## Table 3.20
Table 3.20 | State summer maximum transmission delivered demand by zone (MW) | [10 empty] | Index
| Summer | Far North | Ross | North | Central West | Gladstone | Wide Bay | Surat | Bulli | South West | Moreton | Gold Coast | Total
Actuals
| 2011/12 | 296 | 376 | 404 | 525 | 1191 | 249 |  | 18 | 217 | 3788 | 658 | 7722
| 2012/13 | 278 | 297 | 373 | 546 | 1219 | 233 |  | 14 | 231 | 3766 | 627 | 7597
| 2013/14 | 296 | 401 | 427 | 504 | 1152 | 248 | 13 | 17 | 267 | 3597 | 637 | 7559
| 2014/15 | 278 | 381 | 399 | 466 | 1254 | 263 | 96 | 81 | 227 | 3846 | 692 | 7983
| 2015/16 | 308 | 392 | 411 | 443 | 1189 | 214 | 265 | 155 | 231 | 3953 | 661 | 8222
| 2016/17 | 258 | 222 | 378 | 429 | 1193 | 270 | 421 | 178 | 286 | 3993 | 719 | 8347
| 2017/18 | 304 | 376 | 413 | 463 | 1102 | 278 | 504 | 183 | 301 | 4147 | 718 | 8789
| 2018/19 | 342 | 339 | 400 | 484 | 1096 | 285 | 526 | 191 | 312 | 4270 | 724 | 8969
| 2019/20 | 286 | 325 | 391 | 368 | 1080 | 263 | 610 | 191 | 267 | 4276 | 709 | 8766
| 2020/21 | 254 | 405 | 431 | 471 | 1111 | 298 | 588 | 165 | 248 | 3894 | 614 | 8479
Forecasts
| 2021/22 | 265 | 329 | 413 | 403 | 1091 | 233 | 557 | 191 | 234 | 4093 | 654 | 8463
| 2022/23 | 268 | 344 | 425 | 439 | 1091 | 266 | 555 | 189 | 280 | 4143 | 658 | 8658
| 2023/24 | 268 | 340 | 425 | 438 | 1091 | 268 | 535 | 185 | 284 | 4140 | 652 | 8626
| 2024/25 | 268 | 347 | 432 | 447 | 1092 | 273 | 551 | 184 | 290 | 4194 | 659 | 8737
| 2025/26 | 275 | 359 | 439 | 486 | 1094 | 283 | 537 | 181 | 312 | 4270 | 670 | 8906
| 2026/27 | 280 | 364 | 444 | 498 | 1095 | 288 | 537 | 181 | 317 | 4331 | 678 | 9013
| 2027/28 | 283 | 366 | 445 | 506 | 1095 | 289 | 531 | 180 | 319 | 4386 | 686 | 9086
| 2028/29 | 286 | 364 | 447 | 512 | 1096 | 291 | 550 | 180 | 320 | 4439 | 695 | 9180
| 2029/30 | 292 | 375 | 454 | 524 | 1098 | 298 | 536 | 180 | 327 | 4504 | 705 | 9293
| 2030/31 | 299 | 381 | 461 | 532 | 1099 | 304 | 538 | 180 | 335 | 4572 | 716 | 9417

## Table 3.21
Table 3.21 | State summer maximum native demand by zone (MW) | [10 empty] | Index
| Summer | Far North | Ross | North | Central West | Gladstone | Wide Bay | Surat | Bulli | South West | Moreton | Gold Coast | Total
Actuals
| 2011/12 | 296 | 449 | 434 | 598 | 1191 | 249 |  | 18 | 378 | 3788 | 658 | 8059
| 2012/13 | 277 | 417 | 422 | 568 | 1213 | 241 |  | 14 | 328 | 3799 | 634 | 7913
| 2013/14 | 271 | 423 | 386 | 561 | 1147 | 260 | 88 | 21 | 316 | 3755 | 603 | 7831
| 2014/15 | 278 | 399 | 479 | 548 | 1254 | 263 | 189 | 81 | 254 | 3889 | 692 | 8326
| 2015/16 | 308 | 423 | 491 | 519 | 1189 | 214 | 370 | 155 | 257 | 3952 | 661 | 8539
| 2016/17 | 269 | 364 | 512 | 559 | 1088 | 276 | 498 | 175 | 329 | 3974 | 712 | 8756
| 2017/18 | 310 | 480 | 486 | 508 | 1102 | 278 | 617 | 183 | 328 | 4179 | 718 | 9189
| 2018/19 | 338 | 456 | 432 | 562 | 1104 | 293 | 630 | 191 | 340 | 4338 | 731 | 9415
| 2019/20 | 287 | 451 | 441 | 530 | 1084 | 277 | 660 | 191 | 305 | 4322 | 720 | 9268
| 2020/21 | 256 | 508 | 483 | 596 | 1111 | 314 | 681 | 165 | 307 | 3894 | 614 | 8929
Forecasts
| 2021/22 | 267 | 527 | 459 | 520 | 1089 | 263 | 729 | 190 | 326 | 4093 | 653 | 9116
| 2022/23 | 269 | 492 | 469 | 524 | 1089 | 271 | 728 | 189 | 330 | 4140 | 656 | 9157
| 2023/24 | 269 | 498 | 469 | 529 | 1088 | 272 | 720 | 185 | 329 | 4139 | 650 | 9148
| 2024/25 | 269 | 504 | 476 | 537 | 1090 | 277 | 731 | 183 | 334 | 4194 | 658 | 9253
| 2025/26 | 275 | 473 | 482 | 550 | 1091 | 282 | 724 | 181 | 340 | 4267 | 668 | 9333
| 2026/27 | 280 | 478 | 488 | 561 | 1092 | 287 | 724 | 181 | 345 | 4327 | 676 | 9439
| 2027/28 | 284 | 484 | 492 | 574 | 1102 | 291 | 727 | 181 | 349 | 4421 | 691 | 9596
| 2028/29 | 288 | 489 | 496 | 586 | 1105 | 294 | 729 | 182 | 352 | 4483 | 701 | 9705
| 2029/30 | 295 | 494 | 503 | 594 | 1107 | 300 | 731 | 182 | 359 | 4550 | 712 | 9827
| 2030/31 | 302 | 501 | 510 | 603 | 1110 | 307 | 733 | 182 | 367 | 4619 | 723 | 9957

## Table 3.22
Table 3.22 | State winter maximum transmission delivered demand by zone (MW) | [10 empty] | Index
| Winter | Far North | Ross | North | Central West | Gladstone | Wide Bay | Surat | Bulli | South West | Moreton | Gold Coast | Total
Actuals
| 2012 | 212 | 175 | 276 | 474 | 1187 | 207 |  | 21 | 259 | 3065 | 567 | 6525
| 2013 | 209 | 300 | 344 | 433 | 1195 | 192 | 75 | 21 | 262 | 2964 | 556 | 6551
| 2014 | 226 | 344 | 355 | 463 | 1200 | 204 | 16 | 51 | 257 | 2975 | 551 | 6642
| 2015 | 192 | 289 | 332 | 429 | 1249 | 203 | 137 | 137 | 258 | 3267 | 597 | 7090
| 2016 | 226 | 249 | 370 | 417 | 1242 | 206 | 390 | 181 | 279 | 3079 | 537 | 7176
| 2017 | 241 | 368 | 366 | 377 | 1074 | 216 | 513 | 187 | 248 | 2797 | 483 | 6870
| 2018 | 242 | 366 | 335 | 439 | 1091 | 235 | 475 | 186 | 336 | 3086 | 540 | 7331
| 2019 | 234 | 284 | 362 | 419 | 1037 | 239 | 615 | 195 | 293 | 3078 | 540 | 7296
| 2020 | 227 | 306 | 327 | 449 | 1104 | 246 | 531 | 191 | 313 | 3274 | 515 | 7483
| 2021 | 204 | 296 | 334 | 383 | 1075 | 250 | 592 | 179 | 339 | 3275 | 545 | 7472
Forecasts
| 2022 | 209 | 241 | 343 | 422 | 1098 | 227 | 504 | 191 | 310 | 3275 | 539 | 7359
| 2023 | 209 | 243 | 359 | 423 | 1098 | 232 | 509 | 190 | 311 | 3306 | 532 | 7412
| 2024 | 209 | 242 | 365 | 426 | 1098 | 235 | 501 | 186 | 309 | 3343 | 535 | 7449
| 2025 | 213 | 247 | 371 | 433 | 1099 | 239 | 511 | 184 | 314 | 3382 | 537 | 7530
| 2026 | 212 | 251 | 377 | 445 | 1101 | 243 | 497 | 182 | 318 | 3452 | 547 | 7625
| 2027 | 215 | 240 | 381 | 455 | 1102 | 247 | 497 | 181 | 322 | 3487 | 551 | 7678
| 2028 | 217 | 245 | 382 | 465 | 1103 | 248 | 497 | 181 | 324 | 3567 | 563 | 7792
| 2029 | 220 | 246 | 384 | 476 | 1104 | 252 | 496 | 181 | 328 | 3617 | 573 | 7877
| 2030 | 224 | 250 | 388 | 480 | 1105 | 255 | 492 | 181 | 331 | 3686 | 583 | 7975
| 2031 | 234 | 259 | 403 | 498 | 945 | 266 | 504 | 185 | 346 | 3845 | 609 | 8094

## Table 3.23
Table 3.23 | State winter maximum native demand by zone (MW) | [10 empty] | Index
| Winter | Far North | Ross | North | Central West | Gladstone | Wide Bay | Surat | Bulli | South West | Moreton | Gold Coast | Total
Actuals
| 2012 | 214 | 289 | 360 | 460 | 1201 | 215 |  | 20 | 375 | 3206 | 594 | 6934
| 2013 | 195 | 291 | 374 | 499 | 1200 | 195 | 89 | 17 | 290 | 3040 | 579 | 6769
| 2014 | 226 | 369 | 420 | 509 | 1200 | 204 | 90 | 51 | 286 | 2975 | 551 | 6881
| 2015 | 192 | 334 | 404 | 518 | 1249 | 203 | 208 | 137 | 288 | 3281 | 597 | 7411
| 2016 | 216 | 358 | 419 | 504 | 1229 | 200 | 467 | 193 | 310 | 3008 | 550 | 7454
| 2017 | 218 | 367 | 416 | 415 | 1070 | 220 | 554 | 182 | 276 | 2913 | 526 | 7157
| 2018 | 242 | 360 | 410 | 494 | 1091 | 235 | 654 | 186 | 336 | 3085 | 540 | 7633
| 2019 | 230 | 307 | 408 | 483 | 1066 | 241 | 628 | 207 | 346 | 3176 | 532 | 7624
| 2020 | 227 | 329 | 406 | 492 | 1104 | 247 | 624 | 191 | 342 | 3231 | 515 | 7708
| 2021 | 206 | 255 | 366 | 459 | 1079 | 232 | 691 | 181 | 357 | 3373 | 559 | 7758
Forecasts
| 2022 | 207 | 327 | 418 | 473 | 1089 | 226 | 723 | 189 | 336 | 3250 | 535 | 7773
| 2023 | 208 | 328 | 433 | 473 | 1089 | 230 | 721 | 188 | 337 | 3283 | 528 | 7818
| 2024 | 207 | 328 | 439 | 477 | 1088 | 233 | 713 | 184 | 335 | 3320 | 531 | 7855
| 2025 | 211 | 333 | 446 | 484 | 1090 | 237 | 723 | 182 | 340 | 3357 | 533 | 7936
| 2026 | 210 | 337 | 451 | 496 | 1092 | 241 | 716 | 180 | 344 | 3431 | 543 | 8041
| 2027 | 215 | 331 | 460 | 510 | 1103 | 247 | 722 | 181 | 352 | 3494 | 552 | 8167
| 2028 | 217 | 334 | 461 | 521 | 1105 | 249 | 720 | 181 | 354 | 3579 | 564 | 8285
| 2029 | 221 | 338 | 464 | 533 | 1108 | 253 | 722 | 181 | 358 | 3639 | 575 | 8392
| 2030 | 225 | 342 | 468 | 537 | 1109 | 256 | 723 | 181 | 362 | 3705 | 586 | 8494
| 2031 | 235 | 356 | 485 | 557 | 949 | 268 | 741 | 186 | 377 | 3866 | 612 | 8632

## Figure 3.10
Figure 3.10 | Daily load profile of summer 2020/21 and winter 2021 maximum transmission delivered demand days | [10 empty] | Index
| Season | Date | 0:00 | 0:30 | 1:00 | 1:30 | 2:00 | 2:30 | 3:00 | 3:30 | 4:00 | 4:30 | 5:00 | 5:30 | 6:00 | 6:30 | 7:00 | 7:30 | 8:00 | 8:30 | 9:00 | 9:30 | 10:00 | 10:30 | 11:00 | 11:30 | 12:00 | 12:30 | 13:00 | 13:30 | 14:00 | 14:30 | 15:00 | 15:30 | 16:00 | 16:30 | 17:00 | 17:30 | 18:00 | 18:30 | 19:00 | 19:30 | 20:00 | 20:30 | 21:00 | 21:30 | 22:00 | 22:30 | 23:00 | 23:30
| Summer | 2021-02-22 | 5635.992 | 5517.703 | 5435.7653 | 5367.2342 | 5307.1816 | 5229.2295 | 5227.3682 | 5213.8196 | 5250.5935 | 5305.212 | 5470.6861 | 5590.4569 | 5806.501 | 5861.7921 | 5899.5939 | 5831.3962 | 5734.6958 | 5646.3477 | 5567.9566 | 5569.8674 | 5611.6839 | 5667.1198 | 5722.464 | 5833.8556 | 6027.885 | 6249.0361 | 6335.6609 | 6509.9284 | 6756.9216 | 6947.227 | 6980.4544 | 7348.3698 | 7772.3438 | 8117.113 | 8257.2524 | 8478.9834 | 8343.632 | 8278.5995 | 8166.2825 | 7965.9176 | 7820.5582 | 7648.1452 | 7211.2021 | 7090.9208 | 6699.1145 | 6433.2877 | 6181.9646 | 5933.7658
| Winter | 2021-07-21 | 5450.4157 | 5324.8918 | 5210.2024 | 5121.4861 | 5060.5376 | 5063.2528 | 5066.1904 | 5068.6075 | 5127.4461 | 5297.3505 | 5533.8945 | 5816.2052 | 6279.1073 | 6697.2154 | 7026.3715 | 6715.1533 | 6238.2467 | 5769.2711 | 5351.6189 | 5010.1525 | 4705.6796 | 4424.8233 | 4292.5674 | 4222.3829 | 4165.0491 | 4261.1643 | 4245.8036 | 4327.1821 | 4466.5282 | 4708.337 | 4968.6087 | 5370.8527 | 5862.7928 | 6545.8938 | 7099.6928 | 7471.7183 | 7449.4669 | 7467.7108 | 7382.5309 | 7289.9615 | 7223.0194 | 7190.6468 | 7124.3526 | 6948.8145 | 6662.5584 | 6396.8529 | 6111.2089 | 5817.5146

## Figure 3.11
Figure 3.11 | Daily load profile of 2021 minimum transmission delivered demand day (1) | [10 empty] | Index
Note:
(1) Based on preliminary meter data up to 3 October 2021.
|  | Date | 0:00 | 0:30 | 1:00 | 1:30 | 2:00 | 2:30 | 3:00 | 3:30 | 4:00 | 4:30 | 5:00 | 5:30 | 6:00 | 6:30 | 7:00 | 7:30 | 8:00 | 8:30 | 9:00 | 9:30 | 10:00 | 10:30 | 11:00 | 11:30 | 12:00 | 12:30 | 13:00 | 13:30 | 14:00 | 14:30 | 15:00 | 15:30 | 16:00 | 16:30 | 17:00 | 17:30 | 18:00 | 18:30 | 19:00 | 19:30 | 20:00 | 20:30 | 21:00 | 21:30 | 22:00 | 22:30 | 23:00 | 23:30
| Annual | 2021-10-03 | 4970 | 4876 | 4793 | 4706 | 4657 | 4621 | 4602 | 4591 | 4605 | 4619 | 4638 | 4606 | 4423 | 4086 | 3784 | 3605 | 3465 | 3348 | 3187 | 3118 | 3119 | 3155 | 3053 | 3062 | 3126 | 3166 | 3247 | 3395 | 3603 | 3807 | 4146 | 4557 | 5006 | 5509 | 5923 | 6134 | 6283 | 6300 | 6133 | 6101 | 6105 | 6002 | 5843 | 5670 | 5542 | 5440 | 5276 | 5092

## Figure 3.12
Figure 3.12 | Historical annual transmission delivered load duration curves | [10 empty] | Index
| Percentage time of year | 0 | 0.005 | 0.01384 | 0.02815 | 0.04987 | 0.08125 | 0.12487 | 0.18363 | 0.26074 | 0.35977 | 0.4846 | 0.63948 | 0.82896 | 1.058 | 1.3317 | 1.6559 | 2.0365 | 2.4797 | 2.9923 | 3.5812 | 4.254 | 5.0183 | 5.8822 | 6.8543 | 7.9433 | 9.1586 | 10.5098 | 12.0067 | 13.6597 | 15.4796 | 17.4774 | 19.6647 | 22.0532 | 24.6553 | 27.4835 | 30.5509 | 33.8708 | 37.457 | 41.3238 | 45.4855 | 49.9573 | 54.9573 | 59.3573 | 63.2573 | 66.8573 | 70.1673 | 73.2373 | 76.0773 | 78.6873 | 81.0673 | 83.2673 | 84.4673 | 86.2873 | 87.9873 | 89.4873 | 90.8393 | 92.0547 | 93.1447 | 94.1168 | 94.9808 | 95.7458 | 96.4185 | 97.0075 | 97.52 | 97.9633 | 98.3438 | 98.668 | 98.9418 | 99.1708 | 99.3603 | 99.5151 | 99.64 | 99.739 | 99.8161 | 99.8749 | 99.9185 | 99.9499 | 99.9716 | 99.9859 | 99.9947 | 99.9998 | 100
| 2016/17 | 8347.2 | 8343.5 | 8315.6 | 8303.7 | 8286.4 | 8261 | 8213.3 | 8098.4 | 8034.4 | 7950.3 | 7898.5 | 7809.8 | 7739.5 | 7666.7 | 7607.1 | 7549 | 7493.5 | 7411.4 | 7327.5 | 7252.6 | 7180.2 | 7109.1 | 7035 | 6946.2 | 6867.9 | 6789.1 | 6715.4 | 6634.7 | 6549.3 | 6470.3 | 6404.1 | 6334.7 | 6260.2 | 6181.7 | 6103.5 | 6026.3 | 5944.4 | 5857.9 | 5766.3 | 5671.7 | 5576.3 | 5477.3 | 5389.4 | 5308.5 | 5231.8 | 5153.6 | 5075.9 | 5000.5 | 4928.9 | 4866.9 | 4805.8 | 4773 | 4716.2 | 4674.4 | 4639.1 | 4609.2 | 4582.3 | 4559.1 | 4536.4 | 4516.2 | 4499.2 | 4480 | 4460.2 | 4440 | 4421.9 | 4400.9 | 4372.7 | 4352.7 | 4332.1 | 4316.6 | 4294.7 | 4275 | 4260.5 | 4252.5 | 4240.9 | 4223.2 | 4209.7 | 4198.4 | 4189.8 | 4183.8 | 4180.7 | 4180.6
| 2017/18 | 8788.6 | 8779.1 | 8663 | 8605 | 8580.8 | 8517.4 | 8424.5 | 8353.1 | 8206.3 | 8023.6 | 7851.9 | 7701 | 7595.9 | 7519.4 | 7430.5 | 7331.9 | 7243.6 | 7148.7 | 7067.5 | 6989.5 | 6918.9 | 6853.8 | 6770.2 | 6711.7 | 6646.3 | 6592.2 | 6531.2 | 6476.4 | 6417.4 | 6363.5 | 6304.5 | 6240.1 | 6172.8 | 6101.8 | 6027.7 | 5946.5 | 5858.2 | 5775.3 | 5690 | 5601.1 | 5507.1 | 5390 | 5287.8 | 5195.8 | 5114.7 | 5047.7 | 4983.2 | 4924.9 | 4869.1 | 4820.4 | 4776.3 | 4749.6 | 4712.8 | 4677.6 | 4643.7 | 4609.7 | 4580.4 | 4555.5 | 4532 | 4511 | 4493.2 | 4475 | 4455.9 | 4433.3 | 4418.1 | 4397.7 | 4377.8 | 4363 | 4348.1 | 4334 | 4322.6 | 4312.1 | 4294.3 | 4280.2 | 4261.7 | 4243.1 | 4212.8 | 4202 | 4190.8 | 4170.1 | 4144.8 | 4143.5
| 2018/19 | 8969 | 8953.2 | 8900.9 | 8851.7 | 8612.1 | 8506.5 | 8337.8 | 8245.6 | 8109.1 | 8016.2 | 7969.8 | 7896 | 7796.3 | 7711.9 | 7608.8 | 7527.9 | 7453 | 7370.6 | 7278.7 | 7174 | 7080 | 6995.8 | 6908.2 | 6837.3 | 6752.3 | 6678.8 | 6604.5 | 6540.1 | 6476.6 | 6407.8 | 6344.1 | 6268.5 | 6191.3 | 6116.4 | 6034.2 | 5942.4 | 5854.3 | 5751.9 | 5651.3 | 5546.3 | 5443.1 | 5328.3 | 5239.7 | 5155.6 | 5090.6 | 5026.9 | 4966.7 | 4910.1 | 4856.7 | 4808.2 | 4768.1 | 4746 | 4713.1 | 4683.5 | 4657.3 | 4635.3 | 4612 | 4590.7 | 4571.9 | 4550.3 | 4532.4 | 4509.7 | 4486.1 | 4461.7 | 4426.6 | 4386.7 | 4332.8 | 4280.5 | 4248.3 | 4203 | 4164.4 | 4109 | 4074.2 | 4049.9 | 4020.7 | 3985.5 | 3938 | 3878.2 | 3820.4 | 3796.2 | 3788.5 | 3788.1
| 2019/20 | 8766.4 | 8717.1 | 8700.8 | 8663.5 | 8615.8 | 8524 | 8452.5 | 8313.5 | 8229.2 | 8148.2 | 8050.5 | 7970.3 | 7882.9 | 7798.4 | 7692.8 | 7591.7 | 7508.2 | 7408.7 | 7323.8 | 7213.7 | 7120.1 | 7037.4 | 6951.6 | 6863.6 | 6770.6 | 6680.5 | 6602.3 | 6528 | 6458.1 | 6382.3 | 6304.8 | 6222.2 | 6134.8 | 6043.3 | 5950.1 | 5847.6 | 5739 | 5633.6 | 5524.4 | 5415 | 5309 | 5200 | 5101.1 | 5021.8 | 4949.1 | 4876.7 | 4815.6 | 4759.9 | 4709.8 | 4668.2 | 4628.6 | 4604.8 | 4576.1 | 4541.9 | 4510.2 | 4476.3 | 4437.2 | 4395.5 | 4351.1 | 4302.2 | 4247 | 4185.7 | 4129.7 | 4076 | 4024.2 | 3981.1 | 3935.7 | 3898.6 | 3869.7 | 3841.1 | 3818.3 | 3786.1 | 3768.1 | 3739.9 | 3728.5 | 3715.5 | 3702.5 | 3697.3 | 3693.1 | 3689.3 | 3688.8 | 3688.7
| 2020/21 | 8479 | 8360.7 | 8293.2 | 8264.1 | 8245 | 8207.3 | 8108.2 | 8059.5 | 7991.2 | 7903.9 | 7826.5 | 7724 | 7634.6 | 7568.7 | 7490.1 | 7407 | 7338 | 7255.6 | 7179 | 7096.6 | 7018.7 | 6942.8 | 6867.5 | 6798 | 6721.4 | 6650 | 6581 | 6511 | 6440 | 6368 | 6291 | 6205 | 6117 | 6030 | 5936 | 5839.8 | 5738 | 5631.9 | 5523.5 | 5412 | 5304 | 5192 | 5096 | 5013 | 4938 | 4869 | 4811 | 4758 | 4707 | 4658 | 4599 | 4569 | 4518 | 4468 | 4409.7 | 4350 | 4287 | 4226 | 4163.7 | 4099 | 4056 | 3997.4 | 3946 | 3899 | 3846 | 3787 | 3723.7 | 3674.4 | 3618.3 | 3562.1 | 3520.8 | 3494 | 3459.4 | 3429.6 | 3332.1 | 3254 | 3183.7 | 3065 | 3052.2 | 3024.4 | 3006.9 | 3006