## Cover
Powerlink Contact
Ben McGregor
Team Leader Regional Grid Planning and Data Support
ben.mcgregor@powerlink.com.au
Note: Powerlink's 2022 Transmission Annual Planning Report Chapter 3 Energy and demand projections data should be reviewed in conjunction with the discussion contained in Chapter 3 of the 2022 Transmission Annual Planning Report.
Disclaimer: While care is taken in the preparation of the information in this document, and it is provided in good faith, Powerlink Queensland accepts no responsibility or liability for any loss or damage that may be incurred by persons acting in reliance on this information or assumptions drawn from it.
2022 Transmission Annual Planning Report
Chapter 3 Energy and demand projections data

## Index
Figure | Description
Figure 3.1 | Brisbane temperature ranges over summer and winter 2021/22 (1)
Figure 3.2 | Comparison of AEMO's 2021 ESOO Steady Progress scenario delivered demand forecast with the 2022 ESOO Step Change scenario (1)(2)
Figure 3.3 | Comparison of AEMO's 2021 ESOO Steady Progress scenario delivered energy forecast with the 2022 ESOO Step Change scenario (1)(2)
Figure 3.4 | Load measurement definitions
Figure 3.5 | Historical and forecast transmission delivered energy
Figure 3.6 | Historical and forecast transmission delivered summer maximum demand
Figure 3.7 | Historical and forecast transmission delivered winter maximum demand
Figure 3.8 | Historical and forecast transmission delivered annual minimum demand
Figure 3.9 | Daily load profile of summer 2021/22 and winter 2022 maximum transmission delivered demand days
Figure 3.10 | Daily load profile of 2022 minimum transmission delivered demand day (1)
Figure 3.11 | Historical annual transmission delivered load duration curves
Table | Description
Table 3.1 | Possible large loads excluded from the Slow Change, Step Change and Hydrogen Export scenario forecasts
Table 3.2 | Average annual growth rate over next 10 years
Table 3.3 | Historical energy (GWh)
Table 3.4 | Forecast annual transmission delivered energy (GWh)
Table 3.5 | Forecast annual native energy (GWh)
Table 3.6 | Historical summer maximum demand at time of delivered peak (MW)
Table 3.7 | Forecast summer transmission delivered maximum demand (MW)
Table 3.8 | Historical summer maximum demand at time of native peak (MW)
Table 3.9 | Forecast summer native maximum demand (MW)
Table 3.10 | Historical winter maximum demand at time of delivered peak (MW)
Table 3.11 | Forecast winter transmission delivered maximum demand (MW)
Table 3.12 | Historical winter maximum demand at time of native peak (MW)
Table 3.13 | Forecast winter native maximum demand (MW)
Table 3.14 | Historical annual minimum demand (MW)
Table 3.15 | Forecast annual transmission delivered minimum demand (MW) (1)
Table 3.16 | Forecast annual native minimum demand (MW) (1)
Table 3.17 | Average ratios of zone maximum delivered demand to zone delivered demand at time of Queensland region maximum delivered demand
Table 3.18 | Annual transmission delivered energy by zone (GWh)
Table 3.19 | Annual native energy by zone (GWh)
Table 3.20 | State summer maximum transmission delivered demand by zone (MW)
Table 3.21 | State summer maximum native demand by zone (MW)
Table 3.22 | State winter maximum transmission delivered demand by zone (MW)
Table 3.23 | State winter maximum native demand by zone (MW)
Index
2022 TAPR Chapter 3 Energy and demand projections data

## Figure 3.1
Figure 3.1 | Brisbane temperature ranges over 2021/22 (1) |  |  |  |  | Index
Note:
(1) Long-term average based on years 2000 to 2021/22.
|  | mean daily maximum (2021/22) | mean daily minimum (2021/22) | mean daily maximum (long term average) | mean daily minimum (long term average)
| October | 28.3 | 17 | 27.0955 | 16.4591
| November | 27.3 | 19.1 | 28.3227 | 18.819
| December | 29.5 | 20.3 | 29.6955 | 20.6238
| January | 29.7 | 21.7 | 30.4217 | 21.6435
| February | 29.1 | 20.5 | 30.1304 | 21.4087
| March | 29.2 | 20.2 | 29.1217 | 20.2261
| April | 27 | 18 | 27.1522 | 17.387
| May | 23.8 | 17 | 24.4739 | 13.9174
| June | 21.3 | 10.5 | 21.9913 | 11.8261
| July | 19.9 | 10.5 | 21.9478 | 10.413
| August | 22.4 | 10.9 | 23.3609 | 10.8565
| September | 24.3 | 14.1 | 25.6478 | 13.8696

## Figure 3.2
Figure 3.2 | Comparison of AEMO's 2021 ESOO Steady Progress scenario delivered demand forecast with the 2022 ESOO Step Change scenario (1)(2) |  |  |  |  | Index
Notes:
(1) AEMO’s 2022 ESOO forecast has been converted from ‘operational sent-out’ to ‘transmission delivered’ for the purposes of comparison. Refer to Figure 3.4 for further details.
(2) AEMO’s 2022 ESOO forecast has been adjusted for future uncommitted distribution connected renewables by Powerlink to incorporate the Queensland Government’s target of 50% renewable energy by 2030.
| Summer | Historical | Weather corrected | AEMO 2022 ESOO Step Change 50% PoE | AEMO 2021 ESOO Steady Progress 50% PoE
| 2012/13 | 7588 | 7622
| 2013/14 | 7498 | 7398
| 2014/15 | 8019 | 7777
| 2015/16 | 8271 | 8101
| 2016/17 | 8392 | 8302
| 2017/18 | 8842 | 8577
| 2018/19 | 8951 | 8467
| 2019/20 | 8710 | 8605
| 2020/21 | 8890 | 8660
| 2021/22 | 9031 | 8876 |  | 8463
| 2022/23 |  |  | 9047 | 8658
| 2023/24 |  |  | 9415 | 8626
| 2024/25 |  |  | 9488 | 8737
| 2025/26 |  |  | 9864 | 8906
| 2026/27 |  |  | 9972 | 9013
| 2027/28 |  |  | 10256 | 9086
| 2028/29 |  |  | 10269 | 9180
| 2029/30 |  |  | 10375 | 9293
| 2030/31 |  |  | 10549 | 9417
| 2031/32 |  |  | 10819

## Figure 3.3
Figure 3.3 | Comparison of AEMO's 2021 ESOO Steady Progress scenario delivered energy forecast with the 2022 ESOO Step Change scenario (1)(2) |  |  |  | Index
Notes:
(1) AEMO’s 2022 ESOO forecast has been converted from ‘operational sent-out’ to ‘transmission delivered’ for the purposes of comparison. Refer to Figure 3.5 for further details.
(2) AEMO’s 2022 ESOO forecast has been adjusted for future uncommitted distribution connected renewables by Powerlink to incorporate the Queensland Government’s target of 50% renewable energy by 2030.
| Financial year | Historical | AEMO 2022 ESOO Step Change | AEMO 2021 ESOO Steady Progress
| 2012/13 | 45651
| 2013/14 | 45145
| 2014/15 | 46780
| 2015/16 | 49094
| 2016/17 | 49880
| 2017/18 | 48739
| 2018/19 | 48764
| 2019/20 | 47860
| 2020/21 | 47421
| 2021/22 | 47405 |  | 44221
| 2022/23 |  | 47707 | 42665
| 2023/24 |  | 48037 | 41726
| 2024/25 |  | 47328 | 41704
| 2025/26 |  | 49473 | 41960
| 2026/27 |  | 50578 | 42120
| 2027/28 |  | 50221 | 42159
| 2028/29 |  | 49245 | 42105
| 2029/30 |  | 48840 | 42035
| 2030/31 |  | 49033 | 42377
| 2031/32 |  | 50201

## Table 3.1
Table 3.1 | Possible large loads excluded from the Slow Change, Step Change and Hydrogen Export scenario forecasts |  |  | Index
| Zone | Description | Possible load
| Northern | Electrification of existing mining load New industrial and mining | Up to 1,010MW
| Central | Hydrogen Facility Electrification of existing industrial load New manufacturing | Up to 2,360MW
| South Queensland | Hydrogen Facility Data Centre | Up to 1,450MW

## Table 3.2
Table 3.2 | Average annual growth rate over next 10 years |  |  |  | Index
AEMO future scenario growth outlooks
|  | Slow Change | Step Change | Hydrogen Export
| Delivered energy | -3.189% | 0.5746% | 3.111%
| Delivered summer maximum demand (50% PoE) | -0.5637% | 1.999% | 2.948%
| Delivered winter maximum demand (50% PoE) | -0.1714% | 2.61% | 3.708%

## Figure 3.4
Figure 3.4 | Load measurement definitions | Index
Notes:
(1) Includes Invicta and Koombooloomba.
(2) Depends on Wivenhoe generation.
(3) Includes Yarwun which is non-scheduled.
(4) For a full list of scheduled and semi-scheduled distribution connected generators refer to Table 8.2.
(5) Sun Metals Solar Farm and Condamine.
(6) Lakeland Solar and Storage, Hughenden Solar Farm, Pioneer Mill, Moranbah North, Racecourse Mill, Barcaldine Solar Farm, Longreach Solar Farm, German Creek, Oaky Creek, Baking Board Solar Farm, Daandine, Sunshine Coast Solar Farm and Rocky Point.
(7) For a full list of transmission network connected generators and scheduled and semi-scheduled direct connected embedded generators refer to Table 8.1.

## Table 3.3
Table 3.3 | Historical energy (GWh) | [8 empty] | Index
| Financial year | Operational as generated | Operational sent out | Native as generated | Native sent out | Transmission sent out | Transmission delivered | Native | Native plus embedded PV
| 2012/13 | 50711 | 47368 | 52045 | 48702 | 47259 | 45651 | 47090 | 47090
| 2013/14 | 49686 | 46575 | 51029 | 47918 | 46560 | 45145 | 46503 | 46503
| 2014/15 | 51855 | 48402 | 53349 | 50047 | 48332 | 46780 | 48495 | 49952
| 2015/16 | 54238 | 50599 | 55752 | 52223 | 50573 | 49094 | 50744 | 52509
| 2016/17 | 55101 | 51323 | 56674 | 53017 | 51262 | 49880 | 51635 | 53506
| 2017/18 | 54538 | 50198 | 56139 | 51918 | 50172 | 48739 | 50925 | 53406
| 2018/19 | 54861 | 50473 | 56381 | 52118 | 50163 | 48764 | 51240 | 54529
| 2019/20 | 54179 | 50039 | 55776 | 51740 | 49248 | 47860 | 50804 | 54449
| 2020/21 | 53415 | 49727 | 54710 | 51140 | 48608 | 47421 | 50107 | 55232
| 2021/22 | 53737 | 49940 | 54744 | 51052 | 48625 | 47405 | 50081 | 56162

## Table 3.4
Table 3.4 | Forecast annual transmission delivered energy (GWh) |  |  |  | Index
| Financial year | Slow Change | Step Change | Hydrogen Export
| 2022/23 | 44692 | 47707 | 48619
| 2023/24 | 42887 | 48037 | 48538
| 2024/25 | 42135 | 47328 | 46494
| 2025/26 | 41628 | 49473 | 46379
| 2026/27 | 41340 | 50578 | 50537
| 2027/28 | 41108 | 50221 | 52008
| 2028/29 | 41107 | 49245 | 52981
| 2029/30 | 33,885 (1) | 48840 | 56539
| 2030/31 | 34193 | 49033 | 56787
| 2031/32 | 34283 | 50201 | 64401
Note:
(1) AEMO assumes the shutdown of a large industrial load in the Slow Change scenario in summer 2029/30.

## Figure 3.5
Figure 3.5 | Historical and forecast transmission delivered energy |  |  |  |  | Index
| Financial year | Historical | AEMO 2022 ESOO Slow Change | AEMO 2022 ESOO Step Change | AEMO 2022 ESOO Hydrogen Export
| 2012/13 | 45651
| 2013/14 | 45145
| 2014/15 | 46780
| 2015/16 | 49094
| 2016/17 | 49880
| 2017/18 | 48739
| 2018/19 | 48764
| 2019/20 | 47860
| 2020/21 | 47421
| 2021/22 | 47405
| 2022/23 |  | 44692 | 47707 | 48619
| 2023/24 |  | 42887 | 48037 | 48538
| 2024/25 |  | 42135 | 47328 | 46494
| 2025/26 |  | 41628 | 49473 | 46379
| 2026/27 |  | 41340 | 50578 | 50537
| 2027/28 |  | 41108 | 50221 | 52008
| 2028/29 |  | 41107 | 49245 | 52981
| 2029/30 |  | 33885 | 48840 | 56539
| 2029/31 |  | 34193 | 49033 | 56787
| 2030/32 |  | 34283 | 50201 | 64401

## Table 3.5
Table 3.5 | Forecast annual native energy (GWh) |  |  |  | Index
| Financial year | Slow Change | Step Change | Hydrogen Export
| 2022/23 | 47992 | 51006 | 51918
| 2023/24 | 46949 | 52099 | 52599
| 2024/25 | 46886 | 53061 | 53170
| 2025/26 | 46408 | 55417 | 54688
| 2026/27 | 46268 | 56821 | 59851
| 2027/28 | 46176 | 56917 | 62345
| 2028/29 | 46314 | 56690 | 63920
| 2029/30 | 39,244 (1) | 56839 | 68847
| 2030/31 | 39274 | 57683 | 70880
| 2031/32 | 39521 | 59113 | 79826
Note:
(1) AEMO assume the shutdown of a large industrial load in the Slow Change scenario in summer 2029/30.

## Table 3.6
Table 3.6 | Historical summer maximum demand at time of delivered peak (MW) | [9 empty] | Index
| Summer | Operational as generated | Operational sent out | Native as generated | Native sent out | Transmission sent out | Transmission delivered | Transmission Delivered corrected to 50% PoE | Native | Native plus solar PV
| 2012/13 | 8278 | 8208 | 8448 | 8427 | 8113 | 7597 | 7638 | 7911 | 7911
| 2013/14 | 8445 | 7892 | 8587 | 8045 | 7810 | 7559 | 7436 | 7794 | 8086
| 2014/15 | 8809 | 8360 | 9024 | 8623 | 8276 | 7983 | 7737 | 8330 | 8524
| 2015/16 | 9154 | 8620 | 9332 | 8850 | 8532 | 8222 | 8050 | 8541 | 9021
| 2016/17 | 9412 | 8856 | 9572 | 9078 | 8694 | 8347 | 8257 | 8731 | 8817
| 2017/18 | 9798 | 9211 | 10015 | 9489 | 9080 | 8789 | 8515 | 9198 | 9602
| 2018/19 | 10010 | 9433 | 10173 | 9666 | 9248 | 8969 | 8488 | 9387 | 9523
| 2019/20 | 9836 | 9283 | 10052 | 9544 | 9056 | 8766 | 8662 | 9255 | 9453
| 2020/21 | 9473 | 8954 | 9627 | 9161 | 8711 | 8479 | 8660 | 8929 | 9256
| 2021/22 | 10058 | 9503 | 10126 | 9624 | 9332 | 9031 | 8876 | 9323 | 9323

## Table 3.7
Table 3.7 | Forecast summer transmission delivered maximum demand (MW) | [9 empty] | Index
| Summer | Slow Change |  |  | Step Change |  |  | Hydrogen Export
|  | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE
| 2022/23 | 8372 | 8699 | 9105 | 8710 | 9047 | 9466 | 8820 | 9163 | 9590
| 2023/24 | 8449 | 8797 | 9186 | 9050 | 9415 | 9821 | 9040 | 9414 | 9831
| 2024/25 | 8401 | 8711 | 9106 | 9164 | 9488 | 9901 | 9211 | 9543 | 9969
| 2025/26 | 8459 | 8785 | 9217 | 9526 | 9864 | 10307 | 9308 | 9657 | 10119
| 2026/27 | 8511 | 8808 | 9231 | 9669 | 9972 | 10400 | 10046 | 10352 | 10800
| 2027/28 | 8515 | 8850 | 9229 | 9923 | 10256 | 10642 | 10180 | 10521 | 10934
| 2028/29 | 8684 | 9006 | 9425 | 9961 | 10269 | 10695 | 10367 | 10683 | 11135
| 2029/30 (1) | 7911 | 8211 | 8619 | 10102 | 10375 | 10774 | 10619 | 10897 | 11321
| 2030/31 | 7944 | 8253 | 8655 | 10281 | 10549 | 10953 | 10893 | 11175 | 11630
| 2031/32 | 8084 | 8388 | 8788 | 10561 | 10819 | 11211 | 11599 | 11868 | 12315
Note:
(1) Shutdown of a large industrial load is assumed in the Slow Change scenario in summer 2029/30.

## Figure 3.6
Figure 3.6 | Historical and forecast transmission delivered summer maximum demand | [5 empty] | Index
| Summer | Historical | Weather corrected | AEMO 2022 ESOO Slow Change 50% PoE | AEMO 2022 ESOO Step Change 50% PoE | AEMO 2022 ESOO Hydrogen Export 50% PoE
| 2012/13 | 7597 | 7638
| 2013/14 | 7559 | 7436
| 2014/15 | 7983 | 7737
| 2015/16 | 8222 | 8050
| 2016/17 | 8347 | 8257
| 2017/18 | 8789 | 8515
| 2018/19 | 8969 | 8488
| 2019/20 | 8766 | 8662
| 2020/21 | 8479 | 8660
| 2021/22 | 9031 | 8876
| 2022/23 |  |  | 8699 | 9047 | 9163
| 2023/24 |  |  | 8797 | 9415 | 9414
| 2024/25 |  |  | 8711 | 9488 | 9543
| 2025/26 |  |  | 8785 | 9864 | 9657
| 2026/27 |  |  | 8808 | 9972 | 10352
| 2027/28 |  |  | 8850 | 10256 | 10521
| 2028/29 |  |  | 9006 | 10269 | 10683
| 2029/30 |  |  | 8211 | 10375 | 10897
| 2030/31 |  |  | 8253 | 10549 | 11175
| 2031/32 |  |  | 8388 | 10819 | 11868

## Table 3.8
Table 3.8 | Historical summer maximum demand at time of native peak (MW) | [9 empty] | Index
| Summer | Operational as generated | Operational sent out | Native as generated | Native sent out | Transmission sent out | Transmission delivered | Native | Native plus solar PV | Native corrected to 50% PoE
| 2012/13 | 8479 | 8008 | 8691 | 8245 | 7920 | 7588 | 7913 | 7913 | 7952
| 2013/14 | 8374 | 7947 | 8531 | 8114 | 7780 | 7498 | 7831 | 7831 | 7731
| 2014/15 | 8831 | 8398 | 9000 | 8589 | 8311 | 8019 | 8326 | 8512 | 8084
| 2015/16 | 9154 | 8668 | 9272 | 8848 | 8580 | 8271 | 8539 | 8783 | 8369
| 2016/17 | 9412 | 8886 | 9584 | 9062 | 8698 | 8392 | 8756 | 8899 | 8666
| 2017/18 | 9796 | 9262 | 10010 | 9480 | 9133 | 8842 | 9189 | 9594 | 8924
| 2018/19 | 10044 | 9450 | 10216 | 9626 | 9240 | 8951 | 9415 | 9685 | 8930
| 2019/20 | 9853 | 9294 | 10074 | 9515 | 9011 | 8710 | 9268 | 9652 | 9163
| 2020/21 | 9473 | 8954 | 9627 | 9161 | 8711 | 8479 | 8929 | 9254 | 9110
| 2021/22 | 10013 | 9475 | 10089 | 9615 | 9196 | 8907 | 9326 | 9468 | 9295

## Table 3.9
Table 3.9 | Forecast summer native maximum demand (MW) | [9 empty] | Index
| Summer | Slow Change |  |  | Step Change |  |  | Hydrogen Export
|  | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE
| 2022/23 | 8784 | 9109 | 9518 | 9122 | 9457 | 9878 | 9232 | 9573 | 10002
| 2023/24 | 8764 | 9110 | 9501 | 9368 | 9731 | 10139 | 9454 | 9826 | 10245
| 2024/25 | 8824 | 9132 | 9529 | 9582 | 9903 | 10319 | 9655 | 9985 | 10413
| 2025/26 | 8832 | 9155 | 9590 | 9954 | 10289 | 10735 | 9927 | 10274 | 10739
| 2026/27 | 8885 | 9179 | 9604 | 10230 | 10530 | 10960 | 10576 | 10879 | 11330
| 2027/28 | 8957 | 9291 | 9672 | 10347 | 10678 | 11066 | 10731 | 11069 | 11485
| 2028/29 | 9021 | 9341 | 9763 | 10426 | 10731 | 11159 | 10926 | 11240 | 11694
| 2029/30 (1) | 8259 | 8557 | 8967 | 10579 | 10850 | 11251 | 11207 | 11482 | 11908
| 2030/31 | 8325 | 8632 | 9036 | 10791 | 11058 | 11464 | 11522 | 11802 | 12258
| 2031/32 | 8432 | 8734 | 9136 | 11068 | 11323 | 11717 | 12273 | 12540 | 12989
Note:
(1) Shutdown of a large industrial load is assumed in the Slow Change scenario in summer 2029/30.

## Table 3.10
Table 3.10 | Historical winter maximum demand at time of delivered peak (MW) | [9 empty] | Index
| Winter | Operational as generated | Operational sent out | Native as generated | Native sent out | Transmission sent out | Transmission delivered | Transmission Delivered corrected to 50% PoE | Native | Native plus solar PV
| 2013 | 7131 | 6761 | 7273 | 6921 | 6780 | 6551 | 6753 | 6693 | 6693
| 2014 | 7288 | 6895 | 7448 | 7091 | 6853 | 6642 | 6761 | 6879 | 6879
| 2015 | 7816 | 7334 | 8027 | 7624 | 7299 | 7090 | 6976 | 7415 | 7415
| 2016 | 8017 | 7469 | 8176 | 7678 | 7398 | 7176 | 7198 | 7456 | 7456
| 2017 | 7595 | 7063 | 7756 | 7282 | 7067 | 6870 | 7138 | 7085 | 7085
| 2018 | 8172 | 7623 | 8295 | 7803 | 7554 | 7331 | 7654 | 7580 | 7580
| 2019 | 7898 | 7446 | 8096 | 7735 | 7486 | 7296 | 7289 | 7544 | 7544
| 2020 | 8143 | 7671 | 8320 | 7941 | 7673 | 7483 | 7276 | 7751 | 7751
| 2021 | 8143 | 7677 | 8279 | 7901 | 7659 | 7472 | 7376 | 7714 | 7725
| 2022 | 8625 | 8216 | 8701 | 8347 | 8141 | 7921 | (1) | 8127 | 8127
Note:
(1) The winter 2022 weather corrected demand was not available at time of publication.

## Table 3.11
Table 3.11 | Forecast winter transmission delivered maximum demand (MW) | [9 empty] | Index
| Winter | Slow Change |  |  | Step Change |  |  | Hydrogen Export
|  | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE
| 2023 | 7363 | 7607 | 7914 | 7642 | 7885 | 8209 | 7691 | 7932 | 8253
| 2024 | 7351 | 7596 | 7908 | 7811 | 8056 | 8379 | 7781 | 8028 | 8353
| 2025 | 7404 | 7642 | 7953 | 8002 | 8240 | 8576 | 7897 | 8137 | 8466
| 2026 | 7432 | 7671 | 7979 | 8381 | 8623 | 8942 | 8296 | 8539 | 8854
| 2027 | 7498 | 7736 | 8045 | 8632 | 8868 | 9184 | 9071 | 9306 | 9619
| 2028 | 7559 | 7801 | 8118 | 8707 | 8936 | 9255 | 8958 | 9184 | 9503
| 2029 | 7438 | 7714 | 8076 | 8781 | 9007 | 9324 | 9875 | 10098 | 10419
| 2030 (1) | 6869 | 7116 | 7433 | 8875 | 9108 | 9418 | 11219 | 11451 | 11766
| 2031 | 6944 | 7182 | 7508 | 9083 | 9309 | 9620 | 10460 | 10688 | 10999
| 2032 | 7007 | 7250 | 7563 | 9321 | 9543 | 9854 | 10386 | 10615 | 10925
Note:
(1) Shutdown of a large industrial load is assumed in the Slow Change scenario in summer 2029/30.

## Figure 3.7
Figure 3.7 | Historical and forecast transmission delivered winter maximum demand | [5 empty] | Index
| Winter | Historical | Weather corrected | AEMO 2022 ESOO Slow Change 50% PoE | AEMO 2022 ESOO Step Change 50% PoE | AEMO 2022 ESOO Hydrogen Export 50% PoE
| 2013 | 6551 | 6753
| 2014 | 6642 | 6761
| 2015 | 7090 | 6976
| 2016 | 7176 | 7198
| 2017 | 6870 | 7138
| 2018 | 7331 | 7654
| 2019 | 7296 | 7289
| 2020 | 7483 | 7276
| 2021 | 7472 | 7376
| 2022 | 7472
| 2023 |  |  | 7607 | 7885 | 7932
| 2024 |  |  | 7596 | 8056 | 8028
| 2025 |  |  | 7642 | 8240 | 8137
| 2026 |  |  | 7671 | 8623 | 8539
| 2027 |  |  | 7736 | 8868 | 9306
| 2028 |  |  | 7801 | 8936 | 9184
| 2029 |  |  | 7714 | 9007 | 10098
| 2030 |  |  | 7116 | 9108 | 11451
| 2031 |  |  | 7182 | 9309 | 10688
| 2032 |  |  | 7250 | 9543 | 10615

## Table 3.12
Table 3.12 | Historical winter maximum demand at time of native peak (MW) | [9 empty] | Index
| Winter | Operational as generated | Operational sent out | Native as generated | Native sent out | Transmission sent out | Transmission delivered | Native | Native plus solar PV | Native corrected to 50% PoE
| 2013 | 7173 | 6753 | 7345 | 6947 | 6699 | 6521 | 6769 | 6769 | 6983
| 2014 | 7307 | 6895 | 7470 | 7077 | 6854 | 6647 | 6881 | 6881 | 6999
| 2015 | 7822 | 7369 | 8027 | 7620 | 7334 | 7126 | 7411 | 7412 | 7301
| 2016 | 8017 | 7513 | 8188 | 7686 | 7439 | 7207 | 7454 | 7454 | 7479
| 2017 | 7723 | 7221 | 7874 | 7374 | 7111 | 6894 | 7157 | 7157 | 7433
| 2018 | 8172 | 7623 | 8295 | 7750 | 7554 | 7383 | 7633 | 7633 | 7904
| 2019 | 8073 | 7559 | 8286 | 7778 | 7416 | 7208 | 7624 | 7624 | 7617
| 2020 | 8143 | 7671 | 8320 | 7885 | 7673 | 7441 | 7708 | 7708 | 7544
| 2021 | 8162 | 7699 | 8324 | 7948 | 7663 | 7468 | 7754 | 7754 | 7830
| 2022 | 8625 | 8216 | 8701 | 8347 | 8141 | 7921 | 8127 | 8127 | (1)
Note:
(1) The winter 2022 weather corrected demand was not available at time of publication.

## Table 3.13
Table 3.13 | Forecast winter native maximum demand (MW) | [9 empty] | Index
| Winter | Slow Change |  |  | Step Change |  |  | Hydrogen Export
|  | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE
| 2023 | 7645 | 7897 | 8196 | 7925 | 8176 | 8491 | 7973 | 8223 | 8535
| 2024 | 7640 | 7893 | 8198 | 8148 | 8402 | 8717 | 8162 | 8418 | 8735
| 2025 | 7694 | 7941 | 8244 | 8353 | 8599 | 8927 | 8361 | 8610 | 8930
| 2026 | 7732 | 7980 | 8279 | 8751 | 9002 | 9312 | 8799 | 9050 | 9357
| 2027 | 7801 | 8046 | 8347 | 9028 | 9272 | 9580 | 9607 | 9850 | 10155
| 2028 | 7865 | 8115 | 8424 | 9150 | 9388 | 9699 | 9503 | 9737 | 10048
| 2029 | 7758 | 8043 | 8397 | 9241 | 9477 | 9785 | 10468 | 10701 | 11013
| 2030 (1) | 7184 | 7440 | 7749 | 9376 | 9618 | 9920 | 11873 | 12114 | 12419
| 2031 | 7260 | 7506 | 7823 | 9600 | 9835 | 10137 | 11183 | 11420 | 11723
| 2032 | 7323 | 7574 | 7878 | 9864 | 10094 | 10397 | 11177 | 11414 | 11716
Note:
(1) Shutdown of a large industrial load is assumed in the Slow Change scenario in summer 2029/30.

## Table 3.14
Table 3.14 | Historical annual minimum demand (MW) | [8 empty] | Index
| Summer | Operational as generated | Operational sent out | Native as generated | Native Sent Out | Transmission sent out | Transmission delivered | Native | Native plus solar PV
| 2013 | 4176 | 3838 | 4305 | 3978 | 3849 | 3702 | 3831 | 3831
| 2014 | 4073 | 3780 | 4274 | 4027 | 3768 | 3664 | 3923 | 3923
| 2015 | 4281 | 3946 | 4476 | 4178 | 3983 | 3884 | 4079 | 4079
| 2016 | 4944 | 4470 | 5101 | 4686 | 4471 | 4336 | 4552 | 4552
| 2017 | 4791 | 4313 | 4942 | 4526 | 4318 | 4181 | 4389 | 4389
| 2018 | 4647 | 4165 | 4868 | 4501 | 4143 | 4008 | 4366 | 5572
| 2019 | 4211 | 3712 | 4441 | 4112 | 3528 | 3370 | 3953 | 5323
| 2020 | 3897 | 3493 | 4094 | 3767 | 3097 | 3006 | 3675 | 5882
| 2021 | 3869 | 3480 | 3958 | 3701 | 3043 | 3014 | 3671 | 6804
| 2022 (1) | 3504 | 3065 | 3617 | 3283 | 2707 | 2597 | 3173 | 6457
Note:
(1) 2022 minimum based on preliminary data up to 3 October 2022.

## Table 3.15
Table 3.15 | Forecast annual transmission delivered minimum demand (MW) (1) | [9 empty] | Index
| Year | Slow Change |  |  | Step Change |  |  | Hydrogen Export
|  | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE
| 2022/23 | 1854 | 1994 | 2143 | 2167 | 2308 | 2475 | 2125 | 2267 | 2437
| 2023/24 | 1350 | 1497 | 1646 | 1854 | 2026 | 2220 | 1597 | 1772 | 1973
| 2024/25 | 1170 | 1308 | 1460 | 1594 | 1772 | 1987 | 1087 | 1271 | 1496
| 2025/26 | 901 | 1049 | 1203 | 1500 | 1658 | 1823 | 695 | 893 | 1145
| 2026/27 | 640 | 784 | 957 | 1253 | 1413 | 1600 | 925 | 1272 | 1650
| 2027/28 | 425 | 568 | 744 | 929 | 1079 | 1263 | 731 | 946 | 1206
| 2028/29 | -188 | 2 | 234 | 470 | 648 | 838 | 342 | 684 | 1090
| 2029/30 (2) | -641 | -494 | -323 | 146 | 376 | 656 | 668 | 917 | 1217
| 2030/31 | -759 | -606 | -431 | -325 | -124 | 81 | 118 | 339 | 554
| 2031/32 | -874 | -728 | -536 | -435 | -231 | -17 | 1050 | 1275 | 1501
Notes:
(1) Forecasts provided without predicting market outcomes, directions or constraints which may be imposed to ensure system security but impact on the output of these embedded VRE generators.
(2) Shutdown of a large industrial load is assumed in the Slow Change scenario in summer 2029/30.

## Figure 3.8
Figure 3.8 | Historical and forecast transmission delivered annual minimum demand |  |  |  |  | Index
| Year | Historical | AEMO 2022 ESOO Slow Change 50% PoE | AEMO 2022 ESOO Step Change 50% PoE | AEMO 2022 ESOO Hydrogen Export 50% PoE
| 2013 | 3702
| 2014 | 3664
| 2015 | 3884
| 2016 | 4336
| 2017 | 4181
| 2018 | 4008
| 2019 | 3370
| 2020 | 3006
| 2021 | 3014
| 2022 | 2597
| 2023 |  | 1994 | 2308 | 2267
| 2024 |  | 1497 | 2026 | 1772
| 2025 |  | 1308 | 1772 | 1271
| 2026 |  | 1049 | 1658 | 893
| 2027 |  | 784 | 1413 | 1272
| 2028 |  | 568 | 1079 | 946
| 2029 |  | 2 | 648 | 684
| 2030 |  | -494 | 376 | 917
| 2031 |  | -606 | -124 | 339
| 2032 |  | -728 | -231 | 1275

## Table 3.16
Table 3.16 | Forecast annual native minimum demand (MW) (1) | [9 empty] | Index
| Summer | Slow Change |  |  | Step Change |  |  | Hydrogen Export
|  | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE
| 2022/23 | 2837 | 2980 | 3127 | 3173 | 3318 | 3481 | 3131 | 3277 | 3443
| 2023/24 | 2456 | 2604 | 2751 | 3007 | 3183 | 3374 | 2866 | 3044 | 3242
| 2024/25 | 2250 | 2390 | 2540 | 2784 | 2966 | 3177 | 2597 | 2785 | 3006
| 2025/26 | 2026 | 2176 | 2329 | 2756 | 2950 | 3186 | 2505 | 2707 | 2955
| 2026/27 | 1819 | 1965 | 2136 | 2630 | 2792 | 2977 | 2929 | 3279 | 3654
| 2027/28 | 1621 | 1766 | 1940 | 2352 | 2503 | 2685 | 2964 | 3126 | 3315
| 2028/29 | 921 | 1115 | 1343 | 2036 | 2217 | 2404 | 2806 | 3151 | 3554
| 2029/30 (2) | 552 | 701 | 871 | 1761 | 1950 | 2147 | 3500 | 3707 | 3912
| 2030/31 | 445 | 599 | 773 | 1604 | 1806 | 2010 | 3304 | 3528 | 3741
| 2031/32 | 375 | 524 | 714 | 1474 | 1680 | 1892 | 4397 | 4625 | 4848
Notes:
(1) Forecasts provided without predicting market outcomes, directions or constraints which may be imposed to ensure system security but impact on the output of these embedded VRE generators.
(2) Shutdown of a large industrial load is assumed in the Slow Change scenario in summer 2029/30.

## Table 3.17
Table 3.17 | Average ratios of zone maximum delivered demand to zone delivered demand at time of Queensland region maximum delivered demand |  |  | Index
| Zone | Winter | Summer
| Far North | 1.0936 | 1.1659
| Ross | 1.2936 | 1.4589
| North | 1.1608 | 1.1154
| Central West | 1.1003 | 1.2023
| Gladstone | 1.0244 | 1.027
| Wide Bay | 1.0243 | 1.0662
| Surat | 1.2 | 1.1702
| Bulli | 1.036 | 1.0733
| South West | 1.0427 | 1.1075
| Moreton | 1.01 | 1.0232
| Gold Coast | 1.0282 | 1.0984

## Table 3.18
Table 3.18 | Annual transmission delivered energy by zone (GWh) | [10 empty] | Index
| Financial year | Far North | Ross | North | Central West | Gladstone | Wide Bay | Surat | Bulli | South West | Moreton | Gold Coast | Total
Actuals
| 2012/13 | 1722 | 2693 | 2732 | 3414 | 10507 | 1267 |  | 103 | 1746 | 18232 | 3235 | 45651
| 2013/14 | 1658 | 2826 | 2828 | 3564 | 10293 | 1321 | 338 | 146 | 1304 | 17782 | 3085 | 45145
| 2014/15 | 1697 | 2977 | 2884 | 3414 | 10660 | 1266 | 821 | 647 | 1224 | 18049 | 3141 | 46780
| 2015/16 | 1724 | 2944 | 2876 | 3327 | 10721 | 1272 | 2633 | 1290 | 1224 | 17944 | 3139 | 49094
| 2016/17 | 1704 | 2682 | 2661 | 3098 | 10196 | 1305 | 4154 | 1524 | 1308 | 18103 | 3145 | 49880
| 2017/18 | 1657 | 2645 | 2650 | 3027 | 9362 | 1238 | 4383 | 1497 | 1315 | 17873 | 3092 | 48739
| 2018/19 | 1648 | 2338 | 2621 | 2996 | 9349 | 1198 | 4805 | 1519 | 1376 | 17849 | 3065 | 48764
| 2019/20 | 1594 | 2466 | 2495 | 2859 | 9303 | 1031 | 5025 | 1580 | 1141 | 17395 | 2971 | 47860
| 2020/21 | 1519 | 2569 | 2413 | 2813 | 9383 | 970 | 5241 | 1491 | 993 | 16807 | 3222 | 47421
| 2021/22 | 1598 | 2418 | 2755 | 2776 | 9124 | 904 | 5420 | 1395 | 990 | 17101 | 2924 | 47405
Forecasts
| 2022/23 | 1454 | 2659 | 2507 | 2560 | 9369 | 936 | 5319 | 1721 | 1046 | 17162 | 2974 | 47707
| 2023/24 | 1494 | 2655 | 2592 | 2661 | 9395 | 647 | 5017 | 1727 | 1047 | 17713 | 3089 | 48037
| 2024/25 | 1404 | 2502 | 2447 | 2518 | 9846 | 386 | 4511 | 1579 | 959 | 18025 | 3151 | 47328
| 2025/26 | 1475 | 2600 | 2567 | 2777 | 9900 | 455 | 4413 | 1540 | 1050 | 19298 | 3398 | 49473
| 2026/27 | 1456 | 2564 | 2530 | 2734 | 11128 | 447 | 4323 | 1507 | 1037 | 19426 | 3426 | 50578
| 2027/28 | 1396 | 2461 | 2390 | 2607 | 11639 | 407 | 4186 | 1458 | 979 | 19294 | 3404 | 50221
| 2028/29 | 1294 | 2290 | 2215 | 2413 | 12145 | 342 | 3924 | 1365 | 891 | 19010 | 3356 | 49245
| 2029/30 | 1206 | 2145 | 2059 | 2248 | 13001 | 280 | 3749 | 1303 | 809 | 18731 | 3309 | 48840
| 2030/31 | 1173 | 2028 | 1937 | 2128 | 13871 | 243 | 3535 | 1225 | 759 | 18804 | 3330 | 49033
| 2031/32 | 1207 | 2060 | 1994 | 2175 | 13891 | 267 | 3473 | 1200 | 794 | 19641 | 3499 | 50201

## Table 3.19
Table 3.19 | Annual native energy by zone (GWh) | [10 empty] | Index
| Financial year | Far North | Ross | North | Central West | Gladstone | Wide Bay | Surat | Bulli | South West | Moreton | Gold Coast | Total
Actuals
| 2012/13 | 1722 | 3080 | 3064 | 3767 | 10507 | 1292 |  | 103 | 1988 | 18332 | 3235 | 47090
| 2013/14 | 1658 | 3067 | 3154 | 3944 | 10293 | 1339 | 402 | 146 | 1536 | 17879 | 3085 | 46503
| 2014/15 | 1697 | 3163 | 3434 | 3841 | 10660 | 1285 | 1022 | 647 | 1468 | 18137 | 3141 | 48495
| 2015/16 | 1724 | 3141 | 3444 | 3767 | 10721 | 1293 | 2739 | 1290 | 1475 | 18011 | 3139 | 50744
| 2016/17 | 1704 | 2999 | 3320 | 3541 | 10196 | 1329 | 4194 | 1524 | 1549 | 18134 | 3145 | 51635
| 2017/18 | 1667 | 2935 | 3296 | 3493 | 9362 | 1259 | 4853 | 1497 | 1527 | 17944 | 3092 | 50925
| 2018/19 | 1670 | 2894 | 3211 | 3608 | 9349 | 1266 | 5163 | 1519 | 1550 | 17945 | 3065 | 51240
| 2019/20 | 1614 | 2899 | 3159 | 3656 | 9303 | 1282 | 5395 | 1580 | 1479 | 17466 | 2971 | 50804
| 2020/21 | 1539 | 2904 | 2982 | 3552 | 9383 | 1234 | 5451 | 1491 | 1476 | 17152 | 2943 | 50107
| 2021/22 | 1618 | 2900 | 3212 | 3515 | 9124 | 1164 | 5626 | 1395 | 1454 | 17149 | 2924 | 50081
Forecasts
| 2022/23 | 1486 | 3303 | 3065 | 3342 | 9369 | 1240 | 5595 | 1721 | 1682 | 17229 | 2974 | 51006
| 2023/24 | 1526 | 3373 | 3150 | 3443 | 9395 | 1271 | 5616 | 1727 | 1724 | 17785 | 3089 | 52099
| 2024/25 | 1540 | 3408 | 3192 | 3485 | 9846 | 1278 | 5606 | 1724 | 1735 | 18096 | 3151 | 53061
| 2025/26 | 1637 | 3553 | 3358 | 3688 | 9900 | 1352 | 5605 | 1721 | 1838 | 19367 | 3398 | 55417
| 2026/27 | 1643 | 3561 | 3364 | 3688 | 11128 | 1353 | 5606 | 1722 | 1835 | 19495 | 3426 | 56821
| 2027/28 | 1619 | 3523 | 3289 | 3624 | 11639 | 1328 | 5607 | 1723 | 1799 | 19362 | 3404 | 56917
| 2028/29 | 1577 | 3461 | 3223 | 3536 | 12145 | 1282 | 5575 | 1715 | 1741 | 19079 | 3356 | 56690
| 2029/30 | 1534 | 3396 | 3147 | 3450 | 13001 | 1235 | 5570 | 1715 | 1681 | 18801 | 3309 | 56839
| 2030/31 | 1525 | 3379 | 3124 | 3426 | 13871 | 1216 | 5565 | 1714 | 1658 | 18875 | 3330 | 57683
| 2031/32 | 1580 | 3451 | 3218 | 3510 | 13891 | 1249 | 5583 | 1718 | 1705 | 19709 | 3499 | 59113

## Table 3.20
Table 3.20 | State summer maximum transmission delivered demand by zone (MW) | [10 empty] | Index
| Summer | Far North | Ross | North | Central West | Gladstone | Wide Bay | Surat | Bulli | South West | Moreton | Gold Coast | Total
Actuals
| 2012/13 | 278 | 297 | 373 | 546 | 1219 | 233 | 13 | 14 | 231 | 3766 | 627 | 7597
| 2013/14 | 296 | 401 | 427 | 504 | 1152 | 248 | 13 | 17 | 267 | 3597 | 637 | 7559
| 2014/15 | 278 | 381 | 399 | 466 | 1254 | 263 | 96 | 81 | 227 | 3846 | 692 | 7983
| 2015/16 | 308 | 392 | 411 | 443 | 1189 | 214 | 265 | 155 | 231 | 3953 | 661 | 8222
| 2016/17 | 258 | 222 | 378 | 429 | 1193 | 270 | 421 | 178 | 286 | 3993 | 719 | 8347
| 2017/18 | 304 | 376 | 413 | 463 | 1102 | 278 | 504 | 183 | 301 | 4147 | 718 | 8789
| 2018/19 | 342 | 339 | 400 | 484 | 1096 | 285 | 526 | 191 | 312 | 4270 | 724 | 8969
| 2019/20 | 286 | 325 | 391 | 368 | 1080 | 263 | 610 | 191 | 267 | 4276 | 709 | 8766
| 2020/21 | 254 | 405 | 431 | 471 | 1111 | 298 | 588 | 165 | 248 | 3894 | 614 | 8479
| 2021/22 | 363 | 441 | 473 | 518 | 1103 | 269 | 594 | 174 | 253 | 4146 | 697 | 9031
Forecasts
| 2022/23 | 345 | 353 | 520 | 435 | 1162 | 210 | 599 | 188 | 204 | 4313 | 718 | 9047
| 2023/24 | 360 | 366 | 541 | 476 | 1169 | 249 | 610 | 186 | 239 | 4484 | 735 | 9415
| 2024/25 | 352 | 365 | 548 | 473 | 1218 | 244 | 614 | 184 | 233 | 4521 | 736 | 9488
| 2025/26 | 371 | 375 | 576 | 507 | 1224 | 259 | 611 | 182 | 248 | 4742 | 769 | 9864
| 2026/27 | 374 | 370 | 579 | 502 | 1359 | 235 | 597 | 182 | 225 | 4778 | 771 | 9972
| 2027/28 | 384 | 398 | 592 | 544 | 1413 | 277 | 614 | 181 | 265 | 4813 | 775 | 10256
| 2028/29 | 383 | 393 | 588 | 549 | 1468 | 276 | 615 | 181 | 265 | 4782 | 769 | 10269
| 2029/30 | 389 | 399 | 593 | 553 | 1562 | 282 | 615 | 181 | 271 | 4764 | 766 | 10375
| 2030/31 | 399 | 408 | 600 | 560 | 1657 | 290 | 616 | 181 | 279 | 4790 | 769 | 10549
| 2031/32 | 418 | 426 | 618 | 579 | 1662 | 305 | 620 | 181 | 294 | 4925 | 791 | 10819

## Table 3.21
Table 3.21 | State summer maximum native demand by zone (MW) | [10 empty] | Index
| Summer | Far North | Ross | North | Central West | Gladstone | Wide Bay | Surat | Bulli | South West | Moreton | Gold Coast | Total
Actuals
| 2012/13 | 277 | 417 | 422 | 568 | 1213 | 241 |  | 14 | 328 | 3799 | 634 | 7913
| 2013/14 | 271 | 423 | 386 | 561 | 1147 | 260 | 88 | 21 | 316 | 3755 | 603 | 7831
| 2014/15 | 278 | 399 | 479 | 548 | 1254 | 263 | 189 | 81 | 254 | 3889 | 692 | 8326
| 2015/16 | 308 | 423 | 491 | 519 | 1189 | 214 | 370 | 155 | 257 | 3952 | 661 | 8539
| 2016/17 | 269 | 364 | 512 | 559 | 1088 | 276 | 498 | 175 | 329 | 3974 | 712 | 8756
| 2017/18 | 310 | 480 | 486 | 508 | 1102 | 278 | 617 | 183 | 328 | 4179 | 718 | 9189
| 2018/19 | 338 | 456 | 432 | 562 | 1104 | 293 | 630 | 191 | 340 | 4338 | 731 | 9415
| 2019/20 | 287 | 451 | 441 | 530 | 1084 | 277 | 660 | 191 | 305 | 4322 | 720 | 9268
| 2020/21 | 256 | 508 | 483 | 596 | 1111 | 314 | 681 | 165 | 307 | 3894 | 614 | 8929
| 2021/22 | 363 | 516 | 504 | 591 | 1103 | 269 | 708 | 174 | 254 | 4143 | 697 | 9322
Forecasts
| 2022/23 | 345 | 465 | 562 | 527 | 1159 | 237 | 710 | 187 | 248 | 4302 | 715 | 9457
| 2023/24 | 359 | 469 | 582 | 553 | 1166 | 248 | 706 | 185 | 258 | 4472 | 733 | 9731
| 2024/25 | 354 | 477 | 593 | 563 | 1221 | 255 | 721 | 185 | 264 | 4532 | 738 | 9903
| 2025/26 | 374 | 488 | 622 | 597 | 1229 | 270 | 719 | 183 | 278 | 4757 | 772 | 10289
| 2026/27 | 378 | 494 | 629 | 608 | 1369 | 273 | 722 | 184 | 281 | 4815 | 777 | 10530
| 2027/28 | 386 | 507 | 639 | 627 | 1423 | 279 | 718 | 183 | 287 | 4848 | 781 | 10678
| 2028/29 | 387 | 503 | 638 | 633 | 1485 | 280 | 721 | 183 | 288 | 4835 | 778 | 10731
| 2029/30 | 394 | 509 | 643 | 638 | 1582 | 285 | 722 | 183 | 293 | 4825 | 776 | 10850
| 2030/31 | 405 | 520 | 653 | 647 | 1682 | 295 | 726 | 184 | 303 | 4862 | 781 | 11058
| 2031/32 | 424 | 538 | 671 | 665 | 1686 | 310 | 728 | 184 | 318 | 4996 | 803 | 11323

## Table 3.22
Table 3.22 | State winter maximum transmission delivered demand by zone (MW) | [10 empty] | Index
| Winter | Far North | Ross | North | Central West | Gladstone | Wide Bay | Surat | Bulli | South West | Moreton | Gold Coast | Total
Actuals
| 2013 | 209 | 300 | 344 | 433 | 1195 | 192 | 75 | 21 | 262 | 2964 | 556 | 6551
| 2014 | 226 | 344 | 355 | 463 | 1200 | 204 | 16 | 51 | 257 | 2975 | 551 | 6642
| 2015 | 192 | 289 | 332 | 429 | 1249 | 203 | 137 | 137 | 258 | 3267 | 597 | 7090
| 2016 | 226 | 249 | 370 | 417 | 1242 | 206 | 390 | 181 | 279 | 3079 | 537 | 7176
| 2017 | 241 | 368 | 366 | 377 | 1074 | 216 | 513 | 187 | 248 | 2797 | 483 | 6870
| 2018 | 242 | 366 | 335 | 439 | 1091 | 235 | 475 | 186 | 336 | 3086 | 540 | 7331
| 2019 | 234 | 284 | 362 | 419 | 1037 | 239 | 615 | 195 | 293 | 3078 | 540 | 7296
| 2020 | 227 | 306 | 327 | 449 | 1104 | 246 | 531 | 191 | 313 | 3274 | 515 | 7483
| 2021 | 204 | 296 | 334 | 383 | 1075 | 250 | 592 | 179 | 339 | 3275 | 545 | 7472
| 2022 | 230 | 246 | 322 | 431 | 991 | 280 | 508 | 162 | 360 | 3780 | 611 | 7921
Forecasts
| 2023 | 235 | 263 | 398 | 548 | 1127 | 238 | 538 | 193 | 287 | 3442 | 616 | 7885
| 2024 | 240 | 269 | 405 | 565 | 1128 | 246 | 537 | 191 | 293 | 3552 | 630 | 8056
| 2025 | 247 | 278 | 418 | 583 | 1140 | 256 | 535 | 189 | 304 | 3652 | 638 | 8240
| 2026 | 254 | 289 | 437 | 618 | 1185 | 269 | 544 | 187 | 319 | 3852 | 669 | 8623
| 2027 | 263 | 288 | 452 | 647 | 1207 | 279 | 546 | 188 | 331 | 3978 | 689 | 8868
| 2028 | 258 | 282 | 443 | 643 | 1328 | 273 | 539 | 185 | 325 | 3975 | 685 | 8936
| 2029 | 258 | 282 | 442 | 650 | 1385 | 273 | 536 | 184 | 324 | 3986 | 687 | 9007
| 2030 | 259 | 282 | 441 | 648 | 1448 | 274 | 538 | 185 | 326 | 4015 | 692 | 9108
| 2031 | 264 | 285 | 444 | 652 | 1544 | 280 | 538 | 185 | 334 | 4081 | 702 | 9309
| 2032 | 271 | 291 | 448 | 657 | 1646 | 289 | 541 | 185 | 344 | 4156 | 715 | 9543

## Table 3.23
Table 3.23 | State winter maximum native demand by zone (MW) | [10 empty] | Index
| Winter | Far North | Ross | North | Central West | Gladstone | Wide Bay | Surat | Bulli | South West | Moreton | Gold Coast | Total
Actuals
| 2013 | 195 | 291 | 374 | 499 | 1200 | 195 | 89 | 17 | 290 | 3040 | 579 | 6769
| 2014 | 226 | 369 | 420 | 509 | 1200 | 204 | 90 | 51 | 286 | 2975 | 551 | 6881
| 2015 | 192 | 334 | 404 | 518 | 1249 | 203 | 208 | 137 | 288 | 3281 | 597 | 7411
| 2016 | 216 | 358 | 419 | 504 | 1229 | 200 | 467 | 193 | 310 | 3008 | 550 | 7454
| 2017 | 218 | 367 | 416 | 415 | 1070 | 220 | 554 | 182 | 276 | 2913 | 526 | 7157
| 2018 | 242 | 360 | 410 | 494 | 1091 | 235 | 654 | 186 | 336 | 3085 | 540 | 7633
| 2019 | 230 | 307 | 408 | 483 | 1066 | 241 | 628 | 207 | 346 | 3176 | 532 | 7624
| 2020 | 227 | 329 | 406 | 492 | 1104 | 247 | 624 | 191 | 342 | 3231 | 515 | 7708
| 2021 | 206 | 255 | 366 | 459 | 1079 | 232 | 691 | 181 | 357 | 3373 | 559 | 7758
| 2022 | 230 | 248 | 375 | 458 | 991 | 280 | 634 | 162 | 357 | 3779 | 611 | 8125
Forecasts
| 2023 | 234 | 297 | 461 | 605 | 1119 | 237 | 703 | 191 | 304 | 3414 | 611 | 8176
| 2024 | 240 | 304 | 471 | 626 | 1127 | 246 | 706 | 191 | 313 | 3548 | 630 | 8402
| 2025 | 248 | 314 | 485 | 645 | 1141 | 257 | 707 | 189 | 324 | 3650 | 639 | 8599
| 2026 | 255 | 326 | 504 | 681 | 1188 | 270 | 716 | 187 | 340 | 3864 | 671 | 9002
| 2027 | 265 | 325 | 522 | 712 | 1213 | 281 | 723 | 189 | 353 | 3997 | 692 | 9272
| 2028 | 261 | 321 | 515 | 712 | 1342 | 277 | 717 | 187 | 348 | 4016 | 692 | 9388
| 2029 | 261 | 322 | 514 | 720 | 1402 | 277 | 715 | 187 | 348 | 4036 | 695 | 9477
| 2030 | 263 | 324 | 516 | 721 | 1471 | 279 | 721 | 188 | 351 | 4081 | 703 | 9618
| 2031 | 269 | 328 | 520 | 726 | 1571 | 286 | 722 | 188 | 360 | 4151 | 714 | 9835
| 2032 | 277 | 335 | 525 | 733 | 1678 | 295 | 726 | 189 | 371 | 4237 | 728 | 10094

## Figure 3.9
Figure 3.9 | Daily load profile of summer 2021/22 and winter 2022 maximum transmission delivered demand days | [10 empty] | Index
| Season | Date | 0:00 | 0:30 | 1:00 | 1:30 | 2:00 | 2:30 | 3:00 | 3:30 | 4:00 | 4:30 | 5:00 | 5:30 | 6:00 | 6:30 | 7:00 | 7:30 | 8:00 | 8:30 | 9:00 | 9:30 | 10:00 | 10:30 | 11:00 | 11:30 | 12:00 | 12:30 | 13:00 | 13:30 | 14:00 | 14:30 | 15:00 | 15:30 | 16:00 | 16:30 | 17:00 | 17:30 | 18:00 | 18:30 | 19:00 | 19:30 | 20:00 | 20:30 | 21:00 | 21:30 | 22:00 | 22:30 | 23:00 | 23:30
| Summer | 2022-03-08 | 5925 | 5821 | 5696 | 5623 | 5566 | 5539 | 5513 | 5489 | 5533 | 5594 | 5753 | 5875 | 6075 | 6124 | 6075 | 5859 | 5627 | 5489 | 5398 | 5320 | 5310 | 5343 | 5465 | 5640 | 5825 | 6077 | 6277 | 6496 | 6723 | 7014 | 7301 | 7782 | 8126 | 8529 | 8751 | 8907 | 8967 | 9031 | 8874 | 8639 | 8362 | 8138 | 7896 | 7626 | 7341 | 7048 | 6744 | 6473
| Winter | 2022-07-05 | 5267 | 5068 | 4951 | 4847 | 4780 | 4722 | 4720 | 4741 | 4822 | 4963 | 5183 | 5448 | 5832 | 6184 | 6556 | 6769 | 6902 | 6893 | 6865 | 6838 | 6800 | 6659 | 6654 | 6632 | 6558 | 6603 | 6676 | 6728 | 6777 | 6817 | 6897 | 7004 | 7234 | 7529 | 7787 | 7921 | 7845 | 7749 | 7481 | 7358 | 7309 | 7063 | 6758 | 6466 | 6190 | 5997 | 5825 | 5532

## Figure 3.10
Figure 3.10 | Daily load profile of 2022 minimum transmission delivered demand day (1) | [10 empty] | Index
Note:
(1) Based on preliminary meter data up to 3 October 2022.
|  | Date | 0:00 | 0:30 | 1:00 | 1:30 | 2:00 | 2:30 | 3:00 | 3:30 | 4:00 | 4:30 | 5:00 | 5:30 | 6:00 | 6:30 | 7:00 | 7:30 | 8:00 | 8:30 | 9:00 | 9:30 | 10:00 | 10:30 | 11:00 | 11:30 | 12:00 | 12:30 | 13:00 | 13:30 | 14:00 | 14:30 | 15:00 | 15:30 | 16:00 | 16:30 | 17:00 | 17:30 | 18:00 | 18:30 | 19:00 | 19:30 | 20:00 | 20:30 | 21:00 | 21:30 | 22:00 | 22:30 | 23:00 | 23:30
| Annual | 2022-09-25 | 4888 | 4785 | 4683 | 4637 | 4562 | 4517 | 4495 | 4473 | 4508 | 4535 | 4566 | 4540 | 4414 | 4068 | 3720 | 3393 | 3201 | 2980 | 2801 | 2671 | 2639 | 2597 | 2601 | 2633 | 2657 | 2673 | 2788 | 2925 | 3123 | 3334 | 3669 | 4128 | 4643 | 5246 | 5733 | 6048 | 6227 | 6266 | 6098 | 6055 | 6071 | 5911 | 5750 | 5579 | 5437 | 5277 | 5231 | 5073

## Figure 3.11
Figure 3.11 | Historical annual transmission delivered load duration curves | [10 empty] | Index
| Percentage time of year | 0 | 0.005 | 0.01384 | 0.02815 | 0.04987 | 0.08125 | 0.12487 | 0.18363 | 0.26074 | 0.35977 | 0.4846 | 0.63948 | 0.82896 | 1.058 | 1.3317 | 1.6559 | 2.0365 | 2.4797 | 2.9923 | 3.5812 | 4.254 | 5.0183 | 5.8822 | 6.8543 | 7.9433 | 9.1586 | 10.5098 | 12.0067 | 13.6597 | 15.4796 | 17.4774 | 19.6647 | 22.0532 | 24.6553 | 27.4835 | 30.5509 | 33.8708 | 37.457 | 41.3238 | 45.4855 | 49.9573 | 54.9573 | 59.3573 | 63.2573 | 66.8573 | 70.1673 | 73.2373 | 76.0773 | 78.6873 | 81.0673 | 83.2673 | 84.4673 | 86.2873 | 87.9873 | 89.4873 | 90.8393 | 92.0547 | 93.1447 | 94.1168 | 94.9808 | 95.7458 | 96.4185 | 97.0075 | 97.52 | 97.9633 | 98.3438 | 98.668 | 98.9418 | 99.1708 | 99.3603 | 99.5151 | 99.64 | 99.739 | 99.8161 | 99.8749 | 99.9185 | 99.9499 | 99.9716 | 99.9859 | 99.9947 | 99.9998 | 100
| 2017/18 | 8789 | 8779 | 8663 | 8605 | 8581 | 8517 | 8424 | 8353 | 8206 | 8024 | 7852 | 7701 | 7596 | 7519 | 7430 | 7332 | 7244 | 7149 | 7068 | 6990 | 6919 | 6854 | 6770 | 6712 | 6646 | 6592 | 6531 | 6476 | 6417 | 6364 | 6304 | 6240 | 6173 | 6102 | 6028 | 5946 | 5858 | 5775 | 5690 | 5601 | 5507 | 5390 | 5288 | 5196 | 5115 | 5048 | 4983 | 4925 | 4869 | 4820 | 4776 | 4750 | 4713 | 4678 | 4644 | 4610 | 4580 | 4556 | 4532 | 4511 | 4493 | 4475 | 4456 | 4433 | 4418 | 4398 | 4378 | 4363 | 4348 | 4334 | 4323 | 4312 | 4294 | 4280 | 4262 | 4243 | 4213 | 4202 | 4191 | 4170 | 4145 | 4144
| 2018/19 | 8969 | 8953 | 8901 | 8852 | 8612 | 8506 | 8338 | 8246 | 8109 | 8016 | 7970 | 7896 | 7796 | 7712 | 7609 | 7528 | 7453 | 7371 | 7279 | 7174 | 7080 | 6996 | 6908 | 6837 | 6752 | 6679 | 6604 | 6540 | 6477 | 6408 | 6344 | 6268 | 6191 | 6116 | 6034 | 5942 | 5854 | 5752 | 5651 | 5546 | 5443 | 5328 | 5240 | 5156 | 5091 | 5027 | 4967 | 4910 | 4857 | 4808 | 4768 | 4746 | 4713 | 4684 | 4657 | 4635 | 4612 | 4591 | 4572 | 4550 | 4532 | 4510 | 4486 | 4462 | 4427 | 4387 | 4333 | 4280 | 4248 | 4203 | 4164 | 4109 | 4074 | 4050 | 4021 | 3986 | 3938 | 3878 | 3820 | 3796 | 3788 | 3788
| 2019/20 | 8766 | 8717 | 8701 | 8664 | 8616 | 8524 | 8452 | 8314 | 8229 | 8148 | 8050 | 7970 | 7883 | 7798 | 7693 | 7592 | 7508 | 7409 | 7324 | 7214 | 7120 | 7037 | 6952 | 6864 | 6771 | 6680 | 6602 | 6528 | 6458 | 6382 | 6305 | 6222 | 6135 | 6043 | 5950 | 5848 | 5739 | 5634 | 5524 | 5415 | 5309 | 5200 | 5101 | 5022 | 4949 | 4877 | 4816 | 4760 | 4710 | 4668 | 4629 | 4605 | 4576 | 4542 | 4510 | 4476 | 4437 | 4396 | 4351 | 4302 | 4247 | 4186 | 4130 | 4076 | 4024 | 3981 | 3936 | 3899 | 3870 | 3841 | 3818 | 3786 | 3768 | 3740 | 3728 | 3716 | 3702 | 3697 | 3693 | 3689 | 3689 | 3689
| 2020/21 | 8479 | 8361 | 8293 | 8264 | 8245 | 8207 | 8108 | 8060 | 7991 | 7904 | 7826 | 7724 | 7635 | 7569 | 7490 | 7407 | 7338 | 7256 | 7179 | 7097 | 7019 | 6943 | 6868 | 6798 | 6721 | 6650 | 6581 | 6511 | 6440 | 6368 | 6291 | 6205 | 6117 | 6030 | 5936 | 5840 | 5738 | 5632 | 5524 | 5412 | 5304 | 5192 | 5096 | 5013 | 4938 | 4869 | 4811 | 4758 | 4707 | 4658 | 4599 | 4569 | 4518 | 4468 | 4410 | 4350 | 4287 | 4226 | 4164 | 4099 | 4056 | 3997 | 3946 | 3899 | 3846 | 3787 | 3724 | 3674 | 3618 | 3562 | 3521 | 3494 | 3459 | 3430 | 3332 | 3254 | 3184 | 3065 | 3052 | 3024 | 3007 | 3006
| 2021/22 | 9031 | 8975 | 8893 | 8702 | 8572 | 8374 | 8301 | 8164 | 8089 | 8053 | 7919 | 7800 | 7700 | 7589 | 7496 | 7421 | 7351 | 7278 | 7210 | 7140 | 7068 | 6993 | 6931 | 6854 | 6789 | 6731 | 6667 | 6600 | 6528 | 6447 | 6360 | 6271 | 6174 | 6077 | 5966 | 5855 | 5747 | 5641 | 5525 | 5413 | 5297 | 5186 | 5095 | 5021 | 4951 | 4892 | 4835 | 4781 | 4726 | 4675 | 4620 | 4581 | 4507 | 4411 | 4306 | 4214 | 4110 | 4020 | 3944 | 3880 | 3812 | 3744 | 3680 | 3623 | 3565 | 3499 | 3451 | 3406 | 3372 | 3330 | 3273 | 3233 | 3187 | 3155 | 3116 | 3102 | 3057 | 3029 | 3007 | 2901 | 2899 | 2898