## 2024 TAPR Template Summary
Please refer to Powerlink's TAPR portal for more detailed information on potential future regulated transmission network projects. |  |  | TAPR PORTAL
Template Name - Potential Project | Zone | Outlook | Template Type
275/132kV substation establishment to maintain supply to Turkinje Substation | FNQ | 5 Years | Connection Point
Abermain 275kV and 110kV primary plant replacement | Moreton | 5 Years | Connection Point
Abermain 275kV and 110kV secondary systems replacement | Moreton | 10 Years | Connection Point
Alan Sherriff 132kV secondary systems replacement | Ross | 5 Years | Connection Point
Algester 110kV secondary systems replacement | Moreton | 10 Years | Connection Point
Alligator Creek 132kV secondary systems replacement | North | 10 Years | Connection Point
Ashgrove West 110kV secondary systems replacement | Moreton | 5 Years | Connection Point
Barron Gorge 132kV secondary systems replacement | FNQ | 10 Years | Connection Point
Belmont 110kV and 275kV secondary systems replacement | Moreton | 10 Years | Connection Point
Belmont 11kV underground cable and transformers replacement | Moreton | 5 Years | Connection Point
Belmont 33kV and 11kV primary plant replacement | Moreton | 10 Years | Connection Point
Biloela 132kV secondary systems replacement | Central West | 10 Years | Connection Point
Blackwater 132kV secondary systems replacement | Central West | 10 Years | Connection Point
Braemar 330kV secondary systems replacement | Bulli | 10 Years | Connection Point
Broadsound 275kV primary plant replacement | Central West | 5 Years | Connection Point
Broadsound 275kV secondary systems replacement | Central West | 10 Years | Connection Point
Bulli Creek 330/132kV transformer replacement | Bulli | 10 Years | Connection Point
Bundamba 110kV secondary systems replacement | Moreton | 10 Years | Connection Point
Calvale 275kV primary plant replacement | Central West | 5 Years | Connection Point
Chalumbin 275kV and 132kV primary plant replacement | FNQ | 5 Years | Connection Point
Clare South 132kV secondary systems replacement | Ross | 10 Years | Connection Point
Columboola 132kV secondary systems replacement | Surat | 10 Years | Connection Point
Edmonton 132kV secondary systems replacement | FNQ | 10 Years | Connection Point
El Arish 132kV secondary systems replacement | FNQ | 10 Years | Connection Point
Garbutt 132kV secondary systems replacement | Ross | 5 Years | Connection Point
Goodna 275kV and 110kV secondary systems replacement | Moreton | 10 Years | Connection Point
Greenbank 275kV secondary systems replacement | Moreton | 10 Years | Connection Point
Greenbank SVC secondary systems replacement | Moreton | 5 Years | Connection Point
Ingham South 132kV primary plant and secondary systems replacement | Ross | 5 Years | Connection Point
Kamerunga 132kV substation rebuild | FNQ | 5 Years | Connection Point
Larcom Creek 275kV secondary systems replacement | Gladstone | 10 Years | Connection Point
Lilyvale 132kV secondary systems replacement | Central West | 10 Years | Connection Point
Loganlea 275kV primary plant replacement | Moreton | 10 Years | Connection Point
Mackay 132/33kV transformer replacement | North | 5 Years | Connection Point
Middle Ridge 110kV primary plant replacement | South West | 5 Years | Connection Point
Middle Ridge 275kV and 110kV secondary systems replacement | South West | 10 Years | Connection Point
Millmerran 330kV AIS secondary systems replacement | Bulli | 10 Years | Connection Point
Molendinar 275kV secondary systems replacement | Gold Coast | 5 Years | Connection Point
Mount England 275kV primary plant and secondary systems replacement | Moreton | 10 Years | Connection Point
Mudgeeraba 110kV primary plant and secondary systems replacement and 275/110kV transformer replacement | Gold Coast | 10 Years | Connection Point
Murarrie 275kV and 110kV secondary systems replacement | Moreton | 5 Years | Connection Point
Nebo 132kV and 275kV secondary systems replacement | North | 10 Years | Connection Point
Nebo SVC secondary systems replacement | North | 10 Years | Connection Point
Nebo SVC selected primary plant replacement and SVC transformer life extension | North | 5 Years | Connection Point
North Goonyella 132kV secondary systems replacement | North | 5 Years | Connection Point
Palmwoods 132kV secondary systems replacement | Wide Bay | 10 Years | Connection Point
Palmwoods 275kV and 132kV selected primary plant replacement | Wide Bay | 10 Years | Connection Point
Pandoin 132kV secondary systems replacement | Gladstone | 10 Years | Connection Point
Pioneer Valley 132kV primary plant replacement | North | 10 Years | Connection Point
Rockhampton 132kV secondary systems replacement | Gladstone | 10 Years | Connection Point
Rocklea 275/110kV transformer replacement | Moreton | 10 Years | Connection Point
Ross 275kV and 132kV secondary systems replacement | Ross | 10 Years | Connection Point
South Pine 275kV primary plant replacement | Moreton | 10 Years | Connection Point
South Pine 275kV secondary systems replacement and SVC secondary systems replacement | Moreton | 10 Years | Connection Point
Stanwell 275kV selected primary plant replacement | Central West | 10 Years | Connection Point
Strathmore 275kV and 132kV secondary systems replacement | North | 10 Years | Connection Point
Strathmore SVC secondary systems replacement | North | 5 Years | Connection Point
Tarong 275kV 132kV and 66kV secondary systems replacement | South West | 10 Years | Connection Point
Teebar Creek 275kV and 132kV secondary systems replacement | Wide Bay | 10 Years | Connection Point
Townsville East 132kV secondary systems replacement | Ross | 10 Years | Connection Point
Townsville South 132kV secondary systems replacement | Ross | 10 Years | Connection Point
Tully 132/22kV transformer replacement | FNQ | 5 Years | Connection Point
West Darra 110kV secondary systems replacement | Moreton | 10 Years | Connection Point
Woolooga 132kV selected primary plant Replacement | Wide Bay | 5 Years | Connection Point
Woolooga 275kV and 132kV and SVC secondary systems replacement | Wide Bay | 10 Years | Connection Point
Woree 275kV and 132kV secondary systems replacement | FNQ | 10 Years | Connection Point
Wurdong 275kV selected primary plant replacement | Gladstone | 10 Years | Connection Point
Yabulu South 132kV secondary systems replacement | Ross | 10 Years | Connection Point
Yarwun 132kV secondary systems replacement | Gladstone | 10 Years | Connection Point
Line refit works on the 110kV transmission line between Blackstone and Abermain substations | Moreton | 10 Years | Line Segment
Line refit works on the 110kV transmission line between Mudgeeraba Substation and Terranora | Gold Coast | 5 Years | Line Segment
Line refit works on the 110kV transmission line between Richlands and Algester substations | Moreton | 5 Years | Line Segment
Line refit works on the 110kV transmission line between West Darra and Upper Kedron substations | Moreton | 10 Years | Line Segment
Line refit works on the 110kV transmission lines between Swanbank, Redbank Plains and West Darra substations | Moreton | 10 Years | Line Segment
Line refit works on the 132kV transmission line between Bouldercombe Substation and Bouldercombe Tee | Gladstone | 5 Years | Line Segment
Line refit works on the 132kV transmission line between Bouldercombe Tee and Egans Hill Substation | Central West | 10 Years | Line Segment
Line refit works on the 132kV transmission line between Collinsville North, Goonyella Riverside and Moranbah substations | Central West | 10 Years | Line Segment
Line refit works on the 132kV transmission line between Collinsville North, Strathmore and Clare South substations | North | 10 Years | Line Segment
Line refit works on the 132kV transmission line between Dan Gleeson and Alan Sherriff substations | Ross | 5 Years | Line Segment
Line refit works on the 132kV transmission line between Moranbah, Kemmis and Nebo substations | Central West | 10 Years | Line Segment
Line refit works on the 132kV transmission line between Nebo Substation and Eton Tee | North | 5 Years | Line Segment
Line refit works on the 132kV transmission line between Ross and Dan Gleeson substations | Ross | 5 Years | Line Segment
Line refit works on the 275kV transmission line between Bergins Hill and Karana Downs | Moreton | 5 Years | Line Segment
Line refit works on the 275kV transmission line between Bergins Hill, Goodna and Belmont substations | Moreton | 10 Years | Line Segment
Line refit works on the 275kV transmission line between Bouldercombe and Nebo substations | Central West | 5 Years | Line Segment
Line refit works on the 275kV transmission line between Calliope River and Boyne Island substations | Gladstone | 10 Years | Line Segment
Line refit works on the 275kV transmission line between Calliope River Substation and Wurdong Tee | Wide Bay | 10 Years | Line Segment
Line refit works on the 275kV transmission line between Gin Gin and Calliope River substations | Wide Bay | 10 Years | Line Segment
Line refit works on the 275kV transmission line between Gin Gin and Woolooga substations | Wide Bay | 10 Years | Line Segment
Line refit works on the 275kV transmission line between Greenbank and Mudgeeraba substations (targeted) | Gold Coast | 5 Years | Line Segment
Line refit works on the 275kV transmission line between Karana Downs and South Pine substations | Moreton | 5 Years | Line Segment
Line refit works on the 275kV transmission line between Raglan and Bouldercombe substations (targeted) | Gladstone | 10 Years | Line Segment
Line refit works on the 275kV transmission line between South Pine and Palmwoods substations | Wide Bay | 10 Years | Line Segment
Line refit works on the 275kV transmission line between Strathmore and Ross substations (targeted) | Ross | 10 Years | Line Segment
Line refit works on the 275kV transmission line between Woolooga and South Pine substations | Wide Bay | 5 Years | Line Segment
Line refit works on the 275kV transmission line between Wurdong and Boyne Island substations | Gladstone | 10 Years | Line Segment
Line refit works on the 275kV transmission lines between Ross and Chalumbin substations | FNQ | 5 Years | Line Segment
Line refit works on the 275kV transmission lines between Wurdong Tee and Gin Gin substations (targeted) | Wide Bay | 10 Years | Line Segment
Rebuild the 132kV transmission line between Calliope River and Gladstone South substations | Gladstone | 10 Years | Line Segment
Rebuild the 132kV transmission line between Woree and Kamerunga substations | FNQ | 5 Years | Line Segment
Rebuild the 275kV transmission line between Calliope River Substation and the Wurdong Tee | Wide Bay | 10 Years | Line Segment
Replacement of the 110kV underground cable between Upper Kedron and Ashgrove West substations | Moreton | 5 Years | Line Segment