## Cover
Powerlink Contact
Ben McGregor
Team Leader Regional Grid Planning and Data Support
ben.mcgregor@powerlink.com.au
Note: Powerlink's 2024 Transmission Annual Planning Report Chapter 3 Energy and demand projections data should be reviewed in conjunction with the discussion contained in Chapter 3 of the 2024 Transmission Annual Planning Report.
Disclaimer: While care is taken in the preparation of the information in this document, and it is provided in good faith, Powerlink Queensland accepts no responsibility or liability for any loss or damage that may be incurred by persons acting in reliance on this information or assumptions drawn from it.
2020 Transmission Annual Planning Report
Chapter 2 Energy and demand projections - data
2024 Transmission Annual Planning Report
Chapter 3 Energy and demand projections data

## Index
Figure | Description
Figure 3.1 | Brisbane temperature ranges over November 2023 to August 2024 (1)
Figure 3.2 | Comparison of AEMO's 2023 ESOO Step Change scenario delivered demand forecast with the 2024 Powerlink's Central scenario (1)(2)
Figure 3.3 | Comparison of AEMO's 2023 ESOO Step Change scenario delivered energy forecast with the 2024 Powerlink's Central scenario (1)(2)
Figure 3.4 | Comparison of AEMO's 2023 ESOO Step Change scenario annual delivered minimum demand forecast with the 2024 Powerlink's Central scenario (1)(2)
Figure 3.5 | Cumulative Capacity of Queensland Rooftop PV (CER)
Figure 3.6 | Cumulative Capacity increase of Queensland rooftop PV
Figure 3.7 | Transmission delivered annual minimum demand for the Queensland region (1)(2)
Figure 3.8 | Cumulative Qld Battery Installations
Figure 3.9 | Load measurement definitions
Figure 3.10 | Historical and forecast transmission delivered energy
Figure 3.11 | Historical and forecast transmission delivered summer maximum demand
Figure 3.12 | Historical and forecast transmission delivered winter maximum demand
Table | Description
Table 3.1 | Possible large loads excluded from the Slow Change, Step Change and Hydrogen Export scenario forecasts
Table 3.2 | Average annual growth rate over next 10 years
Table 3.3 | Historical energy (GWh)
Table 3.4 | Forecast annual transmission delivered energy (GWh)
Table 3.5 | Forecast annual native energy (GWh)
Table 3.6 | Historical summer maximum demand at time of delivered peak (MW)
Table 3.7 | Forecast summer transmission delivered maximum demand (MW)
Table 3.8 | Historical summer maximum demand at time of native peak (MW)
Table 3.9 | Forecast summer native maximum demand (MW)
Table 3.10 | Historical winter maximum demand at time of delivered peak (MW)
Table 3.11 | Forecast winter transmission delivered maximum demand (MW)
Table 3.12 | Historical winter maximum demand at time of native peak (MW)
Table 3.13 | Forecast winter native maximum demand (MW)
Table 3.14 | Historical annual minimum demand (MW)
Table 3.15 | Forecast annual transmission delivered minimum demand (MW) (1)
Table 3.16 | Forecast annual native minimum demand (MW) (1)
Table 3.17 | Average ratios of zone maximum delivered demand to zone delivered demand at time of Queensland region maximum delivered demand
Table 3.18 | Annual transmission delivered energy by zone (GWh)
Table 3.19 | Annual native energy by zone (GWh)
Table 3.20 | State summer maximum transmission delivered demand by zone (MW)
Table 3.21 | State summer maximum native demand by zone (MW)
Table 3.22 | State winter maximum transmission delivered demand by zone (MW)
Table 3.23 | State winter maximum native demand by zone (MW)
Index
2024 TAPR Chapter 3 Energy and demand projections data

## Figure 3.1
Figure 3.1 | Brisbane temperature ranges over November 2023 to August 2024 (1) |  |  |  |  | Index
Note:
(1) Long-term average based on years 2000 to 2023/24.
|  | Mean daily maximum (2023/24) | Mean daily minimum (2023/24) | Mean daily maximum (long term average) | Mean daily minimum (long term average)
| November | 27.9 | 18.9 | 28.2917 | 18.775
| December | 31.6 | 21.9 | 29.7083 | 20.5917
| January | 30.7 | 23 | 30.416 | 21.668
| February | 30.8 | 22.5 | 30.188 | 21.456
| March | 28.4 | 20.7 | 29.16 | 20.296
| April | 27.4 | 18.2 | 27.168 | 17.4
| May | 24.1 | 14.8 | 24.44 | 13.86
| June | 22.6 | 10.9 | 22.068 | 11.768
| July | 21.4 | 11.2 | 21.952 | 10.488
| August | 25 | 13.7 | 23.472 | 11.044

## Figure 3.2
Figure 3.2 | Comparison of AEMO's 2023 ESOO Step Change scenario delivered demand forecast with the 2024 Powerlink's Central scenario (1)(2) | [5 empty] | Index
Notes:
(1) AEMO’s 2024 and 2023 ESOO forecast has been converted from ‘operational sent-out’ to ‘transmission delivered’ for the purposes of comparison. Refer to Figure 3.5 for further details.
| Summer | Historical | Weather corrected | Powerlink 2024 Central 50% PoE | AEMO 2023 ESOO Step Change 50% PoE | AEMO 2024 ESOO Step Change 50% PoE
| 2014/15 | 8019 | 7737.431
| 2015/16 | 8271 | 8050.1703
| 2016/17 | 8392 | 8257.4607
| 2017/18 | 8842 | 8514.8197
| 2018/19 | 8951 | 8488.1244
| 2019/20 | 8710 | 8661.9128
| 2020/21 | 8890.4366 | 8660.2356
| 2021/22 | 9031.2676 | 8876.2387
| 2022/23 | 8915.7425 | 9109.6754
| 2023/24 | 9428.8764 | 9217.83 |  | 9005.4163
| 2024/25 |  |  | 9391.836 | 9137.4158 | 9156.4187
| 2025/26 |  |  | 9828.0736 | 9373.6353 | 9291.59
| 2026/27 |  |  | 9968.2968 | 9671.8351 | 9470.8258
| 2027/28 |  |  | 10301.1922 | 9761.0142 | 9641.7001
| 2028/29 |  |  | 10749.0494 | 9927.7244 | 9764.5352
| 2029/30 |  |  | 11179.2524 | 10223.344 | 9928.0405
| 2030/31 |  |  | 11660.0221 | 10347.7577 | 10050.5503
| 2031/32 |  |  | 12317.4219 | 10708.6046 | 10215.9068
| 2032/33 |  |  | 12398.5078 | 10879.3231 | 10342.5012
| 2033/34 |  |  | 12523.8564 |  | 10322.5682

## Figure 3.3
Figure 3.3 | Comparison of AEMO's 2023 ESOO Step Change scenario delivered energy forecast with the 2024 Powerlink's Central scenario (1)(2) |  |  |  |  | Index
Notes:
(1) AEMO’s 2024 and 2023 ESOO forecast has been converted from ‘operational sent-out’ to ‘transmission delivered’ for the purposes of comparison. Refer to Figure 3.5 for further details.
(2)Powerlink's 2024 ESOO forecast has been adjusted for future uncommitted distribution connected renewables by Powerlink to incorporate the Queensland Government’s target of 50% renewable energy by 2030.
| Financial year | Historical | Powerlink 2024 Central Change | AEMO 2023 ESOO Step Change | AEMO 2024 ESOO Step Change
| 2014/15 | 46780
| 2015/16 | 49094
| 2016/17 | 49880
| 2017/18 | 48739
| 2018/19 | 48764
| 2019/20 | 47860
| 2020/21 | 47421.236
| 2021/22 | 47405.2475
| 2022/23 | 46214.1247
| 2023/24 | 47476.5424 |  | 44197.0768
| 2024/25 |  | 46697.0005 | 43701.8936 | 46812.1377
| 2025/26 |  | 48031.6691 | 44122.5054 | 47377.0605
| 2026/27 |  | 48883.4645 | 44828.7905 | 47946.4605
| 2027/28 |  | 50217.1705 | 44930.5027 | 48377.8605
| 2028/29 |  | 52000.0332 | 45792.1295 | 48936.9605
| 2029/30 |  | 53785.2576 | 48008.3986 | 50780.2605
| 2030/31 |  | 57649.9422 | 50104.6126 | 52588.7605
| 2031/32 |  | 60434.2645 | 52384.6988 | 55240.5605
| 2032/33 |  | 60436.7188 | 55156.6835 | 58118.9605
| 2033/34 |  | 60515.9407 |  | 59695.4605

## Figure 3.4
Figure 3.4 | Comparison of AEMO's 2023 ESOO Step Change scenario annual delivered minimum demand forecast with the 2024 Powerlink's Central scenario (1)(2) |  |  |  |  | Index
Notes:
(1) AEMO’s 2024 ESOO forecast has been converted from ‘operational sent-out’ to ‘transmission delivered’ for the purposes of comparison. Refer to Figure 3.5 for further details.
(2) Powerlink's 2024 ESOO forecast has been adjusted for future uncommitted distribution connected renewables by Powerlink to incorporate the Queensland Government’s target of 50% renewable energy by 2030.
| Financial year | Historical | Powerlink 2024 Central Scenario | AEMO 2023 ESOO Step Change | AEMO 2024 ESOO Step Change
| 2015 | 3664
| 2016 | 3884
| 2017 | 4336
| 2018 | 4181
| 2019 | 4008
| 2020 | 3370
| 2021 | 3006
| 2022 | 3014
| 2023 | 2597
| 2024 | 2389.4 |  | 2190.6554
| 2025 |  | 1756.2523 | 2013.3543 | 2013.6066
| 2026 |  | 1510.1226 | 1859.0566 | 1669.4401
| 2027 |  | 1033.5996 | 1715.1747 | 1336.3071
| 2028 |  | 868.2988 | 1493.1352 | 956.171
| 2029 |  | 352.5527 | 1292.3503 | 692.4261
| 2030 |  | 666.6328 | 1121.2137 | 367.0614
| 2031 |  | 526.5466 | 888.7613 | 20.6466
| 2032 |  | 235.3582 | 718.7024 | -354.8303
| 2033 |  | -104.9841 | 555.9374 | -775.5115
| 2034 |  | -478.4231 |  | -1333.4262

## Figure 3.5
Figure 3.5 | Cumulative Capacity of Queensland Rooftop PV (CER)
Month | FY | Cumulative Capacity
2005-07-01 | 2004/05 | 0.0001595 | 0.1595 | 0.1595
2006-07-01 | 2005/06 | 0.00056734 | 0.56734 | 0.40785
2007-07-01 | 2006/07 | 0.00076532 | 0.76532 | 0.19798
2008-07-01 | 2007/08 | 0.0025173 | 2.5173 | 1.752
2009-07-01 | 2008/09 | 0.012721 | 12.721 | 10.2037
2010-07-01 | 2009/10 | 0.062315 | 62.3148 | 49.5938
2011-07-01 | 2010/11 | 0.26509 | 265.0893 | 202.7745
2012-07-01 | 2011/12 | 0.54887 | 548.8691 | 283.7798
2013-07-01 | 2012/13 | 0.93822 | 938.2208 | 389.3517
2014-07-01 | 2013/14 | 1.1613 | 1161.3295 | 223.1087
2015-07-01 | 2014/15 | 1.3642 | 1364.2001 | 202.8706
2016-07-01 | 2015/16 | 1.5363 | 1536.251 | 172.0509
2017-07-01 | 2016/17 | 1.7855 | 1785.4531 | 249.2021
2018-07-01 | 2017/18 | 2.1394 | 2139.4258 | 353.9727
2019-07-01 | 2018/19 | 2.6153 | 2615.3016 | 475.8758
2020-07-01 | 2019/20 | 3.2711 | 3271.0987 | 655.7971
2021-07-01 | 2020/21 | 4.0703 | 4070.3344 | 799.2357
2022-07-01 | 2021/22 | 4.7675 | 4767.4697 | 697.1353
2023-07-01 | 2022/23 | 5.654 | 5654 | 886.5303
2024-07-01 | 2023/24 | 6.464 | 6464 | 810

## Figure 3.6
Figure 3.6 | Cumulative Capacity increase of Queensland rooftop PV | [5 empty] | Index
State | FY | AvgInstallationSize | NoInstallations
ACT | 2004/05 | 0.32 | 2
ACT | 2005/06 | 2.1 | 1 | State | QLD
ACT | 2006/07 | 1.4955 | 20
ACT | 2007/08 | 1.7584 | 126 | Row Labels | Sum of AvgInstallationSize | Sum of NoInstallations
ACT | 2008/09 | 1.758 | 403 | 2004/05 | 0.93785 | 171
ACT | 2009/10 | 1.9035 | 1857 | 2005/06 | 1.4994 | 272
ACT | 2010/11 | 2.4588 | 6698 | 2006/07 | 1.1784 | 168
ACT | 2011/12 | 2.6819 | 2087 | 2007/08 | 1.4479 | 1210
ACT | 2012/13 | 4.34 | 1409 | 2008/09 | 1.2734 | 8013
ACT | 2013/14 | 4.2585 | 2124 | 2009/10 | 1.5696 | 31597
ACT | 2014/15 | 4.7166 | 1342 | 2010/11 | 2.1754 | 93212
ACT | 2015/16 | 6.0403 | 978 | 2011/12 | 2.9116 | 97464
ACT | 2016/17 | 6.2004 | 1267 | 2012/13 | 3.5644 | 109233
ACT | 2017/18 | 6.677 | 2697 | 2013/14 | 3.9495 | 56490
ACT | 2018/19 | 7.2348 | 3298 | 2014/15 | 4.4983 | 48292
ACT | 2019/20 | 8.2642 | 4401 | 2015/16 | 5.2738 | 34336
ACT | 2020/21 | 8.5789 | 6295 | 2016/17 | 6.0765 | 40173
ACT | 2021/22 | 9.2 | 7537 | 2017/18 | 7.0564 | 50423
ACT | 2022/23 | 9.6344 | 9473 | 2018/19 | 7.6751 | 61451
ACT | 2023/24 | 10.3517 | 6113 | 2019/20 | 8.2937 | 79513
ACT | 2024/25 | 10.534 | 289 | 2020/21 | 8.6482 | 93913
NSW | 2004/05 | 0.86862 | 138 | 2021/22 | 9.1996 | 79158
NSW | 2005/06 | 1.1344 | 237 | 2022/23 | 9.3825 | 80837
NSW | 2006/07 | 1.4183 | 301 | 2023/24 | 9.9786 | 80007
NSW | 2007/08 | 1.6028 | 1643 | Grand Total | 96.5903 | 1045933
NSW | 2008/09 | 1.3531 | 6305
NSW | 2009/10 | 1.7861 | 30927
NSW | 2010/11 | 2.3543 | 117809
NSW | 2011/12 | 2.5316 | 40885
NSW | 2012/13 | 3.2257 | 41307
NSW | 2013/14 | 4.313 | 32848
NSW | 2014/15 | 4.9895 | 38190
NSW | 2015/16 | 5.4427 | 29438
NSW | 2016/17 | 5.6464 | 34879
NSW | 2017/18 | 6.5622 | 51592
NSW | 2018/19 | 7.477 | 65222
NSW | 2019/20 | 7.7042 | 93029
NSW | 2020/21 | 8.3635 | 121928
NSW | 2021/22 | 8.9014 | 90632
NSW | 2022/23 | 9.4088 | 99289
NSW | 2023/24 | 9.9986 | 105481
NSW | 2024/25 | 9.7874 | 5493
NT | 2004/05 | 4.7317 | 12
NT | 2005/06 | 5.1356 | 34
NT | 2006/07 | 6.8917 | 24
NT | 2007/08 | 6.5847 | 36
NT | 2008/09 | 3.2295 | 131
NT | 2009/10 | 2.2123 | 518
NT | 2010/11 | 2.955 | 536
NT | 2011/12 | 5.0497 | 419
NT | 2012/13 | 4.9716 | 674
NT | 2013/14 | 5.218 | 1074
NT | 2014/15 | 6.3552 | 1066
NT | 2015/16 | 7.7764 | 1367
NT | 2016/17 | 7.2531 | 1802
NT | 2017/18 | 8.5366 | 2112
NT | 2018/19 | 8.0056 | 3061
NT | 2019/20 | 8.1739 | 3793
NT | 2020/21 | 9.4718 | 2211
NT | 2021/22 | 10.3311 | 1844
NT | 2022/23 | 10.9098 | 1573
NT | 2023/24 | 11.665 | 956
Other | 2004/05 | 0 | 0
Other | 2005/06 | 0 | 0
Other | 2006/07 | 0 | 0
Other | 2007/08 | 0 | 0
Other | 2008/09 | 0 | 0
Other | 2009/10 | 5.6 | 1
Other | 2010/11 | 0 | 0
Other | 2011/12 | 0 | 0
Other | 2012/13 | 6.52 | 6
Other | 2013/14 | 5.9453 | 30
Other | 2014/15 | 5.4275 | 24
Other | 2015/16 | 5.1 | 5
Other | 2016/17 | 6.0922 | 9
Other | 2017/18 | 0 | 0
Other | 2018/19 | 0 | 0
Other | 2019/20 | 0 | 0
Other | 2020/21 | 8.3995 | 64
Other | 2021/22 | 6.235 | 10
Other | 2022/23 | 7.0794 | 16
Other | 2023/24 | 5.4425 | 4
Other | 2024/25 | 6.63 | 1
QLD | 2004/05 | 0.93785 | 171
QLD | 2005/06 | 1.4994 | 272
QLD | 2006/07 | 1.1784 | 168
QLD | 2007/08 | 1.4479 | 1210
QLD | 2008/09 | 1.2734 | 8013
QLD | 2009/10 | 1.5696 | 31597
QLD | 2010/11 | 2.1754 | 93212
QLD | 2011/12 | 2.9116 | 97464
QLD | 2012/13 | 3.5644 | 109233
QLD | 2013/14 | 3.9495 | 56490
QLD | 2014/15 | 4.4983 | 48292
QLD | 2015/16 | 5.2738 | 34336
QLD | 2016/17 | 6.0765 | 40173
QLD | 2017/18 | 7.0564 | 50423
QLD | 2018/19 | 7.6751 | 61451
QLD | 2019/20 | 8.2937 | 79513
QLD | 2020/21 | 8.6482 | 93913
QLD | 2021/22 | 9.1996 | 79158
QLD | 2022/23 | 9.3825 | 80837
QLD | 2023/24 | 9.9786 | 80007
QLD | 2024/25 | 9.7755 | 5028
SA | 2004/05 | 1.6042 | 208
SA | 2005/06 | 1.5542 | 357
SA | 2006/07 | 1.6384 | 462
SA | 2007/08 | 1.5103 | 2056
SA | 2008/09 | 1.4025 | 5581
SA | 2009/10 | 1.62 | 11839
SA | 2010/11 | 2.3124 | 41592
SA | 2011/12 | 2.889 | 56498
SA | 2012/13 | 4.005 | 27638
SA | 2013/14 | 5.1844 | 26459
SA | 2014/15 | 5.3362 | 13497
SA | 2015/16 | 5.7056 | 11575
SA | 2016/17 | 6.4986 | 13499
SA | 2017/18 | 7.516 | 19849
SA | 2018/19 | 8.0921 | 23986
SA | 2019/20 | 8.2664 | 31563
SA | 2020/21 | 8.6332 | 35421
SA | 2021/22 | 8.8909 | 29737
SA | 2022/23 | 8.9918 | 29248
SA | 2023/24 | 9.71 | 25881
SA | 2024/25 | 9.6344 | 1373
TAS | 2004/05 | 0.80833 | 3
TAS | 2005/06 | 1.0464 | 11
TAS | 2006/07 | 0.91 | 6
TAS | 2007/08 | 1.5026 | 73
TAS | 2008/09 | 1.4326 | 302
TAS | 2009/10 | 1.2341 | 2632
TAS | 2010/11 | 2.3216 | 2113
TAS | 2011/12 | 2.7589 | 3814
TAS | 2012/13 | 3.687 | 6953
TAS | 2013/14 | 4.3762 | 6667
TAS | 2014/15 | 4.6334 | 2586
TAS | 2015/16 | 4.5478 | 2316
TAS | 2016/17 | 5.3627 | 2308
TAS | 2017/18 | 6.6756 | 2627
TAS | 2018/19 | 7.1498 | 2556
TAS | 2019/20 | 7.5023 | 3359
TAS | 2020/21 | 7.8279 | 3686
TAS | 2021/22 | 8.3578 | 3881
TAS | 2022/23 | 8.4503 | 4937
TAS | 2023/24 | 8.9524 | 5495
TAS | 2024/25 | 8.8596 | 242
VIC | 2004/05 | 1.2543 | 112
VIC | 2005/06 | 1.128 | 210
VIC | 2006/07 | 1.1012 | 377
VIC | 2007/08 | 1.4231 | 1525
VIC | 2008/09 | 1.1914 | 3760
VIC | 2009/10 | 1.3824 | 25123
VIC | 2010/11 | 2.1199 | 54854
VIC | 2011/12 | 2.7404 | 57980
VIC | 2012/13 | 3.595 | 46490
VIC | 2013/14 | 4.1404 | 35593
VIC | 2014/15 | 4.4693 | 37596
VIC | 2015/16 | 4.9913 | 28547
VIC | 2016/17 | 5.8719 | 27500
VIC | 2017/18 | 7.0944 | 35426
VIC | 2018/19 | 7.1611 | 59517
VIC | 2019/20 | 7.6096 | 66996
VIC | 2020/21 | 7.8396 | 81199
VIC | 2021/22 | 8.4439 | 67577
VIC | 2022/23 | 8.8409 | 66629
VIC | 2023/24 | 9.0729 | 65493
VIC | 2024/25 | 8.7781 | 1989
WA | 2004/05 | 0.89269 | 52
WA | 2005/06 | 2.4994 | 54
WA | 2006/07 | 2.6835 | 118
WA | 2007/08 | 1.7489 | 672
WA | 2008/09 | 1.2828 | 5467
WA | 2009/10 | 1.4663 | 18013
WA | 2010/11 | 2.3304 | 43393
WA | 2011/12 | 2.2868 | 44873
WA | 2012/13 | 2.7234 | 29889
WA | 2013/14 | 3.6672 | 19670
WA | 2014/15 | 4.2458 | 23251
WA | 2015/16 | 4.9648 | 21787
WA | 2016/17 | 5.6262 | 28151
WA | 2017/18 | 6.1909 | 31645
WA | 2018/19 | 6.4497 | 34305
WA | 2019/20 | 6.9385 | 41316
WA | 2020/21 | 7.0152 | 51711
WA | 2021/22 | 7.3049 | 42967
WA | 2022/23 | 7.6726 | 36359
WA | 2023/24 | 7.6828 | 34985
WA | 2024/25 | 7.5289 | 1892

## Figure 3.7
Figure 3.7 | Transmission delivered annual minimum demand for the Queensland region (1)(2) | [10 empty] | Index
Notes:
(1) Minimum demand can be caused by abnormal conditions, as depicted in the 2019 trace when lowest demand coincided with a large industrial load being out of service.
(2) 2024 trace based on preliminary metering data up to 3rd October 2024.
| Date | 0:00 | 0:30 | 1:00 | 1:30 | 2:00 | 2:30 | 3:00 | 3:30 | 4:00 | 4:30 | 5:00 | 5:30 | 6:00 | 6:30 | 7:00 | 7:30 | 8:00 | 8:30 | 9:00 | 9:30 | 10:00 | 10:30 | 11:00 | 11:30 | 12:00 | 12:30 | 13:00 | 13:30 | 14:00 | 14:30 | 15:00 | 15:30 | 16:00 | 16:30 | 17:00 | 17:30 | 18:00 | 18:30 | 19:00 | 19:30 | 20:00 | 20:30 | 21:00 | 21:30 | 22:00 | 22:30 | 23:00 | 23:30
| 2018-09-02 | 4831 | 4707 | 4627 | 4526 | 4480 | 4432 | 4427 | 4405 | 4413 | 4444 | 4497 | 4560 | 4657 | 4677 | 4710 | 4654 | 4598 | 4497 | 4399 | 4327 | 4214 | 4107 | 4063 | 4020 | 4008 | 4018 | 4043 | 4147 | 4262 | 4388 | 4567 | 4821 | 5089 | 5372 | 5607 | 5808 | 5991 | 6034 | 5984 | 5893 | 5825 | 5700 | 5543 | 5428 | 5362 | 5309 | 5160 | 4969
| 2019-08-18 | 4763 | 4649 | 4531 | 4445 | 4381 | 4353 | 4393 | 4422 | 4432 | 4428 | 4481 | 4522 | 4614 | 4663 | 4630 | 4550 | 4463 | 4322 | 4192 | 4080 | 4037 | 3899 | 3810 | 3370 | 3459 | 3662 | 3682 | 3745 | 3857 | 4012 | 4219 | 4505 | 4837 | 5224 | 5529 | 5863 | 6071 | 6105 | 5961 | 5842 | 5817 | 5673 | 5546 | 5432 | 5319 | 5216 | 5042 | 4832
| 2020-09-27 | 4872.6482 | 4764.6953 | 4659.0315 | 4578.1136 | 4546.6052 | 4510.1956 | 4492.2264 | 4484.5006 | 4497.5543 | 4527.2791 | 4585.8853 | 4575.4057 | 4475.4394 | 4193.1942 | 3949.1811 | 3706.7275 | 3563.2838 | 3431.6573 | 3279.658 | 3178.6246 | 3114.2126 | 3063.9537 | 3025.5161 | 3047.4296 | 3005.556 | 3058.299 | 3064.9204 | 3131.9407 | 3315.2759 | 3521.9665 | 3838.8491 | 4211.7321 | 4642.1855 | 5135.3228 | 5543.8743 | 5830.5469 | 6067.8862 | 6104.0087 | 6009.5196 | 5963.9594 | 5866.1749 | 5718.6042 | 5582.6562 | 5475.4214 | 5370.6914 | 5311.0194 | 5145.779 | 4975.5615
| 2021-10-17 | 5034.2415 | 4934.4782 | 4846.9545 | 4777.541 | 4736.9561 | 4698.1572 | 4688.5084 | 4656.5212 | 4660.6923 | 4693.0569 | 4699.1749 | 4577.7389 | 4261.7425 | 3885.496 | 3607.2214 | 3401.245 | 3330.6422 | 3215.3688 | 3141.681 | 3122.7826 | 3062.4462 | 3013.5076 | 3034.8129 | 3051.075 | 3130.2358 | 3156.1124 | 3312.5549 | 3490.4767 | 3714.7458 | 4006.5906 | 4386.45 | 4889.37 | 5300.2633 | 5747.5869 | 6069.461 | 6354.6219 | 6529.3424 | 6606.6388 | 6489.9338 | 6342.3193 | 6256.5495 | 6089.0257 | 5920.3884 | 5773.6488 | 5644.5015 | 5541.5298 | 5386.5726 | 5224.678
| 2022-09-25 | 4888.1617 | 4785.4683 | 4683.1114 | 4637.4639 | 4562.1118 | 4516.7658 | 4495.2062 | 4473.4833 | 4508.4255 | 4535.4696 | 4566.001 | 4540.484 | 4414.4281 | 4067.8337 | 3719.9202 | 3392.8452 | 3200.7017 | 2979.5279 | 2800.5188 | 2671.3946 | 2638.6492 | 2597.4988 | 2600.7426 | 2633.4388 | 2657.4598 | 2673.2148 | 2788.3519 | 2925.0945 | 3122.647 | 3333.5209 | 3669.3197 | 4128.3765 | 4643.3303 | 5245.6819 | 5732.9903 | 6048.2698 | 6226.7201 | 6266.1316 | 6097.9259 | 6054.7386 | 6070.7923 | 5911.4515 | 5750.0341 | 5579.0905 | 5436.6672 | 5276.9624 | 5231.0544 | 5072.5667
| 2023-08-20 | 5066.5748 | 4922.638 | 4822.7136 | 4771.2908 | 4730.1369 | 4727.5038 | 4706.2881 | 4725.886 | 4750.7089 | 4785.2341 | 4838.4152 | 4889.1316 | 5031.3871 | 5053.8657 | 4726.458 | 4267.1342 | 3895.0528 | 3559.4737 | 3250.0987 | 2906.777 | 2689.3752 | 2605.6787 | 2557.0021 | 2538.5773 | 2533.2173 | 2571.3299 | 2632.7643 | 2807.6039 | 3015.3111 | 3367.0506 | 3660.586 | 4088.6638 | 4708.5681 | 5365.6508 | 6026.4371 | 6354.6266 | 6511.9779 | 6508.1499 | 6475.3741 | 6441.0417 | 6268.7793 | 6087.7655 | 5958.5389 | 5709.8804 | 5617.436 | 5438.4594 | 5291.8924 | 5115.0593
| 2024-10-05 | 4942.1934 | 4822.2069 | 4715.0349 | 4654.4294 | 4601.6515 | 4564.3996 | 4597.7383 | 4590.7662 | 4626.7877 | 4665.8649 | 4675.7086 | 4632.4453 | 4447.8571 | 3990.0339 | 3605.0999 | 3226.9738 | 3035.5319 | 2755.7887 | 2494.0287 | 2443.5737 | 2389.4133 | 2508.0411 | 2497.545 | 2503.802 | 2536.0355 | 2633.8398 | 2774.7113 | 2778.4473 | 2996.6999 | 3453.9329 | 4006.4855 | 4594.5424 | 5035.9772 | 5515.9544 | 6059.7756 | 6365.2359 | 6446.3258 | 6381.6339 | 6257.5768 | 6096.3018 | 6014.3271 | 5846.7937 | 5674.2802 | 5474.8874 | 5372.7226 | 5279.3424 | 5147.06 | 5019.2301

## Figure 3.8
Figure 3.8 | Cumulative Qld Battery Installations
|  | Battery installations | Registered electric vehicles
| 2019 | 5332 | 2115
| 2020 | 6289 | 3597
| 2021 | 7717 | 8057
| 2022 | 7717 | 15166
| 2023 | 12415 | 21031
| 2024 | 14810 | 43337

## Table 3.1
Table 3.1 | Possible large loads excluded from the Slow Change, Step Change and Hydrogen Export scenario forecasts |  |  | Index
| Zone | Description | Possible load
| Northern | Electrification of existing mining load | Up to 1,609MW
New industrial
New mining
| Central | Electrification of existing industrial load | 3,330 up to 7,753MW
Hydrogen Facility
New manufacturing
| South Queensland | Industrial | Up to 276MW
Data Centre

## Table 3.2
Table 3.2 | Average annual growth rate over next 10 years |  |  |  | Index
Powerlink future scenario growth outlooks
|  | High | Central | Low
| Delivered energy | 5.982% | 2.456% | 0.4237%
| Delivered summer maximum demand (50% PoE) | 5.536% | 3.112% | 1.465%
| Delivered winter maximum demand (50% PoE) | 5.027% | 2.75% | 1.839%

## Figure 3.9
Figure 3.9 | Load measurement definitions | Index
Notes:
(1) Includes Invicta and Koombooloomba.
(2) Depends on Wivenhoe generation.
(3) Includes Yarwun which is non-scheduled.
(4) For a full list of scheduled and semi-scheduled distribution connected generators refer to Table 8.2.
(5) Sun Metals Solar Farm and Condamine.
(6) Lakeland Solar and Storage, Hughenden Solar Farm, Pioneer Mill, Moranbah North, Racecourse Mill, Barcaldine Solar Farm, Longreach Solar Farm, German Creek, Oaky Creek, Sugar Mill, Baking Board Solar Farm, Daandine, Sunshine Coast Solar Farm and Rocky Point.
(7) For a full list of transmission network connected generators and scheduled and semi-scheduled direct connected embedded generators refer to Table 8.1.

## Table 3.3
Table 3.3 | Historical energy (GWh) | [8 empty] | Index
| Financial year | Operational as generated | Operational sent out | Native as generated | Native sent out | Transmission sent out | Transmission delivered | Native | Native plus rooftop PV
| 2014/15 | 51855 | 48402 | 53349 | 50047 | 48332 | 46780 | 48495 | 49952
| 2015/16 | 54238 | 50599 | 55752 | 52223 | 50573 | 49094 | 50744 | 52509
| 2016/17 | 55101 | 51323 | 56674 | 53017 | 51262 | 49880 | 51635 | 53506
| 2017/18 | 54538 | 50198 | 56139 | 51918 | 50172 | 48739 | 50925 | 53406
| 2018/19 | 54861 | 50473 | 56381 | 52118 | 50163 | 48764 | 51240 | 54529
| 2019/20 | 54179 | 50039 | 55776 | 51740 | 49248 | 47860 | 50804 | 54449
| 2020/21 | 53415 | 49727 | 54710 | 51140 | 48608 | 47421 | 50107 | 55232
| 2021/22 | 53737 | 49940 | 54744 | 51052 | 48625 | 47405 | 50081 | 56162
| 2022/23 | 52692.42 | 48905.8705 | 53689.752 | 49998.0151 | 47422.0217 | 46214.1247 | 49047.0766 | 55714.0766
| 2023/24 | 54827.191 | 50154.427 | 55857.978 | 51271.5064 | 48752.6018 | 47476.5424 | 50250.9881 | 58009.9881

## Table 3.4
Table 3.4 | Forecast annual transmission delivered energy (GWh) |  |  |  | Index
| Financial year | High | Central | Low
| 2024/25 | 46923.1538 | 46697.0005 | 46435.0316
| 2025/26 | 48569.3141 | 48031.6691 | 46930.6894
| 2026/27 | 54071.1931 | 48883.4645 | 47240.4001
| 2027/28 | 62553.8745 | 50217.1705 | 47266.618
| 2028/29 | 65851.7648 | 52000.0332 | 46870.5398
| 2029/30 | 73836.349 | 53785.2576 | 46175.9454
| 2030/31 | 80631.6457 | 57649.9422 | 47468.492
| 2031/32 | 83468.1489 | 60434.2645 | 50016.6282
| 2032/33 | 84779.8249 | 60436.7188 | 49543.5176
| 2033/34 | 84879.92 | 60515.9407 | 49527.0651

## Figure 3.10
Figure 3.10 | Historical and forecast transmission delivered energy |  |  |  |  | Index
| Financial year | Historical | Powerlink 2024 High Scenario | Powerlink 2024 Central Scenario | Powerlink 2024 Low Scenario
| 2014/15 | 46780
| 2015/16 | 49094
| 2016/17 | 49880
| 2017/18 | 48739
| 2018/19 | 48764
| 2019/20 | 47860
| 2020/21 | 47421.236
| 2021/22 | 47405.2475
| 2022/23 | 46214.1247
| 2023/24 | 47476.5424
| 2024/25 |  | 46923.1538 | 46697.0005 | 46435.0316
| 2025/26 |  | 48569.3141 | 48031.6691 | 46930.6894
| 2026/27 |  | 54071.1931 | 48883.4645 | 47240.4001
| 2027/28 |  | 62553.8745 | 50217.1705 | 47266.618
| 2028/29 |  | 65851.7648 | 52000.0332 | 46870.5398
| 2029/30 |  | 73836.349 | 53785.2576 | 46175.9454
| 2030/31 |  | 80631.6457 | 57649.9422 | 47468.492
| 2031/32 |  | 83468.1489 | 60434.2645 | 50016.6282
| 2032/33 |  | 84779.8249 | 60436.7188 | 49543.5176
| 2033/34 |  | 84879.92 | 60515.9407 | 49527.0651

## Table 3.5
Table 3.5 | Forecast annual native energy (GWh) |  |  |  | Index
| Financial year | High | Central | Low
| 2024/25 | 51207.868 | 50986.5944 | 50724.8205
| 2025/26 | 53169.1779 | 52516.6277 | 51518.2719
| 2026/27 | 58673.5569 | 53368.3911 | 51833.7834
| 2027/28 | 67159.8222 | 54702.4126 | 51858.4365
| 2028/29 | 70460.2351 | 56490.83 | 51463.6991
| 2029/30 | 78444.5299 | 58280.0228 | 50775.2804
| 2030/31 | 85241.1837 | 62145.7501 | 52069.047
| 2031/32 | 88088.8279 | 64939.4417 | 54627.5469
| 2032/33 | 89390.6596 | 64932.7586 | 54143.1656
| 2033/34 | 89479.5016 | 65002.0723 | 54117.6596

## Table 3.6
Table 3.6 | Historical summer maximum demand at time of delivered peak (MW) | [9 empty] | Index
| Summer | Operational as generated | Operational sent out | Native as generated | Native sent out | Transmission sent out | Transmission delivered | Transmission Delivered corrected to 50% PoE | Native | Native plus solar PV
| 2014/15 | 8809 | 8360 | 9024 | 8623 | 8276 | 7983 | 7737 | 8330 | 8524
| 2015/16 | 9154 | 8620 | 9332 | 8850 | 8532 | 8222 | 8050 | 8541 | 9021
| 2016/17 | 9412 | 8856 | 9572 | 9078 | 8694 | 8347 | 8257 | 8731 | 8817
| 2017/18 | 9798 | 9211 | 10015 | 9489 | 9080 | 8789 | 8515 | 9198 | 9602
| 2018/19 | 10010 | 9433 | 10173 | 9666 | 9248 | 8969 | 8488 | 9387 | 9523
| 2019/20 | 9836 | 9283 | 10052 | 9544 | 9056 | 8766 | 8662 | 9255 | 9453
| 2020/21 | 9473 | 8954 | 9627 | 9161 | 8711 | 8479 | 8660 | 8929 | 9256
| 2021/22 | 10058 | 9503 | 10126 | 9624 | 9332 | 9031 | 8876 | 9323 | 9323
| 2022/23 | 9873 | 9362.7405 | 9984.5273 | 9487.1956 | 9201.6501 | 8915.7425 | 9109.6754 | 9412.788 | 9395.2209
| 2023/24 | 11005 | 10358.6997 | 11135.9639 | 10587.0185 | 9806.5491 | 9428.8764 | 9217.83 | 11149.3458 | 9998.2994

## Table 3.7
Table 3.7 | Forecast summer transmission delivered maximum demand (MW) | [9 empty] | Index
| Summer | High |  |  | Central |  |  | Low
|  | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE
| 2024/25 | 8947.919 | 9458.8926 | 10092.3936 | 8914.4873 | 9391.836 | 10015.3145 | 8886.7862 | 9342.3721 | 9989.6084
| 2025/26 | 9508.8148 | 10020.5297 | 10620.7611 | 9344.851 | 9828.0736 | 10422.4506 | 9148.1185 | 9617.35 | 10216.1312
| 2026/27 | 9901.8476 | 10418.8661 | 11054.83 | 9488.9745 | 9968.2968 | 10547.9101 | 9200.6562 | 9669.8984 | 10220.08
| 2027/28 | 11054.4862 | 11585.1141 | 12180.9207 | 9812.2625 | 10301.1922 | 10863.578 | 9351.3289 | 9822.8172 | 10352.5106
| 2028/29 | 11618.3824 | 12153.3316 | 12723.5523 | 10241.1753 | 10749.0494 | 11311.5865 | 9459.5142 | 9941.1939 | 10456.7691
| 2029/30 | 13369.0727 | 13933.518 | 14509.4956 | 10667.4165 | 11179.2524 | 11725.9067 | 9614.9047 | 10110.813 | 10605.1215
| 2030/31 | 13978.3718 | 14543.9596 | 15133.9753 | 11165.8669 | 11660.0221 | 12213.6452 | 9978.0202 | 10441.1999 | 10986.1823
| 2031/32 | 14578.6406 | 15138.3691 | 15736.1973 | 11770.7539 | 12317.4219 | 12890.2178 | 10122.5645 | 10608.5781 | 11089.0508
| 2032/33 | 15059.4512 | 15633.8164 | 16259.418 | 11839.8145 | 12398.5078 | 12961.3037 | 10112.2598 | 10598.2842 | 11062.7559
| 2033/34 | 15211.4375 | 15799.1523 | 16420.8047 | 11954.8564 | 12523.8564 | 13076.3408 | 10183.1133 | 10660.7441 | 11123.4717
Note:
(1) Shutdown of a large industrial load is assumed in the Progressive Change scenario in summer 2029/30.

## Figure 3.11
Figure 3.11 | Historical and forecast transmission delivered summer maximum demand | [5 empty] | Index
| Summer | Historical | Weather corrected | Powerlink 2024 High Scenario 50% PoE | Powerlink 2024 Central Scenario 50% PoE | Powerlink 2024 Low Scenario 50% PoE
| 2014/15 | 8019 | 7737.431
| 2015/16 | 8271 | 8050.1703
| 2016/17 | 8392 | 8257.4607
| 2017/18 | 8842 | 8514.8197
| 2018/19 | 8951 | 8488.1244
| 2019/20 | 8710 | 8661.9128
| 2020/21 | 8890.4366 | 8660.2356
| 2021/22 | 9031.2676 | 8876.2387
| 2022/23 | 8915.7425 | 9109.6754
| 2023/24 | 9428.8764 | 9217.83
| 2024/25 |  |  | 9458.8926 | 9391.836 | 9342.3721
| 2025/26 |  |  | 10020.5297 | 9828.0736 | 9617.35
| 2026/27 |  |  | 10418.8661 | 9968.2968 | 9669.8984
| 2027/28 |  |  | 11585.1141 | 10301.1922 | 9822.8172
| 2028/29 |  |  | 12153.3316 | 10749.0494 | 9941.1939
| 2029/30 |  |  | 13933.518 | 11179.2524 | 10110.813
| 2030/31 |  |  | 14543.9596 | 11660.0221 | 10441.1999
| 2031/32 |  |  | 15138.3691 | 12317.4219 | 10608.5781
| 2032/33 |  |  | 15633.8164 | 12398.5078 | 10598.2842
| 2033/34 |  |  | 15799.1523 | 12523.8564 | 10660.7441

## Table 3.8
Table 3.8 | Historical summer maximum demand at time of native peak (MW) | [9 empty] | Index
| Summer | Operational as generated | Operational sent out | Native as generated | Native sent out | Transmission sent out | Transmission delivered | Native | Native plus solar PV | Native corrected to 50% PoE
| 2014/15 | 8831 | 8398 | 9000 | 8589 | 8311 | 8019 | 8326 | 8512 | 8084
| 2015/16 | 9154 | 8668 | 9272 | 8848 | 8580 | 8271 | 8539 | 8783 | 8369
| 2016/17 | 9412 | 8886 | 9584 | 9062 | 8698 | 8392 | 8756 | 8899 | 8666
| 2017/18 | 9796 | 9262 | 10010 | 9480 | 9133 | 8842 | 9189 | 9594 | 8924
| 2018/19 | 10044 | 9450 | 10216 | 9626 | 9240 | 8951 | 9415 | 9685 | 8930
| 2019/20 | 9853 | 9294 | 10074 | 9515 | 9011 | 8710 | 9268 | 9652 | 9163
| 2020/21 | 9473 | 8954 | 9627 | 9161 | 8711 | 8479 | 8929 | 9254 | 9110
| 2021/22 | 10013 | 9475.1925 | 10088.9123 | 9614.6886 | 9195.7399 | 8906.5648 | 9325.5136 | 9468.0136 | 9295.1874
| 2022/23 | 10070 | 9537.2535 | 10195.6398 | 9688.8342 | 9223.7997 | 8909.0569 | 9374.0914 | 9940.0914 | 9574.7099
| 2023/24 | 11005 | 10358.6997 | 11135.9639 | 10587.0185 | 9806.5491 | 9428.8764 | 10209.3458 | 11149.3458 | 9998.2994

## Table 3.9
Table 3.9 | Forecast summer native maximum demand (MW) | [9 empty] | Index
| Summer | High |  |  | Central |  |  | Low
|  | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE
| 2024/25 | 9444.9942 | 9935.9463 | 10503.6641 | 9388.0264 | 9883.1299 | 10458.3848 | 9348.9043 | 9824.5987 | 10404.2481
| 2025/26 | 9991.0404 | 10502.5951 | 11046.681 | 9812.1898 | 10327.3685 | 10889.8324 | 9617.4301 | 10094.8734 | 10636.7904
| 2026/27 | 10379.5683 | 10890.2822 | 11485.9579 | 9948.0351 | 10471.0234 | 11014.7929 | 9660.9218 | 10140.7812 | 10655.0878
| 2027/28 | 11520.6014 | 12045.0594 | 12599.2127 | 10256.6346 | 10797.3436 | 11341.8075 | 9815.6912 | 10286.9676 | 10782.5203
| 2028/29 | 12061.7281 | 12609.5152 | 13175.4429 | 10680.2261 | 11241.646 | 11797.0289 | 9920.3052 | 10411.9253 | 10900.9644
| 2029/30 | 13801.6118 | 14384.9887 | 14960.4594 | 11109.0962 | 11662.3999 | 12207.9575 | 10070.5669 | 10574.9067 | 11052.4028
| 2030/31 | 14409.6481 | 14988.486 | 15563.9323 | 11607.6969 | 12134.5807 | 12702.612 | 10425.8786 | 10915.863 | 11412.5124
| 2031/32 | 15021.7227 | 15582.5098 | 16169.123 | 12218.1484 | 12791.7168 | 13383.3359 | 10582.2998 | 11076.5801 | 11538.8623
| 2032/33 | 15493.2881 | 16084.626 | 16684.2773 | 12294.5684 | 12868.9258 | 13458.1045 | 10583.1035 | 11069.2041 | 11533.6699
| 2033/34 | 15648.8262 | 16262.0791 | 16855.5332 | 12416.457 | 12988.2969 | 13584.8945 | 10654.4883 | 11131.4316 | 11600.7393
Note:
(1) Shutdown of a large industrial load is assumed in the Progressive Change scenario in summer 2029/30.

## Table 3.10
Table 3.10 | Historical winter maximum demand at time of delivered peak (MW) | [9 empty] | Index
| Winter | Operational as generated | Operational sent out | Native as generated | Native sent out | Transmission sent out | Transmission delivered | Transmission Delivered corrected to 50% PoE | Native | Native plus rooftop solar PV
| 2015 | 7815.98 | 7334.2336 | 8027.4747 | 7624.1916 | 7299.4061 | 7089.963 | 6976.2145 | 7414.7485 | 7414.7485
| 2016 | 8017 | 7468.6445 | 8176.2083 | 7677.5938 | 7397.6342 | 7175.76 | 7197.7893 | 7455.7195 | 7455.7195
| 2017 | 7595 | 7063.0015 | 7756.2257 | 7282.0328 | 7066.9979 | 6869.8171 | 7137.7653 | 7084.852 | 7084.852
| 2018 | 8172 | 7622.5718 | 8294.7529 | 7803.4236 | 7553.806 | 7330.6721 | 7654.3824 | 7580.2897 | 7580.2897
| 2019 | 7898 | 7446.0041 | 8095.5333 | 7735.1894 | 7486.2934 | 7295.5557 | 7289.074 | 7544.4516 | 7544.4516
| 2020 | 8143 | 7670.7215 | 8319.5517 | 7940.6385 | 7673.1108 | 7483.4262 | 7276.436 | 7750.9539 | 7750.9539
| 2021 | 8143 | 7676.923 | 8279.3244 | 7900.9849 | 7659.0763 | 7471.7183 | 7375.6 | 7713.6269 | 7725.1269
| 2022 | 8625 | 8216.2896 | 8701.074 | 8346.516 | 8140.8914 | 7921.2933 | 7570.6116 | 8126.9179 | 8126.9179
| 2023 | 8137 | 7600.758 | 8222.915 | 7738.4885 | 7584.5979 | 7398.7105 | 7555.93 | 7552.6011 | 7552.6011
| 2024 | 8728 | 8190.0829 | 8728 | 8152.4076 | 8195.7671 | 7970.024 | (1) | 7926.6645 | 7512.5705
Note:
(1) The winter 2024 weather corrected demand was not available at time of publication.

## Table 3.11
Table 3.11 | Forecast winter transmission delivered maximum demand (MW) | [9 empty] | Index
| Winter | High |  |  | Central |  |  | Low
|  | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE
| 2025 | 7621.103 | 7996.1992 | 8542.2812 | 7536.1104 | 7899.77 | 8473.6318 | 7489.8979 | 7870.7124 | 8423.9023
| 2026 | 8193.9648 | 8580.6729 | 9135.6035 | 8023.292 | 8396.5215 | 8973.3398 | 7948.293 | 8335.9014 | 8895.3613
| 2027 | 9304.7109 | 9741.1816 | 10228.2598 | 8151.7808 | 8531.9736 | 9112.3555 | 8052.0518 | 8442.6865 | 9014.1387
| 2028 | 9707.1631 | 10144.2432 | 10626.3398 | 8481.3291 | 8860.6436 | 9430.7891 | 8130.6162 | 8520.0391 | 9091.0947
| 2029 | 10274.0918 | 10694.0693 | 11193.7773 | 8579.0762 | 8961.3369 | 9517.0625 | 8165.4341 | 8555.5713 | 9121.8604
| 2030 | 11528.2969 | 11973.5098 | 12501.0098 | 9242.4492 | 9520.6592 | 10172.1406 | 8208.168 | 8593.8438 | 9152.7041
| 2031 | 11898.9531 | 12341.624 | 12848.2188 | 9356.1592 | 9755.001 | 10272.3242 | 8626.458 | 9010.6025 | 9559.6982
| 2032 | 12097.1152 | 12542.4824 | 13009.5938 | 9498.2256 | 9894.0869 | 10396.5732 | 8677.1016 | 9067.7188 | 9603.082
| 2033 | 12302.9971 | 12753.3672 | 13207.4492 | 9644.6875 | 10036.8105 | 10514.1709 | 8750.4209 | 9141.6045 | 9650.3262
| 2034 | 12505.7363 | 12959.4609 | 13403.2852 | 9806.2891 | 10183.4785 | 10639.7275 | 8831.3926 | 9232.9355 | 9709.1387
Note:
(1) Shutdown of a large industrial load is assumed in the Progressive Change scenario in summer 2029/30.

## Figure 3.12
Figure 3.12 | Historical and forecast transmission delivered winter maximum demand | [5 empty] | Index
| Winter | Historical | Weather corrected | Powerlink 2024 High Scenario 50% PoE | Powerlink 2024 Central Scenario 50% PoE | Powerlink 2024 Low Scenario 50% PoE
| 2015 | 7089.963 | 6976.2145
| 2016 | 7175.76 | 7197.7893
| 2017 | 6869.8171 | 7137.7653
| 2018 | 7330.6721 | 7654.3824
| 2019 | 7295.5557 | 7289.074
| 2020 | 7483.4262 | 7276.436
| 2021 | 7471.7183 | 7375.6
| 2022 | 7921.2933 | 7570.6116
| 2023 | 7398.7105 | 7555.93
| 2024 | 7970.024 | 7555.93
| 2025 |  |  | 7996.1992 | 7899.77 | 7870.7124
| 2026 |  |  | 8580.6729 | 8396.5215 | 8335.9014
| 2027 |  |  | 9741.1816 | 8531.9736 | 8442.6865
| 2028 |  |  | 10144.2432 | 8860.6436 | 8520.0391
| 2029 |  |  | 10694.0693 | 8961.3369 | 8555.5713
| 2030 |  |  | 11973.5098 | 9520.6592 | 8593.8438
| 2031 |  |  | 12341.624 | 9755.001 | 9010.6025
| 2032 |  |  | 12542.4824 | 9894.0869 | 9067.7188
| 2033 |  |  | 12753.3672 | 10036.8105 | 9141.6045
| 2034 |  |  | 12959.4609 | 10183.4785 | 9232.9355

## Table 3.12
Table 3.12 | Historical winter maximum demand at time of native peak (MW) | [9 empty] | Index
| Winter | Operational as generated | Operational sent out | Native as generated | Native sent out | Transmission sent out | Transmission delivered | Native | Native plus solar PV | Native corrected to 50% PoE
| 2015 | 7822 | 7369 | 8027 | 7620 | 7334 | 7126 | 7411 | 7412 | 7301
| 2016 | 8017 | 7513 | 8188 | 7686 | 7439 | 7207 | 7454 | 7454 | 7479
| 2017 | 7723 | 7221 | 7874 | 7374 | 7111 | 6894 | 7157 | 7157 | 7433
| 2018 | 8172 | 7623 | 8295 | 7750 | 7554 | 7383 | 7633 | 7633 | 7904
| 2019 | 8073 | 7559 | 8286 | 7778 | 7416 | 7208 | 7624 | 7624 | 7617
| 2020 | 8143 | 7671 | 8320 | 7885 | 7673 | 7441 | 7708 | 7708 | 7543.9637
| 2021 | 8162 | 7699.2918 | 8323.567 | 7948.4421 | 7662.5767 | 7467.7108 | 7753.5763 | 7753.5763 | 7829.8292
| 2022 | 8625 | 8216.2896 | 8701.074 | 8346.516 | 8140.8914 | 7921.2933 | 8126.9179 | 8126.9179 | 7570.6116
| 2023 | 8137 | 7600.758 | 8222.915 | 7738.4885 | 7584.5979 | 7398.7105 | 7552.6011 | 7552.6011 | 7555.93
| 2024 | 8728 | 8190.0829 | 8728 | 8152.4076 | 8195.7671 | 7970.024 | 7926.6645 | 7926.6645 | (1)
Note:
(1) The winter 2024 weather corrected demand was not available at time of publication.

## Table 3.13
Table 3.13 | Forecast winter native maximum demand (MW) | [9 empty] | Index
| Winter | High |  |  | Central |  |  | Low
|  | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE
| 2025 | 8130.9736 | 8498.6689 | 9120.4658 | 8034.2886 | 8404.8242 | 9002.2363 | 7993.8906 | 8350.7773 | 8980.1855
| 2026 | 8707.0186 | 9081.707 | 9711.3965 | 8518.0986 | 8898.876 | 9500.9189 | 8458.3369 | 8815.0039 | 9451.0723
| 2027 | 9804.5322 | 10193.0264 | 10806.7207 | 8651.5215 | 9030.9336 | 9639.5205 | 8559.9404 | 8925.6562 | 9569.7061
| 2028 | 10202.376 | 10599.6504 | 11201.0371 | 8970.1143 | 9359.6553 | 9957.5537 | 8637.5723 | 9001.4336 | 9646.5771
| 2029 | 10779.0859 | 11162.5771 | 11767.4316 | 9062.9902 | 9456.4004 | 10041.3184 | 8672.8965 | 9038.6055 | 9677.2754
| 2030 | 12010.6904 | 12405.5469 | 12987.749 | 9729.1992 | 10004.3584 | 10693.9492 | 8708.2002 | 9074.2148 | 9711.4082
| 2031 | 12398.8301 | 12794.5098 | 13353.3535 | 9846.6621 | 10238.0508 | 10783.9883 | 9119.041 | 9493.3262 | 10120.7207
| 2032 | 12605.9863 | 13000.1533 | 13543.4297 | 9995.4521 | 10373.4443 | 10898.5645 | 9169.2529 | 9547.583 | 10167.9229
| 2033 | 12814.6426 | 13212.6865 | 13721 | 10141.9756 | 10516.1191 | 11019.1934 | 9251.9277 | 9616.9736 | 10222.2305
| 2034 | 13018.8398 | 13419.3359 | 13924.5293 | 10288.7832 | 10662.9189 | 11142.8027 | 9330.002 | 9697.9492 | 10277.2373
Note:
(1) Shutdown of a large industrial load is assumed in the Progressive Change scenario in summer 2029/30.

## Table 3.14
Table 3.14 | Historical annual minimum demand (MW) | [8 empty] | Index
| Summer | Operational as generated | Operational sent out | Native as generated | Native Sent Out | Transmission sent out | Transmission delivered | Native | Native plus solar PV
| 2014/15 | 4281.39 | 3946.2081 | 4476.4297 | 4177.9653 | 3983.1297 | 3883.9073 | 4078.743 | 4078.743
| 2015/16 | 4944 | 4470.2097 | 5100.9351 | 4686.2575 | 4470.5956 | 4336.2277 | 4551.8897 | 4551.8897
| 2016/17 | 4791 | 4313.3922 | 4941.7114 | 4525.7285 | 4317.5184 | 4180.5951 | 4388.8052 | 4388.8052
| 2017/18 | 4647 | 4165.2814 | 4867.8751 | 4500.6055 | 4142.5102 | 4007.5983 | 4365.6937 | 5571.6937
| 2018/19 | 4211 | 3711.6348 | 4441.19 | 4111.5224 | 3527.7177 | 3369.5923 | 3953.3969 | 5323.3969
| 2019/20 | 3897 | 3493.0026 | 4094.4982 | 3767.0338 | 3097.2068 | 3005.5608 | 3675.3879 | 5882.3879
| 2020/21 | 3869 | 3479.7675 | 3957.5148 | 3701.1108 | 3043.1653 | 3013.5076 | 3671.4531 | 6804.4531
| 2021/22 | 3504 | 3065.2499 | 3616.901 | 3282.9655 | 2707.3083 | 2597.4988 | 3173.156 | 6457.156
| 2022/23 | 3490 | 2973.1192 | 3654.7848 | 3276.9295 | 2634.3045 | 2538.2406 | 3180.8655 | 6232.3655
| 2023/24 | 3091 | 2646.5184 | 3091 | 2650.3815 | 2650.3815 | 2389.4128 | 2389.4128 | 6741.4128
Note:
(1) minimum based on preliminary data up to 13 September 2024.

## Table 3.15
Table 3.15 | Forecast annual transmission delivered minimum demand (MW) (1) | [9 empty] | Index
| Year | High |  |  | Central |  |  | Low
|  | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE
| 2025 | 1279.0815 | 1760.5682 | 2414.3667 | 1299.7705 | 1756.2523 | 2403.8311 | 1221.9385 | 1663.4491 | 2306.0068
| 2026 | 980.7954 | 1465.1252 | 2171.4348 | 1037.5962 | 1510.1226 | 2204.1206 | 915.5122 | 1353.6296 | 2035.0286
| 2027 | 1891.9421 | 2398.0435 | 3117.2375 | 544.9814 | 1033.5996 | 1733.6101 | 409.428 | 853.8972 | 1537.707
| 2028 | 1769.2858 | 2289.6265 | 3034.5432 | 361.6646 | 868.2988 | 1583.7239 | -82.3567 | 365.356 | 1057.8376
| 2029 | 1821.9351 | 2365.7788 | 3144.6963 | -159.6392 | 352.5527 | 1075.7734 | -558.6858 | -111.8162 | 580.3992
| 2030 | 2868.9614 | 3430.0793 | 4243.9727 | 438.801 | 966.6328 | 1684.2266 | -874.8376 | -419.0869 | 267.9224
| 2031 | 1662.886 | 2296.5103 | 2864.478 | -14.0571 | 526.5466 | 1262.5273 | -824.6074 | -348.7092 | 325.3313
| 2032 | 1349.3829 | 1915.1477 | 2370.8416 | -340.3982 | 235.3582 | 992.613 | -1082.8396 | -600.46 | 63.9536
| 2033 | 766.3118 | 1276.6904 | 1764.3289 | -698.5571 | -104.9841 | 661.4189 | -1307.8235 | -820.8926 | -153.394
| 2034 | 41.2434 | 566.5156 | 1063.4736 | -1065.8967 | -478.4231 | 302.9165 | -1447.2258 | -960.2866 | -291.8818
Notes:
(1) Forecasts provided without predicting market outcomes, directions or constraints which may be imposed to ensure system security but impact on the output of these embedded VRE generators.

## Figure 3.13
Figure 3.13 | Historical and forecast transmission delivered annual minimum demand |  |  |  |  | Index
| Year | Historical | Powerlink 2024 High Scenario 50% PoE | Powerlink 2024 Central Scenario 50% PoE | Powerlink 2024 Low Scenario 50% PoE
| 2015 | 3883.9073
| 2016 | 4336.2277
| 2017 | 4180.5951
| 2018 | 4007.5983
| 2019 | 3369.5923
| 2020 | 3005.5608
| 2021 | 3013.5076
| 2022 | 2597.4988
| 2023 | 2538.2406
| 2024 | 2389
| 2025 |  | 1760.5682 | 1756.2523 | 1663.4491
| 2026 |  | 1465.1252 | 1510.1226 | 1353.6296
| 2027 |  | 2398.0435 | 1033.5996 | 853.8972
| 2028 |  | 2289.6265 | 868.2988 | 365.356
| 2029 |  | 2365.7788 | 352.5527 | -111.8162
| 2030 |  | 3430.0793 | 966.6328 | -419.0869
| 2031 |  | 2296.5103 | 526.5466 | -348.7092
| 2032 |  | 1915.1477 | 235.3582 | -600.46
| 2033 |  | 1276.6904 | -104.9841 | -820.8926
| 2034 |  | 566.5156 | -478.4231 | -960.2866

## Table 3.16
Table 3.16 | Forecast annual native minimum demand (MW) (1) | [9 empty] | Index
| Summer | High |  |  | Central |  |  | Low
|  | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE
| 2024/25 | 2175.6045 | 2490.7908 | 3006.7505 | 2277.0735 | 2581.52 | 3088.2314 | 2280.7766 | 2587.5581 | 3092.3682
| 2025/26 | 1941.4932 | 2274.0469 | 2784.6812 | 2066.7349 | 2410.2764 | 2931.1929 | 2052.031 | 2421.7485 | 2919.5442
| 2026/27 | 1643.79 | 2122.7725 | 2816.292 | 1570.5691 | 1891.8618 | 2401.9895 | 1641.525 | 1961.8396 | 2444.0005
| 2027/28 | 2464.0723 | 2890.8379 | 3438.9531 | 1226.4038 | 1622.49 | 2120.2454 | 1114.0049 | 1435.6781 | 1905.3723
| 2028/29 | 2203.5459 | 2653.811 | 3306.0269 | 748.8215 | 1098.7432 | 1583.9426 | 638.8162 | 954.5161 | 1415.1873
| 2029/30 | 2302.4546 | 2875.9814 | 3535.6453 | 603.4448 | 1091.3936 | 1827.3013 | 202.0972 | 543.4956 | 985.4631
| 2030/31 | 2790.1216 | 3304.9902 | 3902.5486 | 786.5735 | 1272.9155 | 1743.6174 | -261.8848 | 284.1509 | 967.2798
| 2031/32 | 2480.2795 | 2906.9453 | 3409.853 | 411.5833 | 929.9285 | 1406.4302 | 19.2188 | 545.6743 | 1082.0259
| 2032/33 | 1879.8792 | 2266.2339 | 2789.2061 | 40.4983 | 595.5483 | 1104.8291 | -189.186 | 339.4258 | 889.4324
| 2033/34 | 1151.8506 | 1546.1365 | 2090.9607 | -304.78 | 270.6792 | 762.8291 | -405.5552 | 130.1045 | 757.2986
Notes:
(1) Forecasts provided without predicting market outcomes, directions or constraints which may be imposed to ensure system security but impact on the output of these embedded VRE generators.
(2) Shutdown of a large industrial load is assumed in the Progressive Change scenario in summer 2028/29.

## Table 3.17
Table 3.17 | Average ratios of zone maximum delivered demand to zone delivered demand at time of Queensland region maximum delivered demand |  |  | Index
| Zone | Winter | Summer
| Far North | 1.1506 | 1.2178
| Ross | 1.482 | 1.503
| North | 1.1652 | 1.1339
| North West | 1.02 | 1.03
| Central West | 1.01 | 1.03
| Gladstone | 1.027 | 1.0242
| Wide Bay | 1.0132 | 1.1981
| Surat | 1.1968 | 1.2103
| Bulli | 1.068 | 1.1436
| South West | 1.0415 | 1.2054
| Moreton | 1.004 | 1.025
| Gold Coast | 1.037 | 1.1202

## Table 3.18
Table 3.18 | Annual transmission delivered energy by zone (GWh) | [10 empty] | Index
| Financial year | Far North | Ross | North West | North | Central West | Gladstone | Wide Bay | Surat | Bulli | South West | Moreton | Gold Coast | Total
Actuals
| 2014/15 | 1697 | 2977 | - | 2884 | 3414 | 10660 | 1266 | 821 | 647 | 1224 | 18049 | 3141 | 46780
| 2015/16 | 1724 | 2944 | - | 2876 | 3327 | 10721 | 1272 | 2633 | 1290 | 1224 | 17944 | 3139 | 49094
| 2016/17 | 1704 | 2682 | - | 2661 | 3098 | 10196 | 1305 | 4154 | 1524 | 1308 | 18103 | 3145 | 49880
| 2017/18 | 1657 | 2645 | - | 2650 | 3027 | 9362 | 1238 | 4383 | 1497 | 1315 | 17873 | 3092 | 48739
| 2018/19 | 1648 | 2338 | - | 2621 | 2996 | 9349 | 1198 | 4805 | 1519 | 1376 | 17849 | 3065 | 48764
| 2019/20 | 1594 | 2466 | - | 2495 | 2859 | 9303 | 1031 | 5025 | 1580 | 1141 | 17395 | 2971 | 47860
| 2020/21 | 1519.0684 | 2568.515 | - | 2413.0063 | 2813.0392 | 9382.8878 | 969.8978 | 5240.7034 | 1490.967 | 993.2074 | 16806.9201 | 3222.0237 | 47421
| 2021/22 | 1597.9214 | 2418.1757 | - | 2755.2949 | 2775.8904 | 9124.3562 | 903.642 | 5419.6496 | 1395.3474 | 990.457 | 17101.4091 | 2924.1039 | 47405
| 2022/23 | 1601.5542 | 2073.8538 | - | 2668.3595 | 2782.8245 | 8897.827 | 897.5355 | 5278.9907 | 1333.7952 | 970.6399 | 16828.678 | 2878.0663 | 46214
| 2023/24 | 1565.9079 | 2286.1005 | - | 2548.081 | 2866.4297 | 9367.9827 | 950.9185 | 5376.1916 | 1481.0654 | 990.8252 | 17093.1663 | 2947.8738 | 47474
Forecasts
| 2024/25 | 1583.1059 | 2531.2096 | - | 2035.9217 | 2968.991 | 9345.368 | 1719.6441 | 4720.8475 | 1376.695 | 1348.7896 | 15896.8163 | 3169.6119 | 46697.0005
| 2025/26 | 1545.8097 | 2564.9629 | - | 2050.2342 | 3046.5306 | 9750.8755 | 1499.9657 | 4399.9312 | 1362.7895 | 1332.3366 | 17342.37 | 3135.8632 | 48031.6691
| 2026/27 | 1494.8116 | 2701.9688 | - | 2132.1259 | 3208.7213 | 9913.5874 | 1428.8704 | 4254.0236 | 1352.4068 | 1366.9712 | 17951.7263 | 3078.2512 | 48883.4645
| 2027/28 | 1435.1862 | 2663.3061 | - | 2441.649 | 3518.5906 | 10954.1485 | 1345.0806 | 4534.9591 | 1333.0074 | 1343.2695 | 17652.5547 | 2995.4188 | 50217.1705
| 2028/29 | 1388.5313 | 2608.4934 | - | 2489.4332 | 3529.0111 | 13267.2847 | 1274.861 | 4640.3602 | 1320.1196 | 1303.8706 | 17250.8174 | 2927.2508 | 52000.0332
| 2029/30 | 1358.0074 | 2579.8864 | - | 2466.7448 | 3508.8656 | 15578.5705 | 1222.2229 | 4561.9857 | 1297.8789 | 1278.9813 | 17048.9344 | 2883.1797 | 53785.2576
| 2030/31 | 1344.3323 | 2564.9217 | - | 2457.1666 | 3496.342 | 19752.0482 | 1192.6765 | 4422.0439 | 1281.9221 | 1265.5288 | 16999.6181 | 2873.342 | 57649.9422
| 2031/32 | 1336.8701 | 2564.5234 | 901.3308 | 2507.1493 | 3498.6739 | 21702.5696 | 1171.1448 | 4265.9237 | 1265.5213 | 1265.1804 | 17079.3798 | 2875.9975 | 60434.2645
| 2032/33 | 1335.8873 | 2557.5299 | 900.8655 | 2504.8393 | 3483.0878 | 21978.1092 | 1157.6266 | 4044.6237 | 1256.9775 | 1252.7969 | 17077.0853 | 2887.2899 | 60436.7188
| 2033/34 | 1339.309 | 2561.3465 | 900.4993 | 2507.9889 | 3486.038 | 21980.5343 | 1152.3063 | 4005.0413 | 1255.8174 | 1252.6078 | 17170.4232 | 2904.0289 | 60515.9407

## Table 3.19
Table 3.19 | Annual native energy by zone (GWh) | [10 empty] | Index
| Financial year | Far North | Ross | North West | North | Central West | Gladstone | Wide Bay | Surat | Bulli | South West | Moreton | Gold Coast | Total
Actuals
| 2014/15 | 1697 | 3163 | - | 3434 | 3841 | 10660 | 1285 | 1022 | 647 | 1468 | 18137 | 3141 | 48495
| 2015/16 | 1724 | 3141 | - | 3444 | 3767 | 10721 | 1293 | 2739 | 1290 | 1475 | 18011 | 3139 | 50744
| 2016/17 | 1704 | 2999 | - | 3320 | 3541 | 10196 | 1329 | 4194 | 1524 | 1549 | 18134 | 3145 | 51635
| 2017/18 | 1667 | 2935 | - | 3296 | 3493 | 9362 | 1259 | 4853 | 1497 | 1527 | 17944 | 3092 | 50925
| 2018/19 | 1670 | 2894 | - | 3211 | 3608 | 9349 | 1266 | 5163 | 1519 | 1550 | 17945 | 3065 | 51240
| 2019/20 | 1614 | 2899 | - | 3159 | 3656 | 9303 | 1282 | 5395 | 1580 | 1479 | 17466 | 2971 | 50804
| 2020/21 | 1538.8911 | 2903.9549 | - | 2982.4294 | 3551.5572 | 9382.8878 | 1234.1642 | 5450.5047 | 1490.967 | 1476.1598 | 17151.5283 | 2942.8631 | 50106.9074
| 2021/22 | 1617.8046 | 2899.9672 | - | 3212.1546 | 3515.2056 | 9124.3562 | 1163.9982 | 5625.9947 | 1395.3474 | 1454.0704 | 17149.402 | 2924.1039 | 50081.4048
| 2022/23 | 1620.6495 | 2713.9513 | - | 3229.5796 | 3415.2272 | 8897.827 | 1148.083 | 5445.7087 | 1333.7952 | 1490.0803 | 16872.1086 | 2878.0663 | 49047.0766
| 2023/24 | 1583.5699 | 2855.3041 | - | 3155.9504 | 3453.0315 | 9367.9827 | 1181.5295 | 5593.9236 | 1481.0654 | 1473.4471 | 17156.3101 | 2947.8738 | 50250.9881
Forecasts
| 2024/25 | 1598.9479 | 4097.0413 | - | 2291.9732 | 3561.4496 | 9345.3695 | 1911.3776 | 5656.5022 | 1376.703 | 1900.9496 | 16076.7112 | 3169.5693 | 50986.5944
| 2025/26 | 1561.8945 | 4126.7268 | - | 2305.8897 | 3639.2254 | 9750.921 | 1860.1882 | 5338.5716 | 1362.8006 | 1913.0527 | 17521.7014 | 3135.6558 | 52516.6277
| 2026/27 | 1510.8286 | 4266.5879 | - | 2387.5666 | 3800.5617 | 9913.6213 | 1791.0532 | 5186.4622 | 1352.4242 | 1948.4886 | 18132.8641 | 3077.9327 | 53368.3911
| 2027/28 | 1451.0661 | 4233.106 | - | 2697.7148 | 4111.7451 | 10954.1978 | 1707.9233 | 5460.9249 | 1333.0139 | 1924.2403 | 17833.3272 | 2995.1534 | 54702.4126
| 2028/29 | 1404.6983 | 4178.6491 | - | 2744.6554 | 4121.6628 | 13267.2277 | 1639.4499 | 5568.9925 | 1320.1523 | 1885.5901 | 17432.7034 | 2927.0485 | 56490.83
| 2029/30 | 1374.1595 | 4148.5695 | - | 2722.2354 | 4101.1719 | 15578.5441 | 1587.5631 | 5492.6568 | 1297.887 | 1861.7747 | 17232.4083 | 2883.0526 | 58280.0228
| 2030/31 | 1360.4234 | 4133.0972 | - | 2712.849 | 4088.422 | 19752.2729 | 1557.7023 | 5353.2424 | 1281.9459 | 1848.9776 | 17183.5661 | 2873.2513 | 62145.7501
| 2031/32 | 1352.9113 | 4135.5504 | 901.0565 | 2765.049 | 4091.5907 | 21702.4948 | 1536.8198 | 5199.9595 | 1265.534 | 1849.0273 | 17263.6067 | 2875.8416 | 64939.4417
| 2032/33 | 1352.0148 | 4123.3281 | 900.5919 | 2761.3279 | 4075.056 | 21978.1282 | 1523.5782 | 4977.8604 | 1257.002 | 1836.5279 | 17260.0847 | 2887.2585 | 64932.7586
| 2033/34 | 1355.4239 | 4125.2765 | 900.2266 | 2763.9497 | 4076.0815 | 21980.543 | 1518.2887 | 4933.7827 | 1255.8255 | 1835.794 | 17352.8068 | 2904.0733 | 65002.0723

## Table 3.20
Table 3.20 | State summer maximum transmission delivered demand by zone (MW) | [10 empty] | Index
| Summer | Far North | Ross | North West | North | Central West | Gladstone | Wide Bay | Surat | Bulli | South West | Moreton | Gold Coast | Total
Actuals
| 2014/15 | 278.1268 | 381.4579 | - | 398.6488 | 465.7855 | 1253.6278 | 262.6241 | 95.963 | 80.6026 | 226.5156 | 3846 | 691.5339 | 7983.4924
| 2015/16 | 308.0738 | 392.2705 | - | 411.4416 | 443.2299 | 1188.9288 | 214.4753 | 265.1139 | 154.5135 | 230.7048 | 3953 | 661.3818 | 8221.7882
| 2016/17 | 258.2755 | 221.5301 | - | 378.1446 | 429.481 | 1193.4437 | 269.7387 | 421.4071 | 178.3418 | 286.4432 | 3993 | 718.8133 | 8347.1722
| 2017/18 | 304.353 | 375.7343 | - | 413.24 | 463.3071 | 1102.272 | 278.3018 | 504.1487 | 183.0751 | 301.2789 | 4147 | 717.6186 | 8788.5806
| 2018/19 | 341.6684 | 339.4231 | - | 399.7709 | 484.2348 | 1096.0209 | 284.8869 | 525.9819 | 190.9339 | 312.3406 | 4270 | 724.3431 | 8968.9725
| 2019/20 | 286.4386 | 324.9077 | - | 390.5238 | 368.2649 | 1080.0843 | 263.2036 | 610.01 | 191.0792 | 266.7199 | 4276.1271 | 709.0541 | 8766.413
| 2020/21 | 254.3661 | 404.5586 | - | 431.4552 | 471.4837 | 1110.622 | 298.1506 | 588.458 | 165.2827 | 247.6511 | 3894 | 613.8043 | 8478.9834
| 2021/22 | 362.7193 | 441.2014 | - | 473.339 | 518.3289 | 1103.3217 | 269.3702 | 594.3734 | 174.4556 | 253.1553 | 4146.4416 | 696.5612 | 9031.2676
| 2022/23 | 304.7355 | 364.7954 | - | 413.7767 | 418.2218 | 1090.6017 | 283.2934 | 547.0694 | 131.8024 | 275.9156 | 4359.4085 | 725.1222 | 8916
| 2023/24 | 294.0752 | 321.3904 | - | 423.098 | 372.1115 | 1098.4361 | 214.4662 | 607.6936 | 177.408 | 270.0901 | 4906.8044 | 742.3028 | 9428.8764
Forecasts
| 2024/25 | 328.3618 | 466.3035 | - | 430.06 | 500.5607 | 1134.714 | 442.4966 | 535.2748 | 169.092 | 311.2725 | 4187.9743 | 886.201 | 9392.3113
| 2025/26 | 337.6982 | 547.1712 | - | 435.754 | 528.0221 | 1140.736 | 461.5039 | 351.209 | 167.245 | 358.9586 | 4509.4401 | 989.915 | 9827.6531
| 2026/27 | 337.2152 | 588.6022 | - | 474.102 | 552.0932 | 1179.908 | 459.9249 | 370.2226 | 162.067 | 367.1216 | 4506.3981 | 971.039 | 9968.6937
| 2027/28 | 341.1271 | 561.1776 | - | 482.36 | 481.5621 | 1441.892 | 484.6122 | 411.7213 | 165.38 | 413.0047 | 4572.0042 | 945.965 | 10300.8063
| 2028/29 | 360.0958 | 634.0096 | - | 504.325 | 556.423 | 1577.982 | 471.5173 | 431.5283 | 160.225 | 491.5749 | 4622.2127 | 939.331 | 10749.2246
| 2029/30 | 340.4288 | 674.2949 | - | 486.536 | 565.759 | 2005.946 | 427.0923 | 520.3854 | 158.853 | 337.3599 | 4641.2915 | 1021.125 | 11179.0718
| 2030/31 | 350.7578 | 691.2712 | - | 495.206 | 608.2638 | 2297.337 | 429.8843 | 535.2057 | 150.993 | 347.7649 | 4696.526 | 1056.383 | 11659.5928
| 2031/32 | 353.3661 | 592.1754 | 260 | 575.389 | 630.7741 | 2613.677 | 473.0712 | 398.4887 | 155.865 | 359.872 | 4810.846 | 1093.696 | 12317.2205
| 2032/33 | 369.5411 | 837.8193 | 260 | 516.447 | 631.1598 | 2355.945 | 507.6783 | 356.1701 | 159.597 | 409.7539 | 4881.0337 | 1113.07 | 12398.2152
| 2033/34 | 365.1951 | 753.6991 | 260 | 501.434 | 604.9356 | 2475.753 | 503.9643 | 300.3484 | 153.46 | 411.7029 | 5073.7213 | 1144.614 | 12548.8278

## Table 3.21
Table 3.21 | State summer maximum native demand by zone (MW) | [10 empty] | Index
| Summer | Far North | Ross | North West | North | Central West | Gladstone | Wide Bay | Surat | Bulli | South West | Moreton | Gold Coast | Total
Actuals
| 2014/15 | 278 | 399 | - | 479 | 548 | 1254 | 263 | 189 | 81 | 254 | 3889 | 692 | 8326
| 2015/16 | 308 | 423 | - | 491 | 519 | 1189 | 214 | 370 | 155 | 257 | 3952 | 661 | 8539
| 2016/17 | 269 | 364 | - | 512 | 559 | 1088 | 276 | 498 | 175 | 329 | 3974 | 712 | 8756
| 2017/18 | 310 | 480 | - | 486 | 508 | 1102 | 278 | 617 | 183 | 328 | 4179 | 718 | 9189
| 2018/19 | 338 | 456 | - | 432 | 562 | 1104 | 293 | 630 | 191 | 340 | 4338 | 731 | 9415
| 2019/20 | 287 | 451 | - | 441 | 530 | 1084 | 277 | 660 | 191 | 305 | 4322 | 720 | 9268
| 2020/21 | 255.5571 | 507.7367 | - | 483.1458 | 595.9504 | 1110.622 | 313.7879 | 680.9991 | 165.2827 | 306.8831 | 3893.967 | 613.8043 | 8929
| 2021/22 | 363.4493 | 516.3305 | - | 503.5249 | 590.6525 | 1103.3217 | 269.2238 | 707.5452 | 174.4556 | 254.0998 | 4143.2416 | 696.5612 | 9326
| 2022/23 | 306.5005 | 400.0512 | - | 489.2566 | 511.718 | 1090.6017 | 286.3921 | 609.3491 | 131.8024 | 290.1206 | 4359.3736 | 725.1222 | 9374.0914
| 2023/24 | 297.9468 | 496.8063 | - | 504.996 | 563.0134 | 1098.4361 | 302.4277 | 731.607 | 177.408 | 381.8355 | 4911.5661 | 742.3028 | 10209.3458
Forecasts
| 2024/25 | 334.223 | 676.835 | - | 430.06 | 563.907 | 1134.714 | 454.29 | 685.163 | 169.092 | 358.677 | 4189.889 | 886.201 | 9883.051
| 2025/26 | 338.136 | 674.159 | - | 435.754 | 570.514 | 1140.736 | 462.912 | 644.036 | 167.245 | 360.399 | 4544.017 | 989.915 | 10327.823
| 2026/27 | 337.653 | 697.937 | - | 474.102 | 594.249 | 1179.908 | 461.333 | 660.277 | 162.067 | 368.562 | 4563.975 | 971.039 | 10471.102
| 2027/28 | 348.899 | 711.568 | - | 482.36 | 615.74 | 1441.892 | 453.63 | 665.928 | 165.38 | 366.085 | 4599.734 | 945.965 | 10797.181
| 2028/29 | 365.957 | 777.081 | - | 504.325 | 619.571 | 1577.982 | 473.223 | 696.206 | 160.225 | 339.019 | 4788.951 | 939.331 | 11241.871
| 2029/30 | 346.29 | 852.44 | - | 486.536 | 628.907 | 2005.946 | 473.798 | 653.852 | 158.853 | 384.804 | 4650.229 | 1021.125 | 11662.78
| 2030/31 | 356.619 | 837.651 | - | 495.206 | 633.666 | 2297.337 | 476.59 | 646.382 | 150.993 | 395.209 | 4788.926 | 1056.383 | 12134.962
| 2031/32 | 361.138 | 904.64 | 260 | 475.389 | 664.952 | 2413.677 | 501.089 | 629.317 | 155.865 | 417.051 | 4914.946 | 1093.696 | 12791.76
| 2032/33 | 369.897 | 889.096 | 260 | 516.447 | 674.719 | 2355.945 | 509.987 | 623.234 | 159.597 | 412.469 | 4984.395 | 1113.07 | 12868.856
| 2033/34 | 365.551 | 881.261 | 260 | 501.434 | 648.967 | 2375.753 | 506.273 | 620.888 | 153.46 | 414.418 | 5115.577 | 1144.614 | 12988.196

## Table 3.22
Table 3.22 | State winter maximum transmission delivered demand by zone (MW) | [10 empty] | Index
| Winter | Far North | Ross | North West | North | Central West | Gladstone | Wide Bay | Surat | Bulli | South West | Moreton | Gold Coast | Total
Actuals
| 2015 | 191.5782 | 289.3741 | - | 331.8483 | 429.1167 | 1248.5771 | 203.1384 | 136.735 | 137.1061 | 258.4057 | 3267.0581 | 597.0253 | 7089.963
| 2016 | 226.2289 | 248.8551 | - | 369.7202 | 417.2619 | 1241.7258 | 206.1728 | 390.2341 | 180.7013 | 278.6316 | 3079 | 536.6585 | 7175.76
| 2017 | 241.3176 | 367.7083 | - | 365.7819 | 376.695 | 1074.4133 | 215.9257 | 513.4703 | 187.2975 | 247.9753 | 2797 | 483.0703 | 6869.8171
| 2018 | 242.3096 | 365.5998 | - | 335.4305 | 439.3085 | 1090.6486 | 234.807 | 475.1131 | 186.0195 | 335.653 | 3085.9516 | 539.831 | 7330.6721
| 2019 | 234.372 | 283.8119 | - | 361.9434 | 419.27 | 1036.5027 | 239.2108 | 614.517 | 194.5273 | 293.2998 | 3078.0411 | 540.0598 | 7295.5557
| 2020 | 227.1399 | 305.9515 | - | 326.5233 | 448.9775 | 1104.3911 | 246.4218 | 531.375 | 190.5961 | 312.8587 | 3273.9523 | 515.2391 | 7483.4262
| 2021 | 204.1566 | 295.8633 | - | 333.9088 | 383.4609 | 1074.9606 | 249.7508 | 591.7325 | 178.9408 | 338.9969 | 3275.079 | 544.8681 | 7471.7183
| 2022 | 230.2281 | 245.7364 | - | 322.1927 | 431.0109 | 991.3249 | 280.3809 | 507.7446 | 161.9516 | 359.8797 | 3780.0671 | 610.7765 | 7921
| 2023 | 216.7777 | 236.7857 | - | 351.6456 | 417.8994 | 1069.3778 | 251.5784 | 605.7174 | 166.8238 | 320.5852 | 3224.9898 | 536.5297 | 7398.7105
| 2024 | 221.393 | 187.038 | - | 367.1255 | 440.9147 | 1070.6241 | 270.4264 | 473.0349 | 192.6554 | 395.634 | 3727.5898 | 623.5882 | 7970.024
Forecasts
| 2025 | 268.536 | 381.3454 | - | 351.7053 | 409.3611 | 927.975 | 361.876 | 437.7505 | 138.2843 | 254.5602 | 3524.947 | 843.7398 | 7900.0807
| 2026 | 280.2364 | 454.0662 | - | 361.6074 | 438.1754 | 1046.6317 | 382.9757 | 321.4483 | 138.7871 | 347.8793 | 3742.127 | 882.474 | 8396.4085
| 2027 | 279.3266 | 487.5588 | - | 392.7145 | 457.3172 | 1077.3571 | 380.9711 | 346.6677 | 134.2455 | 354.0991 | 3732.7997 | 889.344 | 8532.4013
| 2028 | 287.6612 | 473.2226 | - | 406.7583 | 456.0855 | 1215.9001 | 408.6576 | 347.191 | 139.4595 | 348.2733 | 3855.4208 | 921.7012 | 8860.3311
| 2029 | 297.5976 | 523.971 | - | 416.7944 | 459.8503 | 1304.1076 | 389.6808 | 356.6323 | 132.4164 | 406.2572 | 3819.982 | 854.3008 | 8961.5904
| 2030 | 294.4878 | 583.2986 | - | 420.8778 | 489.4096 | 1585.243 | 369.456 | 450.1592 | 137.4157 | 291.8331 | 4014.9478 | 883.3239 | 9520.4526
| 2031 | 293.5338 | 578.4944 | 220 | 414.4161 | 509.0292 | 1700.54 | 359.7512 | 447.8901 | 126.3594 | 291.0291 | 3930.3155 | 884.0403 | 9755.399
| 2032 | 296.4906 | 445.8628 | 220 | 432.7782 | 519.249 | 1941.9971 | 386.9289 | 334.3506 | 130.778 | 301.9494 | 3986.5245 | 897.662 | 9894.5713
| 2033 | 310.4875 | 463.9336 | 220 | 433.9174 | 530.2988 | 1977.4589 | 396.55 | 299.2532 | 134.093 | 314.2742 | 4021.0319 | 935.1985 | 10036.497
| 2034 | 307.5085 | 484.644 | 220 | 422.227 | 509.3794 | 2000.6805 | 424.3575 | 252.9051 | 129.2193 | 346.6699 | 4122.2711 | 963.8096 | 10183.6718

## Table 3.23
Table 3.23 | State winter maximum native demand by zone (MW) | [10 empty] | Index
| Winter | Far North | Ross | North West | North | Central West | Gladstone | Wide Bay | Surat | Bulli | South West | Moreton | Gold Coast | Total
Actuals
| 2015 | 192 | 334 | - | 404 | 518 | 1249 | 203 | 208 | 137 | 288 | 3281 | 597 | 7411
| 2016 | 216 | 358 | - | 419 | 504 | 1229 | 200 | 467 | 193 | 310 | 3008 | 550 | 7454
| 2017 | 218 | 367 | - | 416 | 415 | 1070 | 220 | 554 | 182 | 276 | 2913 | 526 | 7157
| 2018 | 242 | 360 | - | 410 | 494 | 1091 | 235 | 654 | 186 | 336 | 3085 | 540 | 7633
| 2019 | 230 | 307 | - | 408 | 483 | 1066 | 241 | 628 | 207 | 346 | 3176 | 532 | 7624
| 2020 | 227 | 329 | - | 406 | 492 | 1104 | 247 | 624 | 191 | 342 | 3231 | 515 | 7708
| 2021 | 205.9861 | 254.5945 | - | 365.7977 | 458.8581 | 1079.3871 | 232.3305 | 691.2325 | 180.7006 | 356.5468 | 3372.9767 | 558.8659 | 7758
| 2022 | 230.4767 | 248.1336 | - | 375.0902 | 457.7021 | 991.3249 | 280.3228 | 634.2315 | 161.9516 | 356.941 | 3778.9671 | 610.7765 | 8125
| 2023 | 216.8477 | 223.2497 | - | 408.4415 | 440.612 | 1069.3778 | 251.4369 | 696.8013 | 166.8238 | 317.6909 | 3223.7898 | 536.5297 | 7552
| 2024 | 221.393 | 187.038 | - | 367.1255 | 440.9147 | 1070.6241 | 270.4264 | 429.6754 | 192.6554 | 395.634 | 3727.5898 | 623.5882 | 7928
Forecasts
| 2025 | 276.3715 | 559.68 | - | 355.6199 | 466.299 | 938.3036 | 375.6558 | 566.5665 | 139.8235 | 296.5927 | 3564.6508 | 864.8063 | 8404.3695
| 2026 | 283.4566 | 565.1419 | - | 365.289 | 478.2572 | 956.2696 | 388.0553 | 539.8901 | 140.2001 | 302.1195 | 3950.2119 | 929.8376 | 8898.7288
| 2027 | 282.3829 | 583.6923 | - | 396.4967 | 496.9769 | 986.7699 | 385.8178 | 552.1969 | 135.5384 | 308.2324 | 3990.9021 | 912.0905 | 9031.0969
| 2028 | 296.7944 | 605.3025 | - | 410.3244 | 523.7854 | 1226.5599 | 385.8849 | 566.4784 | 140.6822 | 311.4139 | 3957.81 | 934.6946 | 9359.7307
| 2029 | 305.5963 | 648.9098 | - | 421.142 | 517.3794 | 1317.7108 | 395.17 | 581.3743 | 133.7976 | 283.1015 | 3999.0651 | 853.3985 | 9456.6453
| 2030 | 301.8435 | 643.0288 | - | 424.0888 | 548.1864 | 1687.4815 | 412.9857 | 569.9297 | 138.4641 | 335.4142 | 4053.3691 | 890.0629 | 10004.8546
| 2031 | 301.5775 | 678.3657 | 220 | 418.7746 | 535.8643 | 1728.7598 | 403.0318 | 546.6176 | 127.6883 | 334.2114 | 4049.7901 | 893.338 | 10238.0189
| 2032 | 306.1887 | 666.9937 | 220 | 403.0558 | 533.7756 | 1946.4218 | 409.8454 | 516.5627 | 132.1492 | 343.5942 | 4017.108 | 877.2837 | 10372.9789
| 2033 | 314.2748 | 655.4006 | 220 | 418.7877 | 543.26 | 1952.6763 | 413.2991 | 529.5169 | 135.598 | 350.4451 | 4084.8803 | 897.6952 | 10515.834
| 2034 | 310.767 | 649.1892 | 220 | 426.2857 | 551.7084 | 2010.7064 | 420.3995 | 527.8375 | 130.4614 | 352.3105 | 4109.9216 | 953.0743 | 10662.6615

## Figure 3.14
Figure 3.14 | Daily load profile of summer 2023/24 and winter 2024 maximum transmission delivered demand days | [10 empty] | Index
| Season | Date | 0:00 | 0:30 | 1:00 | 1:30 | 2:00 | 2:30 | 3:00 | 3:30 | 4:00 | 4:30 | 5:00 | 5:30 | 6:00 | 6:30 | 7:00 | 7:30 | 8:00 | 8:30 | 9:00 | 9:30 | 10:00 | 10:30 | 11:00 | 11:30 | 12:00 | 12:30 | 13:00 | 13:30 | 14:00 | 14:30 | 15:00 | 15:30 | 16:00 | 16:30 | 17:00 | 17:30 | 18:00 | 18:30 | 19:00 | 19:30 | 20:00 | 20:30 | 21:00 | 21:30 | 22:00 | 22:30 | 23:00 | 23:30
| Summer | 2024-01-22 17:00 | 6585.3363 | 6418.293 | 6245.9349 | 6182.9136 | 6052.2497 | 5982.6017 | 5889.9163 | 5835.1055 | 5780.5556 | 5809.0785 | 5885.2803 | 6037.6348 | 6150.4623 | 6311.5179 | 6353.9003 | 6401.876 | 6357.2231 | 6328.8305 | 6230.8213 | 6216.318 | 6229.7552 | 6295.8317 | 6377.7344 | 6498.7694 | 6612.0562 | 6810.9923 | 6986.6571 | 7208.6908 | 7477.3997 | 7836.2919 | 8027.6685 | 8395.1729 | 8672.9877 | 9169.3879 | 9428.8764 | 9423.2767 | 9423.9357 | 9261.6949 | 9277.5897 | 9147.2668 | 8903.0446 | 8549.1627 | 8173.428 | 8025.045 | 7740.2939 | 7365.1689 | 7055.0311 | 6750.9543
| Winter | 2024-07-17 19:00 | 5588.4035 | 5387.4671 | 5246.8117 | 5144.8011 | 5074.7164 | 5034.7139 | 5042.4867 | 5096.0985 | 5145.0618 | 5281.1884 | 5458.4224 | 5713.6832 | 6042.6565 | 6517.2498 | 6860.0533 | 6985.2449 | 6551.6088 | 5923.7485 | 5344.683 | 4852.7098 | 4386.8729 | 4072.7534 | 3839.1201 | 3694.9864 | 3582.8894 | 3474.7213 | 3404.8779 | 3513.2606 | 3688.75 | 3924.2927 | 4307.9151 | 4792.7129 | 5381.5467 | 6044.9998 | 6702.3022 | 7332.2048 | 7822.342 | 7968.4153 | 7970.024 | 7830.1663 | 7597.7568 | 7454.873 | 7241.7198 | 7118.8045 | 6824.2162 | 6515.8058 | 6220.0063 | 6013.2149

## Figure 3.15
Figure 3.15 | Daily load profile of 2024 minimum transmission delivered demand day (1) | [10 empty] | Index
|  | Date | 0:00 | 0:30 | 1:00 | 1:30 | 2:00 | 2:30 | 3:00 | 3:30 | 4:00 | 4:30 | 5:00 | 5:30 | 6:00 | 6:30 | 7:00 | 7:30 | 8:00 | 8:30 | 9:00 | 9:30 | 10:00 | 10:30 | 11:00 | 11:30 | 12:00 | 12:30 | 13:00 | 13:30 | 14:00 | 14:30 | 15:00 | 15:30 | 16:00 | 16:30 | 17:00 | 17:30 | 18:00 | 18:30 | 19:00 | 19:30 | 20:00 | 20:30 | 21:00 | 21:30 | 22:00 | 22:30 | 23:00 | 23:30
| Annual | 2024-10-05 10:30 | 5109.1675 | 4946.4998 | 4831.4857 | 4740.178 | 4697.6421 | 4667.0826 | 4639.4168 | 4656.8631 | 4654.4902 | 4674.5257 | 4713.4925 | 4772.598 | 4813.896 | 4929.0987 | 4842.3346 | 4540.1453 | 4068.4895 | 3674.6428 | 3330.0326 | 3083.7523 | 2893.0618 | 2759.8235 | 2638.5609 | 2579.8927 | 2541.7253 | 2486.4013 | 2429.5768 | 2517.0623 | 2649.3342 | 2831.3346 | 3123.7289 | 3511.9029 | 4040.2285 | 4680.1186 | 5370.8057 | 5942.1659 | 6279.5951 | 6453.7123 | 6433.0864 | 6284.4561 | 6171.7008 | 6048.8426 | 5961.2367 | 5846.7714 | 5567.9096 | 5426.3897 | 5273.2271 | 5202.4508
| Wivenhoe | 1908-06-17 | 0.40708 | 0.69427 | 6.1048 | 9.8669 | 9.6793 | 9.6061 | 9.5412 | 9.8827 | 9.8497 | 9.6763 | 9.6098 | 9.5786 | 10.0303 | 9.7008 | 237.8657 | 395.5983 | 494.7402 | 494.612 | 494.7752 | 493.7052 | 493.5582 | 492.5712 | 491.8818 | 490.4489 | 490.7706 | 489.5834 | 488.8338 | 488.5542 | 487.8331 | 486.8932 | 485.6148 | 451.4277 | 242.119 | 9.6561 | 0.21154 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.65791 | 0.61247
| BESS | 0 | 7.75 | 7.0406 | 17.6549 | 6.1953 | 4.8459 | 5.0496 | 0.35642 | 2.627 | 2.0732 | 2.6034 | 0.79689 | 1.0801 | 2.6575 | 6.189 | 6.8827 | 13.0618 | 8.7523 | 31.5997 | 68.8852 | 41.757 | 214.5591 | 70.6384 | 108.1307 | 100.1002 | 77.4803 | 66.784 | 53.7667 | 31.9448 | 12.8471 | 15.092 | 7.6347 | 2.0524 | 4.2765 | 7.1313 | 4.1095 | 1.2333 | 0.35937 | 1.1009 | 0.62909 | 0.46171 | 0.41487 | 0.70196 | 1.8166 | 4.5069 | 0.47362 | 4.5095 | 0.12665 | 0.50624
| Delivered Demand Plus BESS charging load and Wivenhoe pump load |  | 5117.3246 | 4954.2347 | 4855.2454 | 4756.2402 | 4712.1673 | 4681.7382 | 4649.3144 | 4669.3728 | 4666.4131 | 4686.8054 | 4723.8992 | 4783.2567 | 4826.5838 | 4944.9886 | 5087.083 | 4948.8054 | 4571.9821 | 4200.8544 | 3893.693 | 3619.2145 | 3601.1791 | 3323.0331 | 3238.5734 | 3170.4417 | 3109.9762 | 3042.7687 | 2972.1774 | 3037.5614 | 3150.0144 | 3333.3198 | 3616.9784 | 3965.383 | 4286.6239 | 4696.906 | 5375.1268 | 5943.3992 | 6279.9545 | 6454.8132 | 6433.7155 | 6284.9178 | 6172.1157 | 6049.5446 | 5963.0533 | 5851.2783 | 5568.3832 | 5430.8992 | 5274.0117 | 5203.5695

## Figure 3.16
Figure 3.16 | Historical annual transmission delivered load duration curves | [10 empty] | Index
| Percentage time of year | 0 | 0.005 | 0.01384 | 0.02815 | 0.04987 | 0.08125 | 0.12487 | 0.18363 | 0.26074 | 0.35977 | 0.4846 | 0.63948 | 0.82896 | 1.058 | 1.3317 | 1.6559 | 2.0365 | 2.4797 | 2.9923 | 3.5812 | 4.254 | 5.0183 | 5.8822 | 6.8543 | 7.9433 | 9.1586 | 10.5098 | 12.0067 | 13.6597 | 15.4796 | 17.4774 | 19.6647 | 22.0532 | 24.6553 | 27.4835 | 30.5509 | 33.8708 | 37.457 | 41.3238 | 45.4855 | 49.9573 | 54.9573 | 59.3573 | 63.2573 | 66.8573 | 70.1673 | 73.2373 | 76.0773 | 78.6873 | 81.0673 | 83.2673 | 84.4673 | 86.2873 | 87.9873 | 89.4873 | 90.8393 | 92.0547 | 93.1447 | 94.1168 | 94.9808 | 95.7458 | 96.4185 | 97.0075 | 97.52 | 97.9633 | 98.3438 | 98.668 | 98.9418 | 99.1708 | 99.3603 | 99.5151 | 99.64 | 99.739 | 99.8161 | 99.8749 | 99.9185 | 99.9499 | 99.9716 | 99.9859 | 99.9947 | 99.9998 | 100
| 2019/20 | 8766.413 | 8717.1068 | 8700.7544 | 8663.4967 | 8615.7738 | 8523.9878 | 8452.4992 | 8313.4936 | 8229.1775 | 8148.2137 | 8050.4523 | 7970.2598 | 7882.9224 | 7798.4336 | 7692.8191 | 7591.6799 | 7508.1928 | 7408.7342 | 7323.8493 | 7213.6593 | 7120.0568 | 7037.3788 | 6951.6423 | 6863.5665 | 6770.6165 | 6680.5295 | 6602.2761 | 6528.0132 | 6458.0755 | 6382.3428 | 6304.8182 | 6222.2311 | 6134.824 | 6043.2876 | 5950.0576 | 5847.6188 | 5738.9947 | 5633.5966 | 5524.4117 | 5415.0139 | 5309.0378 | 5199.9707 | 5101.0742 | 5021.7713 | 4949.0761 | 4876.7372 | 4815.649 | 4759.8619 | 4709.763 | 4668.2452 | 4628.5748 | 4604.7708 | 4576.0828 | 4541.8696 | 4510.166 | 4476.2847 | 4437.2021 | 4395.4933 | 4351.0726 | 4302.1751 | 4247.0262 | 4185.6516 | 4129.6729 | 4076.0181 | 4024.2399 | 3981.05 | 3935.6538 | 3898.5847 | 3869.6607 | 3841.1052 | 3818.3278 | 3786.0987 | 3768.0624 | 3739.8679 | 3728.4737 | 3715.469 | 3702.4972 | 3697.2755 | 3693.0815 | 3689.3277 | 3688.7729 | 3688.745
| 2020/21 | 8479 | 8360.7467 | 8293.2369 | 8264.0986 | 8245 | 8207.2969 | 8108.2381 | 8059.4755 | 7991.2477 | 7903.8612 | 7826.5114 | 7724 | 7634.5503 | 7568.6561 | 7490.0732 | 7407 | 7338 | 7255.5805 | 7179 | 7096.6016 | 7018.7438 | 6942.85 | 6867.4974 | 6798 | 6721.4044 | 6650 | 6581 | 6511 | 6440 | 6368 | 6291 | 6205 | 6117 | 6030 | 5936 | 5839.7882 | 5738 | 5631.9015 | 5523.4907 | 5412 | 5303.9835 | 5192 | 5096 | 5013 | 4938 | 4869 | 4811 | 4758.0207 | 4707 | 4658 | 4599 | 4569 | 4518 | 4468 | 4409.7228 | 4350 | 4287 | 4226 | 4163.6848 | 4099 | 4056 | 3997.4425 | 3946 | 3899 | 3846 | 3787 | 3723.7061 | 3674.388 | 3618.3448 | 3562.0739 | 3520.7674 | 3494 | 3459.446 | 3429.6405 | 3332.1235 | 3254.0253 | 3183.6828 | 3064.9755 | 3052.1547 | 3024.4016 | 3006.8826 | 3006
| 2021/22 | 9031.2676 | 8974.6925 | 8892.5426 | 8702.3792 | 8571.5985 | 8374.1925 | 8301.494 | 8163.5372 | 8088.7468 | 8053.3103 | 7918.7673 | 7800.3293 | 7699.7705 | 7588.8449 | 7496.4258 | 7420.5992 | 7350.617 | 7278.4667 | 7209.6231 | 7140.1453 | 7067.8126 | 6992.7113 | 6931.0044 | 6853.6245 | 6788.9537 | 6731.1428 | 6667.1558 | 6599.7471 | 6527.7108 | 6446.6492 | 6359.5961 | 6271.1261 | 6173.5399 | 6076.6069 | 5965.6929 | 5855.3599 | 5747.3471 | 5641.0363 | 5525.445 | 5412.8516 | 5297.0003 | 5185.8079 | 5095.3996 | 5020.8851 | 4950.7074 | 4891.611 | 4835.2284 | 4781.2174 | 4725.911 | 4675.007 | 4620.2817 | 4581.1414 | 4507.227 | 4411.2585 | 4306.3763 | 4213.6618 | 4110.2746 | 4019.5047 | 3944.4039 | 3879.7044 | 3811.8734 | 3743.6395 | 3680.1927 | 3622.6155 | 3565.0727 | 3499.1652 | 3451.4222 | 3406.4208 | 3372.3207 | 3330.3755 | 3273.1339 | 3232.8427 | 3186.9581 | 3155.438 | 3115.5956 | 3101.9448 | 3057.2545 | 3028.729 | 3006.608 | 2901.1803 | 2898.5605 | 3006
| 2022/23 | 8915.7425 | 8909.8862 | 8781.63 | 8763.7243 | 8721.1535 | 8630.9229 | 8522.3372 | 8386.1437 | 8273.1803 | 8121.1894 | 8044.3875 | 7921.2765 | 7837.663 | 7753.6326 | 7627.1958 | 7542.6601 | 7445.2069 | 7333.6896 | 7245.6961 | 7153.4956 | 7074.0526 | 6997.3373 | 6912.2984 | 6842.1826 | 6767.5691 | 6697.5931 | 6630.2365 | 6551.7006 | 6481.7401 | 6400.9527 | 6316.262 | 6224.4697 | 6124.8795 | 6018.7566 | 5898.3452 | 5781.0898 | 5665.8572 | 5544.1356 | 5420.9078 | 5297.5415 | 5176.9985 | 5061.292 | 4969.1554 | 4898.1694 | 4835.5381 | 4770.5165 | 4705.3516 | 4639.6838 | 4565.1219 | 4450.4492 | 4314.1859 | 4227.1819 | 4105.7869 | 3998.8213 | 3897.9055 | 3809.4976 | 3739.4686 | 3663.1475 | 3593.9906 | 3529.9764 | 3466.9691 | 3417.5424 | 3365.2442 | 3310.5915 | 3248.8274 | 3202.4881 | 3138.993 | 3081.0425 | 3024.8798 | 2973.039 | 2906.9917 | 2838.3886 | 2800.339 | 2763.856 | 2727.0591 | 2699.3547 | 2665.403 | 2638.5214 | 2620.3979 | 2600.4834 | 2597.6419 | 2898.4286
| 2023/24 | 9428.8764 | 9424.5368 | 9360.4671 | 9176.5447 | 9150.0178 | 9034.4492 | 8930.8987 | 8838.2678 | 8737.4605 | 8630.5814 | 8485.2719 | 8326.8966 | 8199.6464 | 8123.0768 | 8048.7816 | 7961.2937 | 7871.5071 | 7756.647 | 7652.6402 | 7538.4623 | 7428.421 | 7308.0289 | 7201.0011 | 7079.9996 | 6990.873 | 6899.2847 | 6807.6065 | 6722.8319 | 6640.0738 | 6548.7199 | 6453.0854 | 6354.8405 | 6250.0714 | 6140.8623 | 6018.6692 | 5897.0645 | 5778.6641 | 5669.1515 | 5558.3494 | 5436.1851 | 5319.615 | 5191.2556 | 5081.4085 | 4988.1773 | 4907.5387 | 4840.1286 | 4780.25 | 4718.3126 | 4639.6579 | 4555.3669 | 4431.658 | 4350.1672 | 4228.56 | 4106.5144 | 3999.9287 | 3894.6323 | 3812.2764 | 3724.1129 | 3641.8962 | 3575.811 | 3513.3786 | 3447.2517 | 3376.7132 | 3322.5673 | 3259.922 | 3209.4385 | 3151.917 | 3106.8311 | 3057.2584 | 2990.3306 | 2881.7075 | 2794.303 | 2739.7212 | 2704.8965 | 2667.82 | 2636.864 | 2610.1262 | 2601.0793 | 2559.9342 | 2544.8648 | 2538.7866 | 2597.4988
Figure 3.17