## Generators and Scheduled Loads
l
Participant | Station Name | Connection Point | Technology Type - Descriptor and Unit Size (MW) | Reg Cap (MW) | Ceasing Date
AGL Hydro Partnership | Townsville Gas Turbine | T144 Townsville GT PS | Open Cycle Gas turbines (OCGT) | 165
Braemar Power Project Pty Ltd | Braemar Power Station | R002 Braemar | Open Cycle Gas turbines (OCGT) | 181
Braemar Power Project Pty Ltd | Braemar Power Station | R002 Braemar | Open Cycle Gas turbines (OCGT) | 181
Braemar Power Project Pty Ltd | Braemar Power Station | R002 Braemar | Open Cycle Gas turbines (OCGT) | 181
Callide Power Trading Pty Limited | Callide C Power Plant | H024 Calvale | Steam Super Critical | 466
Callide Power Trading Pty Limited | Callide C Power Plant | H024 Calvale | Steam Super Critical | 466
CS Energy Limited | Callide B Power Station | H024 Calvale | Steam Sub-Critical | 350
CS Energy Limited | Callide B Power Station | H024 Calvale | Steam Sub-Critical | 350
CS Energy Limited | Gladstone Power Station | H007 Gladstone | Steam Sub-Critical | 280
CS Energy Limited | Gladstone Power Station | H007 Gladstone | Steam Sub-Critical | 280
CS Energy Limited | Gladstone Power Station | T005 Gladstone | Steam Sub-Critical | 280
CS Energy Limited | Gladstone Power Station | T005 Gladstone | Steam Sub-Critical | 280
CS Energy Limited | Gladstone Power Station | H007 Gladstone | Steam Sub-Critical | 280
CS Energy Limited | Gladstone Power Station | H007 Gladstone | Steam Sub-Critical | 280
CS Energy Limited | Kogan Creek Power Station | S005 Western Downs | Steam Super Critical | 750
CS Energy Limited | Wivenhoe Power Station | H012 Mt. England | Hydro - pump storage | 285
CS Energy Limited | Wivenhoe Power Station | H012 Mt. England | Hydro - pump storage | 285
ERM Power Retail Pty Ltd | Oakey Power Station | T146 Oakey GT PS | Open Cycle Gas turbines (OCGT) | 173
ERM Power Retail Pty Ltd | Oakey Power Station | T146 Oakey GT PS | Open Cycle Gas turbines (OCGT) | 173
Clare Solar Farm Pty Ltd | Clare Solar Farm Power Station | T240 Clare Solar Farm | Solar PV | 100
ESCO Pacific | Ross River Solar Farm | T241 Lake Ross | Solar PV | 116
AGL Hydro Partnership | Coopers Gap Wind Farm | H085 Coopers Gap | Wind Farm | 440
APA | Darling Downs Solar Farm | H086 Darling Downs Solar Farm PS | Solar PV | 108
Edify Energy | Whitsunday Solar Farm | T242 Springlands | Solar PV | 57
Edify Energy | Hamilton Solar Farm | T242 Springlands | Solar PV | 57
Edify Energy | Daydream Solar Farm | H087 Crush Creek | Solar PV | 150
Edify Energy | Hayman Solar Farm | H087 Crush Creek | Solar PV | 50
FRV | Lilyvale Solar Farm | T244 Bundoora | Solar PV | 100
Neoen | Kaban Wind farm | H108 Tumoulin | Wind Farm | 152
Ratch | Mt. Emerald Wind Farm | H060 Walkamin | Wind Farm | 180
Pacific Hydro | Haughton Solar Farm | H091 Haughton River | Solar PV | 100
Adani | Rugby Run Solar Farm | T255 Rugby Run Solar Farm | Solar PV | 65
RES | Columboola Solar Farm | T194 Columboola | Solar PV | 162
Metka-EGN | Moura Solar farm | T027 Moura | Solar PV | 82
Neoen | Western Downs Green Power Hub | S005 Western Downs | Solar PV | 400
Lightsource Australia | Woolooga Energy Park | H005 Woolooga | Solar PV | 176
X-Elio | Bluegrass Solar Farm | T268 Cameby | Solar PV | 148
Vena | Wandoan South Solar Farm | H125 Juandah | Solar PV | 365
Eneos | Edenvale Solar Park | H078 Orana | Solar PV | 146
Shell New Energies Australia | Gangarri Solar Farm | T273 Gangarri Solar Farm | Solar PV | 120
Vena Energy Australia | Wandoan South BESS | H076 Wandoan South | Battery Energy Storage Systen | 100
Genex | Bouldercombe BESS | H010 Bouldercombe | Battery Energy Storage Systen | 50
Millmerran Energy Trader Pty Ltd | Millmerran Power Plant | R005 Millmerran | Steam Super Critical | 426
Millmerran Energy Trader Pty Ltd | Millmerran Power Plant | R005 Millmerran | Steam Super Critical | 426
NewGen Braemar 2 Partnership | Braemar 2 Power Station | R002 Braemar | Open Cycle Gas turbines (OCGT) | 173
NewGen Braemar 2 Partnership | Braemar 2 Power Station | R002 Braemar | Open Cycle Gas turbines (OCGT) | 173
NewGen Braemar 2 Partnership | Braemar 2 Power Station | R002 Braemar | Open Cycle Gas turbines (OCGT) | 173
Origin Energy Electricity Limited | Darling Downs Power Station | R002 Braemar | Combined Cycle Gas Turbine (CCGT) | 280
Origin Energy Electricity Limited | Darling Downs Power Station | R002 Braemar | Combined Cycle Gas Turbine (CCGT) | 117
Origin Energy Electricity Limited | Darling Downs Power Station | R002 Braemar | Combined Cycle Gas Turbine (CCGT) | 117
Origin Energy Electricity Limited | Darling Downs Power Station | R002 Braemar | Combined Cycle Gas Turbine (CCGT) | 117
Origin Energy Electricity Limited | Mt Stuart Power Station | T056 Townsville South | Open Cycle Gas turbines (OCGT) | 138
Origin Energy Electricity Limited | Mt Stuart Power Station | T056 Townsville South | Open Cycle Gas turbines (OCGT) | 138
Origin Energy Electricity Limited | Mt Stuart Power Station | T143 Mt Stuart GT PS | Open Cycle Gas turbines (OCGT) | 124
QGC Sales Qld Pty Ltd | Condamine Power Station A | T194 Columboola | Combined Cycle Gas Turbine (CCGT) 2 x 43MW | 86
QGC Sales Qld Pty Ltd | Condamine Power Station A | T194 Columboola | Combined Cycle Gas Turbine (CCGT) | 57
RTA Yarwun Pty Ltd | Yarwun Power Station | T199 Yarwun | Combined Cycle Gas Turbine (CCGT) | 160
Stanwell Corporation Limited | Barron Gorge Power Station | T054 Barron Gorge PS | Run of River | 33
Stanwell Corporation Limited | Barron Gorge Power Station | T054 Barron Gorge PS | Run of River | 33
Stanwell Corporation Limited | Kareeya Power Station | T049 Kareeya PS | Run of River | 23
Stanwell Corporation Limited | Kareeya Power Station | T049 Kareeya PS | Run of River | 23
Stanwell Corporation Limited | Kareeya Power Station | T049 Kareeya PS | Run of River | 23
Stanwell Corporation Limited | Kareeya Power Station | T049 Kareeya PS | Run of River | 23
Stanwell Corporation Limited | Stanwell Power Station | H029 Stanwell | Steam Sub-Critical | 365
Stanwell Corporation Limited | Stanwell Power Station | H029 Stanwell | Steam Sub-Critical | 365
Stanwell Corporation Limited | Stanwell Power Station | H029 Stanwell | Steam Sub-Critical | 365
Stanwell Corporation Limited | Stanwell Power Station | H029 Stanwell | Steam Sub-Critical | 365
Stanwell Corporation Limited | Swanbank E Power Station | H055 Swanbank E PS | Combined Cycle Gas Turbine (CCGT) | 365
Stanwell Corporation Limited | Tarong North Power Station | H018 Tarong | Steam Super Critical | 443
Stanwell Corporation Limited | Tarong Power Station | H018 Tarong | Steam Sub-Critical | 350
Stanwell Corporation Limited | Tarong Power Station | H018 Tarong | Steam Sub-Critical | 350
Stanwell Corporation Limited | Tarong Power Station | H018 Tarong | Steam Sub-Critical | 350
Stanwell Corporation Limited | Tarong Power Station | H018 Tarong | Steam Sub-Critical | 350
Sun Metals Corporation Limited | Sun Metals Solar Farm | T140 Townsville Zinc | Solar PV | 121
Wilmar Sugar Pty Ltd | Invicta Sugar Mill | T036 Invicta Mill | Steam Sub-Critical | 34
CS Energy Limited | Chinchilla BESS | S005 Western Downs | Battery Energy Storage Systen | 100
Neoen | Western Downs Battery Park | S005 Western Downs | Battery Energy Storage Systen | 510
MacIntyre UJV Operator Pty Ltd | Macintyre Wind Farm | R014 Tummaville | Wind Farm | 890
Squadron Energy | Clarke Creek Wind Farm | H020 Broadsound | Wind Farm | 440
Cubico Sustainable Investments Limited | Wambo Wind Farm | S002 Halys | Wind Farm | 245
CS Energy Limited | Greenbank BESS | S003 Greenbank | Battery Energy Storage Systen | 200
CleanCo Queensland Limited | Swanbank BESS | H072 Blackstone | Battery Energy Storage Systen | 250
Stanwell Corporation Limited | Tarong BESS | H018 Tarong | Battery Energy Storage Systen | 300
Akaysha Energy | Ulinda Park BESS | S005 Western Downs | Battery Energy Storage Systen | 155
Akaysha Energy | Brendale BESS | H002 South Pine | Battery Energy Storage Systen | 205
Quinbrook Infrastructure Partners | Supernode 1 BESS | H002 South Pine | Battery Energy Storage Systen | 520
Acciona Energy | Aldoga Solar Farm | H058 Larcom Creek | Solar PV | 387
Collinsville Power Station |  |  |  |  | 2011-07-01
Callide A Power Station A1-3 |  |  |  |  | 2011-05-17
Callide A Power Station A4 (Oxyfiring) |  |  |  |  | 2015-03-01
Swanbank A Power Station |  |  |  |  | 2002-07-01
Swanbank B Power Station |  |  |  |  | 2011-07-01
Note: Generators are those connected to the Powerlink Transmission Network - embedded generators are not included.
Register of Large Generator Connections

## New Generators
Participant | Station Name | Connection Point | Technology Type - Descriptor and Unit Size (MW) | Reg Cap (MW) | Ceasing Date | Ancillary Service Requirements | Network Congestion | Impact on timing of expenditure | Impact on Interconnector power transfer capability
Neoen | Western Downs Battery Park | S005 Western Downs | BESS | 200 |  | The Western Downs BESS will be taken into account when assessing the on-going need for the Network Support Agreement with CleanCo Queensland for the provision of network support and control ancillary services (NSCAS) to address the management and control of voltages in southern Queensland. | The connection of the Western Downs BESS has increased the available generation capacity in the Bulli zone. This will predominately occur during times of high system load and/or higher spot prices . As shown in Section 6.6.7 of 2025 TAPR the South West Queensland grid section defines the capability of the transmission network to transfer power from generating stations located in the Bulli zone (and northerly flow on QNI) to the rest of Queensland. The Western Downs BESS has the potential to increase the power transfer out of the Bulli zone when generating and reduce these transfers when charging. There are many factors that impact the utilisation of the SWQ grid section: - the power transfer on QNI - load in the Surat zone - combined generation within the Surat and Bulli zones. All the above have far greater impact on the utilisation of the SWQ grid section than the connection of the Western Downs BESS. Section 6.6.7 of the 2025 TAPR summarises the historical performance of this grid section. There has been no congestion on the grid section since the 275kV augmentations in 2013 under system intact conditions. | As the NEM undergoes the energy transition the cumulative impact of renewable generation is changing the flow patterns and utilisation of intra and inter-regional grid sections. The 2024 ISP and Energy Roadmap identifies the importance of storage and other firming sources for the energy transformation. Potential ISP projects relevant to the Western Downs BESS include the QNI Connect and Darling Downs REZ Expansion. Both projects are anticipated by 2034-35 in the Step Change scenario forecast (Note. QNI Connect in a Actionable ISP Project).This timing already contemplates large development of VRE within the Bulli zone. | Due to its size and technology the Western Downs BESS has no direct impact on the southerly or northerly power transfer capability between QLD and NSW.