## Cover
Powerlink Contact
Ben McGregor
Team Leader Regional Grid Planning and Data Support
ben.mcgregor@powerlink.com.au
Note: Powerlink's 2026 Transmission Annual Planning Report Chapter 2 Energy and demand projections data should be reviewed in conjunction with the discussion contained in Chapter 2 of the 2026 Transmission Annual Planning Report.
Disclaimer: While care is taken in the preparation of the information in this document, and it is provided in good faith, Powerlink Queensland accepts no responsibility or liability for any loss or damage that may be incurred by persons acting in reliance on this information or assumptions drawn from it.
2020 Transmission Annual Planning Report
Chapter 2 Energy and demand projections - data
2026 Transmission Annual Planning Report
Chapter 2 Energy and demand projections data

## Index
Figure | Description
Figure 2.2 | Yearly net increase of Queensland rooftop solar PV (1) (2)
Figure 2.3 | Annual installation rates and average sizes for Queensland rooftop PV (1) (2)
Figure 2.4 | Queensland residential battery capacity uptake
Figure 2.5 | Queensland residential battery uptake (1) and number of registered electric vehicles (2)
Figure 2.6 | Powerlink's 10 year Forecast Data Centre demand growth
Figure 2.7 | Powerlink's 10 year Forecast Data Centre energy consumption
Figure 2.8 | Brisbane temperature ranges over September 2025 to August 2026 (1)
Figure 2.9 | Comparison of AEMO's 2025 ESOO Step Change 50% PoE delivered demand forecast with the Powerlink's 2026 Central 50% PoE and AEMO's 2026 ESOO Step Change 50% PoE (1)
Figure 2.10 | Comparison of AEMO's 2025 ESOO Step Change 50% PoE delivered energy forecast with the Powerlink's 2026 Central 50% PoE and AEMO's 2026 ESOO Step Change 50% PoE (1)
Figure 2.11 | Comparison of AEMO's 2025 ESOO Step Change 50% PoE annual delivered minimum demand forecast with the Powerlink's 2026 Central 50% PoE and AEMO's 2026 ESOO Step Change 50% PoE (1)
Figure 2.12 | Transmission delivered annual minimum demand for the Queensland region (1)(2)
Figure 2.13 | Load measurement definitions
Figure 2.14 | Historical and forecast transmission delivered energy
Figure 2.15 | Historical and forecast transmission delivered summer maximum demand
Figure 2.16 | Historical and forecast transmission delivered winter maximum demand
Figure 2.17 | Historical and forecast transmission delivered annual minimum demand
Figure 2.18 | Daily load profile of summer 2025/26 and winter 2026 maximum transmission delivered demand days
Figure 2.19 | Daily load profile of 2026 minimum transmission delivered demand day (1)
Figure 2.20 - 2.22 | Historical annual transmission delivered load duration curves
Table | Description
Table 2.1 | Possible large loads excluded from the Low and Central scenario forecasts
Table 2.2 | Average annual growth rate over next 10 years
Table 2.3 | Average ratios of zone maximum delivered demand to zone delivered demand at time of Queensland region maximum delivered demand
Table 2.4 - 2.5 | Annual transmission delivered energy by zone (GWh)
Table 2.6 - 2.7 | State summer maximum transmission delivered demand by zone (MW)
Table 2.8 - 2.9 | State winter maximum transmission delivered demand by zone (MW)
Additional Reference Data | Description
Table Ref.1 | Historical energy (GWh)
Table Ref.2 | Forecast annual transmission delivered energy (GWh)
Table Ref.3 | Forecast annual native energy (GWh)
Table Ref.4 | Historical summer maximum demand at time of delivered peak (MW)
Table Ref.5 | Forecast summer transmission delivered maximum demand (MW)
Table Ref.6 | Historical winter maximum demand at time of delivered peak (MW)
Table Ref.7 | Forecast winter transmission delivered maximum demand (MW)
Table Ref.8 | Historical annual minimum demand (MW)
Table Ref.9 | Forecast annual transmission delivered minimum demand (MW) (1)
Index
2026 TAPR Chapter 2 Energy and demand projections data

## Figure 2.2
Figure 2.2 | Yearly net increase of Queensland rooftop solar PV (1) (2) |  |  |  |  | Index
Notes:
(1) Source: Clean Energy Regulator
(2) Registrations generally lag installations and hence data for FY2026 may be slightly understated.
Adjust the above graph to include current FY
Month | FY | Cumulative Capacity |  | GW Installed in FY | MW installed in FY
2005-07-01 | 2004/05 | 0.0001595 | 0.1595 | 0.0001595 | 0.1595
2006-07-01 | 2005/06 | 0.00056734 | 0.56734 | 0.00040784 | 0.40785
2007-07-01 | 2006/07 | 0.00076532 | 0.76532 | 0.00019798 | 0.19798
2008-07-01 | 2007/08 | 0.0025173 | 2.5173 | 0.001752 | 1.752
2009-07-01 | 2008/09 | 0.012721 | 12.721 | 0.010204 | 10.2037
2010-07-01 | 2009/10 | 0.062315 | 62.3148 | 0.049594 | 49.5938
2011-07-01 | 2010/11 | 0.26509 | 265.0893 | 0.20277 | 202.7745
2012-07-01 | 2011/12 | 0.54887 | 548.8691 | 0.28378 | 283.7798
2013-07-01 | 2012/13 | 0.93822 | 938.2208 | 0.38935 | 389.3517
2014-07-01 | 2013/14 | 1.1613 | 1161.3295 | 0.22311 | 223.1087
2015-07-01 | 2014/15 | 1.3985 | 1398.5024 | 0.23717 | 237.1729
2016-07-01 | 2015/16 | 1.5747 | 1574.6732 | 0.17617 | 176.1708
2017-07-01 | 2016/17 | 1.8298 | 1829.8312 | 0.25516 | 255.158
2018-07-01 | 2017/18 | 2.193 | 2193.0183 | 0.36319 | 363.1871
2019-07-01 | 2018/19 | 2.6818 | 2681.7701 | 0.48875 | 488.7518
2020-07-01 | 2019/20 | 3.3545 | 3354.5338 | 0.67276 | 672.7637
2021-07-01 | 2020/21 | 4.1741 | 4174.1364 | 0.8196 | 819.6026
2022-07-01 | 2021/22 | 4.8893 | 4889.2668 | 0.71513 | 715.1304
2023-07-01 | 2022/23 | 5.6547 | 5654.7255 | 0.76546 | 765.4587
2024-07-01 | 2023/24 | 6.4798 | 6479.816 | 0.82509 | 825.0905
2025-07-01 | 2024/25 | 7.2453 | 7245.2819 | 0.76547 | 765.4659
2026-07-01 | 2025/26 | 8.1914 | 8191.4388 | 0.94616 | 946.1569

## Figure 2.3
Figure 2.3 | Annual installation rates and average sizes for Queensland rooftop PV (1) (2) |  |  | Index
Notes:
(1) Source: Clean Energy Regulator
(2) Registrations generally lag installations and hence data for FY2026 may be slightly understated.
State | FY | AvgInstallationSize | NoInstallations
QLD | 2004/05 | 0.93785 | 171
QLD | 2005/06 | 1.4994 | 272
QLD | 2006/07 | 1.1784 | 168
QLD | 2007/08 | 1.4479 | 1210
QLD | 2008/09 | 1.2734 | 8013
QLD | 2009/10 | 1.5696 | 31597
QLD | 2010/11 | 2.1754 | 93212
QLD | 2011/12 | 2.9116 | 97464
QLD | 2012/13 | 3.5644 | 109233
QLD | 2013/14 | 3.9495 | 56490
QLD | 2014/15 | 4.4983 | 48292
QLD | 2015/16 | 5.2738 | 34336
QLD | 2016/17 | 6.0766 | 40174
QLD | 2017/18 | 7.0564 | 50423
QLD | 2018/19 | 7.6751 | 61451
QLD | 2019/20 | 8.2938 | 79526
QLD | 2020/21 | 8.6488 | 93980
QLD | 2021/22 | 9.2029 | 79165
QLD | 2022/23 | 9.3911 | 80920
QLD | 2023/24 | 10.028 | 83125
QLD | 2024/25 | 10.6015 | 73585
QLD | 2025/26 | 10.7858 | 82453

## Figure 2.4
Figure 2.4 | Queensland residential battery capacity uptake |  | Index
Notes:
(1) Source: Clean Energy Regulator.
(2) Registrations generally lag installations and hence data for FY2026 may be slightly understated.
| QLD Cumulative MWh | QLD Monthly MWh
2025-07-01 | 108.0165 | 108.0165
2025-08-01 | 204.0281 | 96.0116
2025-09-01 | 334.1575 | 130.1294
2025-10-01 | 509.0322 | 174.8747
2025-11-01 | 709.9456 | 200.9134
2025-12-01 | 971.663 | 261.7174
2026-01-01 | 1143.6525 | 171.9894
2026-02-01 | 1397.9724 | 254.3199
2026-03-01 | 1771.6273 | 373.6549
2026-04-01 | 2415.4601 | 643.8328
2026-05-01 | 2522.3719 | 106.9118
2026-06-01 | 2679.4575 | 157.0856

## Figure 2.5
Figure 2.5 | Queensland residential battery uptake (1) and number of registered electric vehicles (2) |  |  | Index
Notes:
(1) Source: Clean Energy Regulator.
(2) Source: Queensland Government – Electric Vehicle snapshot.
|  | Battery installations | Registered electric vehicles
| 2020 | 6289 | 3597
| 2021 | 7717 | 8057
| 2022 | 7717 | 15166
| 2023 | 12415 | 21031
| 2024 | 17402 | 43337
| 2025 | 57903 | 63141.617
| 2026 | 108120 | 119152

## Figure 2.6
Figure 2.6 | Powerlink's 10 year Forecast Data Centre demand growth |  | Index
Year | Central | High
2026 | 0 | 0
2027 | 0 | 0
2028 | 500 | 500
2029 | 650 | 1000
2030 | 800 | 1200
2031 | 950 | 1400
2032 | 1100 | 1600
2033 | 1250 | 1800
2034 | 1400 | 2000
2035 | 1400 | 2000
2036 | 1400 | 2000

## Figure 2.7
Figure 2.7 | Powerlink's 10 year Forecast Data Centre energy consumption |  | Index
Year | Central | High
2026 | 0 | 0
2027 | 0 | 0
2028 | 3066 | 3066
2029 | 3985.8 | 6132
2030 | 4905.6 | 7358.4
2031 | 5825.4 | 8584.8
2032 | 6745.2 | 9811.2
2033 | 7665 | 11037.6
2034 | 8584.8 | 12264
2035 | 8584.8 | 12264
2036 | 8584.8 | 12264

## Figure 2.8
Figure 2.8 | Brisbane temperature ranges over September 2025 to August 2026 (1) |  |  |  |  | Index
Note:
(1) Long-term average based on years 2000 to 2025/26.
|  | Mean daily maximum (2025/26) | Mean daily minimum (2025/26) | Mean daily maximum (long term average) | Mean daily minimum (long term average)
| September | 26 | 14.2 | 25.7077 | 13.9269
| October | 29.4 | 18.5 | 27.1577 | 16.6
| November | 29.6 | 19.9 | 28.3538 | 18.8769
| December | 30 | 20.6 | 29.7385 | 20.6462
| January | 30.8 | 22.3 | 30.4407 | 21.6704
| February | 29.9 | 21.2 | 30.1852 | 21.4481
| March | 29.1 | 20.2 | 29.1444 | 20.3222
| April | 27.9 | 17.6 | 27.2 | 17.4444
| May | 24.5 | 16.2 | 24.4556 | 14.0185
| June | 22.5 | 12.9 | 22.063 | 11.8037
| July | 22.5 | 12 | 21.9778 | 10.5556
| August | 23.6 | 12.2 | 23.4446 | 11.099

## Table 2.1
Table 2.1 | Possible large loads excluded from the Low and Central scenario forecasts |  |  | Index
| Zone | Description | Possible load
| North Queensland | New Industrial | 166
| Central Queensland | Electrification of existing industrial load | 460
Hydrogen Facility
New manufacturing
| South Queensland | Industrial | 840
Data Centre

## Figure 2.9
Figure 2.9 | Comparison of AEMO's 2025 ESOO Step Change 50% PoE delivered demand forecast with the Powerlink's 2026 Central 50% PoE and AEMO's 2026 ESOO Step Change 50% PoE (1) | [6 empty] | Index
Notes:
(1) AEMO’s 2026 and 2025 ESOO forecast has been converted from ‘operational sent-out’ to ‘transmission delivered’ for the purposes of comparison. Refer to Figure 3.5 for further details.
| Summer | Historical | Weather corrected | Powerlink's 2026 Central 50% PoE | Powerlink's 2025 Central 50% PoE | AEMO's 2025 ESOO Step Change 50% PoE | AEMO's 2026 ESOO Step Change 50% PoE
| 2016/17 | 8347 | 8257
| 2017/18 | 8789 | 8515
| 2018/19 | 8969 | 8488
| 2019/20 | 8766 | 8662
| 2020/21 | 8479 | 8660
| 2021/22 | 9031 | 8876
| 2022/23 | 8915.7425 | 9110
| 2023/24 | 9428.8764 | 9217.83
| 2024/25 | 9973.6553 | 9529.4102
| 2025/26 | 9461.9518 | 9590.7598 |  | 9529 | 9892.9845
| 2026/27 |  |  | 9752.3164 | 9843 | 9995.0225 | 9387.3161
| 2027/28 |  |  | 10076.291 | 10102 | 10108.0221 | 9536.1598
| 2028/29 |  |  | 10911.8477 | 10360 | 10194.9298 | 9684.895
| 2029/30 |  |  | 11250.9082 | 10579 | 10375.1298 | 9883.2021
| 2030/31 |  |  | 11542.4873 | 10984 | 10680.5832 | 10334.6717
| 2031/32 |  |  | 11786.8809 | 11561 | 11080.5572 | 10685.931
| 2032/33 |  |  | 12020.4844 | 11682 | 11398.7749 | 10996.3895
| 2033/34 |  |  | 12252.21 | 11740 | 11577.6481 | 11252.6999
| 2034/35 |  |  | 12476.3887 | 11817 | 11741.0205 | 11546.2954
| 2035/36 |  |  | 12516.3047 |  |  | 11774.658

## Figure 2.10
Figure 2.10 | Comparison of AEMO's 2025 ESOO Step Change 50% PoE delivered energy forecast with the Powerlink's 2026 Central 50% PoE and AEMO's 2026 ESOO Step Change 50% PoE (1) | [5 empty] | Index
Notes:
(1) AEMO’s 2026 and 2025 ESOO forecast has been converted from ‘operational sent-out’ to ‘transmission delivered’ for the purposes of comparison. Refer to Figure 3.5 for further details.
| Financial year | Historical | Powerlink's 2026 Central 50% PoE | Powerlink's 2025 Central 50% PoE | AEMO's 2025 ESOO Step Change 50% PoE | AEMO's 2026 ESOO Step Change 50% PoE
| 2016/17 | 49880
| 2017/18 | 48739
| 2018/19 | 48764
| 2019/20 | 47860
| 2020/21 | 47421
| 2021/22 | 47405
| 2022/23 | 46214.1247
| 2023/24 | 47476.5424
| 2024/25 | 47306
| 2025/26 | 47594.4702 |  | 48147 | 48760
| 2026/27 |  | 49501.8273 | 49418 | 48893 | 49663.49
| 2027/28 |  | 51646.9194 | 50926 | 49033 | 49865.79
| 2028/29 |  | 56664.3552 | 51819 | 49396 | 50422.86
| 2029/30 |  | 59014.2148 | 52634 | 50362 | 51542.31
| 2030/31 |  | 60667.1931 | 54215 | 52167 | 54738.11
| 2031/32 |  | 62165.4096 | 58054 | 54769 | 57129.07
| 2032/33 |  | 63512.0829 | 58654 | 56920 | 58902.06
| 2033/34 |  | 64293.8254 | 58890 | 58452 | 60230.1
| 2034/35 |  | 66081.9348 | 59077 | 60511 | 61865.82
| 2035/36 |  | 66567.3815 |  |  | 62901.69

## Figure 2.11
Figure 2.11 | Comparison of AEMO's 2025 ESOO Step Change 50% PoE annual delivered minimum demand forecast with the Powerlink's 2026 Central 50% PoE and AEMO's 2026 ESOO Step Change 50% PoE (1) | [5 empty] | Index
Notes:
Notes:
(1) AEMO’s 2026 and 2025 ESOO forecast has been converted from ‘operational sent-out’ to ‘transmission delivered’ for the purposes of comparison. Refer to Figure 3.5 for further details.
| Financial year | Historical | Powerlink's 2026 Central 50% PoE | Powerlink's 2025 Central 50% PoE | AEMO's 2025 ESOO Step Change 50% PoE | AEMO's 2026 ESOO Step Change 50% PoE
| 2017 | 4180.5951
| 2018 | 4007.5983
| 2019 | 3369.5923
| 2020 | 3005.5608
| 2021 | 3013.5076
| 2022 | 2597.4988
| 2023 | 2538.2406
| 2024 | 2389.4128
| 2025 | 2238.6509
| 2026 | 2077.1102 |  | 2109.7319 | 2477.1901
| 2027 |  | 2131.2017 | 2161.0298 | 2248.4794 | 2018.4296
| 2028 |  | 2238.4419 | 2074.1355 | 2018.0611 | 1779.2934
| 2029 |  | 2777.8542 | 1967.8105 | 1871.0972 | 1584.6707
| 2030 |  | 2833.6147 | 1783.7565 | 1691.5314 | 1522.4398
| 2031 |  | 2851.084 | 1770.1244 | 1626.5447 | 1506.7972
| 2032 |  | 2793.0654 | 2041.5143 | 1702.7446 | 1469.1659
| 2033 |  | 2613.0288 | 1839.0684 | 1736.2543 | 1327.4669
| 2034 |  | 2587.896 | 1604.8828 | 1698.1392 | 1126.9407
| 2035 |  | 2596.0178 | 1328.1477 | 1671.6513 | 885.621
| 2036 |  | 2530.2378 |  |  | 685.8348

## Figure 2.12
Figure 2.10 | Transmission delivered annual minimum demand for the Queensland region (1)(2) | [10 empty] | Index
| Date | 0:00 | 0:30 | 1:00 | 1:30 | 2:00 | 2:30 | 3:00 | 3:30 | 4:00 | 4:30 | 5:00 | 5:30 | 6:00 | 6:30 | 7:00 | 7:30 | 8:00 | 8:30 | 9:00 | 9:30 | 10:00 | 10:30 | 11:00 | 11:30 | 12:00 | 12:30 | 13:00 | 13:30 | 14:00 | 14:30 | 15:00 | 15:30 | 16:00 | 16:30 | 17:00 | 17:30 | 18:00 | 18:30 | 19:00 | 19:30 | 20:00 | 20:30 | 21:00 | 21:30 | 22:00 | 22:30 | 23:00 | 23:30
| 2021-10-17 | 5034.2415 | 4934.4782 | 4846.9545 | 4777.541 | 4736.9561 | 4698.1572 | 4688.5084 | 4656.5212 | 4660.6923 | 4693.0569 | 4699.1749 | 4577.7389 | 4261.7425 | 3885.496 | 3607.2214 | 3401.245 | 3330.6422 | 3215.3688 | 3141.681 | 3122.7826 | 3062.4462 | 3013.5076 | 3034.8129 | 3051.075 | 3130.2358 | 3156.1124 | 3312.5549 | 3490.4767 | 3714.7458 | 4006.5906 | 4386.45 | 4889.37 | 5300.2633 | 5747.5869 | 6069.461 | 6354.6219 | 6529.3424 | 6606.6388 | 6489.9338 | 6342.3193 | 6256.5495 | 6089.0257 | 5920.3884 | 5773.6488 | 5644.5015 | 5541.5298 | 5386.5726 | 5224.678
| 2022-09-25 | 4888.1617 | 4785.4683 | 4683.1114 | 4637.4639 | 4562.1118 | 4516.7658 | 4495.2062 | 4473.4833 | 4508.4255 | 4535.4696 | 4566.001 | 4540.484 | 4414.4281 | 4067.8337 | 3719.9202 | 3392.8452 | 3200.7017 | 2979.5279 | 2800.5188 | 2671.3946 | 2638.6492 | 2597.4988 | 2600.7426 | 2633.4388 | 2657.4598 | 2673.2148 | 2788.3519 | 2925.0945 | 3122.647 | 3333.5209 | 3669.3197 | 4128.3765 | 4643.3303 | 5245.6819 | 5732.9903 | 6048.2698 | 6226.7201 | 6266.1316 | 6097.9259 | 6054.7386 | 6070.7923 | 5911.4515 | 5750.0341 | 5579.0905 | 5436.6672 | 5276.9624 | 5231.0544 | 5072.5667
| 2023-08-20 | 5066.5748 | 4922.638 | 4822.7136 | 4771.2908 | 4730.1369 | 4727.5038 | 4706.2881 | 4725.886 | 4750.7089 | 4785.2341 | 4838.4152 | 4889.1316 | 5031.3871 | 5053.8657 | 4726.458 | 4267.1342 | 3895.0528 | 3559.4737 | 3250.0987 | 2906.777 | 2689.3752 | 2605.6787 | 2557.0021 | 2538.5773 | 2533.2173 | 2571.3299 | 2632.7643 | 2807.6039 | 3015.3111 | 3367.0506 | 3660.586 | 4088.6638 | 4708.5681 | 5365.6508 | 6026.4371 | 6354.6266 | 6511.9779 | 6508.1499 | 6475.3741 | 6441.0417 | 6268.7793 | 6087.7655 | 5958.5389 | 5709.8804 | 5617.436 | 5438.4594 | 5291.8924 | 5115.0593
| 2024-10-05 | 4942.1934 | 4785.4683 | 4683.1114 | 4637.4639 | 4562.1118 | 4516.7658 | 4495.2062 | 4473.4833 | 4508.4255 | 4535.4696 | 4566.001 | 4540.484 | 4414.4281 | 4067.8337 | 3719.9202 | 3392.8452 | 3200.7017 | 2979.5279 | 2800.5188 | 2671.3946 | 2638.6492 | 2597.4988 | 2600.7426 | 2633.4388 | 2657.4598 | 2673.2148 | 2788.3519 | 2925.0945 | 3122.647 | 3333.5209 | 3669.3197 | 4128.3765 | 4643.3303 | 5245.6819 | 5732.9903 | 6048.2698 | 6226.7201 | 6266.1316 | 6097.9259 | 6054.7386 | 6070.7923 | 5911.4515 | 5750.0341 | 5579.0905 | 5436.6672 | 5276.9624 | 5231.0544 | 5072.5667
| 2025-08-31 | 5152.101 | 4987.7652 | 4905.5229 | 4802.1771 | 4766.1463 | 4721.3238 | 4714.2526 | 4704.0478 | 4754.3162 | 4787.3408 | 4873.7874 | 4979.7733 | 5100.0297 | 4957.4285 | 4613.1188 | 4255.055 | 3899.2005 | 3467.4443 | 3108.5417 | 2740.9158 | 2471.3433 | 2256.1601 | 2240.1937 | 2287.5228 | 2417.6063 | 2472.9345 | 2573.603 | 2802.0447 | 3036.8631 | 3245.2255 | 3668.5023 | 4115.9853 | 4616.0004 | 5383.4059 | 5973.1023 | 6376.3587 | 6541.2279 | 6493.652 | 6329.0722 | 6179.4625 | 6072.6821 | 6189.1041 | 6113.2302 | 5967.8899 | 5794.2279 | 5600.4904 | 5384.6417 | 5227.0831
| 2026-09-19 | 5304.8762 | 5205.0826 | 5130.8508 | 5040.2682 | 4950.0243 | 4921.1895 | 4940.7369 | 4935.0854 | 4953.9298 | 4969.9384 | 5053.4133 | 5095.6985 | 5029.2713 | 4630.2244 | 4179.251 | 3820.1656 | 3428.4436 | 3062.8428 | 2651.6517 | 2373.6001 | 2261.8455 | 2242.497 | 2213.0626 | 2077.1102 | 2104.2857 | 2215.9261 | 2227.7816 | 2537.3816 | 2921.6762 | 3196.5928 | 3611.3567 | 4059.6819 | 4600.3468 | 5403.6256 | 5972.2622 | 6336.5686 | 6414.7581 | 6369.9726 | 6188.8182 | 6050.738 | 5910.7163 | 5944.2128 | 5937.891 | 5853.3584 | 5665.4042 | 5498.0253 | 5397.853 | 5294.8537

## Figure 2.14
Figure 2.14 | Historical and forecast transmission delivered energy |  |  |  |  | Index
| Financial year | Historical | Powerlink's 2026 High 50% PoE | Powerlink's 2026 Central 50% PoE | Powerlink's 2026 Low 50% PoE
| 2016/17 | 49880
| 2017/18 | 48739
| 2018/19 | 48764
| 2019/20 | 47860
| 2020/21 | 47421
| 2021/22 | 47405
| 2022/23 | 46214.1247
| 2023/24 | 47476.5424
| 2024/25 | 47306
| 2025/26 | 47594.4702
| 2026/27 |  | 50951.8095 | 49501.8273 | 48736.0879
| 2027/28 |  | 54142.4615 | 51646.9194 | 49496.6818
| 2028/29 |  | 60760.0366 | 56664.3552 | 49624.3924
| 2029/30 |  | 67018.6148 | 59014.2148 | 49028.2375
| 2030/31 |  | 70027.9282 | 60667.1931 | 48730.8691
| 2031/32 |  | 72847.2925 | 62165.4096 | 49012.0765
| 2032/33 |  | 76021.4885 | 63512.0829 | 49261.3714
| 2033/34 |  | 77932.5995 | 64293.8254 | 49311.7365
| 2034/35 |  | 79854.8306 | 66081.9348 | 49430.8272
| 2035/36 |  | 80682.7577 | 66567.3815 | 49661.259

## Table 2.2
Table 2.2 | Average annual growth rate over next 10 years |  |  |  | Index
Powerlink future scenario growth outlooks
|  | High | Central | Low
| Delivered energy | 5.42% | 3.412% | 0.426%
| Delivered summer maximum demand (50% PoE) | 4.254% | 2.698% | 0.1928%
| Delivered winter maximum demand (50% PoE) | 4.639% | 2.89% | 0.3334%

## Figure 2.13
Figure 2.13 | Load measurement definitions | Index
Notes:
(1) Includes Invicta and Koombooloomba.
(2) Including pump and battery loads.
(3) Includes Yarwun which is non-scheduled.
(4) For a full list of scheduled and semi-scheduled distribution connected generators refer to Table 8.2.
(5) Sun Metals Solar Farm and Condamine.
(6) Lakeland Solar and Storage, Hughenden Solar Farm, Pioneer Mill, Moranbah North, Racecourse Mill, Barcaldine Solar Farm, Longreach Solar Farm, German Creek, Oaky Creek, Sugar Mill, Baking Board Solar Farm, Daandine, Sunshine Coast Solar Farm and Rocky Point.
(7) For a full list of transmission network connected generators and scheduled and semi-scheduled direct connected embedded generators refer to Table 8.1.

## Figure 2.15
Figure 2.15 | Historical and forecast transmission delivered summer maximum demand | [5 empty] | Index
| Summer | Historical | Weather corrected | Powerlink's 2026 High 50% PoE | Powerlink's 2026 Central 50% PoE | Powerlink's 2026 Low 50% PoE
| 2016/17 | 8347 | 8257
| 2017/18 | 8789 | 8515
| 2018/19 | 8969 | 8488
| 2019/20 | 8766 | 8662
| 2020/21 | 8479 | 8660
| 2021/22 | 9031 | 8876
| 2022/23 | 8915.7425 | 9110
| 2023/24 | 9428.8764 | 9217.83
| 2024/25 | 9973.6553 | 9529.4102
| 2025/26 | 9461.9518 | 9590.7598
| 2026/27 |  |  | 10022.9551 | 9752.3164 | 9613.04
| 2027/28 |  |  | 10505.9658 | 10076.291 | 9688.0986
| 2028/29 |  |  | 11583.7324 | 10911.8477 | 9696.7041
| 2029/30 |  |  | 12493.0771 | 11250.9082 | 9583.4121
| 2030/31 |  |  | 12969.5234 | 11542.4873 | 9597.2256
| 2031/32 |  |  | 13338.832 | 11786.8809 | 9671.2959
| 2032/33 |  |  | 13845.8496 | 12020.4844 | 9724.9688
| 2033/34 |  |  | 14183.7646 | 12252.21 | 9768.9277
| 2034/35 |  |  | 14481.3594 | 12476.3887 | 9777.7432
| 2035/36 |  |  | 14547 | 12516.3047 | 9777.2773

## Figure 2.16
Figure 2.16 | Historical and forecast transmission delivered winter maximum demand | [5 empty] | Index
| Winter | Historical | Weather corrected | Powerlink's 2026 High 50% PoE | Powerlink's 2026 Central 50% PoE | Powerlink's 2026 Low 50% PoE
| 2017 | 6869.8171 | 7137.7653
| 2018 | 7330.6721 | 7654.3824
| 2019 | 7295.5557 | 7289.074
| 2020 | 7483.4262 | 7276.436
| 2021 | 7471.7183 | 7375.6
| 2022 | 7921.2933 | 7570.6116
| 2023 | 7398.7105 | 7555.93
| 2024 | 7970.024 | 7785.4619
| 2025 | 7875.8707 | 7876.4849
| 2026 | 7349.1545 | 7785.4619
| 2027 |  |  | 8260.5186 | 7961.7715 | 7782.8706
| 2028 |  |  | 9129.4473 | 8691.501 | 7845.5806
| 2029 |  |  | 10241.5244 | 9183.75 | 7851.2568
| 2030 |  |  | 10699.9941 | 9465.5146 | 7734.541
| 2031 |  |  | 11164.9502 | 9740.4375 | 7840.459
| 2032 |  |  | 11707.3604 | 10004.3652 | 7917.3457
| 2033 |  |  | 12089.8564 | 10297.7168 | 7977.876
| 2034 |  |  | 12468.6211 | 10543.2471 | 8028.8999
| 2035 |  |  | 12691.2734 | 10625.6055 | 8065.0303
| 2036 |  |  | 12820.6045 | 10651.3525 | 8075.7656

## Figure 2.17
Figure 2.17 | Historical and forecast transmission delivered annual minimum demand |  |  |  |  | Index
| Year | Historical | Powerlink's 2026 High 50% PoE | Powerlink's 2026 Central 50% PoE | Powerlink's 2026 Low 50% PoE
| 2017 | 4180.5951
| 2018 | 4007.5983
| 2019 | 3369.5923
| 2020 | 3005.5608
| 2021 | 3013.5076
| 2022 | 2597.4988
| 2023 | 2538.2406
| 2024 | 2389.4128
| 2025 | 2238.6509
| 2026 | 2077.1102
| 2027 |  | 2410.5837 | 2131.2017 | 1952.5913
| 2028 |  | 2553.5566 | 2238.4419 | 1775.1543
| 2029 |  | 3164.0947 | 2777.8542 | 1515.9373
| 2030 |  | 3897.5046 | 2833.6147 | 1214.4615
| 2031 |  | 4089.4604 | 2851.084 | 1088.5721
| 2032 |  | 4151.8491 | 2793.0654 | 924.5083
| 2033 |  | 4280.5322 | 2613.0288 | 775.1946
| 2034 |  | 4283.7129 | 2587.896 | 650.634
| 2035 |  | 4241.2744 | 2596.0178 | 555.3857
| 2036 |  | 4098.5825 | 2530.2378 | 538.4448

## Table 2.3
Table 2.3 | Average ratios of zone maximum delivered demand to zone delivered demand at time of Queensland region maximum delivered demand |  |  | Index
| Zone | Winter | Summer
| Far North | 1.142 | 1.12
| Ross | 1.558 | 1.404
| North | 1.162 | 1.16
| Central West | 1.126 | 1.248
| Gladstone | 1.034 | 1.016
| Wide Bay | 1.032 | 1.194
| Surat | 1.26 | 1.266
| Bulli | 1.058 | 1.122
| South West | 1.05 | 1.234
| Moreton | 1.018 | 1.042
| Gold Coast | 1.068 | 1.1

## Table 2.4 - 2.5
Table 2.4 - 2.5 | Annual transmission delivered energy by zone (GWh) | [9 empty] | Index
| Financial year | Far North | Ross | North | Central West | Gladstone | Wide Bay | Surat | Bulli | South West | Moreton | Gold Coast | Total
Actuals
| 2016/17 | 1704 | 2682 | 2661 | 3098 | 10196 | 1305 | 4154 | 1524 | 1308 | 18103 | 3145 | 49880
| 2017/18 | 1657 | 2645 | 2650 | 3027 | 9362 | 1238 | 4383 | 1497 | 1315 | 17873 | 3092 | 48739
| 2018/19 | 1648 | 2338 | 2621 | 2996 | 9349 | 1198 | 4805 | 1519 | 1376 | 17849 | 3065 | 48764
| 2019/20 | 1594 | 2466 | 2495 | 2859 | 9303 | 1031 | 5025 | 1580 | 1141 | 17395 | 2971 | 47860
| 2020/21 | 1519.0684 | 2568.515 | 2413.0063 | 2813.0392 | 9382.8878 | 969.8978 | 5240.7034 | 1490.967 | 993.2074 | 16806.9201 | 3222.0237 | 47421
| 2021/22 | 1597.9214 | 2418.1757 | 2755.2949 | 2775.8904 | 9124.3562 | 903.642 | 5419.6496 | 1395.3474 | 990.457 | 17101.4091 | 2924.1039 | 47405
| 2022/23 | 1601.5542 | 2073.8538 | 2668.3595 | 2782.8245 | 8897.827 | 897.5355 | 5278.9907 | 1333.7952 | 970.6399 | 16828.678 | 2878.0663 | 46214
| 2023/24 | 1565.9079 | 2286.1005 | 2548.081 | 2866.4297 | 9367.9827 | 950.9185 | 5376.1916 | 1481.0654 | 990.8252 | 17093.1663 | 2947.8738 | 47474
| 2024/25 | 1501.1659 | 2275.4472 | 2555.0758 | 2806.9815 | 9353.0174 | 952.5703 | 5362.7858 | 1512.8445 | 918.1373 | 17125.1478 | 2940.711 | 47304
| 2025/26 | 1452.2487 | 2465.8025 | 2746.4021 | 2848.3747 | 9496.2989 | 772.76 | 5364.8652 | 1511.6829 | 978.295 | 17028.0115 | 2927.7287 | 47592
Forecasts
| 2026/27 | 1568.963 | 1992.9742 | 2700.4797 | 3006.1398 | 9405.3796 | 458.8864 | 5350.3025 | 1375.6382 | 953.262 | 19125.4608 | 3564.3411 | 49501.8273
| 2027/28 | 1548.5698 | 2114.2585 | 2698.2993 | 3218.5924 | 9979.4177 | 487.2076 | 5369.1044 | 1404.5806 | 976.2948 | 20201.7278 | 3648.8664 | 51646.9194
| 2028/29 | 1527.8436 | 2115.048 | 2710.3656 | 3387.3346 | 10765.5343 | 498.3103 | 5399.7445 | 4409.6132 | 993.0543 | 21059.5158 | 3797.9911 | 56664.3552
| 2029/30 | 1508.2144 | 2106.3862 | 2733.3034 | 3389.3364 | 11126.4018 | 493.0038 | 5457.1365 | 4437.426 | 991.4403 | 22904.92 | 3866.6459 | 59014.2148
| 2030/31 | 1484.1827 | 2091.0943 | 2705.2364 | 3384.5289 | 11219.1612 | 482.2956 | 5396.4927 | 4413.6681 | 985.0591 | 24593.8455 | 3911.6286 | 60667.1931
| 2031/32 | 1462.1215 | 2183.5677 | 2683.0839 | 3386.5798 | 11279.8347 | 473.6242 | 5231.1109 | 4405.6047 | 977.1732 | 26121.9257 | 3960.7833 | 62165.4096
| 2032/33 | 1445.8744 | 2177.8931 | 2665.1414 | 3366.9285 | 11229.9974 | 473.7865 | 5059.6196 | 4371.4938 | 975.6558 | 27731.8017 | 4013.8906 | 63512.0829
| 2033/34 | 1429.5237 | 2176.9722 | 2653.2686 | 3358.8931 | 11214.7919 | 467.619 | 4949.4073 | 4345.8738 | 966.5965 | 28682.8039 | 4048.0756 | 64293.8254
| 2034/35 | 1422.5238 | 2172.5983 | 2634.9907 | 3357.4146 | 11211.4132 | 468.4872 | 4885.1555 | 4333.4524 | 969.1772 | 30523.5532 | 4103.1686 | 66081.9348
| 2035/36 | 1414.4834 | 2171.7671 | 2629.1166 | 3356.2978 | 11210.7136 | 465.553 | 4862.8225 | 4336.5369 | 965.892 | 31001.8383 | 4152.3602 | 66567.3815

## Table 2.6 - 2.7
Table 2.6 - 2.7 | State summer maximum transmission delivered demand by zone (MW) | [9 empty] | Index
| Summer | Far North | Ross | North | Central West | Gladstone | Wide Bay | Surat | Bulli | South West | Moreton | Gold Coast | Total
Actuals
| 2016/17 | 258.2755 | 221.5301 | 378.1446 | 429.481 | 1193.4437 | 269.7387 | 421.4071 | 178.3418 | 286.4432 | 3993 | 718.8133 | 8347.1722
| 2017/18 | 304.353 | 375.7343 | 413.24 | 463.3071 | 1102.272 | 278.3018 | 504.1487 | 183.0751 | 301.2789 | 4147 | 717.6186 | 8788.5806
| 2018/19 | 341.6684 | 339.4231 | 399.7709 | 484.2348 | 1096.0209 | 284.8869 | 525.9819 | 190.9339 | 312.3406 | 4270 | 724.3431 | 8968.9725
| 2019/20 | 286.4386 | 324.9077 | 390.5238 | 368.2649 | 1080.0843 | 263.2036 | 610.01 | 191.0792 | 266.7199 | 4276.1271 | 709.0541 | 8766.413
| 2020/21 | 254.3661 | 404.5586 | 431.4552 | 471.4837 | 1110.622 | 298.1506 | 588.458 | 165.2827 | 247.6511 | 3894 | 613.8043 | 8478.9834
| 2021/22 | 362.7193 | 441.2014 | 473.339 | 518.3289 | 1103.3217 | 269.3702 | 594.3734 | 174.4556 | 253.1553 | 4146.4416 | 696.5612 | 9031.2676
| 2022/23 | 304.7355 | 364.7954 | 413.7767 | 418.2218 | 1090.6017 | 283.2934 | 547.0694 | 131.8024 | 275.9156 | 4359.4085 | 725.1222 | 8916
| 2023/24 | 294.0752 | 321.3904 | 423.098 | 372.1115 | 1098.4361 | 214.4662 | 607.6936 | 177.408 | 270.0901 | 4906.8044 | 742.3028 | 9428.8764
| 2024/25 | 327.2032 | 443.4754 | 405.1979 | 474.9322 | 1120.0858 | 296.9564 | 641.0193 | 196.6623 | 255.0522 | 4987.6236 | 824.447 | 9973.6553
| 2025/26 | 348.419 | 520.0163 | 446.2952 | 484.2308 | 1143.1289 | 334.4506 | 608.2617 | 179.7264 | 284.9271 | 4343.6868 | 767.809 | 9461.9518
Forecasts
| 2026/27 | 356.3662 | 599.7773 | 581.0073 | 552.8763 | 1130.666 | 248.9281 | 639.5903 | 185.3181 | 299.4972 | 4424.8233 | 733.4664 | 9752.3164
| 2027/28 | 357.4251 | 628.2822 | 598.0502 | 603.2212 | 1245.571 | 262.1051 | 662.2542 | 202.9901 | 303.3541 | 4470.6665 | 742.3713 | 10076.291
| 2028/29 | 364.3281 | 607.7962 | 606.8592 | 608.4722 | 1314.039 | 255.8001 | 674.9973 | 687.9283 | 295.6651 | 4718.7148 | 777.2473 | 10911.8477
| 2029/30 | 368.5744 | 592.0696 | 605.8236 | 616.1376 | 1319.818 | 263.6463 | 674.5837 | 685.4787 | 302.1543 | 5026.1302 | 796.4918 | 11250.9082
| 2030/31 | 365.9411 | 596.0831 | 612.0481 | 607.3411 | 1300.887 | 251.6791 | 657.6071 | 670.0032 | 302.0301 | 5354.7532 | 824.1142 | 11542.4873
| 2031/32 | 366.7731 | 603.3072 | 616.4062 | 597.0822 | 1306.746 | 257.7831 | 640.4672 | 672.0272 | 299.3041 | 5596.0365 | 830.9482 | 11786.8809
| 2032/33 | 373.3523 | 633.2614 | 624.0744 | 596.6074 | 1320.029 | 262.0702 | 648.3224 | 680.7485 | 290.0452 | 5767.197 | 824.7766 | 12020.4844
| 2033/34 | 371.7009 | 643.0528 | 626.9198 | 618.1298 | 1324.673 | 249.3089 | 634.8468 | 673.8898 | 306.3199 | 5978.4243 | 824.9438 | 12252.21
| 2034/35 | 381.767 | 619.6549 | 637.5289 | 611.3459 | 1325.9 | 256.945 | 613.4079 | 673.7279 | 302.988 | 6222.3493 | 830.7739 | 12476.3887
| 2035/36 | 379.2312 | 595.4512 | 609.2593 | 596.9112 | 1264.316 | 252.8741 | 579.1762 | 639.0123 | 296.0631 | 6447.1387 | 856.8714 | 12516.3047

## Table 2.8 - 2.9
Table 2.8 - 2.9 | State winter maximum transmission delivered demand by zone (MW) | [9 empty] | Index
| Winter | Far North | Ross | North | Central West | Gladstone | Wide Bay | Surat | Bulli | South West | Moreton | Gold Coast | Total
Actuals
| 2017 | 241.3176 | 367.7083 | 365.7819 | 376.695 | 1074.4133 | 215.9257 | 513.4703 | 187.2975 | 247.9753 | 2797 | 483.0703 | 6869.8171
| 2018 | 242.3096 | 365.5998 | 335.4305 | 439.3085 | 1090.6486 | 234.807 | 475.1131 | 186.0195 | 335.653 | 3085.9516 | 539.831 | 7330.6721
| 2019 | 234.372 | 283.8119 | 361.9434 | 419.27 | 1036.5027 | 239.2108 | 614.517 | 194.5273 | 293.2998 | 3078.0411 | 540.0598 | 7295.5557
| 2020 | 227.1399 | 305.9515 | 326.5233 | 448.9775 | 1104.3911 | 246.4218 | 531.375 | 190.5961 | 312.8587 | 3273.9523 | 515.2391 | 7483.4262
| 2021 | 204.1566 | 295.8633 | 333.9088 | 383.4609 | 1074.9606 | 249.7508 | 591.7325 | 178.9408 | 338.9969 | 3275.079 | 544.8681 | 7471.7183
| 2022 | 230.2281 | 245.7364 | 322.1927 | 431.0109 | 991.3249 | 280.3809 | 507.7446 | 161.9516 | 359.8797 | 3780.0671 | 610.7765 | 7921
| 2023 | 216.7777 | 236.7857 | 351.6456 | 417.8994 | 1069.3778 | 251.5784 | 605.7174 | 166.8238 | 320.5852 | 3224.9898 | 536.5297 | 7398.7105
| 2024 | 221.393 | 187.038 | 367.1255 | 440.9147 | 1070.6241 | 270.4264 | 473.0349 | 192.6554 | 395.634 | 3727.5898 | 623.5882 | 7970.024
| 2025 | 232.5836 | 328.7585 | 416.1332 | 456.5579 | 1058.6161 | 247.3336 | 673.2078 | 191.5797 | 323.5624 | 3392.172 | 555.3659 | 7875.8707
| 2026 | 221.2391 | 378.4956 | 380.9226 | 423.7619 | 1098.7711 | 224.0839 | 614.0686 | 189.2278 | 304.4585 | 3017.2849 | 496.8406 | 7349.1545
Forecasts
| 2027 | 282.356 | 475.2155 | 460.3437 | 438.0549 | 1130.666 | 197.2307 | 506.7602 | 146.8312 | 237.2976 | 3505.8757 | 581.14 | 7961.7715
| 2028 | 304.0064 | 534.3827 | 508.669 | 513.0671 | 1245.571 | 222.9323 | 563.2774 | 172.6523 | 258.0165 | 3802.5057 | 631.4206 | 8756.501
| 2029 | 301.1978 | 502.478 | 501.7033 | 503.0368 | 1314.039 | 211.4753 | 558.0345 | 568.7248 | 244.4326 | 3901.0611 | 642.5667 | 9248.75
| 2030 | 304.7251 | 489.5036 | 500.8749 | 509.4022 | 1319.818 | 217.974 | 557.7235 | 566.7311 | 249.8112 | 4155.438 | 658.5131 | 9530.5146
| 2031 | 303.8748 | 494.9831 | 508.2403 | 504.3317 | 1300.887 | 208.9925 | 546.0722 | 556.3657 | 250.8036 | 4446.5482 | 684.3384 | 9805.4375
| 2032 | 306.6652 | 504.4354 | 515.3877 | 499.2306 | 1306.746 | 215.5368 | 535.5055 | 561.8934 | 250.2532 | 4678.9414 | 694.77 | 10069.3652
| 2033 | 310.277 | 526.2763 | 518.6414 | 495.8147 | 1320.029 | 217.7952 | 538.7929 | 565.7407 | 241.0441 | 4792.8691 | 685.4363 | 10212.7168
| 2034 | 305.5769 | 528.6564 | 515.3934 | 508.1671 | 1324.673 | 204.9579 | 521.9102 | 554.0076 | 251.8269 | 4914.8878 | 678.1897 | 10308.2471
| 2035 | 310.3546 | 503.7438 | 518.2743 | 496.989 | 1325.9 | 208.8815 | 498.6653 | 547.702 | 246.3118 | 5058.4118 | 675.3714 | 10390.6055
| 2036 | 308.4555 | 484.3225 | 495.5536 | 485.51 | 1264.316 | 205.6804 | 471.0849 | 519.7538 | 240.809 | 5243.9129 | 696.954 | 10416.3525

## Figure 2.18
Figure 2.18 | Daily load profile of summer 2025/26 and winter 2026 maximum transmission delivered demand days | [10 empty] | Index
Note: Period is halfhour ending
| Season | Date | 0:00 | 0:30 | 1:00 | 1:30 | 2:00 | 2:30 | 3:00 | 3:30 | 4:00 | 4:30 | 5:00 | 5:30 | 6:00 | 6:30 | 7:00 | 7:30 | 8:00 | 8:30 | 9:00 | 9:30 | 10:00 | 10:30 | 11:00 | 11:30 | 12:00 | 12:30 | 13:00 | 13:30 | 14:00 | 14:30 | 15:00 | 15:30 | 16:00 | 16:30 | 17:00 | 17:30 | 18:00 | 18:30 | 19:00 | 19:30 | 20:00 | 20:30 | 21:00 | 21:30 | 22:00 | 22:30 | 23:00 | 23:30
| Summer | 2026-02-12 18:30 | 6546.5302 | 6314.3414 | 6173.0278 | 6018.508 | 5942.649 | 5860.56 | 5806.8463 | 5778.8091 | 5737.0876 | 5797.1991 | 5815.4846 | 5952.4671 | 6066.4698 | 6141.1964 | 6067.9834 | 5925.4886 | 5602.4027 | 5338.8134 | 5152.2845 | 5142.4113 | 5095.1572 | 5116.6767 | 5194.5147 | 5243.7848 | 5332.9134 | 5468.839 | 5695.5727 | 5907.8181 | 5717.7013 | 6134.6939 | 6768.5748 | 7516.1518 | 8215.1582 | 8690.12 | 9172.075 | 9330.0687 | 9437.8199 | 9461.9518 | 9337.0265 | 9065.2531 | 8772.7605 | 8386.4751 | 8268.4237 | 8118.64 | 7796.6427 | 7463.9239 | 7138.9705 | 6870.238
| Winter | 2026-06-10 18:00 | 5556.0154 | 5395.4436 | 5260.7248 | 5166.4021 | 5068.1399 | 5002.8665 | 4959.1864 | 4953.8161 | 4987.8425 | 5079.9226 | 5199.8777 | 5387.1152 | 5580.383 | 5909.997 | 6234.3403 | 6382.525 | 6139.224 | 5879.8728 | 5707.0318 | 5470.9676 | 5295.6612 | 5125.5824 | 5091.0501 | 5292.3091 | 5390.3293 | 5538.9788 | 5525.222 | 5476.6836 | 5520.9287 | 5612.8256 | 5744.6114 | 6034.6714 | 6397.6484 | 6684.9681 | 6965.6401 | 7197.5983 | 7349.1545 | 7248.1799 | 7157.1489 | 7019.5231 | 6815.5619 | 6650.9408 | 6581.4553 | 6520.499 | 6363.9826 | 6132.7816 | 5850.3824 | 5688.1038

## Figure 2.19
Figure 2.19 | Daily load profile of 2026 minimum transmission delivered demand day (1) | [10 empty] | Index
Graph Legend Text Edit
19-Sep-2026 Delivered Demand
19-Sep-2026 Delivered Demand + BESS charging load + Wivenhoe Pump load
Period is halfhour Start |  | Date | 0:00 | 0:30 | 1:00 | 1:30 | 2:00 | 2:30 | 3:00 | 3:30 | 4:00 | 4:30 | 5:00 | 5:30 | 6:00 | 6:30 | 7:00 | 7:30 | 8:00 | 8:30 | 9:00 | 9:30 | 10:00 | 10:30 | 11:00 | 11:30 | 12:00 | 12:30 | 13:00 | 13:30 | 14:00 | 14:30 | 15:00 | 15:30 | 16:00 | 16:30 | 17:00 | 17:30 | 18:00 | 18:30 | 19:00 | 19:30 | 20:00 | 20:30 | 21:00 | 21:30 | 22:00 | 22:30 | 23:00 | 23:30
Annual |  | 2026-09-19 12:00 | 5304.8762 | 5205.0826 | 5130.8508 | 5040.2682 | 4950.0243 | 4921.1895 | 4940.7369 | 4935.0854 | 4953.9298 | 4969.9384 | 5053.4133 | 5095.6985 | 5029.2713 | 4630.2244 | 4179.251 | 3820.1656 | 3428.4436 | 3062.8428 | 2651.6517 | 2373.6001 | 2261.8455 | 2242.497 | 2213.0626 | 2077.1102 | 2104.2857 | 2215.9261 | 2227.7816 | 2537.3816 | 2921.6762 | 3196.5928 | 3611.3567 | 4059.6819 | 4600.3468 | 5403.6256 | 5972.2622 | 6336.5686 | 6414.7581 | 6369.9726 | 6188.8182 | 6050.738 | 5910.7163 | 5944.2128 | 5937.891 | 5853.3584 | 5665.4042 | 5498.0253 | 5397.853 | 5294.8537
Wivenhoe (Pump Load) |  | 2026-09-19 12:00 | 0.5062 | 1.8667 | 0 | 0.7613 | 0.4794 | 0.4606 | 0.4985 | 0.515 | 0.4662 | 0.4588 | 0.0858 | 0 | 0.1055 | 18.8637 | 247.7312 | 247.2824 | 247.0613 | 247.0296 | 247.0552 | 246.8888 | 246.9376 | 246.5441 | 246.7853 | 246.5679 | 246.178 | 246.1762 | 245.9123 | 245.9822 | 245.947 | 245.6959 | 245.4642 | 245.2258 | 172.4483 | 1.3195 | 0.853 | 0.1086 | 0 | 0 | 0 | 0.7548 | 0.5444 | 0.4385 | 0.4719 | 0.1703 | 3.1177 | 0.4478 | 0.2253 | 3.6294
BESS |  | 2026-09-19 12:00 | 11.1015 | 21.5098 | 22.6815 | 14.9428 | 18.0663 | 18.9493 | 16.5796 | 15.7032 | 16.3323 | 15.4194 | 30.9706 | 24.7939 | 9.5357 | 44.5804 | 130.1259 | 170.632 | 246.5166 | 231.5163 | 574.5978 | 1040.5268 | 1180.395 | 1466.8287 | 1294.7129 | 927.323 | 929.9731 | 1110.7479 | 898.0091 | 751.493 | 545.8273 | 281.2394 | 132.7508 | 23.2283 | 64.8432 | 1.65 | 0.9974 | 0.9805 | 1.3437 | 0.9603 | 0.9048 | 1.2182 | 1.9736 | 6.2404 | 2.1731 | 3.9257 | 5.43 | 9.5553 | 12.2752 | 22.3251
Annual + Pump + BESS |  | 2026-09-19 12:00 | 5316.4839 | 5228.4591 | 5153.5323 | 5055.9723 | 4968.57 | 4940.5994 | 4957.815 | 4951.3036 | 4970.7283 | 4985.8166 | 5084.4697 | 5120.4924 | 5038.9125 | 4693.6685 | 4557.1081 | 4238.08 | 3922.0215 | 3541.3887 | 3473.3047 | 3661.0157 | 3689.1781 | 3955.8698 | 3754.5608 | 3251.0011 | 3280.4368 | 3572.8502 | 3371.703 | 3534.8568 | 3713.4505 | 3723.5281 | 3989.5717 | 4328.136 | 4837.6383 | 5406.5951 | 5974.1126 | 6337.6577 | 6416.1018 | 6370.9329 | 6189.723 | 6052.711 | 5913.2343 | 5950.8917 | 5940.536 | 5857.4544 | 5673.9519 | 5508.0284 | 5410.3535 | 5320.8082

## Figure 2.20 - 2.22
Figure 2.20 | Historical annual transmission delivered load duration curves | [6 empty] | Index |  | Figure 2.21 | Historical transmission delivered load duration curves (95-100%) | [8 empty] | Figure 2.22 | Historical transmission delivered load duration curves (0-0.5%)
| Percentage time of year | 0 | 0.005 | 0.01384 | 0.02815 | 0.04987 | 0.08125 | 0.12487 | 0.18363 | 0.26074 | 0.35977 | 0.4846 | 0.63948 | 0.82896 | 1.058 | 1.3317 | 1.6559 | 2.0365 | 2.4797 | 2.9923 | 3.5812 | 4.254 | 5.0183 | 5.8822 | 6.8543 | 7.9433 | 9.1586 | 10.5098 | 12.0067 | 13.6597 | 15.4796 | 17.4774 | 19.6647 | 22.0532 | 24.6553 | 27.4835 | 30.5509 | 33.8708 | 37.457 | 41.3238 | 45.4855 | 49.9573 | 54.9573 | 59.3573 | 63.2573 | 66.8573 | 70.1673 | 73.2373 | 76.0773 | 78.6873 | 81.0673 | 83.2673 | 84.4673 | 86.2873 | 87.9873 | 89.4873 | 90.8393 | 92.0547 | 93.1447 | 94.1168 | 94.9808 | 95.7458 | 96.4185 | 97.0075 | 97.52 | 97.9633 | 98.3438 | 98.668 | 98.9418 | 99.1708 | 99.3603 | 99.5151 | 99.64 | 99.739 | 99.8161 | 99.8749 | 99.9185 | 99.9499 | 99.9716 | 99.9859 | 99.9947 | 99.9998 | 100
| 2021/22 | 9031.2676 | 8641.5843 | 8165.1547 | 8006.3237 | 7764.1864 | 7571.3692 | 7446.9157 | 7336.0295 | 7242.6257 | 7154.6011 | 7074.6918 | 6992.0929 | 6929.434 | 6850.4838 | 6791.3017 | 6736.3604 | 6682.1549 | 6628.1278 | 6568.516 | 6516.9652 | 6455.5229 | 6397.8427 | 6332.2555 | 6272.5725 | 6209.5335 | 6149.9422 | 6087.6489 | 6026.5928 | 5960.7492 | 5901.0525 | 5839.8475 | 5785.0477 | 5727.2478 | 5675.4444 | 5623.9264 | 5568.1993 | 5515.6023 | 5464.7749 | 5415.659 | 5366.142 | 5317.4416 | 5274.1383 | 5231.5329 | 5192.5871 | 5152.8553 | 5117.2277 | 5081.5047 | 5044.8652 | 5011.8247 | 4976.4985 | 4944.2971 | 4912.8032 | 4880.9196 | 4850.235 | 4819.7204 | 4790.0936 | 4756.1865 | 4722.3269 | 4690.1764 | 4655.7127 | 4618.5576 | 4572.3296 | 4520.8192 | 4447.8775 | 4366.9967 | 4284.4468 | 4202.5401 | 4108.4886 | 4021.5545 | 3947.9173 | 3880.4865 | 3805.7914 | 3731.6214 | 3650.859 | 3575.6772 | 3488.7107 | 3414.0924 | 3345.3275 | 3247.6424 | 3153.6189 | 3050.9823 | 2898.4286
| 2022/23 | 8915.7425 | 8726.8269 | 8387.8848 | 8101.284 | 7894.9866 | 7736.0864 | 7560.522 | 7417.7004 | 7281.7301 | 7174.1578 | 7079.9136 | 6996.08 | 6908.7377 | 6838.8306 | 6768.6386 | 6703.9084 | 6646.5831 | 6583.2538 | 6524.542 | 6470.0211 | 6408.1642 | 6348.464 | 6288.8901 | 6226.6748 | 6165.2455 | 6095.9626 | 6032.3558 | 5958.2737 | 5893.04 | 5829.9723 | 5762.3617 | 5701.7679 | 5645.5593 | 5584.4333 | 5522.3418 | 5463.9936 | 5408.9416 | 5351.3729 | 5300.0302 | 5249.8081 | 5200.0632 | 5153.3926 | 5109.4652 | 5069.3855 | 5027.0774 | 4989.3975 | 4956.0145 | 4919.4095 | 4890.5718 | 4857.898 | 4826.4236 | 4793.0051 | 4758.7149 | 4722.5132 | 4688.0748 | 4650.0358 | 4606.9145 | 4556.6482 | 4485.5696 | 4402.5341 | 4310.615 | 4206.8283 | 4116.9811 | 4040.1355 | 3952.645 | 3871.1876 | 3804.4366 | 3738.9279 | 3667.4818 | 3597.0805 | 3531.7747 | 3460.2759 | 3403.4605 | 3335.7747 | 3259.6185 | 3182.3663 | 3087.5198 | 2994.6611 | 2872.1454 | 2760.4701 | 2657.117 | 2597.4988
| 2023/24 | 9428.8764 | 9158.4519 | 8845.986 | 8585.2532 | 8276.7761 | 8112.9706 | 7992.0461 | 7850.5523 | 7711.7399 | 7572.3421 | 7442.9728 | 7306.7558 | 7189.0212 | 7078.2825 | 6991.1122 | 6913.4128 | 6829.7538 | 6759.4778 | 6691.9437 | 6623.3804 | 6556.3895 | 6490.7543 | 6423.0442 | 6358.008 | 6286.0663 | 6220.608 | 6154.6379 | 6084.2527 | 6012.4374 | 5948.1337 | 5879.8396 | 5812.8787 | 5760.3753 | 5704.7327 | 5649.6679 | 5599.301 | 5545.703 | 5487.8108 | 5439.1562 | 5390.6582 | 5340.8755 | 5296.9444 | 5249.5132 | 5200.0191 | 5151.1945 | 5106.983 | 5061.8081 | 5018.3265 | 4977.9839 | 4937.0579 | 4898.1416 | 4861.9212 | 4829.8311 | 4797.2114 | 4763.9721 | 4726.5488 | 4685.6378 | 4634.5284 | 4584.8899 | 4514.8327 | 4427.488 | 4334.3571 | 4242.9166 | 4143.9392 | 4061.6437 | 3969.9931 | 3883.7745 | 3812.0541 | 3727.3095 | 3647.5333 | 3577.3072 | 3508.8187 | 3428.9679 | 3351.5465 | 3271.7706 | 3196.1208 | 3111.4272 | 3013.9352 | 2819.5873 | 2703.8196 | 2609.9212 | 3006
| 2024/25 | 9973.6554 | 9478.6161 | 8694.9313 | 8339.926 | 8090.5906 | 7881.0568 | 7744.5372 | 7635.9263 | 7532.9221 | 7433.8062 | 7328.2445 | 7238.7997 | 7159.5041 | 7087.2103 | 7018.3566 | 6949.4945 | 6877.2811 | 6809.4859 | 6744.7225 | 6670.598 | 6602.2423 | 6532.4987 | 6464.4554 | 6391.2181 | 6325.1591 | 6252.6795 | 6178.9163 | 6104.0617 | 6032.5318 | 5967.4559 | 5901.7437 | 5842.0176 | 5776.9986 | 5717.9704 | 5659.3644 | 5603.822 | 5554.4424 | 5504.7272 | 5455.4006 | 5407.1097 | 5366.8801 | 5319.1225 | 5274.5345 | 5228.0393 | 5181.3492 | 5136.2714 | 5092.9508 | 5054.1974 | 5014.9724 | 4971.6313 | 4933.0286 | 4893.6962 | 4855.4302 | 4817.4182 | 4775.987 | 4731.4683 | 4686.0796 | 4631.071 | 4559.1188 | 4466.8056 | 4362.8364 | 4266.0777 | 4164.3457 | 4072.3283 | 3986.0789 | 3909.5448 | 3823.1322 | 3745.3106 | 3654.0749 | 3571.1115 | 3496.4034 | 3425.0955 | 3343.5115 | 3266.0216 | 3168.2594 | 3081.048 | 2983.3845 | 2886.4683 | 2782.4204 | 2681.4279 | 2516.4025 | 2898.4286
| 2025/26 | 9461.9518 | 9249.0562 | 8874.4609 | 8569.6367 | 8320.0096 | 8110.4218 | 7927.7819 | 7787.1376 | 7649.5055 | 7536.1216 | 7439.5514 | 7341.5431 | 7262.4607 | 7185.279 | 7113.1105 | 7043.0669 | 6980.7794 | 6896.824 | 6827.0318 | 6758.3215 | 6685.4945 | 6615.3484 | 6543.946 | 6471.6724 | 6400.8093 | 6330.8333 | 6258.8262 | 6186.5326 | 6111.7851 | 6037.3671 | 5963.7008 | 5889.8694 | 5819.171 | 5756.7598 | 5695.6191 | 5634.4987 | 5574.1621 | 5523.0877 | 5477.8271 | 5427.3408 | 5384.2459 | 5338.1684 | 5296.7515 | 5256.8456 | 5216.7151 | 5175.4467 | 5138.3847 | 5102.7546 | 5067.6826 | 5028.3605 | 4991.7457 | 4953.1135 | 4912.2206 | 4858.8393 | 4805.1573 | 4743.5471 | 4672.9328 | 4579.2091 | 4477.257 | 4381.7284 | 4286.0524 | 4201.7079 | 4115.8092 | 4027.5736 | 3941.8169 | 3868.7703 | 3776.8939 | 3699.7306 | 3615.6267 | 3542.8466 | 3460.5836 | 3375.9993 | 3299.5079 | 3212.6984 | 3120.4337 | 3038.531 | 2926.7806 | 2793.1762 | 2639.28 | 2523.397 | 2393.9152 | 2597.4988
Figure 2.21

## Historical Energy
Table Ref.1 | Historical energy (GWh) | [8 empty] | Index
| Financial year | Operational as generated | Operational sent out | Native as generated | Native sent out | Transmission sent out | Transmission delivered | Native | Native plus rooftop PV
| 2016/17 | 55101 | 51323 | 56674 | 53017 | 51262 | 49880 | 51635 | 53506
| 2017/18 | 54538 | 50198 | 56139 | 51918 | 50172 | 48739 | 50925 | 53406
| 2018/19 | 54861 | 50473 | 56381 | 52118 | 50163 | 48764 | 51240 | 54529
| 2019/20 | 54179 | 50039 | 55776 | 51740 | 49248 | 47860 | 50804 | 54449
| 2020/21 | 53415 | 49727 | 54710 | 51140 | 48608 | 47421 | 50107 | 55232
| 2021/22 | 53737 | 49940 | 54744 | 51052 | 48613.9074 | 47405 | 50081 | 56162
| 2022/23 | 52692.42 | 48905.8705 | 53689.752 | 49998.0151 | 47369.3258 | 46214.1247 | 49047.0766 | 55714.0766
| 2023/24 | 54827.191 | 50154.427 | 55857.978 | 51271.5064 | 48663.1802 | 47476.5424 | 50250.9881 | 58009.9881
| 2024/25 | 54192 | 50775 | 54983 | 51675 | 48536.5165 | 47306 | 50374 | 59104
| 2025/26 | 54503.499 | 51737.2664 | 55287.2765 | 52614.72 | 48646.8848 | 47594.4702 | 50596.6696 | 60656.1849

## Forecast Delivered Energy
Table Ref.2 | Forecast annual transmission delivered energy (GWh) |  |  |  | Index
| Financial year | High | Central | Low
| 2026/27 | 50951.8095 | 49501.8273 | 48736.0879
| 2027/28 | 54142.4615 | 51646.9194 | 49496.6818
| 2028/29 | 60760.0366 | 56664.3552 | 49624.3924
| 2029/30 | 67018.6148 | 59014.2148 | 49028.2375
| 2030/31 | 70027.9282 | 60667.1931 | 48730.8691
| 2031/32 | 72847.2925 | 62165.4096 | 49012.0765
| 2032/33 | 76021.4885 | 63512.0829 | 49261.3714
| 2033/34 | 77932.5995 | 64293.8254 | 49311.7365
| 2034/35 | 79854.8306 | 66081.9348 | 49430.8272
| 2035/36 | 80682.7577 | 66567.3815 | 49661.259

## Forecast Native Energy
Table Ref.3 | Forecast annual native energy (GWh) |  |  |  | Index
| Financial year | High | Central | Low
| 2026/27 | 55148.6082 | 53701.8829 | 52936.9815
| 2027/28 | 58347.9553 | 55864.7167 | 53711.8361
| 2028/29 | 64953.0562 | 60868.6408 | 53838.1771
| 2029/30 | 71208.1234 | 63219.3219 | 53226.0666
| 2030/31 | 74226.0853 | 64873.5912 | 52935.4507
| 2031/32 | 77055.6892 | 66384.3109 | 53229.4497
| 2032/33 | 80215.2426 | 67713.844 | 53459.1356
| 2033/34 | 82119.8611 | 68491.443 | 53506.3051
| 2034/35 | 84039.7562 | 70283.2744 | 53625.3458
| 2035/36 | 84884.1005 | 70776.5152 | 53871.7532

## Historical Summer Max
Table Ref.4 | Historical summer maximum demand at time of delivered peak (MW) | [9 empty] | Index
| Summer | Operational as generated | Operational sent out | Native as generated | Native sent out | Transmission sent out | Transmission delivered | Transmission Delivered corrected to 50% PoE | Native | Native plus solar PV
| 2016/17 | 9412 | 8856 | 9572 | 9078 | 8694 | 8347 | 8257 | 8731 | 8817
| 2017/18 | 9798 | 9211 | 10015 | 9489 | 9080 | 8789 | 8515 | 9198 | 9602
| 2018/19 | 10010 | 9433 | 10173 | 9666 | 9248 | 8969 | 8488 | 9387 | 9523
| 2019/20 | 9836 | 9283 | 10052 | 9544 | 9056 | 8766 | 8662 | 9255 | 9453
| 2020/21 | 9473 | 8954 | 9627 | 9161 | 8711 | 8479 | 8660 | 8929 | 9256
| 2021/22 | 10058 | 9503 | 10126 | 9624 | 9332 | 9031 | 8876 | 9323 | 9323
| 2022/23 | 9873 | 9362.7405 | 9984.5273 | 9487.1956 | 9201.4112 | 8915.7425 | 9110 | 9412.788 | 9412.788
| 2023/24 | 11005 | 10358.6997 | 11135.9639 | 10587.0185 | 9803.8654 | 9428.8764 | 9217.83 | 11149.3458 | 11149.3458
| 2024/25 | 11144 | 10611.756 | 11219.8688 | 10750.9395 | 10365.2582 | 9973.6553 | 9529.4102 | 10342.2208 | 10751.2208
| 2025/26 | 10385 | 9858.7172 | 10472.1751 | 9998.2053 | 9715.7708 | 9461.9518 | 9590.7598 | 9731.1322 | 9859.6322

## Forecast Summer Max
Table Ref.5 | Forecast summer transmission delivered maximum demand (MW) | [9 empty] | Index
| Summer | High |  |  | Central |  |  | Low
|  | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE
| 2026/27 | 9530.1846 | 10022.9551 | 10723.1982 | 9245.8965 | 9752.3164 | 10378.3809 | 9106.4014 | 9613.04 | 10239.7832
| 2027/28 | 9993.7812 | 10505.9658 | 11220.457 | 9552.9414 | 10076.291 | 10689.8135 | 9177.8936 | 9688.0986 | 10290.332
| 2028/29 | 11038.6904 | 11583.7324 | 12304.4092 | 10373.9863 | 10911.8477 | 11539.8506 | 9190.1113 | 9696.7041 | 10305.1445
| 2029/30 | 11965.1406 | 12493.0771 | 13255.5742 | 10723.7705 | 11250.9082 | 11904.8584 | 9074.582 | 9583.4121 | 10193.1494
| 2030/31 | 12442.6123 | 12969.5234 | 13746.2773 | 11012.8223 | 11542.4873 | 12206.4004 | 9084.0547 | 9597.2256 | 10191.5947
| 2031/32 | 12783.8281 | 13338.832 | 14105.0918 | 11259.458 | 11786.8809 | 12446.9697 | 9157.0205 | 9671.2959 | 10270.167
| 2032/33 | 13300.5117 | 13845.8496 | 14604.3994 | 11495.7969 | 12020.4844 | 12664.8613 | 9221.5283 | 9724.9688 | 10313.1279
| 2033/34 | 13612.3105 | 14183.7646 | 14936.8125 | 11716.0859 | 12252.21 | 12907.4707 | 9260.2051 | 9768.9277 | 10359.0205
| 2034/35 | 13887.1123 | 14481.3594 | 15245.9775 | 11910.4883 | 12476.3887 | 13118.6641 | 9262.3848 | 9777.7432 | 10370.5938
| 2035/36 | 13968.1895 | 14547 | 15343.418 | 11982.2715 | 12516.3047 | 13194.6533 | 9287.9941 | 9777.2773 | 10390.1299

## Historical Winter Max
Table Ref.6 | Historical winter maximum demand at time of delivered peak (MW) | [9 empty] | Index
| Winter | Operational as generated | Operational sent out | Native as generated | Native sent out | Transmission sent out | Transmission delivered | Transmission Delivered corrected to 50% PoE | Native | Native plus rooftop solar PV
| 2017 | 7595 | 7063.0015 | 7756.2257 | 7282.0328 | 7066.9979 | 6869.8171 | 7137.7653 | 7084.852 | 7084.852
| 2018 | 8172 | 7622.5718 | 8294.7529 | 7803.4236 | 7553.806 | 7330.6721 | 7654.3824 | 7580.2897 | 7580.2897
| 2019 | 7898 | 7446.0041 | 8095.5333 | 7735.1894 | 7486.2934 | 7295.5557 | 7289.074 | 7544.4516 | 7544.4516
| 2020 | 8143 | 7670.7215 | 8319.5517 | 7940.6385 | 7673.1108 | 7483.4262 | 7276.436 | 7750.9539 | 7750.9539
| 2021 | 8143 | 7676.923 | 8279.3244 | 7900.9849 | 7659.0763 | 7471.7183 | 7375.6 | 7713.6269 | 7725.1269
| 2022 | 8625 | 8216.2896 | 8701.074 | 8346.516 | 8140.7679 | 7921.2933 | 7570.6116 | 8126.9179 | 8126.9179
| 2023 | 8137 | 7600.758 | 8222.915 | 7738.4885 | 7584.5236 | 7398.7105 | 7555.93 | 7552.6011 | 7552.6011
| 2024 | 8728 | 8190.0829 | 8728 | 8152.4076 | 8187.7472 | 7970.024 | 7785.4619 | 7926.6645 | 7926.6645
| 2025 | 8591 | 8092.6492 | 8615.3917 | 8181.3591 | 8100.0907 | 7875.8707 | 7876.4849 | 7954.6089 | 7954.6089
| 2026 | 8024 | 7501.2357 | 8107.7506 | 7666.6952 | 7459.9447 | 7349.1545 | 7785.4619 | 7554.7118 | 7554.7118

## Forecast Winter Max
Table Ref.7 | Forecast winter transmission delivered maximum demand (MW) | [9 empty] | Index
| Winter | High |  |  | Central |  |  | Low
|  | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE
| 2027 | 7578.7954 | 8260.5186 | 8645.5059 | 7298.8516 | 7961.7715 | 8343.6875 | 7124.1709 | 7782.8706 | 8222.6875
| 2028 | 8477.8174 | 9129.4473 | 9593.5059 | 8008.626 | 8691.501 | 9168.1152 | 7219.5244 | 7845.5806 | 8273.1084
| 2029 | 9632.5742 | 10241.5244 | 10718.9424 | 8496.209 | 9183.75 | 9617.9062 | 7252.7793 | 7851.2568 | 8267.7656
| 2030 | 10139.5908 | 10699.9941 | 11156.3271 | 8812.2158 | 9465.5146 | 9901.9639 | 7180.3335 | 7734.541 | 8137.2393
| 2031 | 10648.4219 | 11164.9502 | 11619.6445 | 9097.7559 | 9740.4375 | 10157.623 | 7268.6123 | 7840.459 | 8240.0801
| 2032 | 11201.9785 | 11707.3604 | 12183.3164 | 9380.8076 | 10004.3652 | 10405.0664 | 7341.2402 | 7917.3457 | 8308.8193
| 2033 | 11599.459 | 12089.8564 | 12623.624 | 9704.6387 | 10297.7168 | 10684.6631 | 7387.7539 | 7977.876 | 8356.5029
| 2034 | 11926.9189 | 12468.6211 | 13043.9697 | 9956.5059 | 10543.2471 | 10913.2725 | 7431.1763 | 8028.8999 | 8400.1719
| 2035 | 12138.6699 | 12691.2734 | 13288.3574 | 10097.8457 | 10625.6055 | 11048.4805 | 7513.1348 | 8065.0303 | 8466.5166
| 2036 | 12223.3252 | 12820.6045 | 13468.8145 | 10151.3711 | 10651.3525 | 11061.1035 | 7535.2363 | 8075.7656 | 8439.2119

## Historical Min
Table Ref.8 | Historical annual minimum demand (MW) | [8 empty] | Index
| Summer | Operational as generated | Operational sent out | Native as generated | Native Sent Out | Transmission sent out | Transmission delivered | Native | Native plus solar PV
| 2016/17 | 4791 | 4313.3922 | 4941.7114 | 4525.7285 | 4317.5184 | 4180.5951 | 4388.8052 | 4388.8052
| 2017/18 | 4647 | 4165.2814 | 4867.8751 | 4500.6055 | 4142.5102 | 4007.5983 | 4365.6937 | 5571.6937
| 2018/19 | 4211 | 3711.6348 | 4441.19 | 4111.5224 | 3527.7177 | 3369.5923 | 3953.3969 | 5323.3969
| 2019/20 | 3897 | 3493.0026 | 4094.4982 | 3767.0338 | 3097.2068 | 3005.5608 | 3675.3879 | 5882.3879
| 2020/21 | 3869 | 3479.7675 | 3957.5148 | 3701.1108 | 3043.1653 | 3013.5076 | 3671.4531 | 6804.4531
| 2021/22 | 3504 | 3065.2499 | 3616.901 | 3282.9655 | 2668.3768 | 2597.4988 | 3173.156 | 6457.156
| 2022/23 | 3490 | 2973.1192 | 3654.7848 | 3276.9295 | 2624.6551 | 2538.2406 | 3180.8655 | 6232.3655
| 2023/24 | 3091 | 2646.5184 | 3091 | 2650.3815 | 2435.8225 | 2389.4128 | 2389.4128 | 6741.4128
| 2024/25 | 2790 | 2684.3512 | 2886.128 | 2784.0516 | 2326.1828 | 2238.6509 | 2450.0556 | 5872.0556
| 2025/26 | 2898 | 3496.8764 | 3011.868 | 3661.9804 | 2135.601 | 2077.1102 | 2676.1666 | 7938.1666
Note:
(1) minimum based on preliminary data up to 22nd of September 2026

## Forecast Min
Table Ref.9 | Forecast annual transmission delivered minimum demand (MW) (1) | [9 empty] | Index
| Year | High |  |  | Central |  |  | Low
|  | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE | 90% PoE | 50% PoE | 10% PoE
| 2027 | 1972.0725 | 2410.5837 | 3158.7507 | 1737.2649 | 2131.2017 | 2900.8188 | 1574.5636 | 1952.5913 | 2640.6067
| 2028 | 2119.3755 | 2553.5566 | 3632.9111 | 1838.1724 | 2238.4419 | 3275.0171 | 1387.967 | 1775.1543 | 2470.7725
| 2029 | 2720.8564 | 3164.0947 | 4308.6538 | 2371.6909 | 2777.8542 | 3626.5149 | 1123.7445 | 1515.9373 | 2193.2969
| 2030 | 3458.1489 | 3897.5046 | 4925.9834 | 2419.3511 | 2833.6147 | 3685.7983 | 817.3977 | 1214.4615 | 1861.8096
| 2031 | 3646.5176 | 4089.4604 | 5070.646 | 2419.8848 | 2851.084 | 3689.5828 | 688.4121 | 1088.5721 | 1721.8518
| 2032 | 3692.6423 | 4151.8491 | 5223.9976 | 2356.6509 | 2793.0654 | 3618.9014 | 522.3805 | 924.5083 | 1535.4038
| 2033 | 3796.2593 | 4280.5322 | 5286.9531 | 2164.4529 | 2613.0288 | 3437.1038 | 367.8838 | 775.1946 | 1383.6553
| 2034 | 3791.6479 | 4283.7129 | 5361.7622 | 2135.3042 | 2587.896 | 3419.6235 | 239.5112 | 650.634 | 1250.3518
| 2035 | 3694.7537 | 4241.2744 | 5262.8521 | 2126.4811 | 2596.0178 | 3433.5425 | 145.0154 | 555.3857 | 1151.4128
| 2036 | 3607.8157 | 4098.5825 | 5333.0391 | 2089.0062 | 2530.2378 | 3435.8679 | 134.5571 | 538.4448 | 1151.2358
Notes:
(1) Forecasts provided without predicting market outcomes, directions or constraints which may be imposed to ensure system security but impact on the output of these embedded VRE generators.