## Generators and Scheduled Loads
l
Participant | Station Name | Connection Point | Technology Type - Descriptor and Unit Size (MW) | Reg Cap (MW) | Ceasing Date
AGL Hydro Partnership | Townsville Gas Turbine | T144 Townsville GT PS | Open Cycle Gas turbines (OCGT) | 165
Braemar Power Project Pty Ltd | Braemar Power Station | R002 Braemar | Open Cycle Gas turbines (OCGT) | 181
Braemar Power Project Pty Ltd | Braemar Power Station | R002 Braemar | Open Cycle Gas turbines (OCGT) | 181
Braemar Power Project Pty Ltd | Braemar Power Station | R002 Braemar | Open Cycle Gas turbines (OCGT) | 181
Callide Power Trading Pty Limited | Callide C Power Plant | H024 Calvale | Steam Super Critical | 466
Callide Power Trading Pty Limited | Callide C Power Plant | H024 Calvale | Steam Super Critical | 466
CS Energy Limited | Callide B Power Station | H024 Calvale | Steam Sub-Critical | 350
CS Energy Limited | Callide B Power Station | H024 Calvale | Steam Sub-Critical | 350
CS Energy Limited | Gladstone Power Station | H007 Gladstone | Steam Sub-Critical | 280
CS Energy Limited | Gladstone Power Station | H007 Gladstone | Steam Sub-Critical | 280
CS Energy Limited | Gladstone Power Station | T005 Gladstone | Steam Sub-Critical | 280
CS Energy Limited | Gladstone Power Station | T005 Gladstone | Steam Sub-Critical | 280
CS Energy Limited | Gladstone Power Station | H007 Gladstone | Steam Sub-Critical | 280
CS Energy Limited | Gladstone Power Station | H007 Gladstone | Steam Sub-Critical | 280
CS Energy Limited | Kogan Creek Power Station | S005 Western Downs | Steam Super Critical | 750
CS Energy Limited | Wivenhoe Power Station | H012 Mt. England | Hydro - pump storage | 285
CS Energy Limited | Wivenhoe Power Station | H012 Mt. England | Hydro - pump storage | 285
ERM Power Retail Pty Ltd | Oakey Power Station | T146 Oakey GT PS | Open Cycle Gas turbines (OCGT) | 173
ERM Power Retail Pty Ltd | Oakey Power Station | T146 Oakey GT PS | Open Cycle Gas turbines (OCGT) | 173
Clare Solar Farm Pty Ltd | Clare Solar Farm Power Station | T240 Clare Solar Farm | Solar PV | 100
ESCO Pacific | Ross River Solar Farm | T241 Lake Ross | Solar PV | 116
AGL Hydro Partnership | Coopers Gap Wind Farm | H085 Coopers Gap | Wind Farm | 440
APA | Darling Downs Solar Farm | H086 Darling Downs Solar Farm PS | Solar PV | 108
Edify Energy | Whitsunday Solar Farm | T242 Springlands | Solar PV | 57
Edify Energy | Hamilton Solar Farm | T242 Springlands | Solar PV | 57
Edify Energy | Daydream Solar Farm | H087 Crush Creek | Solar PV | 150
Edify Energy | Hayman Solar Farm | H087 Crush Creek | Solar PV | 50
FRV | Lilyvale Solar Farm | T244 Bundoora | Solar PV | 100
Neoen | Kaban Wind farm | H108 Tumoulin | Wind Farm | 152
Ratch | Mt. Emerald Wind Farm | H060 Walkamin | Wind Farm | 180
Pacific Hydro | Haughton Solar Farm | H091 Haughton River | Solar PV | 100
Adani | Rugby Run Solar Farm | T255 Rugby Run Solar Farm | Solar PV | 65
RES | Columboola Solar Farm | T194 Columboola | Solar PV | 162
Metka-EGN | Moura Solar farm | T027 Moura | Solar PV | 82
Neoen | Western Downs Green Power Hub | S005 Western Downs | Solar PV | 400
Lightsource Australia | Woolooga Energy Park | H005 Woolooga | Solar PV | 176
X-Elio | Bluegrass Solar Farm | T268 Cameby | Solar PV | 148
Vena | Wandoan South Solar Farm | H125 Juandah | Solar PV | 365
Eneos | Edenvale Solar Park | H078 Orana | Solar PV | 146
Shell New Energies Australia | Gangarri Solar Farm | T273 Gangarri Solar Farm | Solar PV | 120
Vena Energy Australia | Wandoan South BESS | H076 Wandoan South | Battery Energy Storage Systen | 100
Genex | Bouldercombe BESS | H010 Bouldercombe | Battery Energy Storage Systen | 50
Millmerran Energy Trader Pty Ltd | Millmerran Power Plant | R005 Millmerran | Steam Super Critical | 426
Millmerran Energy Trader Pty Ltd | Millmerran Power Plant | R005 Millmerran | Steam Super Critical | 426
NewGen Braemar 2 Partnership | Braemar 2 Power Station | R002 Braemar | Open Cycle Gas turbines (OCGT) | 173
NewGen Braemar 2 Partnership | Braemar 2 Power Station | R002 Braemar | Open Cycle Gas turbines (OCGT) | 173
NewGen Braemar 2 Partnership | Braemar 2 Power Station | R002 Braemar | Open Cycle Gas turbines (OCGT) | 173
Origin Energy Electricity Limited | Darling Downs Power Station | R002 Braemar | Combined Cycle Gas Turbine (CCGT) | 280
Origin Energy Electricity Limited | Darling Downs Power Station | R002 Braemar | Combined Cycle Gas Turbine (CCGT) | 117
Origin Energy Electricity Limited | Darling Downs Power Station | R002 Braemar | Combined Cycle Gas Turbine (CCGT) | 117
Origin Energy Electricity Limited | Darling Downs Power Station | R002 Braemar | Combined Cycle Gas Turbine (CCGT) | 117
Origin Energy Electricity Limited | Mt Stuart Power Station | T056 Townsville South | Open Cycle Gas turbines (OCGT) | 138
Origin Energy Electricity Limited | Mt Stuart Power Station | T056 Townsville South | Open Cycle Gas turbines (OCGT) | 138
Origin Energy Electricity Limited | Mt Stuart Power Station | T143 Mt Stuart GT PS | Open Cycle Gas turbines (OCGT) | 124
QGC Sales Qld Pty Ltd | Condamine Power Station A | T194 Columboola | Combined Cycle Gas Turbine (CCGT) 2 x 43MW | 86
QGC Sales Qld Pty Ltd | Condamine Power Station A | T194 Columboola | Combined Cycle Gas Turbine (CCGT) | 57
RTA Yarwun Pty Ltd | Yarwun Power Station | T199 Yarwun | Combined Cycle Gas Turbine (CCGT) | 160
Stanwell Corporation Limited | Barron Gorge Power Station | T054 Barron Gorge PS | Run of River | 33
Stanwell Corporation Limited | Barron Gorge Power Station | T054 Barron Gorge PS | Run of River | 33
Stanwell Corporation Limited | Kareeya Power Station | T049 Kareeya PS | Run of River | 23
Stanwell Corporation Limited | Kareeya Power Station | T049 Kareeya PS | Run of River | 23
Stanwell Corporation Limited | Kareeya Power Station | T049 Kareeya PS | Run of River | 23
Stanwell Corporation Limited | Kareeya Power Station | T049 Kareeya PS | Run of River | 23
Stanwell Corporation Limited | Stanwell Power Station | H029 Stanwell | Steam Sub-Critical | 365
Stanwell Corporation Limited | Stanwell Power Station | H029 Stanwell | Steam Sub-Critical | 365
Stanwell Corporation Limited | Stanwell Power Station | H029 Stanwell | Steam Sub-Critical | 365
Stanwell Corporation Limited | Stanwell Power Station | H029 Stanwell | Steam Sub-Critical | 365
Stanwell Corporation Limited | Swanbank E Power Station | H055 Swanbank E PS | Combined Cycle Gas Turbine (CCGT) | 365
Stanwell Corporation Limited | Tarong North Power Station | H018 Tarong | Steam Super Critical | 443
Stanwell Corporation Limited | Tarong Power Station | H018 Tarong | Steam Sub-Critical | 350
Stanwell Corporation Limited | Tarong Power Station | H018 Tarong | Steam Sub-Critical | 350
Stanwell Corporation Limited | Tarong Power Station | H018 Tarong | Steam Sub-Critical | 350
Stanwell Corporation Limited | Tarong Power Station | H018 Tarong | Steam Sub-Critical | 350
Sun Metals Corporation Limited | Sun Metals Solar Farm | T140 Townsville Zinc | Solar PV | 121
Wilmar Sugar Pty Ltd | Invicta Sugar Mill | T036 Invicta Mill | Steam Sub-Critical | 34
CS Energy Limited | Chinchilla BESS | S005 Western Downs | Battery Energy Storage Systen | 100
Neoen | Western Downs Battery Park | S005 Western Downs | Battery Energy Storage Systen | 510
MacIntyre Wind Farm Pty Ltd | Macintyre Wind Farm | R015 MISS Substation | Wind Farm | 890
Cubico / Stanwell | Wambo Wind Farm Stage 1 | H148 Diamondy | Wind Farm | 245
CS Energy Limited | Greenbank BESS | S003 Greenbank | Battery Energy Storage Systen | 200
Acciona Energy | Aldoga Solar Farm | H058 Larcom Creek | Solar PV | 387
Collinsville Power Station |  |  |  |  | 2011-07-01
Callide A Power Station A1-3 |  |  |  |  | 2011-05-17
Callide A Power Station A4 (Oxyfiring) |  |  |  |  | 2015-03-01
Swanbank A Power Station |  |  |  |  | 2002-07-01
Swanbank B Power Station |  |  |  |  | 2011-07-01
Note: Generators are those connected to the Powerlink Transmission Network - embedded generators are not included.
Register of Large Generator Connections

## New Generators
Participant | Station Name | Connection Point | Technology Type - Descriptor and Unit Size (MW) | Reg Cap (MW) | Ceasing Date | Ancillary Service Requirements | Network Congestion | Impact on timing of expenditure | Impact on Interconnector power transfer capability
Cubico / Stanwell | Wambo Wind Farm Stage 1 | H148 Diamondy | Wind Farm | 245 |  | The Wambo Wind Farm Stage 1 will be taken into account when reassessing the need for a Network Support Agreement to manage and control voltages in southern Queensland. | The connection of the Wambo Wind Farm Stage 1 increased the available generation capacity in the South West zone and therefore has the potential to increase the power transfers, principally across the Tarong grid section. As outlined in Section 9.4.4 of the 2026 TAPR, binding network constraints for the Tarong grid section during 2025/26 were broadly consistent with historical levels. Any constraints were associated with maintenance activities. There are many factors that impact the utilisation of the Tarong grid section: - QNI transfers and generation in the South West and Bulli zones - level of Moreton zone generation - Moreton and Gold Coast zones capacitive compensation levels. All of the above have a far greater impact on the utilisation of the Tarong grid section than the connection of the Wambo Wind Farm Stage 1. | The changing generation mix is materially affecting power flow patterns and the utilisation of key intra-regional and inter-regional network sections. The 2026 ISP and October 2025 Queensland Energy Roadmap identify an increasing need to integrate new wind and solar generation, supported by storage and other firming sources. Stage 1 of Wambo Wind Farm has been incorporated into the analysis of the optimal development pathway, including the timing of future investment. The impacts of this project and other generation developments will continue to be monitored by Powerlink and AEMO as the ISP and Queensland Energy Roadmap are updated. | Due to its size, location and technology the Wambo Wind Farm Stage 1 has no direct impact on the southerly or northerly power transfer capability between QLD and NSW.
Acciona | Aldoga Solar Farm | H058 Larcom Creek | Solar Farm | 387 |  | The Aldoga Solar Farm has been taken into account when assessing the need for reactive power and voltage support as part of the Gladstone Priority Transmission Investment Project. | As outlined in Section 9.4.4 of 2026 TAPR, the output from Aldoga Solar Farm has changed daytime flow patterns within the Gladstone grid section, increasing loading on the thermally constrained Larcom Creek to Calliope River circuit. Combined with higher underlying transfers into the Gladstone region associated with reduced output from Gladstone Power Station, this contributed to approximately 500 hours of constrained operation during 2025/26, compared with previous years when constraints generally occurred only during network outages. Completion of the Gladstone PTI Project is expected to reduce broader congestion across the Gladstone grid section. However, localised congestion between Larcom Creek and Calliope River may still occur depending on Aldoga Solar Farm output, net load at Larcom Creek and prevailing market conditions. | The congestion associated with Aldoga Solar Farm does not drive the timing of expenditure on the Gladstone PTI Project. The project’s timing is instead aligned with the broader increase in power transfers into the Gladstone zone expected following the retirement of Gladstone Power Station. | Due to its size, location and technology the Aldoga Solar Farm has no direct impact on the southerly or northerly power transfer capability between QLD and NSW.
CS Energy | Greenbank BESS | S005 Western Downs | BESS | 200 |  | The Greenbank BESS will be taken into account when reassessing the need for a Network Support Agreement to manage and control voltages in southern Queensland. | The Greenbank BESS when charging has the potential to increase the power transfer requirements into SEQ across the Tarong grid section. This is likely to occur during daytime conditions when rooftop photovoltaic output is high and the net load within SEQ is low. Therefore, the BESS is not contributing to network congestion. When discharging, the BESS has the potential to reduce flows across the Tarong grid section and increase the supportable load in SEQ. | The changing generation mix is materially affecting power flow patterns and the utilisation of key intra-regional and inter-regional network sections. The 2026 ISP and October 2025 Queensland Energy Roadmap identify an increasing need to integrate new wind and solar generation, supported by storage (including BESS) and other firming sources. The Greenbank BESS has been incorporated into the analysis of the optimal development pathway, including the timing of future investment. The impacts of this project and other generation developments will continue to be monitored by Powerlink and AEMO as the ISP and Queensland Energy Roadmap are updated. | Due to its size, location and technology the Greenbank BESS has no direct impact on the southerly or northerly power transfer capability between QLD and NSW.
MacIntyre Wind Farm Pty Ltd | MacIntyre Wind Farm | R015 MISS Substation | Wind Farm | 890 |  | The MacIntyre Wind Farm will be taken into account when reassessing the need for a Network Support Agreement to manage and control voltages in southern Queensland. | The Network Capability and Performance Overview attachment (published with the 2026 TAPR) shows that there has been no incidence of congestion on the SWQ grid section since the operation of the MacIntyre Wind Farm. However, output from the MacIntyre Wind Farm has the potential to increase power transfers across the SWQ grid section and depending on market dispatch (QNI transfers and other generation in the Bulli zone) increase the likelihood of congestion. | The changing generation mix is materially affecting power flow patterns and the utilisation of key intra-regional and inter-regional network sections. The 2026 ISP and October 2025 Queensland Energy Roadmap identify an increasing need to integrate new wind and solar generation, supported by storage and other firming sources. The MacIntyre Wind Farm has been incorporated into the analysis of the optimal development pathway, including the timing of future investment. The impacts of this project and other generation developments on the SWQ grid section will continue to be monitored by Powerlink and AEMO as the ISP and Queensland Energy Roadmap are updated. | Section 9.4.3 of the 2026 TAPR outlines that the system intact southerly power transfer capability between Queensland and NSW is most likely to be limited by voltage stability and thermal capability. As such, the operation of the MacIntyre Wind Farm has no material impact on these limits.