## New Generator Connections
Generator Location | Connection Status | Number of Connections | Generator Type & Technology | Generator Size (MW) | Comment
North | Connection Agreement | 8 | Solar, Wind. | 775 | North includes TAPR Zone Numbers: 1 (North of Tully, including Chalumbin); 2 (North of Proserpine and Collinsville, excluding the Far North zone); and 3 (North of Broadsound and Dysart, excluding the Far North and Ross zones).
| Application | 5 | Solar, Pumped Hydro & Solar. | 818
Central | Connection Agreement | 1 | Solar. | 100 | Central includes TAPR Zone Numbers: 4 (South of Nebo, Peak Downs and Mt McLaren, and north of Gin Gin, but excluding the Gladstone zone); 5 (South of Raglan, north of Gin Gin and east of Calvale); and 6 (Gin Gin, Teebar Creek and Woolooga 275kV substation loads, excluding Gympie).
| Application | 22 | Solar, Wind, Gas. | 4618
South | Connection Agreement | 2 | Solar, Wind. | 548 | South includes TAPR Zone Numbers: 7 (West of Western Downs and south of Moura, excluding the Bulli zone); 8 (Goondiwindi (Waggamba) load and the 275/330kV network south of Kogan Creek and west of Millmerran); 9 (Tarong and Middle Ridge load areas west of Postmans Ridge, excluding the Bulli zone); 10 (South of Woolooga and east of Middle Ridge, but excluding the Gold Coast zone); and 11 (East of Greenbank, south of Coomera to the Queensland/New South Wales border).
| Application | 16 | Solar, Wind, Combined (Solar & Wind). | 4486.6
Total | Connection | 11 |  | 1423 | Refer to Chapter 6
| Application | 43 |  | 9922.6 | Please note this figure fluctuates as application details vary, as customer requirements can change during the connection and application process.